# Submission ID #: 67768

# Scriptwriter Name: Debopriya Sadhukhan

# Project Page Link: https://review.jove.com/account/file-uploader?src=20669288

# Title: Comprehensive Analysis of Drug Response using the FLICK Assay

# Authors and Affiliations:

Gavin A. Birdsall, Michael J. Lee

# Department of Systems Biology, UMass Chan Medical School

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Michael J. Lee		(Michael.lee@umassmed.edu)

# Email Addresses for All Authors:

Gavin A. Birdsall	(Gavin.birdsall@umassmed.edu)

Michael J. Lee		(Michael.lee@umassmed.edu)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  32

Number of Shots:  54

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

Answers to these questions will not appear in the video but may be featured in our journal's promotional materials.

- Enter the full name of the author who will deliver the statement.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Answers will be mildly edited for clarity.

- Limit the length of each statement to 50 words or fewer.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Selection and Calibration of DNA Stain

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, plate the desired number of cells in each well of a 96-well, optical bottom, black-walled plate [1]. Add 100 microliters of complete medium and allow the cells to adhere to the plate overnight [2].

    - WIDE: Talent pipetting cells into the wells of a black-walled 96-well plate.

    - Talent pipetting 100 microliters of complete medium into the wells.

  - Add 10 microliters of 1.5 percent Triton-X solution to each well containing the plated cells without mixing [1].

    - Talent adding 10 microliters of Triton-X solution to each well using a pipette.

  - Observe cell morphologies under a light microscope using a 10x (ten-ex) objective and inspect cells every hour [1] until cell bodies are no longer visible [2].

    - SCOPE: A shot of the cells seen under a light microscope using a 10x objective.

    - SCOPE: Microscopic view showing permeabilized cells where the cell bodies are no longer visible.

  - For each concentration to be tested, plate 40,000 cells in 180 microliters of cell culture medium in triplicate along the leftmost column of a 96-well, optical bottom, black-walled plate [1]. Add 90 microliters of medium to the remaining wells [2].

    - Talent plating cells in cell culture medium using a pipette into the leftmost column of the 96-well plate.

    - Talent adding 90 microliters of cell culture medium to the other wells.

  - Using a multichannel pipette, transfer 90 microliters from the leftmost column into the adjacent column to the right to create a 1:2 (one to two) serial dilution [1]. Pipette up and down 15 times to mix [2-TXT].

    - Talent using a multichannel pipette to transfer 90 microliters from the leftmost column into the adjacent column to the right.

    - Talent pipetting up and down in the second column to mix. TXT: Repeat serial dilution from column 2 onward, moving rightward; Continue until the second-to-last column

  - For the second-to-last column, remove 90 microliters so that all wells contain 90 microliters of medium with a varied number of cells [1].

    - Talent removing 90 microliters from the second-to-last column using a pipette.

  - Add 10 microliters of 10x DNA dye to each well of the 96-well plate [1]. Then, add 10 microliters of 1.5 percent Triton-X solution to permeabilize the cells [2-TXT].

    - Talent pipetting 10 microliters of DNA dye into each well.

    - Talent adding 10 microliters of Triton-X solution to each well. TXT: Incubate cells in this solution for the optimal time

  - To measure the fluorescence intensities, load the plate into a fluorescence plate reader [1], adjust excitation and emission wavelengths, acquisition time, or digital gain depending on the plate reader used [2], and measure fluorescence intensities across the cell titration plate [3]. Quantify fluorescence over a range of acquisition settings [4].

    - Talent loading the plate into a fluorescence plate reader.

    - Talent adjusting excitation and emission wavelengths, acquisition time, and digital gain on the plate reader software. Videographer: Please make sure the computer screen is clearly visible in the frame.

    - SCREEN: To be provided by authors: The fluorescence intensities being measured across the cell titration plate.

    - SCREEN: To be provided by authors: Fluorescence being quantified over a range of acquisition settings.

Authors: Since filming a computer screen may not produce high-quality images, please record the screen for all the SCREEN shots directly from your computer following our guidelines and upload them along with a summary to your project page: https://review.jove.com/account/file-uploader?src=20669288

  - Subtract the average signal of the column containing no cells to remove the background signal from each measurement [1].

    - SCREEN: To be provided by authors: Subtracting the average signal of the column containing no cells to remove the background signal.

  - Plot the cell number against the fluorescence signal and perform linear regression to determine the linearity of each DNA dye concentration for each acquisition setting [1].

    - SCREEN: To be provided by authors: A graph being plotted to determine the linearity of each DNA dye concentration for each acquisition setting.

  - Choose the DNA dye concentration and acquisition settings that offer the best combination of linearity and dynamic range [1].

    - SCREEN: To be provided by authors: Selection of settings and concentration based on optimal linearity and dynamic range.

- Cell Plating, In-Well Drug Application, and Dead Cell Fluorescence Measurement Over Time in Drug-Treated Plates

Demonstrator: Click here to enter name of demonstrator(s)

  - After counting the cells, mix the counted cell suspension with the appropriate media volume using a serological pipette [1]. Transfer this suspension to a V-bottom reagent reservoir [2].

    - Talent using serological pipette to mix cells with medium.

    - Talent transferring cell mixture into a V-bottom reservoir.

  - Using a multichannel pipette, add 90 microliters of the cell suspension to each well of the 96-well plates and mix the cell suspension regularly by repeated pipetting to maintain the desired cell concentration [1].

    - Talent pipetting cell suspension into 96-well plate and mixing cell suspension by pipetting up and down.

  - Using a 10x concentration of the selected DNA dye in complete growth media, prepare a 10x concentration of each drug to be tested [1]. In the drug dilution plate, create only the highest dose of each drug [2] and serially dilute using a multichannel pipette. Mix 15 times between each well [3].

    - Talent preparing 10x concentration of the drug to be tested.

    - Talent creating the highest dose of a drug in the dilution plate.

    - Talent using a multichannel pipette to perform serial dilution and mixing by pipetting up and down in each well.

  - Now, add 10 microliters of the drug and DNA dye solution to the plates containing cells [1].

    - Talent pipetting drug + dye mixture into the cell-containing wells of the 96-well plate using a multichannel pipette.

  - Acquire fluorescence readings for all drug-treated plates every 3 to 4 hours after drug addition [1].

    - SCREEN: To be provided by authors: Fluorescence readings being acquired for the drug-treated plates.

  - At the final desired time point, acquire a fluorescence reading [1]. Immediately after that, add 10 microliters of 1.5 percent Triton-X solution to lyse the cells [2].

    - SCREEN: To be provided by authors: Software capturing the final fluorescence reading at the final desired time point.

    - Talent adding 10 microliters of Triton-X solution to each well.

  - Then, acquire fluorescence readings following cell permeabilization [1].

    - SCREEN: To be provided by authors: Fluorescence values recorded after permeabilization. TXT: The fluorescence value ∝ total cell count (live + dead) for each well; The post-permeabilization fluorescence value is the final population size for each well

- Calculation of the Lethal Fraction Kinetics

Demonstrator: Click here to enter name of demonstrator(s)

  - Calculate the average fluorescence values from the T0 (T-zero) control plate using the 50 percent trimmed mean [1-TXT].

    - SCREEN: To be provided by authors: Spreadsheet or software showing the calculation of the average fluorescence values from the T0 control plate using the 50 percent trimmed mean. TXT: The average T0 fluorescence value is the initial population size for each well; The duration of the assay is from 0 h to the assay endpoint

  - Using curve fitting and an exponential growth function, calculate the population growth kinetics for all wells [1].

    - SCREEN: To be provided by authors: Curve fitting and an exponential growth function being used to calculate population growth kinetics for the wells.

  - Based on the growth parameters, calculate the number of total cells at every measured time point in the assay for every well [1]. Now, subtract the dead cell measurement from the total cell counts to determine the number of live cells at each measured time point [2].

    - SCREEN: To be provided by authors: The number of total cells at every measured time point in the assay being calculated.

    - SCREEN: To be provided by authors: The dead cell measurement being subtracted from the total cell counts to determine the number of live cells at each measured time point.

  - Calculate the lethal fraction or LF at each time point by dividing the dead cell fluorescence signal by the total cell signal for each time point [1].

    - SCREEN: To be provided by authors: Calculation of LF values at each time point.

  - Fit a Lag Exponential Death or LED (L-E-D) equation to the lethal fraction time course data [1]. For drug doses not causing significant lethality, use a linear model with zero slope [2]. Determine significant levels of lethality based on the noise in the assay or the LF observed for undrugged conditions [3].

    - SCREEN: To be provided by authors: Curve fitting of lethal fraction time course data to the LED equation.

    - SCREEN: To be provided by authors: a linear model with zero slope being used for drug doses not causing significant lethality.

    - SCREEN: To be provided by authors: Significant levels of lethality being determined based on the noise in the assay or the LF observed for undrugged conditions

  - From the LED equation, extract four parameters using non-linear regression: the initial lethal fraction or LFi (L-F-I), lethal fraction plateau or LFp (L-F-P), maximum death rate or DR (D-R), and the death onset time or DO (D-O) [1].

    - SCREEN: To be provided by authors: Table showing values for LFi, LFp, DR, and DO obtained through curve fitting.

  - Compute the fractional viability or FV (F-V) at the assay endpoint for each drug at each dose [1]. Subtract the endpoint lethal fraction from 1 [2], or divide the number of live cells by the total cells [3].

    - SCREEN: To be provided by authors: The fractional viability at the assay endpoint being calculated.

    - SCREEN: To be provided by authors: The endpoint lethal fraction being subtracted from 1.

    - SCREEN: To be provided by authors: The number of live cells being divided by the total cells.

- Calculation of GR Value and Drug-Induced Growth and Death Rates Using the GRADE Method

Demonstrator: Click here to enter name of demonstrator(s)

  - Determine the average number of live cells for each well at the start of the assay by calculating the difference between the post-permeabilization T0 reading and the T0 reading for each well [1-TXT].

    - SCREEN: To be provided by authors: The difference between the post-permeabilization T0 reading and the T0 reading for each well being calculated to determine the average number of live cells for each well. TXT: This value is referred to as x₀

  - For the control wells or xctrl (Ex-Control), determine the average number of live cells for each well at the assay endpoint [1]. Then, determine the average number of live cells at the assay endpoint for each drug-treated condition or x(c) (X-C) [2].

    - SCREEN: To be provided by authors: The average number of live cells for each well at the assay endpoint being determined for the control wells.

    - SCREEN: To be provided by authors: The average number of live cells at the assay endpoint for each drug-treated condition being determined.

  - Now, for each drug-treated well, compute the normalized growth rate inhibition value or GR (G-R) using the given equation [1]. Perform curve fitting using a 4-parameter logistic regression [2-TXT].

    - TEXT on PLAIN BACKGROUND:

GRc=2log2xcx0/log2xctrlx0-1

    - SCREEN: To be provided by authors: Curve fitting using 4-parameter logistic regression over GR data. TXT: GR is on a scale from -1 to 1

  - Next, determine the relationship between growth and death rates and the population size using a simulation based on a birth-death model [1]. Use the average number of live cells from the T0 control plate, the length of the assay, and user-defined ranges for plausible proliferation and death rates as inputs for this simulation [2].

    - SCREEN: To be provided by authors: The display of the simulation interface being shown.

    - SCREEN: To be provided by authors: The average number of live cells from the T0 control plate, the length of the assay, and user-defined ranges for plausible proliferation and death rates are being entered as inputs of the simulation.

  - To determine plausible growth rates, use the untreated growth rate in cell population doublings per hour as the highest possible rate and zero as the lowest. Divide this range into 500 equally spaced segments [1].

    - SCREEN: To be provided by authors: The untreated growth rate in cell population doublings per hour being entered as the highest possible rate and zero being entered as the lowest growth rate. The range being divided into 500 equally spaced segments.

  - Determine the GR values for each simulated proliferation and death rate pair [1]. Then, determine the LF values [2].

    - SCREEN: To be provided by authors: The GR values being determined for each simulated proliferation and death rate pair.

    - SCREEN: To be provided by authors: The LF values being determined for each simulated proliferation and death rate pair.

  - Compute the pairwise distance between each experimentally calculated GR and LF pair and each theoretical GR and LF pair in the look up table [1]. Identify the theoretical pair with the minimum distance to the experimentally observed GR and LF pair as the true drug-induced proliferation and death rates [2].

    - SCREEN: To be provided by authors: The pairwise distance between each experimentally calculated GR and LF pair and each theoretical GR and LF pair being calculated in the look up table.

    - SCREEN: To be provided by authors: The theoretical pair with the minimum distance to the experimentally observed GR and LF pair being identified as the true drug-induced proliferation and death rates.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 124.

- Please note that the video cannot include voiceover without an accompanying visual.

- Representative Results

  - This figure illustrates how the FLICK assay and GRADE analysis quantify and distinguish between drug-induced growth inhibition and cell death in U2OS cells [1]. Authors: How do you pronounce FLICK, GRADE, and U2OS? “Flick” or “F-L-I-C-K”? “Grade” or “G-R-A-D-E”, “U-two-O-S”?

    - LAB MEDIA: Figure 2.

  - Belinostat at 1 micromolar showed a GR value of 0, indicating cytostasis [1], but also caused approximately 50% cell death [2].

    - LAB MEDIA: Figure 2A. Video Editor: Highlight the “1 µM” point.

    - LAB MEDIA: Figure 2B. Video Editor: Highlight the 1 µM plot.

  - GRADE analysis showed that 1 micromolar Belinostat caused both growth inhibition and cell death, with distinct contributions to overall population stasis [1].

    - LAB MEDIA: Figure 2D, 2E.

  - The apoptotic inhibitor z-VAD reduced Belinostat-induced lethality by 18% [1], indicating apoptosis involvement [2]. Authors: How do you pronounce z-VAD?

    - LAB MEDIA: 2F. Video Editor: Highlight the red line indicating the gap between the lavender and black curves and the equation ∆LF = 0.18.

    - LAB MEDIA: 2F.

  - Conventional analysis showed all drugs reduced viability [1], but GR analysis revealed only Belinostat and Camptothecin caused cell death at high doses [2].

    - LAB MEDIA: 2G.

    - LAB MEDIA: 2H.

  - GRADE analysis showed Belinostat induced both growth inhibition and death at all doses [1], Camptothecin was biphasic [2], and Palbociclib caused growth arrest only [3].

    - LAB MEDIA: Figure 2I. Video Editor: Highlight the Belinostat bar graph.

    - LAB MEDIA: Figure 2I. Video Editor: Highlight the Camptothecin bar graph.

    - LAB MEDIA: Figure 2I. Video Editor: Highlight the Palbociclib bar graph.