# Submission ID #: 67792

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=20676608

# Title: Rapid Detection of Helicobacter pylori Virulence and Typing Using Quantum Dot Labeling Technology

# Authors and Affiliations:

# Lu-Si Wu*, Ya-Nan Yao*, Xiao-Zhen Jiang, Jian-Feng Liao, Yan-Xiang Li, Min-Jing Chen, Yang-Feng Ou, Lan-Huan Peng, Liang Wang, Li-Yan Zhang, Hui-Quan Gan

# Laboratory Medicine, Guangdong Provincial People's Hospital (Guangdong Academy of Medical Sciences), Southern Medical University

*These authors contributed equally

# Corresponding Authors:

# Hui-Quan Gan   	87330049@126.com

# Email Addresses for All Authors:

Lu-Si Wu       		wulusi@gdph.org.cn

Ya-Nan Yao     		yaoyanan@gdph.org.cn

Xiao-Zhen Jiang   	jiangxiaozhen@gdph.org.cn

Jian-Feng Liao   	liaojianfeng@gdph.org.cn

Yan-Xiang Li    		liyanxiang@gdph.org.cn

Min-Jing Chen   	chenminjing@gdph.org.cn

Yang-Feng Ou   	ouyangfeng@gdph.org.cn

Lan-Huan Peng  	penglanhuan@gdph.org.cn

Liang Wang     		wangliang@gdph.org.cn

# Li-Yan Zhang    	zhangliyan@gdph.org.cn

# Hui-Quan Gan   	87330049@126.com

Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No.

If Yes, can you record movies/images using your own microscope camera?

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage? Yes.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   No.

Current Protocol Length

Number of Steps:  12

Number of Shots:  28 (8 SC)

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Hui-Quan Gan: Our research focuses on developing diagnostic reagents for in vitro immunochromatography.We aim to use quantum dot labeling to enable specific antigen-antibody binding for precise Helicobacter pylori detection.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.2.1

What technologies are currently used to advance research in your field?

  - Lu-Si Wu: Currently,in our field,we mainly use new markers and marking technologies,as well as raw material screening and optimization technologies, to advance research.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.4.1

What significant findings have you established in your field?

  - Hui-Quan Gan: We’ve discovered that using quantum dot technology for Helicobacter pylori typing detection can really help with the precise treatment of this bacteria.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.8.2

What research gap are you addressing with your protocol?

  - Ya-Nan Yao: We’ve solved the problems of traditional technology being unable to distinguish the virulence of Helicobacter pylori and having complicated operations through quantum dot technology.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.12.1

What advantage does your protocol offer compared to other techniques?

  - Ya-Nan Yao: While judging whether Helicobacter pylori is infected, we can distinguish the strength of virulence and provide individualized treatment plans.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 3.1.1

Videographer: Obtain headshots for all authors available at the filming location.

Ethics Title Card

This research has been approved by the human research ethics committee at the Guangdong Provincial People's Hospital (Guangdong Academy of Medical Sciences), Southern Medical University

# Protocol

- Sample Processing and Testing for Helicobacter pylori Detection

Demonstrator:  Lu-Si Wu

  - To begin, collect blood in a separation gel tube while taking care to avoid hemolysis [1].

    - WIDE: Talent picking up the separation gel tube with blood from the workbench.

  - If testing the serum within 4 hours is not possible [1], store the sample at a temperature between 2 and 8 degrees Celsius for up to 3 days [2]. For long-term storage, seal and store the sample below minus 20 degrees Celsius for up to 1 year [3].

    - Talent examining the tube with blood.

    - Talent placing the serum sample in a refrigerator set between 2 and 8 degrees Celsius.

    - Talent sealing and placing the serum tube into a freezer tempered below minus 20 degrees Celsius.

  - Restore the samples to room temperature and thoroughly mix them before use [1].

    - Talent removing samples from refrigerator.

  - Take out the reagent kit and quality control materials and allow them to equilibrate to room temperature [1].

    - Talent placing reagent kit and QC materials on the bench at room temperature.

  - Now centrifuge the whole blood samples at 1467 g for 10 minutes [1].

    - Talent placing whole blood tube in the centrifuge.

  - Now, power on the instrument and the operating computer [1]Launch the corresponding software and log in to the software.[2]

    - Talent pressing the power buttons on both the instrument and the computer.

    - SCREEN:Click on the software icon to launch the application

  - Verify that the Secure Digital or SD card lot number matches that of the reagent kit [1] and insert the SD card into the instrument [2]and select Read ID Chip in the application for automatic matching [3].

    - Talent examining the lot number on the SD card.

    - Talent inserting the SD card into the instrument slot.

    - SCREEN: Click Read ID Chip.​

  - In the application, select the Test module [1]. Choose Initialization Settings to initialize the instrument and wait for the process to complete [2].

    - SCREEN: Click on the software icon to launch the application and navigate to Test module.

    - SCREEN: Select Initialization Settings and wait until the initialization is complete.

Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible:

https://review.jove.com/account/file-uploader?src=20676608

  - Access the instrument's reagent area and remove the test card slot [1]. Now, open the reagent kit and select the required number of test cards [2].

    - Talent opening the instrument’s reagent area and sliding out the test card slot.

    - Talent opening the reagent kit and selecting the correct number of test cards.

  - Then, open the foil pouches of the test cards [1] and place them in the slot according to the indicated orientation [2]. Reinsert the card slot into the instrument's reagent area [3].

    - Talent unsealing test card foil pouch.

    - Talent placing the card in the slot with correct orientation.

    - Talent reinserting the slot back into the instrument.

  - Within the Test module, select bidirectional LIS [1]. Enter the Manual Entry Module,and then, click Information Entry and input the specific quality control material information [2]. Click Generate [3] and place the quality control materials in the designated sample rack, ensuring correct order and orientation [4]. Click Start Test to initiate QC testing [5].

    - SCREEN: Select bidirectional LIS in the Test module.

    - SCREEN: Click on Information Entry and type in the QC material information.

    - SCREEN: Click Generate to finalize the entry.

    - Talent placing QC materials in the sample rack with correct orientation.

    - SCREEN: Click Start Test to begin QC testing.

  - Now, in the Test module, select Manual Entry to display Bidirectional LIS [1]. Place the test samples in the designated sample rack, ensuring proper order and orientation [2]. Click Start Test [3].

    - SCREEN:Navigate to and click on Manual Entry to display Bidirectional LIS in the Test module.

    - Talent placing patient samples in the sample rack in correct order and orientation.

    - SCREEN: Click Start Test to initiate testing.

  - Once testing is completed, the instrument automatically ejects the used test cards[1] and the operator disposes of them as medical waste [2].

    - The operator handles the used test cards ejected from the instrument.

    - Talent discarding cards in a medical waste bin.

# Results

- Results

  - The peak diagrams of two negative samples showed no significant signals at X1 Urease, X2 CagA, or X3 VacA, confirming Helicobacter pylori-negative results, while the strong peak at X4 C line indicated valid test results [1].

    - LAB MEDIA: Figure 4.

  - Two samples positive for Urease showed strong signal peaks at X1, confirming Helicobacter pylori type II infection, while X2 and X3 remained at baseline or low signal, indicating negative CagA and VacA antibodies [1].

    - LAB MEDIA: Figure 5. Video editor: Highlight the tall peak at X1. Then mark the flat lines at X2 and X3.

  - Three samples positive for Urease, and also positive for CagA and or VacA, showed high peaks at X1, X2, and X3, indicating Helicobacter pylori type I infection [1].

    - LAB MEDIA: Figure 6. Video editor: Highlight the three separate high peaks for X1, X2, and X3.

  - Receiver Operating Characteristic or ROC curves for individual biomarkers and combined indicators showed that combining five indicators with G17, PGI, PCI, PGR, and Helicobacter pylori antibody typing enhanced diagnostic performance, with the highest sensitivity and specificity [1].

    - LAB MEDIA: Figure 7, 8, 9