# Submission ID #: 67831

# Scriptwriter Name: Nilesh Kolhe

# Project Page Link: https://review.jove.com/account/file-uploader?src=20688503

Title: Assessment of ERK Activity Modulation in Early Zebrafish Noonan Syndrome Models via Live FRET Microscopy and Immunofluorescence

Landing Page Title (not for video use): Live FRET Imaging in Zebrafish for Testing ERK  Modulation in RASopathies

☐   The Landing Page Title is correct. (Character limit with spaces: 80)

Authors and Affiliations: Giulia Fasano1, Valeria Bonavolontà2, Catia Pedalino2, Martina Venditti2, Graziamaria Paradisi2, Stefania Petrini3, Marco Tartaglia2, Antonella Lauri2

1Research laboratories, Ospedale Pediatrico Bambino Gesù, IRCCS

2Molecular Genetics and Functional Genomics, Ospedale Pediatrico Bambino Gesù, IRCCS

3Microscopy facility, Research laboratories, Ospedale Pediatrico Bambino Gesù, IRCCS

☒   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Antonella Lauri 		antonella.lauri@opbg.net

# Email Addresses for All Authors:

# antonella.lauri@opbg.net

giulia.fasano@opbg.net

valeria.bonavolonta@opbg.net

catia.pedalino@opbg.net

martina.venditti@opbg.net

graziamaria.paradisi@opbg.net

stefania.petrini@opbg.net

marco.tartaglia@opbg.net

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?   YES

If Yes, can you record movies/images using your own microscope camera?

NO

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

2.1.2, 2.2.3, 2.3.2, 3.2.1, 3.2.2, 3.2.3

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  YES

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE's tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   YES

If Yes, how far apart are the locations? One is on the 3rd floor and the other is on the gound floor (Lab 058)

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 27

Number of Shots: 59

# Interviews

- Video 1: Author Spotlight: Title (Filled by scriptwriter during script finalization)

Ethics Title Card

This research follows the ARRIVE guidelines and has been authorized by the Italian Ministry of Health (Direzione Generale della Sanità Animale e dei Farmaci veterinari – DGSAF)

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 50 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Antonella Lauri  : The scope of our research is to generate informative zebrafish models of overlooked and complex developmental diseases, such as RASopathies. We integrate such in vivo genetic disease modeling within a functional genomics workflow that starts with sequencing undiagnosed patients to deliver rapid, meaningful preclinical readouts for patients’variant interpretations and for testing promising pharmacological interventions.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

What are the current experimental challenges?

  - Antonella Lauri : Despite increasing availability of optimized FRET ERK sensors, major challenges remained the lack of robust, quantitative, and sensitive experimental image-based assays in vivo capable of using such sensors and detect early, and even subtle, but pathogenic RAS-MAPK fluctuations in RASopathies models before morphology damage, with  sufficient spatial–temporal resolution, and demonstrated  minimal assay sensitivity  to support variant testing and evaluation of targeted therapies reliably in a vertebrate disease model.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

What advantage does your protocol offer compared to other techniques?

1. 7  Antonella Lauri : The live FRET and validation protocol pipeline established here in fish embryos models of RASopaties enable live, early whole-embryo detection of dynamic developmental signaling changes relevant to detect variants pathogenicity in rare diseases and cancer showing aberrant ERK signaling activation. The protocol offers a relatively fast, direct and robust readout, while optimizing live sample usage and reducing sample size through spectral analysis. The sensitive imaging pipeline set up, allows testing sub-doses of MEK-inhibitor treatments in vivo.

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

Answers to these questions will not appear in the video but may be featured in our journal's promotional materials.

- Enter the full name of the author who will deliver the statement.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 50 words or fewer.

What motivated you to choose JoVE for publishing your research?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

How does the research community benefit from video publications as compared to standard text publications?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

# Protocol Videos

Each video will include a section of your protocol and accompanying results, if applicable. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration. Professional voiceover artists will narrate the video.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

Protocol:

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

Representative Results:

- The three-digit numbers (e.g., 2.3.1., 2.3.2.) are the figures/tables from your manuscript. These will not be recorded by the videographer.

- Please review the result section to make sure it logically follows the video.

- Please note that the video cannot include voiceover without an accompanying visual.

- Video 2: Microinjection and Treatment of Zebrafish Embryos for FRET Imaging and MEK Inhibition Assays

Demonstrator: Giulia Fasano (microinjection); Valeria Bonavolontà (treatment)

Ethics Title Card

This research follows the ARRIVE guidelines and has been authorized by the Italian Ministry of Health (Direzione Generale della Sanità Animale e dei Farmaci veterinari – DGSAF)

Protocol

  - To begin, place the custom microinjection plate containing molded 2% agarose in E3 medium on a working platform [1]. Arrange and align fertilized Teen zebrafish eggs in the plate to appropriate lanes to restrict egg movement during microinjection [2].

    - WIDE: Establishing shot of talent (Giulia Fasano) placing microinjection plate on a working platform.

    - Talent (Giulia Fasano) arranging and aligning fertilized Teen eggs in the molded microinjection plate.

  - Backload the needle with 2 microliters of injection material using a microloader pipette [1-TXT]. Adjust the pressure and time settings to calibrate each injection based on the needle and embryo quality on the microinjection device [2]. Inject the solution into the one-cell stage of Teen zebrafish embryos [3].

    - Talent (Giulia Fasano) loading the needle with injection material using a microloader pipette. TXT: Injection material: 30 - 60 pg of capped and polyadenylated mRNA in 0.3x Danieau solution

    - Talent (Giulia Fasano) adjusting the pressure and time settings on the microinjection device.

    - Talent (Giulia Fasano) injecting the solution into the one-cell stage of a Teen zebrafish embryo.

  - Raise microinjected Teen embryos under controlled husbandry conditions [1-TXT]. Clean out any eggs that appear cloudy or degenerated within 3 hours of deposition [2].

    - Talent (Giulia Fasano) placing microinjected embryos in an incubation chamber. TXT: Temperature: 28 °C, Humidity: 70%, Light/Dark cycle: 14/10 h

    - Talent (Valeria Bonavolontà) removing cloudy or degenerated eggs from the injected embryos.

  - At approximately 4 hours post-fertilization, using a standard fluorescence stereomicroscope set to a wavelength range of 465 to 500 nanometers [1], screen the embryos for fluorescence reporter expression. Select Teen-positive fish for FRET (fret) imaging and reserve negative siblings for immunohistochemical assessments [2].

    - SCREEN: To be uploaded by Authors:  Setting wavelength between 465-500 nm.

    - SCREEN: To be uploaded by Authors: Shot of embryos showing fluorescence. Labeling and sorting embryos based on positive or negative fluorescence expression.

# Authors: Acquire screen capture videos for all shots labeled SCREEN and upload them to your project page: https://review.jove.com/account/file-uploader?src=20688503

  - Place embryo pools of equal numbers into different wells of a 6-well plate [1]. To start treatment, immerse the embryos in 3 milliliters of E3 medium containing vehicle control as DMSO (D-M-S-O) or diluted MEK (M-E-K) at the desired concentration [2].

    - Talent (Valeria Bonavolontà) distributing embryos evenly into separate wells of the 6-well plate.

    - Talent (Valeria Bonavolontà) adding E3 medium DMSO or MEK inhibitor into the wells of the 6-well plate.

- Video 3: Live Multispectral FRET Imaging of RASopathy Zebrafish Models

Demonstrator: Giulia Fasano, Stefania Petrini

Ethics Title Card

This research follows the ARRIVE guidelines and has been authorized by the Italian Ministry of Health (Direzione Generale della Sanità Animale e dei Farmaci veterinari – DGSAF)

Protocol

  - To begin, melt the 1.5% low-melting agarose aliquot in a thermomixer at 50 degrees Celsius. Once dissolved, reduce the temperature to approximately 30 degrees Celsius [1].

    - WIDE: Talent (Giulia Fasano) placing the LMA aliquot in a water bath. Videographer: In addition to this video shot, please also take a photograph of talent performing this action. Make sure that it is at least a half-body shot with the talent's face visible and zoom out so we have room for cropping.

  - Using thin hair, position a single injected Teen-positive embryo at the center of a 35-millimeter glass bottom dish for live imaging [1]. Remove excess E3 medium [2] and add a drop of low-melting agarose to immobilize the embryo. Allow the agarose to polymerize at room temperature [3].

    - Talent (Giulia Fasano) positioning the embryo at the center of the dish using a thin hair.

    - Talent (Giulia Fasano) removing excess E3 medium using a pipette.

    - Talent  (Giulia Fasano)adding a drop of LMA onto the center of the embryo.

  - Turn on the incubator controller at least 1 hour before acquisition and set the temperature to 28 degrees Celsius to maintain embryo health [1]. Once the incubator stabilizes, place the imaging dish with the embryo on the sample holder [2] and use a 10x-dry objective to visualize the sample [3].

    - Talent (Stefania Petrini) turning on the incubator controller and setting the temperature.

    - Talent (Stefania Petrini) placing the imaging dish on the sample holder.

    - Talent (Stefania Petrini) selecting the 10x objective and observing the embryos through the objective.

  - In the Laser Configuration of the referenced software, switch on the argon-ion laser and use the slider to adjust the laser power to 50%. In Hardware Settings, choose 8-bit depth resolution to acquire images [1].

    - SCREEN: To be uploaded by Authors: Laser Configuration window showing argon-ion laser activation and adjusting the laser power to 50%. Then, in Hardware Settings, choosing 8-bit depth resolution.

  - Next, in the acquisition panel, select the spectral detection XYl Z (X-Y-gamma-lambda-zed) scanning mode and set the format image to 512 x 512 px (pixels); scanning speed of 400 Hz (hertz) and optical zoom of 0.75 [1]. Activate the 458 nm (nanometer) laser line of the argon-ion laser and set its intensity value to 8.5% [2]. Then, select a HyD detector and set its sensitivity to a gain value of 500 [3].

    - SCREEN: To be uploaded by Authors: From the acquisition panel, selecting the spectral detection XYlZ scanning mode and setting the acquisition parameters for image format, scanning speed, and optical zoom.

    - SCREEN: To be uploaded by Authors: Laser Configuration window showing the 458 nm laser line activated with intensity set to 8.5%.

    - SCREEN: To be uploaded by Authors: Detector settings showing HyD detector selected, and sensitivity gain value set to 500.

  - Open the dropdown menu in the detector bar to select the cyan fluorescence protein or CFP (C-F-P) emission curve [1]. To display the Ypet (Y-P-E-T) emission curve, activate a second detector, then select the yellow fluorescence protein YFP (Y-F-P) emission curve [2].

    - SCREEN: To be uploaded by Authors: Opening the dropdown menu in the detector bar and selecting the CFP emission curve.

    - SCREEN: To be uploaded by Authors: Activation of the second detector and YFP emission curve visualization.

  - To start live acquisitions, position the detection cursor in the range of the most intense YFP signal to visualize the sample. Set the start and end positions of the sample thickness in the z-stack LAS (L-A-S) X window [1]. Set the l (gamma)-scan range properties to begin at 460 nm and end at 570 nm of the detection range. Define the Detection Band Width as 5 nm and l-scan Stepsize as 5 nm. Start z-stack acquisition [2].

    - SCREEN: To be uploaded by Authors: Detection cursor positioned in the range of YFP signal emission. LAS X window displaying Z-stack start and end positions.

    - SCREEN: To be uploaded by Authors: Setting the l-scan range properties to begin at 460 nm and end at 570 nm. Defining  Detection Band Width as 5 nm and l-scan Stepsize as 5 nm. Then, starting the z-stack acquisition.

Postprocessing and Dye Separation for Ratiometric FRET Imaging

  - To separate the donor and acceptor emissions, eliminate spectral bleedthrough from donor and acceptor emissions in the FRET channel [1]. Insert and save two adapted reference emission spectra for CFP and YFP in the dye database available in the Configuration window to exclude spectral bleed-through [2].

    - SCREEN: To be uploaded by Authors: Configuration window showing removal of spectral bleedthrough for CFP and YFP emissions.

    - SCREEN: To be uploaded by Authors: Configuration window showing the process of inserting and saving CFP and YFP reference emission spectra in the dye database.

  - Select the resulting spectral image file from the imaging session and open the Process window [1]. Next, in the Dye Separation tool, select Spectral Dye Separation and configure the settings for the dye separation. In the dropdown lists on the left side of the dialog, select the new CFP emission spectrum in the first position and the new YFP emission spectrum from the spectrum database [2].

    - SCREEN: To be uploaded by Authors: Selecting the resulting spectral image file from the imaging session and opening the Process window.

    - SCREEN: To be uploaded by Authors: In the Dye Separation tool, selecting the Spectral Dye Separation and configuring the settings for the dye separation with selected CFP and YFP emission spectra.

  - Under Rescale, select Per Channel to scale the channels individually [1]. In the λ-scan of the images, identify the image with the greatest signal intensity at the FRET channel emission peak [2]. Then, move along the Z scan to select the optical section that highlights the area of interest on the margin zone [3].

    - SCREEN: To be uploaded by Authors: Rescale option set to Per Channel in the Process window.

    - SCREEN: To be uploaded by Authors: λ-scan highlighting the image with the greatest signal intensity at the FRET emission peak.

    - SCREEN: To be uploaded by Authors: Z scan showing the selected optical section of the area of interest.

  - Activate the ROI (R-O-e) selection mode on the margin zone of the animal pole to define the area with the best spectrum [1]. Click on ROICrosshair in the display window and adjust the size of the reference ROI to 40 voxels in the Measurements Area [2]. In the image diagram, choose data normalization, then click Apply to perform the dye separation with the configured settings [3].

    - SCREEN: To be uploaded by Authors: Activating the ROI selection mode on the margin zone of the animal pole and defining the area with the best spectrum.

    - SCREEN: To be uploaded by Authors: Clicking on ROICrosshair in the display window and adjusting the size of the reference ROI to 40 voxels in the Measurements Area.

    - SCREEN: To be uploaded by Authors: Choosing data normalization, then clicking Apply to perform the dye separation with the configured settings.

  - Open the newly generated file containing the two separated channels. Produce a two-dimensional projection image from the three-dimensional image series using the maximum intensity projection [1]. In the Process window, select Crop to separate channels into two separate files, the CH1 (channel-one) and CH2 (channel-one) channels [2].

    - SCREEN: To be uploaded by Authors: Opening the newly generated file containing the two separated channels. Then, creating a 2D projection image from the 3D image series using the maximum intensity projection.

    - SCREEN: To be uploaded by Authors: In the Process window, selecting Crop tool and showing CH1 and CH2 channel separation

  - In the Process window, select Combine Images then select the CH2 file and insert it in the first option. Then, select the CH1 file and insert it in the second option [1]. Set a rescale with factor 5 and choose the Ratio operation [2]. Click on Apply to generate the new file containing the ratiometric image. Save the file for data analysis [3].

    - SCREEN: To be uploaded by Authors: In the Process window, selecting Combine Images, then selecting the CH2 file and inserting it in the first option. Then, selecting the CH1 file and inserting it in the second option.

    - SCREEN: To be uploaded by Authors: Setting a rescale with factor 5 and choosing the Ratio operation.

    - SCREEN: To be uploaded by Authors: Clicking Apply and a shot of the generated file containing the ratiometric image and saving the file.

Quantitative Analysis of FRET Signals and Image Rendering

  - Perform the FRET signal quantification experiment on more than two embryos based on an a priori statistical assessment of the expected effect. Import the spectral imaging and dye separation image files into the open-source Fiji (fiji) software for analysis [1].

    - SCREEN: To be uploaded by Authors: Assessing the statistical significance of the FRET signal image and importing the image into the Fiji software.

  - Configure parameters for readout measurements in Fiji using Analyze and Set Measurements. Select Area, Integrated Density, and Mean Grey Value as the parameters of interest [1]. Using the polygon selection tool from the toolbar, select the region of interest corresponding to the margin of the gastrula [2]. Sequentially, click Analyze, Tools, and ROI Manager to save the ROI x,y specifications [3].

    - SCREEN: To be uploaded by Authors: Selecting the Analyze and Set Measurements and selecting the Area, Integrated Density, and Mean Grey Value as the parameters of interest.

    - SCREEN: To be uploaded by Authors: Selecting the polygon selection tool from the toolbar and selecting the region of interest corresponding to the margin of the gastrula.

    - SCREEN: To be uploaded by Authors: Clicking Analyze, Tools, ROI Manager to save the ROI x,y specifications.

  - To perform measurements in a selected ROI, click on Analyze and Measure [1]. Organize FRET by CFP ratio values for each ROI in a worksheet with experimental groups in columns and raw values in rows [2].

    - SCREEN: To be uploaded by Authors: Clicking on Analyze and Measure to obtain the measurement values for the selected ROI.

    - SCREEN: To be uploaded by Authors:  Worksheet displaying FRET/CFP ratio values organized by experimental groups and raw data.

  - Organize a project for statistical assessment of the measurements, considering the replicates for each experimental condition. For a single biological replicate, create a column table with one grouping variable, where each group is defined by a column [1]. For multiple biological replicates, create grouped tables with two grouping variables: experimental conditions as columns and mean values of replicates as rows [2].

    - SCREEN: To be uploaded by Authors:   Column table displaying grouped data for a single biological replicate.

    - SCREEN: To be uploaded by Authors:   Grouped table with experimental conditions as columns and replicates' mean values as rows.

- Video 4: Assessment of Morphological Phenotypes and Image Analysis in Zebrafish Embryos

Demonstrator: Valeria Bonavolontà

Ethics Title Card

This research follows the ARRIVE guidelines and has been authorized by the Italian Ministry of Health (Direzione Generale della Sanità Animale e dei Farmaci veterinari – DGSAF)

Protocol

  - At the end of gastrulation, fix the embryos through immersion in 4% paraformaldehyde prepared in PBS for 20 minutes at room temperature [1]. After fixation, wash the embryos several times with PBS [2].

    - WIDE: Talent (Valeria Bonavolontà) adding PFA from the labeled container onto the embryos.

    - Talent (Valeria Bonavolontà) transferring PBS from the labeled container onto the embryos.

  - Using a Pasteur pipette, orient the embryos laterally in a single well of a 12-well plate containing fresh PBS [1].

    - Talent (Valeria Bonavolontà) using a Pasteur pipette to carefully orient embryos in the 12-well plate.

  - Using a stereo microscope with a 2.7x magnification objective with 0.63x scanning objective and 4.29 zoom factor [1], capture the images in a brightfield mode to evaluate the presence of an oval shape, a characteristic Rasopathy phenotype in zebrafish, and morphological rescue of embryo axes ratio resulting from treatment efficacy [2].

    - SCREEN: To be uploaded by Authors: Setting the stereo microscope objective to 3.4x magnification objective with 0.63x scanning objective and 8.60 zoom factor.

    - SCREEN: To be uploaded by Authors: Selecting brightfield mode and capturing the image of a laterally oriented embryo.

  - Import the captured embryo image into Fiji (fiji) software [1]. To measure the embryos' axes length, select the straight tool from the toolbar and click on Analyze, followed by Measure [2]. After performing selected measurements, add them to the ROI (R-O-e) manager list and save the ROI file [3].

    - SCREEN: To be uploaded by Authors: Fiji interface displaying the imported embryo image.

    - SCREEN: To be uploaded by Authors: Selecting the straight tool from the toolbar and clicking on Analyze followed by Measure and interface displaying measured values for the x and y axes.

    - SCREEN: To be uploaded by Authors: ROI Manager window showing saved ROI data.

  - Export the data into a worksheet. Calculate the axes ratio by dividing the length of the major axis by the length of the minor axis [1]. Calculate the mean, the standard deviation of the mean, or the standard error of the mean of different replicates [2].

    - SCREEN: To be uploaded by Authors: Exporting the data in a worksheet. Then, calculating the axes ratio by dividing the length of the major axis by the length of the minor axis.

    - SCREEN: To be uploaded by Authors: Calculating the mean, standard deviation of mean, or standard error of mean of different replicates.

# Authors: Acquire screen capture videos for all shots labeled SCREEN and upload them to your project page: https://review.jove.com/account/file-uploader?src=20688503