# Submission ID #: 67840

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20691248

# Title: Using a 1064-nm Picosecond Neodymium-Doped Yttrium Aluminum Garnet Laser for Periorbital Hyperpigmentation

# Authors and Affiliations:

Lei Huang1,2, Xiuqin Yu1, Lu Wang1, Tingting Zhu1, Fumin Fang1

1Department of Dermatology, The First Affiliated Hospital of Soochow University

2Department of Dermatology, The First People's Hospital of Kunshan

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Tingting Zhu		(zhutt29@163.com)

Fumin Fang		(fuminfang@outlook.com)

# Email Addresses for All Authors:

Lei Huang		(leihuang1215@163.com)

Xiuqin Yu		(syuxiuqin2010@163.com

Lu Wang		(luwang@suda.edu.cn)

Tingting Zhu		(zhutt29@163.com)

Fumin Fang		(fuminfang@outlook.com)

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

☐ Correct

☐ Incorrect

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible.

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: MM/DD/YYYY

DO NOT use this draft script for filming. Please wait until your script is finalized to begin the filming process.

When you are ready to submit your video files, please contact our China Location Producer, Yuan Yue.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  12

Number of Shots:  22

# Introduction

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Ethics Title Card

This research has been approved by the Ethics Committee at The First Affiliated Hospital of Soochow University

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that you/your videographer will capture.

- Pre-Treatment Evaluation, Preparation, and Picosecond Laser Therapy for Pigmented Lesions

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, review the patient’s medical history, including medication and allergy history, contraindications to treatment, pigmentary changes, previous cosmetic treatments, and manual surgeries [1].

    - WIDE: Talent sitting at a desk reviewing a patient’s printed medical records and digital chart on a tablet.

  - Perform a thorough physical examination of the patient [1]. Have both the therapist and patient hold mirrors simultaneously to examine the area to be treated [2].

    - Talent examining the patient.

    - Shot of both therapist and patient holding mirrors to the target treatment area.

  - After the patient has signed a consent form, use a digital camera and a skin analysis imaging system to take image data of the treatment area [1].

    - Talent capturing standardized pre-treatment photographs of the patient's face using a digital camera.

  - Next ask the patient to put on shoe covers when entering the treatment room [1]. Have the patient lie supine to expose the treatment area [2]. Remove any jewelry and contact lenses [3].

    - Talent handing over shoe covers to the patient.

    - Shot of patient lying on the treatment bed, exposing the treatment site.

    - Talent placing a tray with removed jewelry and a contact lens case on a nearby table.

  - Use a makeup remover and clean the area using a gentle cleaning product [1]. Then shave the hair in the treated area to prevent hair burning and interference with melanin absorption [2].

    - Talent applying makeup remover and gently cleaning the skin.

    - Talent using a disposable razor to shave the treatment site clean.

  - Now turn on the laser treatment room lights [1]. Disinfect the laser handpiece with 75% alcohol before use [2].

    - Talent switching on the ceiling and auxiliary lights in the laser treatment room.

    - Talent using alcohol swabs to disinfect the tip and body of the laser handpiece.

  - Take a comfortable seated position [1]. Wash hands and wear a hat, mask, and gloves [2]. Ensure the patient wears out-of-eye goggles and the therapist wears wavelength-specific laser safety goggles [3].

    - Talent sitting and adjusting position.

    - Talent washing hands and wearing a disposable cap, surgical mask, and gloves.

    - Talent placing protective goggles on the patient and adjusting personal laser safety goggles.

  - For the laser treatment, Choose the Resolve 1064 (ten-sixty-four) handpiece [1]. Set the energy level between 2.1 and 2.9 millijoules per microbeam, with a pulse duration of 450 picoseconds and frequency of 5 hertz [2].

    - Talent picking up and inspecting the Resolve 1064 handpiece from the equipment tray.

    - Talent sets the energy level to 2.1–2.9 mJ/microbeam, with 450 ps pulse at 5 Hz frequency.

  - Place the end of the treatment handpiece perpendicular against the skin [1-TXT]. Ensure the pulses overlap by 20 percent and cover the full treatment area, treating from the side to the middle of the face [2].

    - Talent aligning and pressing the handpiece firmly and perpendicularly to the skin.TXT: Ensure handpiece orientation is away from the eyeball in the periocular area

    - Talent systematically applying the handpiece across the treatment area, ensuring pulse overlap and smooth transition from the side to the center of the face.

  - Aim for the ideal endpoint the treatment which is the mild darkening of the lesion with slight exudation and bleeding [1].

    - Shot of treated lesion showing slight darkening, exudation, and pinpoint bleeding.

  - Once treatment is complete, apply an ice pack for 15 to 20 minutes [1]. Then apply medium-acting corticosteroid cream twice a day for 3 days [2-TXT].

    - Talent placing a wrapped ice pack on the treated area.

    - Talent applying corticosteroid cream on the patient. TXT: Use soothing and moisturizing products for 2 weeks post surgery

  - Instruct the patient to avoid sun exposure for 4 weeks and advise daily use of a broad-spectrum sunscreen with a sun protection factor of 30 or higher, and the use of physical barriers like umbrellas, hats, and goggles [1].

    - Talent explaining sun exposure guidelines using visual aids.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 128.

- Please note that the video cannot include voiceover without an accompanying visual.

- Representative Results

  - Photographic comparison before and after treatment showed visible reduction in dark pigmentation under the eyes in multiple patients following the three sessions of 1064-nanometer picosecond laser treatment [1]. Further image comparisons revealed decreased pigmentation and improved skin tone consistency around the eyes post-treatment in another patient [2].

    - LAB MEDIA: Figure 2. Video editor: Please highlight Image B

    - LAB MEDIA: Figure 3. Video editor: Please highlight Image B

  - The treatment produced noticeable brightening and reduced hollow appearance in the periorbital region of a patient, suggesting improved skin texture and reduced pigmentation [1].

    - LAB MEDIA: Figure 4. Video editor: Please highlight Image B

  - Majority of patients experienced improvement in pigmentation with 11 patients showing moderate improvement, 6 with mild improvement, and 2 with significant improvement [1].

    - LAB MEDIA: Table 2. Video editor: Please sequentially highlight the rows “moderate improvement”, “mild improvement” and “significant improvement”

  - Patient satisfaction data showed that 60% were satisfied and 25% were very satisfied, with an average satisfaction score of 4.1 out of 5, indicating high acceptance of the treatment [1].

    - LAB MEDIA: Table 3  Video editor: Please sequentially highlight the rows “Satisfied”, “Very satisfied” and “Likert satisfaction scale”.