# Submission ID #: 67840

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20691248

# Title: Using a 1064-nm Picosecond Neodymium-Doped Yttrium Aluminum Garnet Laser for Periorbital Hyperpigmentation

# Authors and Affiliations:

Lei Huang1,2, Xiuqin Yu1, Lu Wang1, Tingting Zhu1, Fumin Fang1

1Department of Dermatology, The First Affiliated Hospital of Soochow University

2Department of Dermatology, The First People's Hospital of Kunshan

# Corresponding Authors:

Tingting Zhu		(zhutt29@163.com)

Fumin Fang		(fuminfang@outlook.com)

# Email Addresses for All Authors:

Lei Huang		(leihuang1215@163.com)

Xiuqin Yu		(syuxiuqin2010@163.com

Lu Wang		(luwang@suda.edu.cn)

Tingting Zhu		(zhutt29@163.com)

Fumin Fang		(fuminfang@outlook.com)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar? No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

3. Filming location: Will the filming need to take place in multiple locations?

Current Protocol Length

Number of Steps:  12

Number of Shots:  22

# Introduction

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Fumin Fang: Our research focuses on the laser treatment of pigmented diseases. We aim to provide clinicians with a robust foundation for screening and treating patients with periorbital hyperpigmentation, thereby ensuring both efficacy and safety.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:2.8

What advantage does your protocol offer compared to other techniques?

  - Lei Huang: Picosecond lasers safely treat periorbital hyperpigmentation by fragmenting pigment and targeting vessels, with fractional low-energy mode minimizing side effects on the delicate eye-area skin.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

What research questions will your laboratory focus on in the future?

  - Lei Huang: Although various diseases currently have corresponding laser treatment endpoints, numerous uncertainties remain. We will continue to emphasize the standardization of treatment within the field of disease-related laser therapy.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

Ethics Title Card

This research has been approved by the Ethics Committee at The First Affiliated Hospital of Soochow University

# Protocol

- Pre-Treatment Evaluation, Preparation, and Picosecond Laser Therapy for Pigmented Lesions

Demonstrator: Lei Huang

  - To begin, review the patient’s medical history, including medication and allergy history, contraindications to treatment, pigmentary changes, previous cosmetic treatments, and manual surgeries [1].

    - WIDE: Talent sitting at a desk reviewing a patient’s printed medical records and digital chart on a tablet.

  - Perform a thorough physical examination of the patient [1]. Have both the therapist and patient hold mirrors simultaneously to examine the area to be treated [2].

    - Talent examining the patient.

    - Shot of both therapist and patient holding mirrors to the target treatment area.

  - After the patient has signed a consent form, use a digital camera and a skin analysis imaging system to take image data of the treatment area [1].

    - Talent capturing standardized pre-treatment photographs of the patient's face using a digital camera.

  - Next ask the patient to put on shoe covers when entering the treatment room [1]. Have the patient lie supine to expose the treatment area [2]. Remove any jewelry and contact lenses [3].

    - Talent handing over shoe covers to the patient.

    - Shot of patient lying on the treatment bed, exposing the treatment site.

    - Talent placing a tray with removed jewelry and a contact lens case on a nearby table.

  - Use a makeup remover and clean the area using a gentle cleaning product [1]. Then shave the hair in the treated area to prevent hair burning and interference with melanin absorption [2].

    - Talent applying makeup remover and gently cleaning the skin.

    - Talent using a disposable razor to shave the treatment site clean.

  - Now turn on the laser treatment room lights [1]. Disinfect the laser handpiece with 75% alcohol before use [2].

    - Talent switching on the ceiling and auxiliary lights in the laser treatment room.

    - Talent using alcohol swabs to disinfect the tip and body of the laser handpiece.

  - Take a comfortable seated position [1]. Wash hands and wear a hat, mask, and gloves [2]. Ensure the patient wears out-of-eye goggles and the therapist wears wavelength-specific laser safety goggles [3].

    - Talent sitting and adjusting position.

    - Talent washing hands and wearing a disposable cap, surgical mask, and gloves.

    - Talent placing protective goggles on the patient and adjusting personal laser safety goggles.

  - For the laser treatment, Choose the Resolve 1064 (ten-sixty-four) handpiece [1]. Set the energy level between 2.1 and 2.9 millijoules per microbeam, with a pulse duration of 450 picoseconds and frequency of 5 hertz [2].

    - Talent picking up and inspecting the Resolve 1064 handpiece from the equipment tray.

    - Talent sets the energy level to 2.1–2.9 mJ/microbeam, with 450 ps pulse at 5 Hz frequency.

  - Place the end of the treatment handpiece perpendicular against the skin [1-TXT]. Ensure the pulses overlap by 20 percent and cover the full treatment area, treating from the side to the middle of the face [2].

    - Talent aligning and pressing the handpiece firmly and perpendicularly to the skin.TXT: Ensure handpiece orientation is away from the eyeball in the periocular area

    - Talent systematically applying the handpiece across the treatment area, ensuring pulse overlap and smooth transition from the side to the center of the face.

  - Aim for the ideal endpoint the treatment which is the mild darkening of the lesion with slight exudation and bleeding [1].

    - Shot of treated lesion showing slight darkening, exudation, and pinpoint bleeding.

  - Once treatment is complete, apply an ice pack for 15 to 20 minutes [1]. Then apply medium-acting corticosteroid cream twice a day for 3 days [2-TXT].

    - Talent placing a wrapped ice pack on the treated area.

    - Talent applying corticosteroid cream on the patient. TXT: Use soothing and moisturizing products for 2 weeks post surgery

  - Instruct the patient to avoid sun exposure for 4 weeks and advise daily use of a broad-spectrum sunscreen with a sun protection factor of 30 or higher, and the use of physical barriers like umbrellas, hats, and goggles [1].

    - Talent explaining sun exposure guidelines using visual aids.

# Results

- Results

  - Photographic comparison before and after treatment showed visible reduction in dark pigmentation under the eyes in multiple patients following the three sessions of 1064-nanometer picosecond laser treatment [1]. Further image comparisons revealed decreased pigmentation and improved skin tone consistency around the eyes post-treatment in another patient [2].

    - LAB MEDIA: Figure 2. Video editor: Please highlight Image B

    - LAB MEDIA: Figure 3. Video editor: Please highlight Image B

  - The treatment produced noticeable brightening and reduced hollow appearance in the periorbital region of a patient, suggesting improved skin texture and reduced pigmentation [1].

    - LAB MEDIA: Figure 4. Video editor: Please highlight Image B

  - Majority of patients experienced improvement in pigmentation with 11 patients showing moderate improvement, 6 with mild improvement, and 2 with significant improvement [1].

    - LAB MEDIA: Table 2. Video editor: Please sequentially highlight the rows “moderate improvement”, “mild improvement” and “significant improvement”

  - Patient satisfaction data showed that 60% were satisfied and 25% were very satisfied, with an average satisfaction score of 4.1 out of 5, indicating high acceptance of the treatment [1].

    - LAB MEDIA: Table 3  Video editor: Please sequentially highlight the rows “Satisfied”, “Very satisfied” and “Likert satisfaction scale”.