# Submission ID #: 67888

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20705888

# Title: Localizing Function-Specific Targets for Transcranial Magnetic Stimulation in the Absence of Navigation Equipment

# Authors and Affiliations:

# Bingbing Zhou* 1, Jiajia Qi* 1, Kangjia Chen*2, Hong Li1, Jiahui Liu1, Qian Zhou1, Zujuan Ye1, Jue Wang1

# 1Chengdu Sport University

# 2University of Electronic Science and Technology of China

# *These authors contributed equally to this work

# Corresponding Authors:

Jue Wang 				(juefirst@cdsu.edu.cn)

# Email Addresses for All Authors:

Bing-Bing Zhou 			(zhoubingbing199905@163.com)

Jia-Jia Qi 				(qijiajia0629@163.com)

Kang-Jia Chen 				(chenkangjia_uestc@163.com)

Hong Li 				(lh18360937396@163.com)

Jia-Hui Liu 				(keyi877176272@163.com)

Qian Zhou 				(zhouqian001210@163.com)

Zu-Juan Ye 				(yzujuan@163.com)

Jue Wang 				(juefirst@cdsu.edu.cn)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

3. Filming location: Will the filming need to take place in multiple locations?   No

Current Protocol Length

Number of Steps:  27

Number of Shots:  50

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

AUTHORS: Please note that only 5 introductory statements may be presented.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Bingbing Zhou: A part of our research is figuring out how to define and locate TMS targets, especially for clinics that don’t have navigation equipment.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

What are the most recent developments in your field of research?

  - Jiajia Qi: Transcranial Magnetic Stimulation targeting has gone from simple spot-picking to tuning brain networks, and with AI helping, it’s getting smarter, more personal, and closer to custom brain treatments.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

What technologies are currently used to advance research in your field?

  - Kangjia Chen: Right now, ways to define Transcranial Magnetic Stimulation targets include multimodal imaging-guided, fMRI-guided, picking targets based on cognitive performance, using closed-loop and brain-state dependent TMS, and modeling electric fields with high precision.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

What are the current experimental challenges?

  - Hong Li: It is challenging to map 3D cortical coordinates onto the 2D scalp without introducing errors.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

What research gap are you addressing with your protocol?

  - Jiahui Liu: Most clinics don’t have neuronavigation systems, so they cannot offer personalized, function-specific Transcranial Magnetic Stimulation treatments. Our protocol solved this problem.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Jue Wang: Publishing in JoVE is likely to increase our clinical collaborations and citation counts. It will also reduce the manpower required for training after publication. Additionally, our ruler will help clinics save on the costs of navigation equipment.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

AUTHORS: Please deliver the interview statements in both Chinese and in English

Ethics Title Card
This research has been approved by the Ethics Committee at Chengdu Sport University

# Protocol

- Functional Localization and Stimulation Targeting Workflow for Task-State fMRI Analysis

Demonstrator: Bingbing Zhou

  - To begin, open the preprocessing software [1]. Click on DPARSF 5.4 (D-P-A-R-S-F-five-point- four), then choose the DPARSF Advanced Edition to preprocess the task-state data using specific parameters [2].

    - WIDE: Talent launching the DPARSF software.
AUTHORS: Please note that the opening shot should be a WIDE, non-screen shot. Please film accordingly

    - SCREEN: 67888_screenshot_1.mp4	00:00-00:06

  - Perform slice timing and head motion corrections. Coregister the functional images to structural images and apply spatial smoothing with a full width at half maximum of 6 millimeters [1].

    - SCREEN: 67888_screenshot_1.mp4	00:07- 00:52

  - Open SPM12 (S-P-M-Twelve) and click on Coregister Estimate [1]. For the Reference Image, select the file named sub *crop_1.nii (sub-asterisk-crop-underscore-1-dot-N-I-I) from the T1Img (T-one-I-M-G) folder [2]. For the Source Image, choose the mean*.nii (mean-asterisk-dot-N-I-I) file from the RealignParameter (Realign-Parameter) folder [3]. For the Other Image, select the ra*.nii (Rah-asterisk-N-I-I)  file from the FunImgAR (Fun-I-m-g-A-R) folder [4].

    - SCREEN: 67888_screenshot_1.mp4	00:54-00:58, 01:04-01:10

    - SCREEN: 67888_screenshot_1.mp4	01:12-01:16

    - SCREEN: 67888_screenshot_1.mp4	01:17-01:23

    - SCREEN: 67888_screenshot_1.mp4	01:25-01:36

  - Click on Segment and then select Volumes. Choose the sub*crop_1.nii file from the T1Img folder [1]. For Deformation Fields, select Inverse + Forward (Inverse plus Forward), then click Run [2]. Repeat this segmentation for the sub*.nii file from the same folder [3].

    - SCREEN: 67888_screenshot_1.mp4	01:52-02:04

    - SCREEN: 67888_screenshot_1.mp4	02:05-02:10

    - SCREEN: 67888_screenshot_1.mp4	02:16-02:33
Video Editor: Please speed up the video

  - Next, click on Smooth. Select the ra*.nii files from the FunImgAR folder for Image to Smooth and enter 6 6 6 in the FWHM (F-W-H-M) field [1].

    - SCREEN: 67888_screenshot_1.mp4	02:36-02:58

  - Perform first-level analysis to obtain individual activation maps and identify the peak voxel of activation as the stimulation target [1].

    - SCREEN: 67888_screenshot_1.mp4	05:36-05:46

  - Create a new folder named indiv_act (in-div-underscore-act) and click on Specify 1st-level (Specify-first-level) [1]. In the Directory field, select the indiv_act folder, click on Units for design, choose Scans, and enter 2 for the Interscan interval [2].

    - SCREEN: 67888_screenshot_1.mp4	03:48-04:03
Video Editor: Please speed up the video

    - SCREEN: 67888_screenshot_1.mp4	04:04-04:18

  - In the Data & Design (Data-and-Design) section, choose the sra*.nii (S-R-A-Asterisk-dot-I-I) files under Scans [1]. Under the Condition section, set Name to tap, then enter 0 30 60 90 (Zero-thirty-sixty-ninety) for Onset, and set Durations to 15 [2]. Then click on Multiple regressors and select the rp_a*.txt (R-P-Underscore_A-Asterisk-dot-T-X-T) file from the RealignParameters [3].

    - SCREEN: 67888_screenshot_1.mp4	04:20-4:35, 4:47-04:58 
Video Editor: Please speed up the video

    - SCREEN: 67888_screenshot_1.mp4	05:01-05:17

    - SCREEN: 67888_screenshot_1.mp4	05:22-05:29

  - To estimate, select the SPM.mat (S-P-M-Mat) file from the indiv_act folder and generate the individual task activation map, spmT_0001 (S-P-M-T-Underscore-zero-zero-zero-one) [1].

    - SCREEN: 67888_screenshot_1.mp4	05:48-05:56

  - Now press Results and choose the SPM.mat file from the indiv_act folder, check t-contrast and click on Define new contrast [1]. Enter a custom name, then input 1 0 (one-zero) in the contrast field, and click on Submit, OK, Done [2].

    - SCREEN: 67888_screenshot_1.mp4	06:05-06:27

    - SCREEN: 67888_screenshot_1.mp4	06:28- 06:38

  - Under Apply masking, select None, then choose None under p value adjustment to control and set the value to 0.001. Set the & (and) extend threshold to 0 [1].

    - SCREEN: 67888_screenshot_1.mp4	06:39-06:43

  - Now click on Normalise (Write) (Normalise-Write) and then Data. In Deformation Fields, select the iy_Crop_1 (I-Y-Crop-One) file from the T1Img folder [1]. For Image to write, choose the M1 brain region mask, then enter the individual bounding box and voxel sizes [2].

    - SCREEN: 67888_screenshot_1.mp4	08:17-08:31

    - SCREEN: 67888_screenshot_1.mp4	08:32-08:38

  - Next press Coregister Reslice, then select spmT_0001 from the indiv_act folder for Image Defining Space. For Image to Reslice, choose the w*.nii (W-asterisk-dot-N-i-i)  file generated previously[1].

    - SCREEN: 67888_screenshot_1.mp4	09:01-09:20

  - Now, compute the individual task activation peak. In MATLAB, run the sort positive code then input names as given [1]. Identify the first X-coordinate with a negative value and record it as the individual task activation peak [2].

    - SCREEN: 67888_screenshot_1.mp4	09:34-09:45, 09:58-10:01, 10:07-10:14, 10:25-10:32 
AND
TEXT ON PLAIN BACKGROUND:
InputName1: select the path of the rw*.nii file
InputName2: Select the path of the spmT_0001 file from the indiv_act folder
InputName3: Select the output folder path
Video Editor: Please play both shots side by side

    - SCREEN: 67888_screenshot_1.mp4	11:08-11:15

  - To locate the individualized function-specific target, first determine the output intensity of the stimulator based on the participant’s resting motor threshold [1]. Use a frameless stereotactic optical tracking neuronavigation system, with the participant seated comfortably and wearing a head-mounted calibrator [2].
Videographer: Please record screens of instrument for 2.15-2.17

    - Talent determining the output intensity.

    - Shot of Participant seated in a chair while a head-mounted calibrator is positioned and adjusted.

  - Click on the anatomical option. Then import the participant’s T1-weighted structural images into the navigation system for head modeling [1]. Click on the Reconstruction option and reconstruct the skin on the image [2].

    - Shot of the anatomical option being clicked and the Navigation software import of T1-weighted images for anatomical modeling.

    - Shot of Skin surface reconstruction process being initiated and visualized on the navigation interface.

  - Next press the Landmarks option. Use the localizer tool to mark four landmarks on the participant’s head [1]. Then click on the Target option. Identify and establish the target trajectory in the brain region [2]. Then locate the stimulation target on the participant’s individual images. After positioning, move the target to align with the crosshairs and complete TMS (T-M-S) localization [3].

    - Shot of the Localizer tool being used to define and mark the four anatomical landmarks.

    - Shot of Target being clicked. The target trajectory is being identified in the brain.

    - Shot of the stimulation target is being located on the images. Then the target is being moved to align with the crosshairs and the TMS localization is being completed.

  - To locate the individualized function-specific target launch SPM12 (S-P-M-Twelve), click on fMRI (F-M-R-I), and then select Segment from the menu [1]. Under the parameters interface, press the Volumes button, select the MNI (M-N-I) brain template file, then click on Deformation Fields to select Inverse + Forward [2].

    - SCREEN: 67888_screenshot_2.mp4	00:00-00:04

    - SCREEN: 67888_screenshot_2.mp4	00:04-00:22

  - Next, launch MATLAB and run the edges code to outline the inner and outer edges of the standard scalp. Select the c5.nii image, then click Done to generate the c5_edges.nii file [1].

    - SCREEN: 67888_screenshot_2.mp4	00:31- 01:07
Video Editor: Please speed up the video

  - Now use SPM12 to transform the standard scalp edge into individual space. Click Normalise (Write) and click on Data [1]. Select the iy_sub*.nii file from the T1Img folder under Deformation Fields. Choose c5_outer_edge.nii for Images to Write and input the individual bounding box and voxel sizes [2].

    - SCREEN: 67888_screenshot_2.mp4	01:12-01:20

    - SCREEN: 67888_screenshot_2.mp4	01:21-01:38, 01:40-2:18

  - Convert cortical coordinates to scalp coordinates by opening the TransCortex2Scalp (Trans-Cortex-two-Scalp) code in MATLAB and execute the first line. Enter the individual activation point coordinates, select the wc5_outer_edge.nii (W-C-Five-Outer-Edge) file, then record the output coordinates [1].

    - SCREEN: 67888_screenshot_2.mp4	02:51-03:14

  - Open DPABI_Viewer (D-Pahbee-Viewer), click on Underlay and select the individual T1 structural image [1]. Locate and record the coordinates of the left and right auricular peaks, the nasion, and the inion [2].

    - SCREEN: 67888_screenshot_2.mp4	03:30-03:42

    - SCREEN: 67888_screenshot_2.mp4	03:46-04:10, 04:20-04:26, 04:40-04:47
Video Editor: please speed up the video, if needed

  - Now, define the scalp origin by opening the intersection code in MATLAB. Input the coordinates of the four landmark points, then run the code to calculate the intersection coordinates of the ear and nasion-inion lines. Record the intersection coordinates [1].

    - SCREEN: 67888_screenshot_3.mp4	00:00-00:20

  - To move the intersection point along the Z-axis to the scalp, open the origin code in MATLAB, enter the intersection point coordinates in Define point H, and select the wc5_outer_edge.nii file. Obtain the scalp origin coordinates O [1].

    - SCREEN: 67888_screenshot_3.mp4	00:21-00:40

  - To calculate the actual distance from the scalp origin to each point, run the distance code, select the wc5_outer_edge.nii file, and enter the scalp origin, target, and four landmark point coordinates as prompted [1].

    - SCREEN: 67888_screenshot_3.mp4	00:44-00:59, 01:06-01:11, 01:15-01:30

  - Now, calculate the angle between the line connecting the scalp target and the scalp origin and the X-axis in the XY plane by opening the calculate_angle_X_axis (calculate-angle-X-axis) code and run the first line [1]. In the command window, input the coordinates of the scalp origin and stimulation target [2].

    - SCREEN: 67888_screenshot_3.mp4	01:32-01:36

    - SCREEN: 67888_screenshot_3.mp4	01:35-02:07

  - Use the targeting ruler to fix the corresponding soft ruler position based on the calculated distance and angle [1]. Then mark the scalp with a washable pen [2].

    - Talent aligning soft ruler on the scalp using targeting measurements.

    - Talent marking the stimulation site with a pen.

# Results

- Representative Results

  - No significant differences were observed between the navigated and non-navigated conditions [1].

    - LAB MEDIA: Figure 5

  - Based on one-sample t-test maps, functional connectivity [1] and amplitude of low-frequency fluctuation results displayed without multiple comparison correction [2].

    - LAB MEDIA: Figure 5 Video Editor: Please highlight the first row

    - LAB MEDIA: Figure 5 Video Editor: Please highlight the second row