# Submission ID #: 67904

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=20710768

# Title: Longitudinal Micro-Computed Tomography Image Analysis for User-Defined Region of Interest in Critical-Sized Bone Defects

# Authors and Affiliations:

# Anthony J. Yosick1,2, Bei Liu2,3, Victor Z. Zhang1,2, Ming Yan1,2, Hani A. Awad1,2,4

# 1Department of Biomedical Engineering, University of Rochester

# 2Center for Musculoskeletal Research, Department of Orthopaedics, University of Rochester Medical Center

# 3Department of Translational Biomedical Science, University of Rochester Medical Center

# 4Department of Orthopaedics, University of Rochester Medical Center

# Corresponding Authors:

# Anthony J. Yosick		ayosick@ur.rochester.edu

# Email Addresses for All Authors:

Bei Liu				bei_liu@urmc.rochester.edu

Victor Z. Zhang		victor_zhang@urmc.rochester.edu

Ming Yan			myan6@ur.rochester.edu

# Hani A. Awad			hani_awad@urmc.rochester.edu

# Anthony J. Yosick		ayosick@ur.rochester.edu

## Author Questionnaire

1. 1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

☐ Correct

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes, all done

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: MM/DD/YYYY

Authors, please provide a tentative date by when you cans hoot the shoot interviews

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

Current Protocol Length

Number of Steps:  25

Number of Shots:  55 (54 SC)

# Introduction

  - Bei Liu: We develop nanoparticle scaffolds to enhance bone regeneration in critical-sized defects, aiming to improve healing rates compared to traditional scaffolds.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.1.2

What research gap are you addressing with your protocol?

  - Anthony J. Yosick: Current methods often track bone volume changes across entire bones, lacking precision in consistently identifying localized regions of interest in longitudinal models.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 3.2.1

What advantage does your protocol offer compared to other techniques?

  - Anthony J. Yosick: Our protocol enables consistent, localized region-of-interest tracking in solid models, improving precision in longitudinal analysis and compared to full-bone volume assessments.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 4.2.1

How will your findings advance research in your field?

  - Bei Liu: These findings will allow us to more accurately quantify bone regeneration over time and more effectively communicate the potential translational impact of our work.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 6.2.1

Ethics Title Card

This research has been approved by the University of Rochester's Committee on Animal Resources

# Protocol

- Model Alignment for Data Processing

Demonstrator: Victor Z. Zhang

  - To begin, open the extracted radius bone from the comparison data set and right-click on it [1]. Then, search for Image Registration Wizard, and select it [2]. In the Properties section, set Data to the comparison data set for the extracted radius bone [3] and Reference to the initial time point data set for the extracted radius bone [4].

2.1.2	WIDE: Talent taking a seat at the computer table.

2.1.2    SCREEN: 67904_Screenshot_01.mp4 . 00:10-00:18

2.1.3	SCREEN: 67904_Screenshot_01.mp4 . 00:18-00:21

2.1.4	SCREEN: 67904_Screenshot_01.mp4 . 00:21-00:30

2.2	In the Image Registration Wizard Actions section, click Skip for Step 1 of 4 [1]. For Steps 2 and 3 of 4, use the interact cursor to adjust the TabBox to the common region between the data sets, and click Apply under Action after each step [2]. In Step 4 of 4, set Metric to Correlation, Transformation to Rigid, Pre-Alignment to Align Principal Axes, and click Apply under Action [3].

2.2.1	SCREEN: 67904_Screenshot_01.mp4 . 00:30-00:37

2.2.2	SCREEN: 67904_Screenshot_01.mp4 . 00:40-00:48 and 01:04-01:10

2.2.3	SCREEN: 67904_Screenshot_01.mp4 .01:47-01:54

2.3	After aligning the data sets, right-click on the comparison week data set for the extracted radius bone, search for Resample Transformed Image, and select it [1]. In the Properties section, set Data to the comparison week data set for the extracted radius bone, Interpolation to Nearest Neighbor, Mode to Extended, Preserve to Voxel Size, and Padding Value to 0, then click Apply [2]. A new transformed data set will be generated [3].

2.3.1	SCREEN: 67904_Screenshot_01.mp4 . 03:00-03:11

2.3.2	SCREEN: 67904_Screenshot_01.mp4 . 03:11-03:26

2.3.3	SCREEN: 67904_Screenshot_01.mp4 . 03:26-03:30

- ROI Selection and Cropping

3.1	Click to turn on the Ortho Slice for the initial time point and set Data to the initial time point data set for the extracted radius [1]. Set Orientation so the plane yields a transverse cut through the radius bone [2].

3.1.1	SCREEN: 67904_Screenshot_02.mp4 . 00:18-00:26

3.1.2	SCREEN: 67904_Screenshot_02.mp4 . 00:26-00:35

3.2	Using the Slice Number slider in the Properties section, adjust the slice number to identify the proximal and distal slices surrounding the critical-sized defect [1]. Determine and document the slice number where the fracture meets the diaphysis of the radius bone at both ends [2].

3.2.1	SCREEN: 67904_Screenshot_02.mp4 . 00:45-00:55

3.2.2	SCREEN: 67904_Screenshot_02.mp4 . 01:32-01:42

3.3	Turn on the Ortho Slice for the comparison week and set Data to the initial time point data set for the extracted radius [1]. Then, adjust Orientation so the plane yields a transverse cut through the radius bone [2].

3.3.1	SCREEN: 67904_Screenshot_03.mp4 . 00:03-00:16

3.3.2	SCREEN: 67904_Screenshot_03.mp4 . 00:16-00:20

3.4	Using the Slice Number slider in the Properties section with the initial time point data showing the distal Ortho Slice, align the comparison week slice number to match the distal slice of the initial time point [1]. Note the slice number for the comparison week data set's distal slice and repeat for the proximal slice [2].

3.4.1	SCREEN: 67904_Screenshot_03.mp4 . 00:37-00:49

3.4.2	SCREEN: 67904_Screenshot_04.mp4 . 00:30-00:40

3.5	Click on the initial time point for the extracted radius and in the Properties section, click on the Crop Editor tool [1].

3.5.1	SCREEN: 67904_Screenshot_05.mp4 . 00:02-00:15

3.6	Within the Crop Editor pop-up, input the minimum and maximum values in the X, Y, or Z fields [1]. Observe the viewing window as the region of interest adjusts, then click OK to crop the data set [2].

3.6.1	SCREEN: 67904_Screenshot_05.mp4 . 00:30-00:42

3.6.2	SCREEN: 67904_Screenshot_05.mp4. 00:42-00:46

3.7	Repeat the crop procedure for the comparison week data set [1].

3.7.1	SCREEN: 67904_Screenshot_05.mp4 . 00:53-00:59 and 01:28-01:32

- Volume Analysis of Data Sets

4.1	To determine the volume of the initial time point data set, right-click on the transformed initial time point data set for the extracted radius [1], search for Material Statistics, and select it [2]. In the Properties section, set Data as the transformed initial time point data set, select Materials, and click Apply [3].

4.1.1	SCREEN: 67904_Screenshot_06.mp4. 00:03-00:07

4.1.2	SCREEN: 67904_Screenshot_06.mp4. 00:07-00:12

4.1.3	SCREEN: 67904_Screenshot_06.mp4. 00:12-00:33

4.2	Click on the new .MaterialStatistics (material statistics) data set, then in the Properties window click on Spreadsheet Show [1]. Click the Tables tab above the window to view the volume of the cropped initial time point data set [2].

4.2.1	SCREEN: 67904_Screenshot_06.mp4. 00:33-00:36

4.2.2	SCREEN: 67904_Screenshot_06.mp4. 00:36-00:43

4.3	Repeat the volume analysis steps for the comparison week data set [1] and then go to the Tables tab to view both data sets with separate volume tabs [2].

4.3.1	SCREEN: 67904_Screenshot_06.mp4. 00:43-01:02

4.3.2	SCREEN: 67904_Screenshot_06.mp4. 01:02-01:13

5. Visualization of Data Sets

5.1	To visualize the change in bone volume, right-click on the comparison week transformed data set for the extracted radius, search for Arithmetic, and select it [1].

5.1.1	SCREEN: 67904_Screenshot_07.mp4. 00:05-00:14

5.2	In the Properties window, set Input A as the comparison week transformed data set, Input B as the initial time point data set [1], Input C as No Source, Result Type as Input A, leave Option unchecked [2], set Result Channels as like Input A, and set Expression as A-B (A-B) [3].

5.2.1	SCREEN: 67904_Screenshot_07.mp4. 00:14-00:26

5.2.2	SCREEN: 67904_Screenshot_07.mp4. 00:26-00:30

5.2.3	SCREEN: 67904_Screenshot_07.mp4. 00:30-00:44

5.3	Click on the resulting data set and press F2 to rename the file [1]. Then, right-click on this result data set, search for Generate Surface, and select it [2]. In the Properties window, click Apply, and in the pop-up window, click Continue to create a new .surf (surf) data set [3].

5.3.1	SCREEN: 67904_Screenshot_07.mp4. 01:16-01:29

5.3.2	SCREEN: 67904_Screenshot_07.mp4. 01:29-01:42

5.3.3	SCREEN: 67904_Screenshot_07.mp4. 01:42-01:54

5.4	Right-click on the .surf data set, search for Surface View, and select it [1]. A surface view of the arithmetic result will appear in the viewing window [2].

5.4.1	SCREEN: 67904_Screenshot_07.mp4. 01:54-02:02

5.4.2	SCREEN: 67904_Screenshot_07.mp4. 02:02-02:19

5.5	To change the color of the surface view, click on the surface view in the Project View window [1]. In the Properties window, open the Colors drop-down, select Constant, then click on Colormap and assign a preferred color [2].

5.5.1	SCREEN: 67904_Screenshot_07.mp4. 02:19-02:24

5.5.2	SCREEN: 67904_Screenshot_08.mp4. 00:02-00:14

5.6	To view bone volume change on the initial week data set, right-click on the .transformed (transformed) data set, search for Extract Label, and select it [1].

5.6.1	SCREEN: 67904_Screenshot_08.mp4. 00:25-00:40

5.7	In the Properties section, set Labels to the .transformed data set, Label ID to 2, and check Export to Binary, then click Apply to generate a result data set [1]. Then, press F2 to rename the result file [2].

5.7.1	SCREEN: 67904_Screenshot_08.mp4. 00:40-00:53

5.7.2	SCREEN: 67904_Screenshot_08.mp4. 00:53-01:03

5.8	Right-click on the new result data set, search for Generate Surface, and select it [1]. In the Properties window, click Apply, and in the pop-up window, click Continue to create a new .surf data set [2].

5.8.1	SCREEN: 67904_Screenshot_08.mp4. 01:03-01:07

5.8.2	SCREEN: 67904_Screenshot_08.mp4. 01:07-01:24

5.9	Next, right-click on the new .surf data set, search for Surface View, and select it. A surface view of the arithmetic result will appear [1].

5.9.1	SCREEN: 67904_Screenshot_08.mp4. 01:24-01:30

5.10	To change the color of this surface view, click on the surface view in the Project View window [1]. In the Properties window, open the Colors drop-down, select Constant, then click on Colormap and assign a preferred color [2].

5.10.1	SCREEN: 67904_Screenshot_08.mp4. 01:24-01:31

5.10.2	SCREEN: 67904_Screenshot_08.mp4. 01:31-01:45

# Results

# 6. Results

  - Micro-CT images of three unique rat models, each treated with a polycaprolactone scaffold for 6 weeks, were investigated. Solid models from weeks 0 and 6 were successfully aligned using shared anatomical regions, enabling direct longitudinal comparison [1], and a merged model was generated to confirm registration accuracy [2].

    - LAB MEDIA: Figure 2. Video editor: Highlight the top and middle rows labelled “WK 0” and “WK 6”.

    - LAB MEDIA: Figure 2. Video editor: Highlight the bottom row “WK 0+6”

  - Subtracting the week 0 region of interest from the week 6 region of interest [1] revealed a distinct 3D model of bone volume change within the defect site [2].

    - LAB MEDIA: Figure 3. Video editor: Highlight the middle and left segments labelled “WK 6 ROI” and “WK 0 ROI”.

    - LAB MEDIA: Figure 3. Video editor: Highlight the far-right segment labelled “Bone Change ROI” .

  - Visual overlays of bone volume changes from week 0 to week 6 demonstrated variability across triplicate trials for each polycaprolactone scaffold [1], with consistent defect bridging evident in PCL 2 models [2].

    - LAB MEDIA: Figure 4. Video editor: Sequentially highlight each column

    - LAB MEDIA: Figure 4. Video editor: Zoom in on the PCL 2 row

Pronunciation guide :

### 1. Diaphysis

- Pronunciation link: https://www.merriam-webster.com/dictionary/diaphysis

- IPA: /daɪˈæfəsɪs/

- Phonetic Spelling: dye-AF-uh-sis(merriam-webster.com, merriam-webster.com)

### 2. Voxel

- Pronunciation link: https://www.merriam-webster.com/dictionary/voxel

- IPA: /ˈvɒksəl/

- Phonetic Spelling: VOK-suhl

### 3. Interpolation

- Pronunciation link: https://www.merriam-webster.com/dictionary/interpolation

- IPA: /ɪnˌtɜːrpəˈleɪʃən/

- Phonetic Spelling: in-TUR-puh-LAY-shun(merriam-webster.com, merriam-webster.com)

### 4. Transverse

- Pronunciation link: https://www.merriam-webster.com/dictionary/transverse

- IPA: /ˈtrænsvɜːrs/

- Phonetic Spelling: TRANS-vers(merriam-webster.com, merriam-webster.com)

### 5. Proximal

- Pronunciation link: https://www.merriam-webster.com/dictionary/proximal

- IPA: /ˈprɒksɪməl/

- Phonetic Spelling: PROK-sih-muhl(merriam-webster.com, merriam-webster.com)

### 6. Distal

- Pronunciation link: https://www.merriam-webster.com/dictionary/distal

- IPA: /ˈdɪstəl/

- Phonetic Spelling: DIS-tuhl

### 7. Resample

- Pronunciation link: https://www.merriam-webster.com/dictionary/resample

- IPA: /riːˈsæmpəl/

- Phonetic Spelling: ree-SAM-puhl(merriam-webster.com, merriam-webster.com)

### 8. Rigid

- Pronunciation link: https://www.merriam-webster.com/dictionary/rigid

- IPA: /ˈrɪdʒɪd/

- Phonetic Spelling: RIJ-id

### 9. Correlation

- Pronunciation link: https://www.merriam-webster.com/dictionary/correlation

- IPA: /ˌkɔːrəˈleɪʃən/

- Phonetic Spelling: kor-uh-LAY-shun(merriam-webster.com)

### 10. Transformation

- Pronunciation link: https://www.merriam-webster.com/dictionary/transformation

- IPA: /ˌtrænsfərˈmeɪʃən/

- Phonetic Spelling: trans-fer-MAY-shun(merriam-webster.com)

### 11. Alignment

- Pronunciation link: https://www.merriam-webster.com/dictionary/alignment

- IPA: /əˈlaɪnmənt/

- Phonetic Spelling: uh-LINE-ment

### 12. Arithmetic

- Pronunciation link: https://www.merriam-webster.com/dictionary/arithmetic

- IPA: /əˈrɪθmətɪk/

- Phonetic Spelling: uh-RITH-muh-tik

### 13. Scaffold

- Pronunciation link: https://www.merriam-webster.com/dictionary/scaffold

- IPA: /ˈskæfəld/

- Phonetic Spelling: SKAF-uhld

### 14. Registration

- Pronunciation link: https://www.merriam-webster.com/dictionary/registration

- IPA: /ˌrɛdʒɪˈstreɪʃən/

- Phonetic Spelling: rej-ih-STRAY-shun