# Submission ID #: 67956

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20726628

# Title: A Streamlined, Label-Free Real-Time 50% Tissue Culture Infectious Dose (TCID50) Assay using Impedance for Automated Viral Titer Quantification

# Authors and Affiliations:

# Jing Zhang, Yama A. Abassi, Nancy Li, Xiaobo Wang, Xiaoyu Zhang

# Agilent Technologies, Inc. La Jolla

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Xiaoyu Zhang		(xiaoyu.zhang@agilent.com)

# Email Addresses for All Authors:

Jing Zhang		(jing.zhang8@agilent.com)

Yama A. Abassi	(yabassi1998@gmail.com)

Nancy Li		(nancy.li@agilent.com)

Xiaobo Wang		(xbwang2009@gmail.com)

Xiaoyu Zhang		(xiaoyu.zhang@agilent.com)

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

☐ Correct

☐ Incorrect

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20726628

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: MM/DD/YYYY

DO NOT use this draft script for filming. Please wait until your script is finalized to begin the filming process.

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  22

Number of Shots:  42

# Introduction

Answers to these questions will become interview statements that you will deliver on camera.

- Answer up to 2 introduction and up to 3 conclusion questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Answer in full sentences, the questions will not be displayed in the video.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What questions will future research focus on?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that you/your videographer will capture.

- Impedance-Based Viral Titer Measurement Using Permissive Cell Seeding

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

AUTHORS: Please note that all pronunciation guides are given in red, italics. Kindly go through the same and change where necessary.

  - To begin, obtain culture plates of permissive cells [1-TXT]. Use a multichannel pipette to carefully transfer 50 microliters of prewarmed media into each well [2]. Use the reverse pipetting technique to minimize bubble formation and ensure consistent volume dispensation [3].

    - WIDE: Talent holding a well plate with permissive cells. TXT: Cells: HEK293A cells or MDCK cells

    - Talent dispensing prewarmed media into all wells of the biosensor plate using a multichannel pipette.

    - Shot of the reverse pipetting technique.

  - Place the plate into the plate station [1]. Then launch the system’s software and select the Virology module [2]. 
Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20726628

    - Talent placing the biosensor plate into the plate station.

    - SCREEN: Show the system software interface and the Virology module being selected.

  - Enter relevant notes in the Exp Notes (Experiment-Note) tab [1] and input cell information including cell name and cell number in the Cell subtab of the Layout tab after selecting the corresponding wells [2].

    - SCREEN: Show the Exp Notes tab with notes being entered.

    - SCREEN: Show the Layout tab with wells selected and cell name and cell number entered in the Cell subtab.

  - Next, on the Schedule tab, click Add a Step to create Step 1 designated for plate background measurement [1]. Initiate recording by clicking Start [2].

    - SCREEN: Show the Schedule tab and clicking Add a Step to create Step 1.

    - SCREEN: Show clicking the Start button to initiate recording.

  - Remove the plate from the plate station [1] and place it in the laminar hood for cell seeding [2].

    - Talent removing the plate from the plate station.

    - Talent transferring it to the laminar hood.

  - Add trypsin to detach the permissive cells from the T75 (T-Seventy-five) flask [1]. After counting the cells, adjust the cell suspension to the desired concentration [2].

    - Talent adding trypsin to the T75 flask to detach the cells.

    - Talent adjusting the cell suspension concentration.

  - Pipette 100 microliters of the cell suspension to each well of the biosensor plate [1-TXT]. Then transfer the plate into the plate station inside incubator at 37 degrees Celsius with 5 percent carbon dioxide [2].

    - Talent dispensing 100 µL of the cell suspension into each well of the biosensor plate. TXT: Leave plate in laminar hood for 30 min, RT for even cell distribution

    - Talent placing the plate station into the incubator.

  - Navigate to the Schedule tab and add Step 2 using the default recording settings of 100 sweeps and a 15 minute interval [1].

    - SCREEN: Show the Schedule tab with Step 2 added using the default settings.

- Virus Serial Dilution, Inoculation, and Real-Time TCID50 Analysis

Demonstrator: Click here to enter name of demonstrator(s)

  - To prepare virus serial dilutions, calculate the total volume of medium needed for dilution [1-TXT]. Warm the medium in a 37-degree Celsius water bath for 30 minutes [2].

    - Shot of the required volume of medium. TXT: Medium: DMEM + 2% FBS + 1% penicillin /streptomycin

    - Talent placing the medium into a water bath to warm.

  - Rapidly thaw an aliquoted virus stock vial in the water bath for 1 to 2 minutes until all ice crystals have melted [1].

    - Talent thawing the virus stock vial in the water bath.

  - Transfer 20 microliters of virus stock into a 1.5-milliliter microcentrifuge tube containing 180 microliters of prewarmed media [1]. Pipette up and down to thoroughly mix the virus with the medium [2].

    - Talent transferring virus stock into the microcentrifuge tube containing media.

    - Talent pipetting the mixture up and down to mix thoroughly.

  - To equilibrate the virus dilutions, incubate the diluted virus samples at 37 degrees Celsius with 5 percent carbon dioxide for 20 minutes prior to inoculation [1].

    - Talent placing virus dilution tubes into the incubator.

  - Next, on the Layout tab of the software, select the wells designated for viral titer treatment [1]. Click the Treatment subtab and enter the initial dilution value of 0.001 [2].

    - SCREEN: Show wells being selected on the Layout tab.

    - SCREEN: Show the initial dilution value being entered in the Treatment subtab.

  - Enter 10 as the dilution factor and select the direction of dilution from left to right [1]. Then enter the virus inoculation volume and click Apply to save the treatment information [2].

    - SCREEN: Show the dilution factor and dilution direction being selected.

    - SCREEN: Show the virus inoculation volume entered and Apply being clicked.

  - Assign negative control wells by selecting the appropriate wells and checking Negative Ctrl (negative-control) under Well Type in the Treatment tab [1].

    - SCREEN: Show negative control wells selected and Negative Ctrl checked.

  - To inoculate the virus, click Pause in the software to stop data acquisition [1]. Remove the plate from the plate station and place it in the laminar hood [2].

    - SCREEN: Show clicking the Pause button in the software.

    - Talent transferring the plate from the plate station to the laminar hood.

  - Using a multichannel pipette, carefully remove the culture media from each well [1]. Gently add 50 microliters of the virus dilution onto the top of the cell monolayer, avoiding disruption of the cells [2].

    - Talent aspirating culture media from the wells using a multichannel pipette.

    - Talent gently adding virus dilutions to the wells.

  - Place the plate back into the plate station [1]. On the Schedule tab, add Step 3 using the default recording settings to resume impedance recording [2].

    - Talent placing the plate back into the plate station.

    - SCREEN: Show Step 3 added on the Schedule tab with default settings.

  - After 2 hours of virus inoculation, pause the recording [1] and remove the plate from the plate station to the laminar hood [2].

    - SCREEN: Show recording being paused after 2 hours.

    - Shot of plate being transferred to the laminar hood.

  - With a multichannel pipette, slowly add 150 microliters of prewarmed medium to each well, avoiding disruption of the cell monolayer [1]. Return the plate to the plate station [2] and resume recording by clicking Start [3].

    - Talent adding prewarmed medium gently to each well.

    - Shot of plate in the plate station

    - SCREEN: Show clicking Start to resume recording.

  - To calculate the tissue culture infectious dose 50, navigate to the Data Analysis tab and add all assay wells to the plot chart [1]. In the Parameter section, select TCID50 (T-C-I-D-Fifty) from the dropdown list to initiate calculation [2].

    - SCREEN: Show wells being added to the plot chart in the Data Analysis tab.

    - SCREEN: Show TCID50 selected from the Parameter dropdown list.

  - Choose Bar Chart to calculate TCID50 at a specific time point [1] or select Time Dependent TCID50 to generate a TCID50 time course over the desired period [2].

    - SCREEN: Show the Bar Chart option selected for TCID50 calculation.

    - SCREEN: Show the Time Dependent TCID50 option selected to display the TCID50 time course.

# Results

Please review this section to make sure that it accurately reflects your findings.

- You/Your videographer does not have to record this section. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 214

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

# AUTHORS: Please note that since the results section is limited to 200 words, not all the results could be incorporated. If you would prefer to emphasize any other data, please replace the existing results to stay within the word limit

  - In uninfected HEK293A (H-E-K-Two-Ninety-Three) cells, the Normalized Cell Index increased over the first 48 hours post-inoculation and then plateaued, indicating continued cell proliferation followed by confluence [1].

    - LAB MEDIA: Figure 2A. Video editor: Highlight the black trace

  - In Adv-GFP (Adenoviral-G-F-P)–infected HEK293A cells, the Normalized Cell Index dropped below the uninfected control approximately 50 hours post-inoculation and declined to zero by 100 hours, indicating virus-induced cytopathic effects [1].

    - LAB MEDIA: Figure 2A. Video editor: Highlight the red trace decreasing from around 50 hours until reaching zero.

  - Viral green fluorescent protein expression increased inversely as the Normalized Cell Index decreased during the first 100 hours post-inoculation in Adv-GFP–infected HEK293A cells [1].

    - LAB MEDIA: Figure 2A. Video editor: Highlight the green trace representing integrated green intensity increasing over time.

  - Live-cell imaging showed continued cell growth during the first 48 hours post-infection, followed by reduced confluency and increased green fluorescent protein signal as viral infection progressed [1], with loss of viable cells observed by approximately 100 hours [2].

    - LAB MEDIA: Figure 2B. Video editor: Highlight Brightfield and Brightfield + green images for 1-3

    - LAB MEDIA: Figure 2B. Video editor: Highlight Brightfield and Brightfield + green images for 4-5

  - Adv-GFP infection induced a dose-dependent decrease in the Normalized Cell Index, with higher virus concentrations causing earlier and steeper declines across replicate wells [1].

    - LAB MEDIA: Figure 3A. Video editor: Sequentially highlight the colored traces from 10-3 to 10-10

  - At a 10⁻⁸ dilution of Adv-GFP, the Normalized Cell Index exhibited high variability across replicate wells, indicating partial cytopathic effects [1].

    - LAB MEDIA: Figure 3A. Video editor: Show the pop up of 10-8 (right side ) then highlight the light blue traces labeled 10⁻⁸

  - The Adv-GFP TCID 50 increased over time and reached a plateau by approximately 150 hours post-inoculation [1].

    - LAB MEDIA: Figure 4. Video editor: Highlight the plotted points showing increasing values

  - In MDCK cells infected with influenza A virus, impedance measurements showed dose-dependent changes in the Normalized Cell Index compared to uninfected controls [1].

    - LAB MEDIA: Figure 5A. Video editor: Highlight multiple colored traces