# Submission ID #: 67967

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=20729983

# Title: Identifying Microglia and Peripheral Infiltrating Macrophages in the Injured Spinal Cords Using Flow Cytometry

# Authors and Affiliations:

# Yu-Qing Chen1,2, Jian-Xiong Gao1,3, Hua-Zheng Yan1,3, Shi-Yu Zhou1,3, Yi-Wan Fang1,3, Xin-Yi Lyu4, Shu-Qin Ding1,5, He-Zuo Lü1,3,5

# 1Clinical Laboratory, the First Affiliated Hospital of Bengbu Medical University

# 2Department of Biochemistry and Molecular Biology, School of Laboratory Medicine, Bengbu Medical University

# 3Anhui Province Key Laboratory of Immunology in Chronic Diseases, Bengbu Medical University

# 4The Second Affiliated Hospital of South China University

# 5Anhui Province Key Laboratory of Basic and Translational Research of Inflammation-related Diseases, Bengbu Medical University

# Corresponding Authors:

# He-Zuo Lü		lhz233003@163.com

# Email Addresses for All Authors:

Yu-Qing Chen		1512973685@qq.com

Jian-Xiong Gao		1534107569@qq.com

Hua-Zheng Yan	3248633078@qq.com

Shi-Yu Zhou		1023130953@qq.com

Yi-Wan Fang		1627802217@qq.com

Xin-Yi Lyu		lxy233003@163.com

# Shu-Qin Ding		59270847@qq.com

# He-Zuo Lü		lhz233003@163.com

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

√ Correct

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible.

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: 06/30/2025

When you are ready to submit your video files, please contact our China Location Producer, Yuan Yue.

Current Protocol Length

Number of Steps:  19

Number of Shots:  41  (38 SC)

# Introduction

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Yu-Qing Chen: Our research identifies microglia and infiltrating macrophages in spinal cord injury to clarify their roles in neuroinflammation using optimized flow cytometry.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.4.2

What technologies are currently used to advance research in your field?

  - Yu-Qing Chen: Flow cytometry and colloidal silica density gradient centrifugation are key for isolating and phenotyping CNS immune cells with high specificity and efficiency.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.7.2

What are the current experimental challenges?

  - Yu-Qing Chen: Distinguishing morphologically similar microglia and macrophages, minimizing cell loss during isolation, and ensuring marker specificity in dynamic injury microenvironments remain key hurdles.

    - What significant findings have you established in your field?INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 3.8.3

What research gap are you addressing with your protocol?

  - Yu-Qing Chen: Existing methods fail to reliably separate resident microglia from infiltrating macrophages. Our marker-based approach resolves this critical limitation in spinal cord injury studies.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 4.2.1

Ethics Title Card

This research has been approved by the Animal Care Ethics Committee at the Bengbu Medical University

# Protocol

- Flow Cytometric Analysis of Experimental Mouse Spinal Cord Cells

Demonstrator: Yu-Qing Chen

  - To begin, analyze the isotype control tube using the flow cytometer with the compatible software [1]. Adjust the forward scatter and side scatter voltages to position the cell population within an appropriate range [2].

    - WIDE: Talent placing the isotype control tube into the flow cytometer.

    - SCREEN: Show the adjustment of voltage levels for both axes and the shifting of the cell population into view.

Please upload the screen recording tot your project page: https://review.jove.com/account/file-uploader?src=20729983

  - Set up two additional graphs in the software: one with CD45-APC (C-D-forty five-A-P-C) on the x-axis and CD11b-PE (C-D-elveven-B-P-E) on the y-axis [1], and another with CD68-FITC (C-D-sixty eight-fit-cee) on the x-axis and CCR7 APC-eFluor (e-fluor) 780 on the y-axis [2].

    - SCREEN: Show the software interface where the first graph is configured with CD45-APC and CD11b-PE axes.

    - SCREEN: Show the software interface where the second graph is configured with CD68-FITC and CCR7 APC-eFluor 780 axes.

  - Then, adjust the fluorescence channel voltages for CD45-APC, CD11b-PE, CD68-FITC, and CCR7 APC-eFluor 780 to position the cell population within the double-negative region marked at 10 to the power of 2 [1].

    - SCREEN: Show the adjustment of fluorescence channel voltages for all four markers and the resulting repositioning of the cell population within the 10² range on the graph.

  - After confirming the optimized voltages using the isotype control tube, retain all settings [1]. Proceed to analyze the antibody-stained experimental tubes [2].

    - SCREEN: Indicate the settings panel with confirmed values and a note or action indicating "Do not change".

    - Talent placing the antibody-stained experimental tubes into the flow cytometer.

  - Establish a graph with CD11b-PE on the x-axis and side scatter on the y-axis [1]. Set up another graph with CD68-FITC and CCR7 APC-eFluor 780 [2]. Using the isotype control as a reference, delineate the CD11b+ region and define it as the P1 gate [3].

    - SCREEN: Show the creation of the CD11b-PE vs SSC graph.

    - SCREEN: Show the configuration of the CD68-FITC vs CCR7 APC-eFluor 780 graph.

    - SCREEN: Show how the region for CD11b+ cells is drawn and labeled as the “P1 gate” using the isotype control as a reference.

  - Select the CD68-FITC and CCR7 APC-eFluor 780 graph [1]. Right-click to open Properties and assign the F4 column to P1 [2].

    - SCREEN: Show selection of the correct graph in the software.

    - SCREEN: Demonstrate right-clicking the graph, choosing Properties, and setting F4 to P1.

  - After acquiring the data, adjust the fluorescence compensation as needed [1]. Analyze and record the percentage of CD11b  CD68 CCR7 positive and CD11b  CD68 positive  CCR7- (C-C- R-7-negative) cell populations [2].

    - SCREEN: Show the software interface where compensation settings are adjusted post-acquisition.

    - SCREEN: Display data readouts or gates for M1-like and M2-like populations, highlighting the percentage values.

  - Using the voltage settings from the isotype control tube, begin analysis of the experimental tubes [1].

    - Talent loading new experimental tubes into the flow cytometer and starting the next round of data collection.

  - Establish a graph with CD45-APC and CD11b-PE [1], then set up two graphs with CD68-FITC and CCR7 APC-eFluor 780 [2]. Acquire 50,000 events per sample, and adjust the fluorescence compensation after data collection [3].

    - SCREEN: Configure and display the CD45-APC vs CD11b-PE graph.

    - SCREEN: Configure and display the two CD68-FITC vs CCR7 APC-eFluor 780 graphs.

    - SCREEN: Show event count progress bar reaching 50,000 and subsequent compensation adjustments.

  - In the pseudocolor plots of CD45 and CD11b, identify and analyze the regions for CD11b+ CD45− (CD-11-B positive C-D-45-negative) low and CD11b+ CD45 (CD-11-B positive C-D-45) high cells [1]. Then, analyze the CD68+ CCR7+ and CD68+ CCR7- (C-C-R-7-negative) populations within each region [2].

    - SCREEN: Highlight the regions for CD45−/low and CD45high within CD11b+ gates on the pseudocolor plot.

    - SCREEN: Show data separation and analysis of CCR7+ and CCR7- populations within each defined region.

  - Integrate all analyses to determine the percentage of M1-like and M2-like microglia and macrophages across the defined regions [1].

    - SCREEN: Display a summary table or graph with the percentages of M1-like and M2-like cells.

- Flow Cytometry Data Analysis

  - Launch the flow cytometry analysis software [1]. Drag the flow cytometry experiment files into the All Samples section of the interface [2].

    - SCREEN: Talent opening the flow cytometry analysis software on a computer.

    - SCREEN: Show user dragging multiple experiment files into the All Samples section on the software interface. TXT: Begin by analyzing the isotype control tube

  - Double-click on the isotype control sample to open a two-dimensional dot plot [1]. Select FSC-A for the x-axis and SSC-A for the y-axis [2] and click on the Rectangular Gate button and use it to select the area excluding cellular debris [3].

    - SCREEN: Show the dot plot opening upon double-clicking the isotype sample.

    - SCREEN: User setting FSC-A and SSC-A on the respective axes in the plot window.

    - SCREEN: User clicking the Rectangular Gate button and drawing a gate around the main population excluding debris.

  - Double-click the gated area to open a new histogram plot [1]. Then, select FITC for the x-axis and Histogram for the y-axis [2]. Click on the Region Gate button to define the threshold between negative and positive fluorescence signals [3].

    - SCREEN: User double-clicking the gated area and opening a histogram plot.

    - SCREEN: Axis configuration showing FITC on the x-axis and Histogram on the y-axis.

    - SCREEN: Use of Region Gate button to draw a gate in the histogram indicating threshold determination.

  - For each of the four fluorescent antibodies, determine the threshold between negative and positive signals using the isotype control sample [1]. Sequentially change the x-axis fluorochrome to PE, APC, and APC-Cy7, while keeping the y-axis as Histogram [2].

    - SCREEN: Selection and gating of each fluorochrome—PE, APC, and APC-Cy7—one after the other, showing the histogram changes.

    - SCREEN: For each, maintain Histogram on the y-axis and highlight gate placements to define signal thresholds.

  - Use the Region Gate tool in each histogram to finalize gates for distinguishing negative and positive fluorescence signals for the four antibodies [1].

    - SCREEN: For each antibody histogram, show user applying the Region Gate and finalizing signal thresholds.

  - Next, double-click on the experimental sample to open a dot plot [1]. Select FSC-A for the x-axis and SSC-A for the y-axis [2]. Click the Rectangular Gate button to gate the population after removing debris [3].

    - SCREEN: User opening the experimental sample’s dot plot view.

    - SCREEN: Axis assignment with FSC-A and SSC-A.

    - SCREEN: User applying Rectangular Gate to isolate main cell population.

  - Double-click the gated region to open a new dot plot [1]. Select CD11b-PE for the x-axis and SSC-A for the y-axis [2]. Click the Rectangular Gate button and use the PE threshold from the isotype control to define the CD11b positive gate [3].

    - SCREEN: Open dot plot showing gated region from previous step.

    - SCREEN: User assigning axes: CD11b-PE and SSC-A.

    - SCREEN: User gating CD11b+ cells using PE threshold as a reference.

  - Now, double-click the CD11b positive region to open another dot plot [1]. Select CD68-FITC for the x-axis and CCR7 APC-Cy7 for the y-axis [2]. Click the Cross Gate button and use the isotype-derived FITC and APC-Cy7 thresholds to categorize cells into M1-like and M2-like types [3].

    - SCREEN: User opening the CD11b+ gate region into a new dot plot.

    - SCREEN: Axes set to CD68-FITC and CCR7 APC-Cy7.

    - SCREEN: Cross Gate tool used to mark M1-like and M2-like cell regions based on fluorescence thresholds.

# Results

- Results

  - The proportion of CD45high CD11b+ (read all ‘+’ as ‘positive’) CD68+ CCR7+ cells was significantly increased in the spinal cord injury or SCI vehicle group compared to the sham group [1], and CRID3 (crid-3) treatment did not alter this level [2].

    - LAB MEDIA: Figure 3B. Video editor: Highlight the bar for CD45highCD11b+CD68+CCR7+ cells in the SCI (vehicle) group.

    - LAB MEDIA: Figure 3B  Video editor: Highlight the CD45highCD11b+CD68+CCR7+ bar in the CRID3 group .

  - The proportion of CD45negative low CD11b+ CD68+ CCR7+ cells was significantly higher in the SCI vehicle group compared to sham [1], and was significantly reduced following CRID3 treatment [2].

    - LAB MEDIA: Figure 3B. Video editor: Highlight the tall bar for CD45−/lowCD11b+CD68+CCR7+ in the SCI (vehicle) group.

    - LAB MEDIA: Figure 3B. Video editor: Highlight the CD45−/lowCD11b+CD68+CCR7+ bar in the CRID3 group.

  - The proportions of CD11b+ CD68+ CCR7+ cells were significantly increased in the SCI vehicle group compared to sham [1], and significantly decreased after CRID3 treatment [2].

    - LAB MEDIA: Figure 3 B. Video editor: Highlight the increased bar for CD11b+CD68+CCR7+ in the SCI (vehicle) group.

    - LAB MEDIA: Figure 3B. Video editor: Highlight the bar for CD11b+CD68+CCR7+ in the CRID3 group.

  - CD11b+ CD68+ CCR7negative and CD45negative low CD11b+ CD68+ CCR7 negative cell proportions were significantly decreased in both SCI vehicle groups compared to sham [1], and increased after CRID3 treatment [2].

    - LAB MEDIA: Figure 3B. Video editor: Highlight the shorter bars for CD11b+CD68+CCR7− and CD45−/lowCD11b+CD68+CCR7− in the SCI (vehicle) group.

    - LAB MEDIA: Figure 3B. Video editor: Highlight the bars for CD11b+CD68+CCR7− and CD45−/lowCD11b+CD68+CCR7− in the CRID3 group .