# Submission ID #: 67968

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20730288

# Title: Fluorescence-Based Detection of FEN1 Nuclease Activity and Screening of Small-Molecule Inhibitors

# Authors and Affiliations:

# Rongcheng Li1,*, Shui Yang2,*, Yu Sha2,3,*, Xiao Liu1, Jiani Ge1, Dandan Tang1, Rui Liang2, Song-Bai Liu1,2,3

# 1School of Chemistry and Life Sciences, Suzhou University of Science and Technology

# 2Jiangsu Province Engineering Research Center of Molecular Target Therapy and Companion Diagnostics in Oncology, Suzhou Vocational Health College

# 3Jiangsu Province Engineering Research Center of Development and Translation of Key Technologies for Chronic Disease Prevention and Control, Suzhou Vocational Health College

# *These authors contributed equally

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Song-Bai Liu		(liusongbai@126.com)

# Email Addresses for All Authors:

Rongcheng Li		(lirc97@163.com)

Shui Yang		(ys82@163.com)

Yu Sha			(shayu@wx.szhct.edu.cn)

Xiao Liu		(liuxiao202306@163.com)

Jiani Ge		(gggejian@163.com)

Dandan Tang		(tangdandan0314@163.com)

Rui Liang		(165678437@qq.com)

Song-Bai Liu		(liusongbai@126.com)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  12

Number of Shots:  26

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

Answers to these questions will not appear in the video but may be featured in our journal's promotional materials.

- Enter the full name of the author who will deliver the statement.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Answers will be mildly edited for clarity.

- Limit the length of each statement to 50 words or fewer.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Preparation and Analysis of TAMRA-labeled DNA Substrate for FEN1 Nuclease Activity Assay

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, DNA oligonucleotide strands based on the specific cleavage activity of FEN1 (fenn-one) [1]. Mix the single-stranded DNA oligonucleotides in an annealing buffer [2-TXT].

    - WIDE: Talent looking at DNA oligonucleotide strand design on a computer. 
AUTHORS: Please note that the opening shot is a WIDE shot. This shot was added to facilitate this requirement

    - Talent pipetting DNA oligos into tubes containing annealing buffer. TXT: 5 μL D1 (10 pmol/μL), 10 μL T1 (10 pmol/μL), and 7.5 μL U2 (10 pmol/μL)

  - Add deionized water to bring the total reaction volume to 20 microliters [1]. Then heat the reaction mixture at 100 degrees Celsius for 1 minute in a metal bath [2].

    - Talent and adding deionized water.

    - Talent placing the tube into a metal bath preheated to 100 degrees Celsius.

  - Immediately transfer the tube to 72 degrees Celsius and incubate for 10 minutes [1]. Then turn off the heat source [2] and allow the solution to gradually cool to room temperature to form the complete double-stranded DNA substrate [3].

    - Talent transferring the tube to another metal bath set at 72 degrees Celsius.

    - Talent turning off the heat source.

    - Talent leaving the tube on the bench to cool naturally.

  - For the FEN1 nuclease activity assay, first combine 2 microliters of the DNA substrate with FEN1 nuclease in the reaction buffer [1-TXT]. Incubate the reaction mixture in a metal bath at 37 degrees Celsius for 15 minutes [2].

    - Talent pipetting DNA substrate and FEN1 nuclease into a new microcentrifuge tube. TXT: Final volume: 20 µL

    - Talent placing the tube into a metal bath set at 37 degrees Celsius.

  - Add 20 microliters of 2x termination buffer to stop the reaction [1]. Then load 20 microliters of the terminated sample onto a pre-prepared 12% denaturing polyacrylamide gel [2].

    - Talent pipetting 2x termination buffer into the reaction tube.

    - Talent loading the sample into wells of the denaturing polyacrylamide gel.

  - Electrophorese the gel at 100 volts for 60 minutes [1]. Once complete, visualize the electrophoresis results under a fluorescence imaging system [2].

    - Talent starting the gel electrophoresis and setting the voltage.

    - Talent placing the gel in a fluorescence imaging system.

- Screening of Small Molecule Inhibitors of FEN1 Nuclease

Demonstrator: Click here to enter name of demonstrator(s)

  - With a pipette, transfer 2 microliters of dimethyl sulfoxide into a 1.5-milliliter microcentrifuge tube [1]. Add 2 microliters of FEN1 nuclease [2] and 10 microliters of 2x reaction buffer to the tube [3].

    - Talent pipetting dimethyl sulfoxide into a labeled 1.5 milliliter microcentrifuge tube.

    - Talent adding FEN1 nuclease.

    - Talent adding 2x reaction buffer into the same tube.

  - Mix the solution thoroughly [1]. Then incubate it on ice for 10 minutes [2]. After incubation, pipette 6 microliters of DNA substrate to reach a final reaction volume of 20 microliters [3].

    - Talent gently vortexing or flicking the tube to mix.

    - Shot of the tube being placed on ice.

    - Talent adding DNA substrate to the tube.

  - Next, prepare a working dilution of the FEN1 nuclease inhibitor, FEN1-IN-4 (Fen-one-in-Four), by performing a two-fold serial dilution from a 1 molar stock solution in dimethyl sulfoxide [1].

    - Talent using pipette to perform sequential two-fold serial dilutions of the FEN1-IN-4 stock in multiple tubes.

  - Pipette 2 microliters each of FEN1 nuclease and f the diluted FEN1-IN-4 inhibitor into a new 1.5-milliliter microcentrifuge tube [1]. Then pipette 10 microliters of 2x reaction buffer and 4 microliters of deionized water [2].

    - Talent pipetting FEN1 nuclease and diluted inhibitor into a fresh microcentrifuge tube.

    - Talent adding reaction buffer and deionized water into the same tube.

  - Mix gently and incubate the mixture on ice for 10 minutes [1]. Now add 2 microliters of DNA substrate to the tube to make the final volume to 20 microliters [2].

    - Talent gently mixing and placing the tube on ice.

    - Talent adding DNA substrate to the reaction tube.

  - Incubate the reaction mixture at 37 degrees Celsius in a metal bath for 15 minutes [1]. Then terminate the reaction by adding 20 microliters of termination buffer [2].

    - Talent placing the tube into a 37 degree Celsius metal bath.

    - Talent adding 2× termination buffer into the tube after incubation.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 110

- Please note that the video cannot include voiceover without an accompanying visual.

- Representative Results

  - A clear protein band at approximately 45 kilodaltons confirmed successful purification of the FEN1 nuclease from induced expression [1].

    - LAB MEDIA: Figure 2A. Video editor: Please highlight the blue band in lane 6 around the 45 kDa marker.

  - The fluorescein-labeled double-stranded DNA substrate appeared at 80 kiloDaltons, confirming successful synthesis [1] compared to the single-stranded substrate at 59 kiloDaltons [2].

    - LAB MEDIA: Figure 2B. Video editor: Highlight lane 2 showing the lower band at 59 nt labeled D1.

    - LAB MEDIA: Figure 2B. Video editor: Highlight lane 3 showing the higher band at 80 nt labeled SF.

  - FEN1 nuclease cleaved the 80-nucleotide double-stranded DNA substrate in a dose-dependent manner [1], with complete cleavage observed at 0.5 micrograms per microliter [2].

    - LAB MEDIA: Figure 2C. Video editor: Please highlight lane 3 showing intact 80-nt substrate in the SF control.

    - LAB MEDIA: Figure 2C. Video editor: Please highlight lane 5

  - The FEN1-IN-4 compound significantly inhibited the cleavage of double-stranded DNA substrate by FEN1, as shown by the retention of the 80-nucleotide band [1].

    - LAB MEDIA: Figure 2D. Video editor: Please highlight lane 4

  - FEN1-IN-4 reduced FEN1 nuclease activity in a concentration-dependent manner, with a half-maximal inhibitory concentration of 14.03 micromolar [1].

    - LAB MEDIA: Figure 2F. Video editor: Focus on the downward slope of the curve