# Submission ID #: 67980

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=20733948

# Title: Optimized Workflow for Iterative Bleaching Extends Multiplexity Imaging of Highly Autofluorescent Clinical Samples

# Authors and Affiliations:

# Aleksandra Lunich1, Andrea J. Radtke2,3, Margaret Williams1, Julia M. Stern1, Daniel L. Barber4, Ronald N. Germain2, Ifeanyichukwu U. Anidi1,4

# 1Critical Care Medicine and Pulmonary Branch, National Heart, Lung and Blood Institute, National Institutes of Health

# 2Lymphocyte Biology Section and Center for Advanced Tissue Imaging, Laboratory of Immune System Biology, NIAID, NIH

# 3Leica Microsystems Inc.

# 4T Lymphocyte Biology Section, Laboratory of Parasitic Diseases, National Institute of Allergy and Infectious Disease, National Institutes of Health

# Corresponding Authors:

# Ifeanyichukwu U. Anidi		Ifeanyichukwu.anidi@nih.gov; Ifeanyi.anidi@gmail.com

# Email Addresses for All Authors:

Aleksandra Lunich			ally.lunich@icloud.com

Andrea J. Radtke			andrea.radtke@leica-microsystems.com

Margaret Williams			margowilliams027@gmail.com

Julia M. Stern				jstern925@gmail.com

Daniel L. Barber			barberd@niaid.nih.gov

# Ronald N. Germain			rgermain@niaid.nih.gov

# Ifeanyichukwu U. Anidi		Ifeanyichukwu.anidi@nih.gov; Ifeanyi.anidi@gmail.com

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

√ Correct

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: MM/DD/YYYY

Authors, please provide a date why when you can complete the interviews

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

Current Protocol Length

Number of Steps:  16

Number of Shots:  29

# Introduction

@VO team, please record the Introduction statements also.

What is the scope of the research? NOTE to editor: Please include the first question.

  - Using spatial proteomics, named Nature Methods' 2024 (Twenty-Twenty Four) Method of the Year, immune cells' precise locations can be mapped and interactions within tissues. This reveals spatial patterns linked to clinical outcomes.

    - 2.3.1

What are the current experimental challenges?

  - Building complex antibody panels and imaging tissues with high-endogenous fluorescence presents significant time, resources, and expertise challenges for IBEX and other fluorescence microscopy techniques.

    - 2.6.1

What significant findings are established in the field?

  - Using IBEX (i-bex), tumor-specific features were identified in high-risk follicular lymphoma patients, and with Human Cell Atlas, a comprehensive spatial map of the human thymus was created.

    - 2.9.1

What research gaps are addressed with this protocol?

  - Little is known about the immune cell composition, spatial interactions, and cytokine production differences across diverse mycobacterial pulmonary pathologies. This protocol bridges this gap.

    - 3.4.2

What advantage does this protocol offer compared to other techniques?

  - This protocol offers a low-cost, adaptable photoirradiation method to significantly reduce broad-spectrum tissue autofluorescence, especially in difficult FFPE (F-F-P-E) samples, while preserving antibody signal for spatial analysis.

    - 4.2.1

Ethics Title Card

This research has been approved by the Institutional Review Board (IRB) at National Institutes of Health

# Protocol

- Antibody Labeling Prior to Photoirradiation

Demonstrator: Aleksandra Lunich

  - To begin, immerse the slides with tissue in PBS after completing antigen retrieval [1].

    - IBEX_03_Drawing Hydrophobic Barrier on Slide and Setting Up For Blocking Timestamps: 00:05-00:10.

  - Remove one slide from the PBS [1] and use a lint-free wipe to carefully dry off all excess buffer without touching the tissue [2]. With a hydrophobic pen, draw a border around the tissue section on the slide [3]. After repeating the process for the remaining slides, let the hydrophobic barriers dry for 10 minutes [4].

    - IBEX_03_Drawing Hydrophobic Barrier on Slide and Setting Up For Blocking Timestamps: 00:11-00:17.

    - IBEX_03_Drawing Hydrophobic Barrier on Slide and Setting Up For Blocking Timestamps: 00:50-00:55.

    - IBEX_03_Drawing Hydrophobic Barrier on Slide and Setting Up For Blocking Timestamps: 01:08-01:15.

    - IBEX_03_Drawing Hydrophobic Barrier on Slide and Setting Up For Blocking Timestamps: 02:25-02:35.

  - Then, using a lint-free wipe, wick off the PBS from the tissue section without touching the tissue directly [1].

    - IBEX_03_Drawing Hydrophobic Barrier on Slide and Setting Up For Blocking Timestamps: 03:45-03:55.

  - Now, add 200 microliters of blocking buffer on the slide [1] and close the moisture chamber [2].

    - IBEX_03_Drawing Hydrophobic Barrier on Slide and Setting Up For Blocking Timestamps: 04:00-04:10.

    - IBEX_03_Drawing Hydrophobic Barrier on Slide and Setting Up For Blocking Timestamps: 04:15-04:22.

  - Place the chamber in a non-heating scientific microwave with a temperature-regulating mechanism and run the previously established program 5 cycles [1-TXT].

    - IBEX_03_Drawing Hydrophobic Barrier on Slide and Setting Up For Blocking Timestamps: 04:28-04:35. TXT: Program cycle: 2 min at 100 W and 1 min at 0 W

  - During the blocking incubation, prepare the primary antibody staining solution 1 with Hoechst and the blocking buffer containing Fc Block [1]. Combine the antibodies and gently mix the cocktail [2].

    - IBEX_04_Creating and Adding First Primary Antibody Mixture Timestamps: 00:18-00:25.

    - IBEX_04_Creating and Adding First Primary Antibody Mixture Timestamps: 00:40-00:48.

  - When the microwave cycle completes, remove and open the slide chamber [1] and wick off the blocking buffer from the slide without touching the tissue [2].

    - IBEX_04_Creating and Adding First Primary Antibody Mixture Timestamps: 00:00-00:08.

    - IBEX_04_Creating and Adding First Primary Antibody Mixture Timestamps: 01:15-01:25.

  - Next, add 200 microliters of primary antibody staining solution 1 to the slide [1]. Return the chamber to the microwave and execute the primary antibody program again for approximately 30 minutes [2].

    - IBEX_04_Creating and Adding First Primary Antibody Mixture Timestamps: 01:45-01:55.

    - IBEX_04_Creating and Adding First Primary Antibody Mixture Timestamps: 02:10-02:19.

  - Once the primary antibody labeling is complete, hold the slide vertically [1]. To wash the slide, pipette 1,000 microliters of PBS onto the tissue, allowing it to run off [2-TXT].

    - IBEX_05_Washing Off Primary Antibodies and Adding PFA For Fixation Timestamps: 00:20-00:30.

    - IBEX_05_Washing Off Primary Antibodies and Adding PFA For Fixation Timestamps: 00:30-00:40. TXT: Repeat the washing step 3 - 5x

  - Wick off the excess PBS [1] and fix the slide with 1 percent paraformaldehyde for 10 minutes at room temperature in the humidity chamber [2].

    - IBEX_05_Washing Off Primary Antibodies and Adding PFA For Fixation Timestamps: 01:20-01:25.

    - IBEX_05_Washing Off Primary Antibodies and Adding PFA For Fixation Timestamps: 02:10-02:25.

  - After fixing, wash the slide thoroughly with 1,000 microliters of PBS three to five times and leave a layer of PBS on the tissue until the photoirradiation step [1].

    - IBEX_06_Placing Slides In PBS After Fixation and Before Photobleaching Timestamps: 00:00-00:11.

- Tissue Photoirradiation Procedure

  - To prepare the photoirradiation box, gather a 150-watt LED (L-E-D) lamp, a 40-watt RGBW flood LED lamp [1], a large plastic container with a capacity of 75.71 liters or more, fresh PBS, and a Petri dish [2].

    - IBEX_07_Setting Up Slides in Photobleaching Box with Explanation Timestamps: 00:06-00:12.

    - IBEX_07_Setting Up Slides in Photobleaching Box with Explanation Timestamps: 00:25-00:30.

  - Now, fill the Petri dish with 1× PBS to completely submerge the slide [1]. Carry out the photoirradiation procedure in a cold room to minimize heat from the lamps [2].

    - IBEX_07_Setting Up Slides in Photobleaching Box with Explanation Timestamps: 00:52-01:00.

    - IBEX_07_Setting Up Slides in Photobleaching Box with Explanation Timestamps: 01:00-01:05.

  - Then, place the slide in the Petri dish, ensuring it is fully submerged in PBS [1].

    - IBEX_07_Setting Up Slides in Photobleaching Box with Explanation Timestamps: 01:15-01:25.

  - Next, place the 40-Watt lamp directly above the Petri dish with the light source facing downward toward the slide [1] and set the lamp to the red-light mode [2].

    - IBEX_07_Setting Up Slides in Photobleaching Box with Explanation Timestamps: 01:26-01:38.

    - IBEX_07_Setting Up Slides in Photobleaching Box with Explanation Timestamps: 01:44-01:46.

  - Finally, turn on both the 150-watt and 40-watt lamps [1] and cover the entire setup with the plastic container lid. After 2 hours, switch the lamp to green light and incubate for 16 hours [2-TXT].

    - IBEX_08_Red Setting Photobleaching Box Timestamps: 00:00-00-05.

    - IBEX_08_Red Setting Photobleaching Box Timestamps: 00:06-00-15 TXT: Stain with Ab post-irradiation; Perform microscopic assessment

# Results

- Results

  - The brightest fluorophores compatible with the dye inactivation protocol were identified and paired with lowly expressed markers to enhance signal detection [1]. Autofluorescence was reduced significantly after photoirradiation [2] and at longer imaging wavelengths [3].

    - LAB MEDIA: Figure 3A

    - LAB MEDIA: Figure 3A. Video editor: Highlight the row “+Photoirradiation”.

    - LAB MEDIA: Figure 3B. Video editor: Focus on the lower rows labeled C1 and C2.

  - Directly conjugated antibodies targeting highly expressed structural markers, alpha-smooth muscle actin [1] and pan-cytokeratin, were placed in the near-infrared channel at 750 nanometers [2].

    - LAB MEDIA: Figure 3B. Video editor: Zoom in on image “C1 α-SMA”, the last image in row 2 labeled “C1”.

    - LAB MEDIA: Figure 3B. Video editor: Zoom in on image “C2 PanCK”, the last image in row 3 labeled C2.

  - Background signal was computationally subtracted using an unstained reference image and SimpleITK (Simple-I-T-K) arithmetic [1], and true signals were enhanced through thresholding [2].

    - LAB MEDIA: Figure 3C. Video editor: Highlight the “corrected” image.

    - LAB MEDIA: Figure 3D. Video editor: Highlight the “thresholded” image.

  - Whole-slide imaging of IBEX (i-bex)-stained sections revealed granulomas with necrotic cores and CD15 (C-D-Fifteen)-positive neutrophils [1].

    - LAB MEDIA: Figure 4, Inset 3.  Video editor: Zoom in on MERGE and CD15 images

  - Mycobacterium tuberculosis or nontuberculous mycobacteria were detected near the granuloma necrotic core using anti-Ag85B (A-G-Eighty-Five-B) antibody [1].

    - LAB MEDIA: Figure 4, Inset 3. Video editor: Zoom in on Ag85B image.

  - Granuloma-associated lymphoid tissue contained CD20 (C-D-Twenty)-positive B cells [1], CD4 (C-D-Four)-positive T cells [2], a few CD8 (C-D-Eight)-positive T cells [3], and lumican expression indicating extracellular matrix [4].

    - LAB MEDIA: Figure 4, Inset 5. Video editor: highlight the image CD20

    - LAB MEDIA: Figure 4, Inset 5. Video editor: highlight the images CD4

    - LAB MEDIA: Figure 4, Inset 5. Video editor:  highlight the image CD8

    - LAB MEDIA: Figure 4, Inset 5. Video editor:  highlight the image CD45.

  - IBEX imaging also enabled visualization of lung anatomical features, including bronchial epithelial cells, arterial smooth muscle, and CD68 (C-D-Sixty-Eight)-positive macrophages [1].

    - LAB MEDIA: Figure 4, Inset 2. Video editor: Mark the regions labeled as epithelium, artery, and macrophages.

Pronunciation guide:

1. hydrophobic

Pronunciation link:
https://www.merriam-webster.com/dictionary/hydrophobic howtopronounce.com+5dictionary.cambridge.org+5merriam-webster.com+5youtube.com+11merriam-webster.com+11merriam-webster.com+11
IPA: /ˌhaɪdroʊˈfoʊbɪk/
Phonetic spelling: hy-droh-FOH-bik

2. photoirradiation

Pronunciation link:
https://www.howtopronounce.com/photoirradiation en.wiktionary.org+2howtopronounce.com+2howtopronounce.com+2
IPA: /ˌfoʊtoʊˌɪreɪdiˈeɪʃən/
Phonetic spelling: fo-toh-ih-ray-dee-AY-shuhn

3. paraformaldehyde

No confirmed Merriam-Webster link found (check "no confirmed").
IPA: /ˌpærəˌfɔːr.məlˈdiːhaɪd/
Phonetic spelling: par-uh-for-mal-DEE-hyde

4. autofluorescence

No confirmed Merriam-Webster link found.
IPA: /ˌɔːtoʊˌflʊəˈrɛsəns/
Phonetic spelling: AW-toh-flu-oh-RESS-uhns

5. granuloma

No confirmed Merriam-Webster link found.
IPA: /ˌɡrænjəˈloʊmə/
Phonetic spelling: gran-yoo-LOH-muh

6. necrotic

No confirmed Merriam-Webster link found.
IPA: /nɛˈkrɒtɪk/
Phonetic spelling: neh-KROT-ik

7. lumican

No confirmed Merriam-Webster link found.
IPA: /ˈluːmɪkæn/
Phonetic spelling: LOO-mi-kan

8. Mycobacterium tuberculosis

No confirmed Merriam-Webster link found.
IPA: /ˌmaɪkoʊbækˈtɪəriəm tubərkjuˈloʊsɪs/
Phonetic spelling: my-coe-back-TIAR-ee-um too-ber-kyuh-LOH-sis

9. nontuberculous

No confirmed Merriam-Webster link found.
IPA: /ˌnɑːn.tuːˈbɜːrkjələs/
Phonetic spelling: non-too-BURK-yuh-lus

10. cytokeratin

IPA (American): /ˌsaɪˌtoʊˈkɛrətɪn/

Phonetic Spelling: sy-toh-KER-uh-tin