# Submission ID #: 67980

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=20733948

# Title: Optimized Workflow for Iterative Bleaching Extends Multiplexity Imaging of Highly Autofluorescent Clinical Samples

# Authors and Affiliations:

# Aleksandra Lunich1, Andrea J. Radtke2,3, Margaret Williams1, Julia M. Stern1, Daniel L. Barber4, Ronald N. Germain2, Ifeanyichukwu U. Anidi1,4

# 1 Critical Care Medicine and Pulmonary Branch, National Heart, Lung and Blood Institute, National Institutes of Health

# 2 Lymphocyte Biology Section and Center for Advanced Tissue Imaging, Laboratory of Immune System Biology, NIAID, NIH

# 3 Leica Microsystems Inc.

# 4 T Lymphocyte Biology Section, Laboratory of Parasitic Diseases, National Institute of Allergy and Infectious Disease, National Institutes of Health

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Ifeanyichukwu U. Anidi		Ifeanyichukwu.anidi@nih.gov; Ifeanyi.anidi@gmail.com

# Email Addresses for All Authors:

Aleksandra Lunich			ally.lunich@icloud.com

Andrea J. Radtke			andrea.j.radtke@gmail.com

Margaret Williams			margowilliams027@gmail.com

Julia M. Stern				jstern925@gmail.com

Daniel L. Barber			barberd@niaid.nih.gov

# Ronald N. Germain			rgermain@niaid.nih.gov

# Ifeanyichukwu U. Anidi		Ifeanyichukwu.anidi@nih.gov; Ifeanyi.anidi@gmail.com

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

☐ Correct

☐ Incorrect

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible.

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: MM/DD/YYYY

DO NOT use this draft script for filming. Please wait until your script is finalized to begin the filming process.

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  16

Number of Shots:  36

# Introduction

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Ethics Title Card

This research has been approved by the Institutional Review Board (IRB) at National Institutes of Health

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that you/your videographer will capture.

- Antibody Labeling Prior to Photoirradiation

Demonstrator: Click here to enter name of demonstrator(s)

  - To begin, immerse the slides with tissue in 1× PBS after completing antigen retrieval [1].

    - WIDE: Talent using forceps to place microscope slides into a container filled with PBS.

  - Using forceps, remove one slide from the PBS [1] and use a lint-free wipe to carefully dry off all excess buffer without touching the tissue [2]. With a hydrophobic pen, draw a border around the tissue section on the slide [3]. After repeating the process for the remaining slides, let the hydrophobic barriers dry for 10 minutes [4].

    - Talent lifting a slide from PBS using forceps.

    - Talent wiping the slide with a lint-free wipe.

    - Talent carefully outlining the tissue area with a hydrophobic pen.

    - Shot of several prepared slides being kept on the bench.

  - To prepare the Slide Moisture Chamber, add a small amount of water into the bottom of each well [1] and place the slide vertically into the Chamber [2]. Using a lint-free wipe, wick off the PBS from the tissue section without touching the tissue directly [3].

    - Talent pipetting water into each well of the Slide Moisture Chamber.

    - Talent carefully placing a slide into the chamber.

    - Shot of gently removing excess buffer from tissue margin with a wipe, avoiding contact with the tissue.

  - Now, add 200 microliters of blocking buffer to the slide [1] and transfer the Chamber into a non-heating scientific microwave with a temperature-regulating mechanism [2].

    - Talent using a pipette to dispense blocking buffer onto the slide surface.

    - Talent placing the Slide Moisture Chamber into the microwave unit.

  - To block non-specific antibody labelling, run the previously established program 5 cycles [1-TXT]. If a microwave unit is not available, place the tissue sections in a 37 degree Celsius incubator for 1 hour [2].

    - Talent starting the microwave. TXT: Program cycle: 2 min at 100 W and 1 min at 0 W

    - Talent placing another sample chamber into an incubator set to 37 degrees Celsius.

  - During the blocking incubation, prepare the primary antibody staining solution 1 with Hoechst and the blocking buffer containing Fc Block at a 1 to 5,000 ratio [1]. Combine the antibodies and gently mix the cocktail [2]. Then, using a mini centrifuge, spin down the antibody solution at 2,680 g for 30 seconds [3].

    - Talent pipetting Hoechst into a tube of blocking buffer with Fc Block.

    - Talent gently inverting or swirling the tube labelled as “Ab cocktail”.

    - Talent placing the tube into a mini centrifuge.

  - When the microwave cycle completes, remove the Slide Moisture Chamber [1] and wick off the blocking buffer from the slide without touching the tissue [2].

    - Talent removing the Slide Moisture Chamber from the microwave.

    - Talent blotting around tissue section with a wipe.

  - Next, add 200 microliters of primary antibody staining solution 1 to the slide [1]. Return the chamber to the microwave and execute the primary antibody program again for approximately 30 minutes [2].

    - Talent pipetting primary antibody solution onto a tissue slide.

    - Talent placing the chamber with slide in the microwave.

  - Once the primary antibody labeling is complete, hold the slide vertically [1] and wash pipette 1,000 microliters of PBS onto the tissue, allowing it to run off [2-TXT].

    - Talent positioning the slide vertically.

    - Talent adding buffer on the slide held vertically. TXT: Repeat the washing step 3 - 5x

  - Wick off the excess PBS [1] and fix the slide with 1 percent paraformaldehyde for 10 minutes at room temperature in the humidity chamber [2].

    - Talent using a wipe to wick excess buffer from the slide.

    - alent placing the slide in a box containing paraformaldehyde and placing the box in the humidity chamber.

  - After fixing, wash the slide thoroughly with 1,000 microliters of PBS three to five times [1] and leave a layer of PBS on the tissue until the photoirradiation step [2].

    - Talent adding the slide with PBS multiple times.

    - Close-up of the tissue surface retaining a thin layer of PBS.

- Tissue Photoirradiation Procedure

Demonstrator: Click here to enter name of demonstrator(s)

  - To prepare the photoirradiation box, gather a 150-watt LED lamp, a 40-watt RGBW flood LED lamp [1], a large plastic container with a capacity of 75.71 liters or more, fresh PBS, and a Petri dish [2].

    - Talent pointing to the LED and RGBW lamps.

    - Talent placing container, PBS bottle and petri dish on the work bench.

  - Now, place the Petri dish in the center of the 150-watt lamp [1] and fill it with 1× PBS to completely submerge the slide [2]. Carry out the photoirradiation procedure in a cold room to minimize heat from the lamps [3].

    - Talent positioning the Petri dish under the 150 watt lamp.

    - Talent pouting PBS to the dish.

    - Talent transferring the setup into a cold room.

  - Then, place the slide in the Petri dish, ensuring it is fully submerged in PBS [1].

    - Talent carefully placing slide into the Petri dish to immerse it in PBS.

  - Next, set the 40-Watt lamp to the red light mode [1] and place it directly above the Petri dish with the light source facing downward toward the slide [2].

    - Talent setting the lamp to red mode.

    - Talent positioning the 40 watt lamp directly over the Petri dish.

  - Finally, turn on both the 150-watt and 40-watt lamps [1] and cover the entire setup with the plastic container lid [2]. Keep the 40-watt lamp on red light for 2 hours, then use the remote to switch it to green light for an additional 16 hours [3-TXT].

    - Talent powering on both lamps.

    - Talent covering the setup with the plastic lid.

    - Shot of the remote being used to switch from red to green light. TXT: Stain with Ab post-irradiation; Perform microscopic assessment

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 155.

- Please note that the video cannot include voiceover without an accompanying visual.

- Representative Results

  - The brightest fluorophores compatible with the dye inactivation protocol were identified and paired with lowly expressed markers to enhance signal detection [1]. Autofluorescence was reduced significantly after photoirradiation [2] and at longer imaging wavelengths [3].

    - LAB MEDIA: Figure 3A

    - LAB MEDIA: Figure 3A. Video editor: Highlight the row “+Photoirradiation”.

    - LAB MEDIA: Figure 3B. Video editor: Focus on the lower rows labeled C1 and C2.

  - Directly conjugated antibodies targeting highly expressed structural markers, alpha-smooth muscle actin [1] and pan-cytokeratin, were placed in the near-infrared channel at 750 nanometers [2].

    - LAB MEDIA: Figure 3B. Video editor: Zoom in on image “C1 α-SMA”, the last image in row 2 labeled “C1”.

    - LAB MEDIA: Figure 3B. Video editor: Zoom in on image “C2 PanCK”, the last image in row 3 labeled C2.

  - Background signal was computationally subtracted using an unstained reference image and SimpleITK arithmetic [1], and true signals were enhanced through thresholding [2].

    - LAB MEDIA: Figure 3C. Video editor: Highlight the “corrected” image.

    - LAB MEDIA: Figure 3D. Video editor: Highlight the “thresholded” image.

  - Whole-slide imaging of IBEX (i-bex)-stained sections revealed granulomas with necrotic cores and CD15-positive neutrophils [1].

    - LAB MEDIA: Figure 4, Inset 3.  Video editor: Zoom in on MERGE and CD15 images

  - Mycobacterium tuberculosis or nontuberculous mycobacteria were detected near the granuloma necrotic core using anti-Ag85B antibody [1].

    - LAB MEDIA: Figure 4, Inset 3. Video editor: Zoom in on  Ag85B image.

  - Granuloma-associated lymphoid tissue contained CD20-positive B cells [1], CD4-positive T cells [2], a few CD8-positive T cells [3], and lumican expression indicating extracellular matrix [4].

    - LAB MEDIA: Figure 4, Inset 5. Video editor: highlight the image CD20

    - LAB MEDIA: Figure 4, Inset 5. Video editor: highlight the images CD4

    - LAB MEDIA: Figure 4, Inset 5. Video editor:  highlight the image CD8

    - LAB MEDIA: Figure 4, Inset 5. Video editor:  highlight the image  CD45.

  - IBEX imaging also enabled visualization of lung anatomical features, including bronchial epithelial cells, arterial smooth muscle, and CD68-positive macrophages [1].

    - LAB MEDIA: Figure 4, Inset 2. Video editor: Mark the regions labeled as epithelium, artery, and macrophages.