# Submission ID #: 67980

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=20733948

# Title: Optimized Workflow for Iterative Bleaching Extends Multiplexity Imaging of Highly Autofluorescent Clinical Samples

# Authors and Affiliations:

# Aleksandra Lunich1, Andrea J. Radtke2,3, Margaret Williams1, Julia M. Stern1, Daniel L. Barber4, Ronald N. Germain2, Ifeanyichukwu U. Anidi1,4

# 1 Critical Care Medicine and Pulmonary Branch, National Heart, Lung and Blood Institute, National Institutes of Health

# 2 Lymphocyte Biology Section and Center for Advanced Tissue Imaging, Laboratory of Immune System Biology, NIAID, NIH

# 3 Leica Microsystems Inc.

# 4 T Lymphocyte Biology Section, Laboratory of Parasitic Diseases, National Institute of Allergy and Infectious Disease, National Institutes of Health

# Corresponding Authors:

# Ifeanyichukwu U. Anidi		Ifeanyichukwu.anidi@nih.gov; Ifeanyi.anidi@gmail.com

# Email Addresses for All Authors:

Aleksandra Lunich			ally.lunich@icloud.com

Andrea J. Radtke			andrea.radtke@leica-microsystems.com

Margaret Williams			margowilliams027@gmail.com

Julia M. Stern				jstern925@gmail.com

Daniel L. Barber			barberd@niaid.nih.gov

# Ronald N. Germain			rgermain@niaid.nih.gov

# Ifeanyichukwu U. Anidi		Ifeanyichukwu.anidi@nih.gov; Ifeanyi.anidi@gmail.com

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

√ Correct

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: MM/DD/YYYY

Authors, please provide a date why when you can complete the interviews

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

Current Protocol Length

Number of Steps:  16

Number of Shots:  36

# Introduction

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Andrea: Using spatial proteomics, named Nature Methods' 2024 Method of the Year, we map immune cells' precise locations and interactions within tissues. This reveals spatial patterns linked to clinical outcomes.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.3.1

What are the current experimental challenges?

  - Andrea: Building complex antibody panels and imaging tissues with high endogenous fluorescence present significant time, resource, and expertise challenges for IBEX and other fluorescence microscopy techniques.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.6.1

What significant findings have you established in your field?

  - Andrea: Using IBEX, we identified tumor-specific features in high-risk follicular lymphoma patients and, with Human Cell Atlas (HCA) colleagues, created a comprehensive spatial map of the human thymus."

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.9.1

What research gap are you addressing with your protocol?

  - Ifeanyi: Little is known about the immune cell composition, spatial interactions, and cytokine production differences across diverse mycobacterial pulmonary pathologies. Our protocol bridges this gap.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 3.4.2

What advantage does your protocol offer compared to other techniques?

  - Ifeanyi: It offers a low-cost, adaptable photoirradiation method to significantly reduce broad-spectrum tissue autofluorescence, especially in difficult FFPE samples, while preserving antibody signal for spatial analysis.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 4.2.1

Ethics Title Card

This research has been approved by the Institutional Review Board (IRB) at National Institutes of Health

# Protocol

- Antibody Labeling Prior to Photoirradiation

Demonstrator: Aleksandra Lunich

  - To begin, immerse the slides with tissue in 1× PBS after completing antigen retrieval [1].

    - WIDE: Talent using forceps to place microscope slides into a container filled with PBS.

  - Using forceps, remove one slide from the PBS [1] and use a lint-free wipe to carefully dry off all excess buffer without touching the tissue [2]. With a hydrophobic pen, draw a border around the tissue section on the slide [3]. After repeating the process for the remaining slides, let the hydrophobic barriers dry for 10 minutes [4].

    - Talent lifting a slide from PBS using forceps.

    - Talent wiping the slide with a lint-free wipe.

    - Talent carefully outlining the tissue area with a hydrophobic pen.

    - Shot of several prepared slides being kept on the bench.

  - To prepare the Slide Moisture Chamber, add a small amount of water into the bottom of each well [1] and place the slide vertically into the Chamber [2]. Using a lint-free wipe, wick off the PBS from the tissue section without touching the tissue directly [3].

    - Talent pipetting water into each well of the Slide Moisture Chamber.

    - Talent carefully placing a slide into the chamber.

    - Shot of gently removing excess buffer from tissue margin with a wipe, avoiding contact with the tissue.

  - Now, add 200 microliters of blocking buffer to the slide [1] and transfer the Chamber into a non-heating scientific microwave with a temperature-regulating mechanism [2].

    - Talent using a pipette to dispense blocking buffer onto the slide surface.

    - Talent placing the Slide Moisture Chamber into the microwave unit.

  - To block non-specific antibody labelling, run the previously established program 5 cycles [1-TXT].

    - Talent starting the microwave. TXT: Program cycle: 2 min at 100 W and 1 min at 0 W

  - During the blocking incubation, prepare the primary antibody staining solution 1 with Hoechst and the blocking buffer containing Fc Block [1]. Combine the antibodies and gently mix the cocktail [2]. Then, using a mini centrifuge, spin down the antibody solution at 2,680 g for 30 seconds [3].

    - Talent pipetting Hoechst into a tube of blocking buffer with Fc Block.

    - Talent gently inverting or swirling the tube labelled as “Ab cocktail”.

    - Talent placing the tube into a mini centrifuge.

  - When the microwave cycle completes, remove the Slide Moisture Chamber [1] and wick off the blocking buffer from the slide without touching the tissue [2].

    - Talent removing the Slide Moisture Chamber from the microwave.

    - Talent blotting around tissue section with a wipe.

  - Next, add 200 microliters of primary antibody staining solution 1 to the slide [1]. Return the chamber to the microwave and execute the primary antibody program again for approximately 30 minutes [2].

    - Talent pipetting primary antibody solution onto a tissue slide.

    - Talent placing the chamber with slide in the microwave.

  - Once the primary antibody labeling is complete, hold the slide vertically [1]. To wash the slide, pipette 1,000 microliters of PBS onto the tissue, allowing it to run off [2-TXT].

    - Talent positioning the slide vertically.

    - Talent adding buffer on the slide held vertically. TXT: Repeat the washing step 3 - 5x

  - Wick off the excess PBS [1] and fix the slide with 1 percent paraformaldehyde for 10 minutes at room temperature in the humidity chamber [2].

    - Talent using a wipe to wick excess buffer from the slide.

    - Talent placing the slide in a box containing paraformaldehyde and placing the box in the humidity chamber.

  - After fixing, wash the slide thoroughly with 1,000 microliters of PBS three to five times [1] and leave a layer of PBS on the tissue until the photoirradiation step [2].

    - Talent adding the slide with PBS multiple times.

    - Close-up of the tissue surface retaining a thin layer of PBS.

- Tissue Photoirradiation Procedure

  - To prepare the photoirradiation box, gather a 150-watt LED lamp, a 40-watt RGBW flood LED lamp [1], a large plastic container with a capacity of 75.71 liters or more, fresh PBS, and a Petri dish [2].

    - Talent pointing to the LED and RGBW lamps.

    - Talent placing container, PBS bottle and petri dish on the work bench.

  - Now, place the Petri dish in the center of the 150-watt lamp [1] and fill it with 1× PBS to completely submerge the slide [2]. Carry out the photoirradiation procedure in a cold room to minimize heat from the lamps [3].

    - Talent positioning the Petri dish on the 150 watt lamp.

    - Talent pouting PBS to the dish.

    - Talent transferring the setup into a cold room.

  - Then, place the slide in the Petri dish, ensuring it is fully submerged in PBS [1].

    - Talent carefully placing slide into the Petri dish to immerse it in PBS.

  - Next, set the 40-Watt lamp to the red light mode [1] and place it directly above the Petri dish with the light source facing downward toward the slide [2].

    - Talent setting the lamp to red mode.

    - Talent positioning the 40 watt lamp directly over the Petri dish.

  - Finally, turn on both the 150-watt and 40-watt lamps [1] and cover the entire setup with the plastic container lid [2]. Keep the 40-watt lamp on red light for 2 hours, then use the remote to switch it to green light for an additional 16 hours [3-TXT].

    - Talent powering on both lamps.

    - Talent covering the setup with the plastic lid.

    - Shot of the remote being used to switch from red to green light. TXT: Stain with Ab post-irradiation; Perform microscopic assessment

# Results

- Results

  - The brightest fluorophores compatible with the dye inactivation protocol were identified and paired with lowly expressed markers to enhance signal detection [1]. Autofluorescence was reduced significantly after photoirradiation [2] and at longer imaging wavelengths [3].

    - LAB MEDIA: Figure 3A

    - LAB MEDIA: Figure 3A. Video editor: Highlight the row “+Photoirradiation”.

    - LAB MEDIA: Figure 3B. Video editor: Focus on the lower rows labeled C1 and C2.

  - Directly conjugated antibodies targeting highly expressed structural markers, alpha-smooth muscle actin [1] and pan-cytokeratin, were placed in the near-infrared channel at 750 nanometers [2].

    - LAB MEDIA: Figure 3B. Video editor: Zoom in on image “C1 α-SMA”, the last image in row 2 labeled “C1”.

    - LAB MEDIA: Figure 3B. Video editor: Zoom in on image “C2 PanCK”, the last image in row 3 labeled C2.

  - Background signal was computationally subtracted using an unstained reference image and SimpleITK arithmetic [1], and true signals were enhanced through thresholding [2].

    - LAB MEDIA: Figure 3C. Video editor: Highlight the “corrected” image.

    - LAB MEDIA: Figure 3D. Video editor: Highlight the “thresholded” image.

  - Whole-slide imaging of IBEX (i-bex)-stained sections revealed granulomas with necrotic cores and CD15-positive neutrophils [1].

    - LAB MEDIA: Figure 4, Inset 3.  Video editor: Zoom in on MERGE and CD15 images

  - Mycobacterium tuberculosis or nontuberculous mycobacteria were detected near the granuloma necrotic core using anti-Ag85B antibody [1].

    - LAB MEDIA: Figure 4, Inset 3. Video editor: Zoom in on Ag85B image.

  - Granuloma-associated lymphoid tissue contained CD20-positive B cells [1], CD4-positive T cells [2], a few CD8-positive T cells [3], and lumican expression indicating extracellular matrix [4].

    - LAB MEDIA: Figure 4, Inset 5. Video editor: highlight the image CD20

    - LAB MEDIA: Figure 4, Inset 5. Video editor: highlight the images CD4

    - LAB MEDIA: Figure 4, Inset 5. Video editor:  highlight the image CD8

    - LAB MEDIA: Figure 4, Inset 5. Video editor:  highlight the image CD45.

  - IBEX imaging also enabled visualization of lung anatomical features, including bronchial epithelial cells, arterial smooth muscle, and CD68-positive macrophages [1].

    - LAB MEDIA: Figure 4, Inset 2. Video editor: Mark the regions labeled as epithelium, artery, and macrophages.