| Step # | Description |
| --- | --- |
| 2.2.1 | Enter username and password, tap Log In — 00:00–00:12 |
| 2.2.2 | Accept disclaimer— 00:12–00:22 |
| 2.3.1 | Select "Create New Study"— 00:22–00:32 |
| 2.3.2 | Enter file name and save the study— 00:32–00:42 |
| 2.4.1 | Select "Prostate (Research Use Only)" in Primary Anatomical Location—00:42–00:52 |
| 2.4.2 | Select "Prostate Cancer (Research Use Only)" in Analysis Mode—00:52–01:02 |
| 2.5.1 | Tap "Create Study"—01:02–01:12 |
| 2.5.2 | Press "Acknowledge"—01:12–01:22 |
| 2.6.2 | Tap "Next", then select "Acquire"—01:22–01:32 |
| 2.6.3 | Tap "Load New Specimen", show “Prepare Specimen & Load NIO” prompt—01:32–01:42 |
| 2.9.1 | Select Biopsy 1 A, scan area, and “3 regions (Research Use Only)” —01:42–01:52 |
| 2.9.3 | Tap “Acquire Image” —01:52–02:02 |
| 2.10.1 | Review sample details and select “Proceed” —02:02–02:12 |
| 2.11.1 | Imager compiling SRH pseudo-H&E image—02:12–02:36 |
| 2.11.2 | Click “>>” to show AI annotation overlay—02:36–02:46 |
| 2.12.1 | Bar graph showing cancer/non-cancer tissue types —02:46–02:56 |
| 2.12.2 | Click “<<” to remove AI overlay—02:56–03:06 |
| 2.13.1 | Zoom in and out on image—03:06–03:28 |
| 2.13.2 | Navigate image using directional icons—03:28–03:42 |
| 2.16.2 | Adjust scan area and scan position—03:42–03:58 |
| 2.19.1 | Click paper airplane icon to export—03:58–04:07 |
| 2.19.2 | Select USB (Complete), then select external hard drive—04:07–04:17 |
| 2.20.1 | Click "Entire Study"—04:17–04:27 |
| 2.20.2 | Wait for “Export in Progress”, then press “Confirm” —04:27–04:37 |
| 2.21.1 | Press “Exit”, follow shutdown instructions—04:37–04:47 |
| 2.21.2 | Press “Proceed Without” when prompted to archive—04:47–04:57 |
| 2.22.2 | Tap “Next” —04:57–05:07 |
| 2.23.1 | Tap “Next” again, then tap “Yes” —05:07–05:17 |
| 2.23.3 | Press “Shut Down” —05:17–05:27 |