| Step # | Description |
| --- | --- |
| 2.2.1 | Enter username and password, tap Log In — 00:00–00:09 |
| 2.2.2 | Accept disclaimer— 00:10–00:19 |
| 2.3.1 | Select "Create New Study"— 00:20–00:29 |
| 2.3.2 | Enter file name and save the study— 00:30–00:40 |
| 2.4.1 | Select "Prostate (Research Use Only)" in Primary Anatomical Location—00:41–00:51 |
| 2.4.2 | Select "Prostate Cancer (Research Use Only)" in Analysis Mode—00:52–01:00 |
| 2.5.1 | Tap "Create Study"—01:01–01:09 |
| 2.5.2 | Press "Acknowledge"—01:10–01:19 |
| 2.6.2 | Tap "Next", then select "Acquire"—01:20–01:29 |
| 2.6.3 | Tap "Load New Specimen", show “Prepare Specimen & Load NIO” prompt—01:30–01:46 |
| 2.9.1 | Select Biopsy 1 A, scan area, and “3 regions (Research Use Only)” —01:47–02:00 |
| 2.9.3 | Tap “Acquire Image” —02:00–02:07 |
| 2.10.1 | Review sample details and select “Proceed” —02:08–02:16 |
| 2.11.1 | Imager compiling SRH pseudo-H&E image—02:17–02:40 |
| 2.11.2 | Click “>>” to show AI annotation overlay—02:41–02:50 |
| 2.12.1 | Bar graph showing cancer/non-cancer tissue types —02:51–02:59 |
| 2.12.2 | Click “<<” to remove AI overlay—03:00–03:07 |
| 2.13.1 | Zoom in and out on image—03:08–03:39 |
| 2.13.2 | Navigate image using directional icons—03:40–03:56 |
| 2.16.2 | Adjust scan area and scan position—04:04–04:52 |
| 2.19.1 | Click paper airplane icon to export—04:53–04:56 |
| 2.19.2 | Select USB (Complete), then select external hard drive—04:57–05:16 |
| 2.20.1 | Click "Entire Study"—05:17–05:26 |
| 2.20.2 | Wait for “Export in Progress”, then press “Confirm” —05:27–05:53 |
| 2.21.1 | Press “Exit”, follow shutdown instructions—05:54–06:02 |
| 2.21.2 | Press “Proceed Without” when prompted to archive—06:03–06:13 |
| 2.22.2 | Tap “Next” to confirm to remove and dispose sample—06:14–06:23 |
| 2.23.1 | Tap “Next” again to confirm to empty fluid chamber, then tap “Yes” —06:24–06:37 |
| 2.23.3 | Press “Shut Down” —06:38–06:47 |