JoVE 68094 Screenshot Summary

2.2.2 Experimentation sessions being clicked (00:03-00:16)

2.3.1 New study being clicked (00:18-00:22)

2.3.2 Details of experimental groups (00:27-02:38)

2.3.3 Appropriate experimental template is selected (02:40-02:52)

2.4.1 Operator details are inputted (02:52-03:00)

2.5.1 Desired channel is selected (03:12-03:20)

2.5.2 Calibration is being done (03:20-03:36)

2.6.1 Pump is selected from dropdown list (03:36-03:45)

2.6.2 On-screen prompts are being followed (03:45-03:59)

2.6.4 Cancel is being clicked on the data (03:59-04:02)

2.9.2 Airflow is set at 2 liters per minute (04:13)

3.1.2 Air flow is set at 2 liters per minute (04:13)

3.2.1 E-cigarette profile is selected (04:53-04:57)

3.3.1 Puff interval is being input (04:57-05:04)

3.3.2 OK is being clicked (05:04-05:09)

3.3.3 Follow prompts to save profile (09:03-09:28)

3.4.1 Updated e-cigarette profile is being clicked (05:10-05:13)

3.5.2 Puff frequency is being increased (05:57-06:09)

3.6.1 Bias flow is restarted (05:53-05:57)