# Submission ID #: 68107

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20772683

# Title: Demystifying Venous Excess Ultrasound (VExUS): Image Acquisition and Interpretation

# Authors and Affiliations:

# Michael Turk1, Abhilash Koratala2, Thomas Robertson3, Hari K.P. Kalagara4, Yuriy S. Bronshteyn5

# 1Division of Nephrology, Duke University School of Medicine

# 2Division of Nephrology, Medical College of Wisconsin

# 3Medicine Institute, Allegheny Health Network

# 4Department of Anesthesiology, Mayo Clinic

# 5Department of Anesthesiology, Duke University School of Medicine

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Michael Turk			(Michael.turk@duke.edu)

# Email Addresses for All Authors:

# Michael Turk			(Michael.turk@duke.edu)

# Abhilash Koratala 		(Akoratala@mcw.edu)

# Thomas Robertson 		(Thomas.robertson@ahn.org)

# Hari K.P. Kalagara 		(Kalagara.hari@mayo.edu)

# Yuriy S. Bronshteyn 		(Yuriy.bronshteyn@duke.edu)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  09

Number of Shots:  20

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

Answers to these questions will not appear in the video but may be featured in our journal's promotional materials.

- Enter the full name of the author who will deliver the statement.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Answers will be mildly edited for clarity.

- Limit the length of each statement to 50 words or fewer.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Ethics Title Card
This research has been approved by the Institutional Review Board (IRB) or equivalent body at (insert Institutional Name)

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Ultrasound Imaging Setup and Hepatic Vein Assessment

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

AUTHORS: Please confirm that all shots labeled SCREEN are captured using software. If some shots can be manually performed, please re-label them

  - To begin, position the patient in a supine posture for most of the examination [1]. Expose the patient’s lower chest and abdomen prior to scanning [2]. Position the ultrasound machine so that the sonographer’s dominant hand can comfortably hold the ultrasound probe [3].

    - WIDE: Talent positioning a patient lying supine on the examination bed.

    - Talent uncovering the patient’s lower chest and abdomen.

    - Talent adjusting the ultrasound machine to the correct side for probe access.

  - Select the two-dimensional (2-D) (2-D) mode, also called brightness mode or B-mode (B-mode), on the ultrasound machine [1]. Then, select the Cardiac preset [2].
Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20772683

    - SCREEN: Navigate the machine interface and choose B-mode.

    - SCREEN: Select the Cardiac preset from the list of presets.

  - For the subxiphoid view, place the probe beneath the xiphoid process with the indicator pointing cranially [1]. Adjust the probe position until the inferior vena cava or IVC (I-V-C) is visualized in its maximal anteroposterior diameter [2]. While maintaining the IVC at the center of the screen, rotate the probe 90 degrees counterclockwise to obtain a short-axis view of the IVC [3].

    - Talent placing the ultrasound probe below the xiphoid process with indicator cranially.

    - SCOPE/SCREEN: Maximal anteroposterior diameter view of the IVC is being seen on screen.

    - Talent rotating the probe counterclockwise while keeping the IVC centered on screen.

  - In patients with contraindications to subxiphoid imaging, place the probe along the right anterior axillary line in the body’s coronal plane with the probe indicator pointing cranially [1].

    - Talent positioning the probe on the right anterior axillary line with indicator pointing cranially.

  - Adjust the probe position until the IVC is seen in its maximal anteroposterior diameter [1]. While keeping the IVC in the center of the screen, rotate the probe 90 degrees counterclockwise to obtain a short-axis view of the IVC [2].

    - SCOPE/SCREEN: Visualization of the IVC in maximal anteroposterior diameter is being seen.

    - Talent rotating the probe 90 degrees counterclockwise while keeping IVC centered.

  - To visualize hepatic vein Doppler from the right flank view, place the probe along the right anterior axillary line in the body’s coronal plane with the probe indicator pointing cranially [1].

    - Talent positioning probe at the right anterior axillary line.

  - Adjust the probe until the hepatic vein is visualized entering the IVC near the cavo-atrial junction [1]. Select Color Doppler mode on the ultrasound machine [2]. Then move the color box to include the majority of the vessel within its borders [3].

    - SCOPE/SCREEN: Hepatic vein emptying into IVC near cavo-atrial junction is being seen.

    - SCREEN: Select Color Doppler mode on the interface.

    - SCREEN: Move and resize the color Doppler box to cover the vessel.

  - Next, select PW Doppler (P-W-Doppler) mode on the ultrasound machine [1]. Move the Doppler gate so that it is located within the lumen of the hepatic vein [2].

    - SCREEN: Select PW Doppler mode on the ultrasound machine.

    - SCREEN: Adjust the Doppler gate to align within the hepatic vein.

  - Activate PW Doppler to start capturing waveform data [1]. Allow a full screen of PW Doppler tracing to occur, then click on Freeze or the equivalent control [2]. Click on Acquire or the equivalent button to save still images of the flow tracing [3].

    - SCREEN: Activate PW Doppler to begin tracing.

    - SCREEN: Click on Freeze once full tracing is captured.

    - SCREEN: Click on Acquire to save the tracing image.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 102

- Please note that the video cannot include voiceover without an accompanying visual.

- Representative Results

  - Hepatic vein Doppler showed progressive reversal of the systolic wave with increasing venous congestion [1].

    - LAB MEDIA: Figure 12. Video editor: Highlight the three right-side panels with black backgrounds showing the waveform

  - Portal vein Doppler tracing changed from a near-continuous waveform with pulsatility  index of less than 30 percent to over 50 percent and then to a to-and-fro pattern with reversed flow [1].

    - LAB MEDIA: Figure 13. Video editor: Highlight the waveform panels on the right side.

  - Intrarenal vein Doppler showed progression from continuous flow to biphasic waves, then to monophasic D-only waves indicating worsening venous congestion [1].

    - LAB MEDIA: Figure 14. Video editor: Highlight the three right-side waveform panels.

  - VExUS (vex-us) grading system visually integrated the changes in hepatic, portal, and intrarenal vein waveforms, showing how combination and severity of waveform abnormalities correspond to increasing grades of venous congestion [1].

    - LAB MEDIA: Figure 15. Video editor: Highlight the three columns under hepatic, portal, and intrarenal veins.