# Submission ID #: 68124

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20777868

# Title: DNA-Barcode-Based Multiplex Immunofluorescence Imaging to Analyze FFPE Specimens from Genetically Reprogrammed Murine Melanoma

# Authors and Affiliations:

# Sachin S. Surwase1-3*, Xin Ming M. Zhou3-4*, Kathryn M. Luly1-3, Qingfeng Zhu5-7, Robert A. Anders5-9, Jordan J. Green1-3,5,8-12, Stephany Y. Tzeng1-3, Joel C. Sunshine1,3-6,8,9

# 1Department of Biomedical Engineering, Johns Hopkins University

# 2Translational Tissue Engineering Center, Johns Hopkins University

# 3Johns Hopkins Translational ImmunoEngineering Center, Johns Hopkins University

# 4Department of Dermatology, Johns Hopkins University

# 5Department of Oncology, Johns Hopkins University

# 6Department of Pathology, Johns Hopkins University

# 7Convergence Institute, Johns Hopkins University School of Medicine

# 8Bloomberg Kimmel Institute for Cancer Immunotherapy, Johns Hopkins University School of Medicine

# 9Sidney Kimmel Comprehensive Cancer Center, Johns Hopkins University School of Medicine

# 10Institute for Nanobiotechnology, Johns Hopkins University

# 11Departments of Neurosurgery and Ophthalmology, Johns Hopkins University School of Medicine

# 12Departments of Materials Science & Engineering and Chemical & Biomolecular Engineering, Johns Hopkins University

*These authors contributed equally to this work

# Corresponding Authors:

Joel C. Sunshine			(joelsunshine@jhmi.edu)

# Email Addresses for All Authors:

Sachin S. Surwase			(ssurwas1@jhu.edu)

Xin Ming M. Zhou			(xzhou125@jh.edu)

Kathryn M. Luly			(kluly1@jhmi.edu)

Qingfeng Zhu				(qzhu6@jhmi.edu)

Robert A. Anders			(raa@jhmi.edu)

Jordan J. Green			(green@jhu.edu)

Stephany Y. Tzeng			(stzeng1@jhmi.edu)

Joel C. Sunshine			(joelsunshine@jhmi.edu)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  NO

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

# As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20777868

3. Filming location: Will the filming need to take place in multiple locations?   Yes, Same building, different floors.

Current Protocol Length

Number of Steps:  29

Number of Shots:  56

# Introduction

Videographer: Obtain headshots for all authors available at the filming location. Also obtain the names of the authors who deliver the introduction statements

AUTHORS: Please note that only 5 introduction statements may be presented. Kindly provide the names of the authors who are delivering the introduction statements.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Author : We present a protocol for creating an antibody panel to study FFPE tissues from a murine melanoma model treated with nanoparticles delivering plasmid DNA to reprogram the tumor microenvironment.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:2.4

What are the most recent developments in your field of research?

  - Author : Several multiplex imaging techniques have been developed to visualize the complex TME spatially. One of these is CoDetection-byinDEXing, renamed as the PhenoCycler system, based on DNA oligonucleotide-conjugated antibodies.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:2.13

What technologies are currently used to advance research in your field?

  - Author :  Multiplex imaging techniques enable spatial visualization of the complex TME. PhenoCycler, formerly CoDetection-by-Indexing, uses DNA oligonucleotide-conjugated antibodies for single-cell imaging and analysis of over 100 biomarkers in human specimens.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:4.2

What are the current experimental challenges?

  - Author : Very few inventoried antibodies are available to visualize and analyze murine specimens, particularly Formalin-Fixed Paraffin-Embedded (FFPE) samples.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:4.1

What significant findings have you established in your field?

  - Author : This protocol offers a step-by-step guide for designing a murine FFPE antibody panel, covering antibody-barcode conjugation, tissue staining, imaging, and detailed image analysis using open-source tools like QuPath and R.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:3.11

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

- Formalin-Fixed Paraffin-Embedded (FFPE) Tissue Staining and Imaging for Multiplex Analysis

Demonstrator: Sachin S. Surwase

  - To begin, bake the FFPE (F-F-P-E) tissue slides at 60 degrees Celsius, overnight [1-TXT]. The next day, cool the slides at room temperature for 10 minutes before starting deparaffinization and rehydration [2].

    - WIDE: Talent placing FFPE tissue slides in a 60°C oven. TXT: FFPE: Formalin-Fixed Paraffin-Embedded

    - Talent removes the slides from the oven and places it on a tabletop.

  - Next, incubate the slides in xylene solution twice for 5 minutes each to remove paraffin [1]. Then rehydrate the tissue by moving the slides through 100% ethanol, twice, for 5 minutes each [2].

    - Talent placing slides in xylene for deparaffinization.

    - Talent transfers the slides to 100% alcohol.

  - Place the slides sequentially in 90%, 70%, 50%, and 30% ethanol solutions for 5 minutes each [1].Wash the slides twice with distilled water for 5 minutes each [2] before performing antibody staining [3].

    - Talent sequentially immersing slides in different ethanol concentrations.

    - Talent placing the slides in distilled water.

    - Shot of antibody stained slides.

  - Next, remove the plastic chamber and store the collected antibody cocktail at 4 degrees Celsius to fix the stain [1]. Wash the slides twice in staining buffer for 2 minutes each [2].

    - Talent removing the plastic chamber and storing antibody cocktail.

    - Talent placing slides in staining buffer.

  - Incubate the slides in a dish containing 40 milliliters of  post-staining fixing solution for 10 minutes [1-TXT]. Then rinse them with PBS three times for 2 minutes each [2].

    - Talent transferring slides to post-staining fixation solution. TXT: Post-Staining Fixing Solution: 4 mL 16% PFA, 36 mL storage buffer

    - Talent placing the slides in PBS.

  - Now transfer the slides into ice-cold methanol for 5 minutes before rinsing with PBS as before [1]. Apply 200 microliters of final fixative solution to each slide under a humidity chamber [2-TXT].

    - Talent immersing slides in ice-cold methanol.

    - Talent applying fixative solution to slides. TXT: Fixative solution: 20 µL/tube + 1 mL of PBS

  - After a 20-minute incubation at room temperature, wash the slides in PBS again, for 3 cycles of 2 minutes each [1].

    - Talent transfers the slides to PBS.

  - If imaging immediately, wipe the slide around the tissue using a lint-free tissue [1]. Press the flow cell for 30 seconds using flow cell assembly equipment [2].

    - Talent wiping slides.

    - Talent pressing the flow cell on the slide.

  - If imaging later, store the slide without applying the flow cell in the storage buffer at 4 degrees Celsius [1]. When ready to image, transfer the slides from storage buffer to PBS for 10 minutes before applying the flow cell [2].

    - Talent places the slide in storage buffer and keeps it at 4 degrees Celsius.

    - Talent transferring slides from storage buffer to PBS before imaging.

  - Next, prepare running and DMSO buffers based on the desired imaging cycles [1]. Prepare the reporter stock solution required for the total number of imaging cycles [2].

    - Talent preparing buffers. 
AND
TEXT ON PLAIN BACKGROUND:
Low DMSO (1:4) Buffer: 1-part DMSO with 4-parts running buffer
High DMSO (9:1) Buffer: 9-parts DMSO with 1-part running buffer
Video Editor: Please show both shots side by side

    - Shot of labelled prepared reporter stock solution.

  - Pipette 250 microliters of reporter stock solution and 5 microliters of each reporter into labelled black or amber 1-milliliter microcentrifuge tubes [1].

    - Talent pipetting reporter stock solutions into each tube.

  - Transfer the solution to a black 96-well plate and seal it with adhesive foil [1].

    - Shot of solution being transferred to a black 96-well plate and sealed with adhesive foil.

  - Now, start the imaging device and use the instrument manager to set the parameters and exposure times [1]. Acquire images of stained tissues [2].
Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible:https://review.jove.com/account/file-uploader?src=20777868

    - SCREEN: The imaging parameters and exposure times are being set.

    - SCREEN: The images are being acquired.

- Digital Pathology Analysis and Proteomics Data Normalization

Demonstrator: Xin Ming M. Zhou

  - Install the latest version of digital pathology analysis software [1]. Click Create Project and select a destination folder for the project space [2].

    - Talent installing/launching the latest version of the digital pathology analysis software.

    - SCREEN: Create Project is being clicked and a destination folder is being selected.

  - Next, click on Add images followed by Choose files, then navigate to the QPTIFF (Q-P-tiff) file produced from multiplex immunofluorescence imaging [1]. Set the image type to Fluorescence, keep default settings, and click Import [2].

    - SCREEN: Add images and Choose files are being clicked then QPTIFF file is being navigated to.

    - SCREEN: Image type is being set to Fluorescence, default settings are kept and Import is being clicked.

  - If using QuPath (Q-path), double-click the new image to open a workspace, then press File and Save periodically to track project changes [1]. Toggle marker visibility and viewing settings using the Brightness & Contrast tool in the toolbar [2].

    - SCREEN: The image is being double clicked and File and Save are pressed for project changes.

    - SCREEN: The marker visibility is being toggled and the half-moon icon on the toolbar is being pressed to change viewing settings.

  - Use the brush or wand tool to draw an annotation around the entire tissue section [1]. Define this annotation as Full_Tissue (Full-tissue) while excluding overlying skin or regions that should not be analyzed [2]. Hold the Alt key to create negative annotations or shrink boundaries [3].

    - SCREEN: The brush/wand tool is being used to draw an annotation around the entire tissue section.

    - SCREEN: The annotation is being defined as Full_Tissue.

    - SCREEN: Negative annotations are being created.

  - Now choose the annotation by clicking the Annotations tab and pressing Objects > followed by Annotations... (Annotations) then click Duplicate selected annotations [1]. Turn on the SOX10 (socks-ten) channel, then shrink the duplicated annotation to define the Tumor region using Alt + brush/wand (Alt-plus-Brush-wand) tool [2].

    - SCREEN: Objects>Annotations…>Duplicate selected annotations is being pressed under Annotations tab.

    - SCREEN: SPX10 is being turned on. The duplicated annotation is being shrunk to define tumor region.

  - Now, select the Full_Tissue annotation, then go to Objects followed by Annotations... and Expand annotations [1]. Set the Expansion radius to 1 micrometer and click Run [2].

    - SCREEN: The annotation is being selected. Then Objects>Annotations…> Expand Annotations is being clicked.

    - SCREEN: The expansion radius is being set to 1 µm and Run is pressed.

  - Rename this new annotation as Full_Tissue_Expansion [1].Select the Tumor Annotation, right-click, and select Insert in hierarchy [2].

    - SCREEN: The new annotation is being renamed as Full_Tissue_Expansion.

    - SCREEN: The Tumor Annotation is being selected, right-clicked, and Insert in hierarchy is selected.

  - Re-select the Tumor annotation, then go to Objects , Annotations...  and now click Make inverse [1].  Define this new annotation as Stroma and repeat for all tissue sections [2].

    - SCREEN: The tumor annotation is being re-selected. Then Objects>Annotations…>Make inverse is being pressed.

    - SCREEN: New annotation is being defined as Stroma.

  - To run cell segmentation, click on the Image tab to find the pixel width and image height [1].

    - SCREEN: Image tab is being pressed and the pixel width and image height is being seen.

  - Download the StarDist (Star-Dist) extension from GitHub (Git-hub) [1]. Import the qupath-extension-stardist-[version].jar (Q-path-extension-stardist-version-dot-jar) file into QuPath [2]. Also download the StarDist groovy script files and model file from GitHub [3].

    - SCREEN: The StarDist extension is being downloaded from Github.

    - SCREEN: The extension file is being imported into QuPath.

    - SCREEN: The StarDist groovy script files and model files are being downloaded from GitHub.

  - For each tissue section, select both Tumor and Stroma annotations [1]. In the settings bar, click Automate followed by  Script Editor to open the script interface [2]. Open the appropriate StarDist cell segmentation script corresponding to the image pixel size [3]. When prompted, select stardist_cell_seg_model.pb (stardist-cell-seg-model-dot-P-B) for cell segmentation [4].

    - SCREEN: Tumor and Stroma annotations are being selected for the tissue selections.

    - SCREEN: Automate and Script Editor are being clicked and script interface is being seen.

    - SCREEN: The appropriate StarDist cell segmentation script is being opened.

    - SCREEN: stardist_cell_seg_model.pb is being selected when prompted.

  - After cell segmentation, save the image. Then sequentially click on Measure,  Export Measurements, select the Corresponding image(s), and set Export type as Cells and Separator as .csv (Dot-C-S-V) [1]. Choose an output file location, then click Populate to include relevant metrics [2].

    - SCREEN: The image is being saved. Then Measure> Export Measurements is clicked. Corresponding images are pressed and Export type is being set as Cells and the Seperator as .csv.

    - SCREEN: The output file location is being chosen and Populate is being clicked.

  - For each lineage marker to be used in clustering or phenotyping, select one mean value to export [1-TXT].

    - SCREEN: The mean for markers is being selected and exported. TXT: Export Nucleus: Mean for nuclear markers and Cytoplasm:Mean for cytoplasmic markers

  - For normalization of proteomic data, open the exported CSV file and truncate the column headings to retain only the marker name [1]

    - SCREEN: The exported CSV file is being opened and the column headings are being truncated to retain only marker name,

  - After installing the latest version of R and RStudio, download the Marker Normalization.R  (Marker-Normalization-dot-R) script from GitHub and run it to filter out cells based on nuclear size [1].

    - SCREEN: MarkerNormalization.R script is being run and the cells are being filtered based on nuclear size.

  - Perform minimum-maximum normalization for each marker [1]. Set the lowest Mean Fluorescence Intensity or MFI (M-F-I) value in the range to 0 and the 99.7th percentile MFI value to 1 [2]. Clip any intensities above the 99.7th percentile to 1 [2]. Once complete, save the new CSV file with the normalized data [3].

    - SCREEN: Min-max normalization is being done.

    - SCREEN: Lowest MFI is being set to 0 and 99.7Th percentile MFI value to 1.

    - SCREEN: Intensities above 99.7Th percentile are being clipped.

    - SCREEN: New CSV file is being saved.

# Results

- Representative Results

  - Antibody-DNA barcode conjugation was confirmed by protein gel electrophoresis, showing additional bands at the heavy chain region [1].

    - LAB MEDIA: Figure 4. Video editor: please highlight the “Heavy chain” band

  - Multiplex immunofluorescence imaging of B16F10 (B-sixteen-F-ten) flank tumors treated with 4-1BBL/IL-12 (four-one-B-B-L-I-L-twelve) nanoparticles and systemic anti-PD1 (Anti-P-D-one) showed distinct immune marker expression across tumor sections [1].

    - LAB MEDIA: Figure 5.

  - FlowSOM (flow-some) clustering identified a wider range of marker expression intensities compared to Seurat phenotyping, with a maximum intensity difference of approximately 0.7 versus 0.5 [1]. FlowSOM phenotyping also classified a higher number of macrophages into M1 and M2 subtypes [2].

    - LAB MEDIA: Figure 6A and B. Video editor: please show B first then A

    - LAB MEDIA: Figure 7. Video editor: please highlight the purple areas of the FlowSOM phenotyping image

  - Quantification of macrophage densities showed that FlowSOM detected higher densities of both M1 and M2 macrophages compared to Seurat [1], while Seurat classified more macrophages as "other" [2].

    - LAB MEDIA: Figure 8A-B. Video editor: please highlight the blue columns

    - LAB MEDIA: Figure 8C Video editor: please highlight the red column

  - Spatial analysis revealed that M2 macrophages and natural killer cells had the highest average minimum distances following treatment [1], and M1 macrophages were more prevalent around CD8 (C-D-Eight) T cells [2].

    - LAB MEDIA: Figure 9A. Video editor: Emphasize the columns of Target Cell Type corresponding to M2 and NK (blue columns)

    - LAB MEDIA: Figure 9B Video editor: Please highlight the CD8-M1 row