- 68145_screenshot_1.mp4

  - 2.2.3 (Adjust the exposure time and illuminator power to ensure almost complete illumination of the larva’s head, keeping the exposure time below 1.5 milliseconds) 00:10 – 00:25

- 68145_screenshot_2.mp4

  - 2.3.1 (set the image bit depth to 12 bits) 00:00 – 00:03

  - 2.3.2 (and set the frame rate to 60 frames per second) 00:04 – 00:09

  - 2.3.3 (Acquire images for at least 10 seconds) 00:20 – 00:27

  - 2.3.4 (Set the frame naming format and file type) 00:28 – 00:33

  - 2.3.5 (Start acquiring images) 00:33 – 00:36

- 68145_screenshot_3.mp4

  - 2.4.1 (To prepare datasets for neural network training, launch MATLAB) 00:00 – 00:30

  - 2.4.2 (Open the script file DatasetsPreparation.m) 00:31 – 00:38

- 68145_screenshot_4.mp4

  - 2.5.1 (Click Run to run the script) 00:00 – 00:03

  - 2.5.2 (In the pop-up window, select the directory containing the outlined images, the folder PixelLabelData, and the file gTruth.mat) 00:04 – 00:11

- 68145_screenshot_5.mp4

  - 3.1.1 (After acquiring the images, launch the AutoHR application) 00:00 – 00:15

  - 3.1.2 (Navigate to the Processing tab and click Choose Models to import trained neural networks) 00:16 – 00:24

  - 3.1.3 (Click Choose Directory to import images for analysis) 00:25 – 00:32

  - 3.1.4 (Click Process to begin the analysis) 00:33 – 00:36