# Submission ID #: 68147

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20784883

# Title: Matrix-Based DNA Extraction for Targeted Next-Generation Sequencing on Decontaminated Sputum Samples

# Authors and Affiliations:

# Jennifer Williams1*, Janré Steyn1*, Emilyn Costa Conceição1*, Felicia Bernita Wells1, Melanie Grobbelaar1, Nabila Ismail1, Yonas Ghebrekristos1,2, Christoffel Johannes Opperman1,2,3,4, Sarishna Singh1,2, Jason Limberis5, Fahd Naufal5, Brendon Coenrad Mann1, Rebecca E. Colman6,7, Timothy Rodwell6,7*, Robin Mark Warren1*, John Z. Metcalfe5*

# 1Division of Molecular Biology and Human Genetics, SAMRC Centre for TB Research, DSI-NRF Centre of Excellence for Biomedical TB Research, Department of Biomedical Sciences, Faculty of Medicine and Health Sciences, Stellenbosch University

# 2National Health Laboratory Service, Green Point Tuberculosis Laboratory

# 3Division of Medical Microbiology, Department of Pathology, University of Cape Town

# 4Division of Medical Microbiology, Department of Pathology, University of Cape Town

# 5Division of Pulmonary and Critical Care Medicine, Zuckerberg San Francisco General Hospital and Trauma Centre, University of California, San Francisco

# 6Department of Medicine, University of California, San Diego, School of Medicine

# 7Foundation for Innovative New Diagnostics (FIND), Campus Biotech

# *These authors contributed equally

# Corresponding Authors:

Jennifer Williams			williamsj@sun.ac.za

Janré Steyn				janre@sun.ac.za

Emilyn Costa Conceição		emilyncosta@sun.ac.za

# Email Addresses for All Authors:

Jennifer Williams			williamsj@sun.ac.za

Janré Steyn				janre@sun.ac.za

Emilyn Costa Conceição		emilyncosta@sun.ac.za

Felicia Bernita Wells			fbwells@sun.ac.za

Melanie Grobbelaar			melgrob@sun.ac.za

Nabila Ismail				nabilai@sun.ac.za

Yonas Ghebrekristos			yonasg@sun.ac.za

Christoffel Johannes Opperman	14487616@sun.ac.za

Sarishna Singh				14378183@sun.ac.za

Jason Limberis				jason.limberis@ucsf.edu

Fahd Naufal				fahd.naufal@ucsf.edu

Brendon Coenrad Mann		bcmann@sun.ac.za

# Rebecca Colman			rebecca.colman@finddx.org

Timothy Rodwell			trodwell@health.ucsd.edu

Robin Mark Warren			rw1@sun.ac.za

John Metcalfe				john.metcalfe@ucsf.edu

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

√ Correct

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: 05/05/2025

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

Current Protocol Length

Number of Steps:  13

Number of Shots:  28

# Introduction

  - Felicia Wells: Our research is about reducing the turn-around time of TB diagnosis and subsequent treatment initiation by incorporating NGS for personalized patient care.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B. roll: 3.2

What research gap are you addressing with your protocol?

  - Felicia Wells: Our protocol optimizes tNGS for routine use by addressing workflow integration, cost, and turnaround time, aiming to reduce diagnostic delays and improve timely treatment initiation [1].

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

What advantage does your protocol offer compared to other techniques?

  - Janré Steyn: This protocol allows for cost-effective, rapid and sufficient quality DNA extraction from clinical samples within hours, compared to the conventional CTAB method which takes up to 3 days [1].

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

What new scientific questions have your results paved the way for?

  - Jennifer Williams: Our results raise key questions on tNGS integration into routine diagnostics and optimizing extraction methods for smear-negative, scanty samples to improve sensitivity and clinical utility [1].

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B. roll: 3.3

What research questions will your laboratory focus on in the future?

  - Jennifer Williams: We will explore whether remnant samples from routine diagnostics can be used for downstream sequencing, including direct whole genome sequencing of sputum, to streamline and expand TB genomic surveillance [1].

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

Ethics Title Card
This research has been approved by Research Ethics Committee: Biological and Environmental Safety (REC: BES) at Stellenbosch University

# Protocol

- DNA Extraction and Purification from Sputum Samples Using Magnetic Beads

Demonstrators: Janré Steyn, Jennifer Williams

  - To begin, obtain a heat-inactivated sputum sediment [1]. Centrifuge the sample at 16,800 g or full speed for 15 minutes [2]. With a 20 to 200 microliter pipette, gently aspirate and discard the supernatant, ensuring the pellet remains undisturbed [3].

    - WIDE: Talent holding a heat-inactivated sputum sediment sample.

    - Talent placing the sample tubes into the centrifuge.

    - Talent using a pipette to carefully remove and discard the supernatant without disturbing the pellet.

  - Gently shake the matrix suspension to mix [1]. Then pipette 200 microliters of the well-mixed matrix to resuspend the pellet [2].

    - Talent gently shaking the matrix suspension.

    - Talent pipetting 200 microliters of matrix into the tube and resuspending the pellet.

  - Transfer the full volume into a 1.5-milliliter screw-cap tube containing three presterilized glass beads of 2-millimeter diameter [1].

    - Talent transferring the resuspended sample into a screw-cap tube with glass beads.

  - Now, place the samples in a heating block at 56 degrees Celsius for 15 minutes [1]. After incubation, homogenize the samples with a vortex for 10 seconds to disperse the cells [2]. Then incubate the samples in a heating block at 100 degrees Celsius for 10 minutes [3].

    - Talent placing tubes into the heating block set to 56 degrees Celsius.

    - Talent vortexing the tubes for 10 seconds to homogenize the sample.

    - Talent placing tubes into the heating block set to 100 degrees Celsius.

  - Homogenize the samples using a high-speed homogenizer with one cycle of 60 seconds at 4.0 meters per second [1]. Then, centrifuge the suspension at 12,000 g for 5 minutes [2].

    - Talent placing the tube in the homogenizer and starting the cycle.

    - Talent placing the samples into the centrifuge and setting the spin parameters.

  - Transfer 130 microliters of the DNA-containing supernatant to a fresh 1.5-milliliter low-binding tube without disturbing the pellet [1]. Discard the first tube containing the matrix and cell debris [2].

    - Talent using a pipette to carefully transfer 130 microliters of the supernatant into a new tube.

    - Talent discarding the first tube containing the matrix and cell debris.

  - To purify the DNA using magnetic beads, first vortex the magnetic bead stock bottle or prepared aliquot thoroughly to resuspend the beads before use [1-TXT]. Then add 1.2 times the volume of magnetic beads to the extracted DNA [2].

    - Talent vortexing the magnetic bead stock bottle. TXT: Repeat vortexing after every 10 samples to ensure homogenous suspension

    - Talent pipetting 156 microliters of magnetic beads into the DNA sample.

  - Pipette the suspension 10 times to mix the samples before incubating at room temperature for 5 minutes [1]. Place the samples on a 1.5-milliliter tube magnetic rack for 3 minutes or until the liquid becomes clear [2]. Then carefully aspirate and discard the supernatant without disturbing the beads [3].

    - Talent mixing the sample by pipetting up and down and setting a timer for 5 min

    - Talent placing the tubes on the magnetic rack.

    - Talent using a pipette to carefully remove the supernatant.

  - With the tubes on the magnet, add 200 microliters of 80% ethanol, ensuring the beads remain undisturbed [1]. After a 30-second incubation, carefully aspirate and discard the ethanol without disturbing the beads [2-TXT]. After the second wash, remove any residual ethanol using a 1 to 10 microliter pipette [3].

    - Talent pipetting ethanol into the tube while keeping the beads undisturbed.

    - Talent removing ethanol using a pipette. TXT: Repeat ethanol wash once more

    - Talent using a pipette to remove residual ethanol.

  - Leave the tubes open to air dry the beads for 10 minutes or until they have a matte appearance [1].

    - Talent leaving the tubes open to allow beads to dry.

  - Once the beads have a matte appearance, remove the tubes from the magnet [1] and add 50 microliters of nuclease-free water directly onto the beads in each sample [2].

    - Shot of the tubes being removed from the magnet.

    - Talent adding 50 µL of nuclease-free water directly onto the beads.

  - Then, mix each individual sample by pipetting 10 times [1]. Inspect the tube for any beads stuck inside [2-TXT].

    - Talent pipetting to mix the sample.

    - Talent checking for beads stuck to the tube walls. TXT: Repeat mixing if beads remain on the tube wall

  - After a 5-minute incubation at room temperature, place the tubes back on the magnetic rack for 3 minutes or until the liquid is clear [1]. With the tubes on the magnetic rack, transfer the DNA-containing supernatant to a clearly marked, sterile, low-binding tube [2-TXT].

    - Talent placing the tubes on the magnetic rack.

    - Talent carefully transferring the DNA supernatant to a fresh tube. TXT: Ensure that beads are not transferred to the supernatant

# Results

- Results

  - DNA concentration was higher in 2-milliliter sediment samples compared to 500 microliters across all smear grades [1]. Greater variability in DNA yield was observed in 500-microliter sediment samples [2].

    - LAB MEDIA: Figure 4.
Video Editor: Please highlight the boxes of 2 mL

    - LAB MEDIA: Figure 4.
Video Editor: Please highlight the boxes of 500 µL

  - Coverage depth of sequencing reads was higher in 2-milliliter sediment samples compared to 500 microliters across all smear grades [1]. Variability was greater in 3+ (three-plus) smear grade samples extracted from 500-microliter sediment [2].

    - LAB MEDIA: Figure 5.
Video Editor: Please highlight the boxes of 2 mL

    - LAB MEDIA: Figure 5.
Video Editor: Please highlight the green box of 500 µL

  - Sequencing acceptability scores were generally higher in 2-milliliter samples compared to 500 microliters, with a greater proportion of highly acceptable results [1]. Smear grade 3+ samples had the highest proportion of acceptable results compared to smear grades 1+ and 2+ [2]. The 500-microliter samples had more cases classified as unacceptable or not determined [3].

    - LAB MEDIA: Figure 6 Video Editor: Please highlight the +++ columns of 2 mL

    - LAB MEDIA: Figure 6 Video Editor: Please sequentially highlight the green columns then the red and blue columns

    - LAB MEDIA: Figure 6 Video Editor: Please highlight the – and ND columns of 500 µL

Pronunciation Guide:

1. Sputum

- Pronunciation link: https://www.merriam-webster.com/dictionary/sputum

- IPA: /ˈspjuːtəm/

- Phonetic Spelling: spyoo-tuhmmerriam-webster.commerriam-webster.com+11merriam-webster.com+11merriam-webster.com+11

2. Centrifuge

- Pronunciation link: https://www.merriam-webster.com/dictionary/centrifuge

- IPA: /ˈsɛntrəˌfjuːdʒ/

- Phonetic Spelling: sen-truh-fyoojmerriam-webster.commerriam-webster.com

3. Pipette

- Pronunciation link: https://www.merriam-webster.com/dictionary/pipette

- IPA: /paɪˈpɛt/

- Phonetic Spelling: pie-petmerriam-webster.com+1merriam-webster.com+1

4. Supernatant

- Pronunciation link: https://www.merriam-webster.com/dictionary/supernatant

- IPA: /ˌsuːpərˈneɪtənt/

- Phonetic Spelling: soo-per-nay-tuhntmerriam-webster.com+1merriam-webster.com+1merriam-webster.com+1merriam-webster.com+1

6. Homogenize

- Pronunciation link: https://www.merriam-webster.com/dictionary/homogenize

- IPA: /həˈmɑːdʒəˌnaɪz/

- Phonetic Spelling: huh-mah-juh-nize

7. Vortex

- Pronunciation link: https://www.merriam-webster.com/dictionary/vortex

- IPA: /ˈvɔːrtɛks/

- Phonetic Spelling: vor-teksmerriam-webster.com+1merriam-webster.com+1merriam-webster.com

8. Homogenizer

- Pronunciation link: https://www.merriam-webster.com/dictionary/homogenizer

- IPA: /həˈmɑːdʒəˌnaɪzər/

- Phonetic Spelling: huh-mah-juh-nize-ermerriam-webster.com

9. Nuclease

- Pronunciation link: https://www.merriam-webster.com/dictionary/nuclease

- IPA: /ˈnuːkliˌeɪs/

- Phonetic Spelling: noo-klee-acemerriam-webster.com

10. Aliquot

- Pronunciation link: https://www.merriam-webster.com/dictionary/aliquot

- IPA: /ˈælɪkwət/

- Phonetic Spelling: al-ih-kwot

12. Sediment

- Pronunciation link: https://www.merriam-webster.com/dictionary/sediment

- IPA: /ˈsɛdəmənt/

- Phonetic Spelling: sed-uh-muhnt

14. Debris

- Pronunciation link: https://www.merriam-webster.com/dictionary/debris

- IPA: /dəˈbriː/

- Phonetic Spelling: duh-breemerriam-webster.com

15. Magnetic

- Pronunciation link: https://www.merriam-webster.com/dictionary/magnetic

- IPA: /mæɡˈnɛtɪk/

- Phonetic Spelling: mag-net-ikmerriam-webster.com+4merriam-webster.com+4merriam-webster.com+4

18. Matte

- Pronunciation link: https://www.merriam-webster.com/dictionary/matte

- IPA: /mæt/

- Phonetic Spelling: mat

19. Pellet

- Pronunciation link: https://www.merriam-webster.com/dictionary/pellet

- IPA: /ˈpɛlɪt/

- Phonetic Spelling: pel-it

20. Suspension

- Pronunciation link: https://www.merriam-webster.com/dictionary/suspension

- IPA: /səˈspɛnʃən/

- Phonetic Spelling: suh-spen-shun