# Submission ID #: 68167

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20790983

# Title: Determination of Mitochondrial Morphology in Live Cells Using Confocal Microscopy

# Authors and Affiliations:

# Manna Lin1,2, Jiakang Wang1, Zihong Xian1, Chunyuan Zeng1, Jiangping Xu1

# 1NMPA Key Laboratory for Research and Evaluation of Drug Metabolism & Guangdong Provincial Key Laboratory of New Drug Screening, School of Pharmaceutical Sciences, Southern Medical University

# 2Central Laboratory, Southern Medical University

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Jiangping Xu				jpx@smu.edu.cn

# Email Addresses for All Authors:

Manna Lin				linmanna@i.smu.edu.cn

Jiakang Wang				wjk0125@i.smu.edu.cn

Zihong Xian				linus233@i.smu.edu.cn

Chunyuan Zeng			3190080011@i.smu.edu.cn

Jiangping Xu				jpx@smu.edu.cn

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  15

Number of Shots:  31

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

# Videographer: Please ensure that all testimonial shots are captured in a wide-angle format, while also maintaining sufficient headspace, given that the final videos will be rendered in a 1:1 aspect ratio.

Answers to these questions will not appear in the video but may be featured in our journal's promotional materials.

- Enter the full name of the author who will deliver the statement. Add your title (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) as this will included in the promotional materials.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Answers will be mildly edited for clarity.

- Limit the length of each statement to 50 words or fewer.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name, Enter author title: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name, Enter author title: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- MPP⁺ Stimulation and MitoTracker Staining of SH-SY5Y Cells After

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, inoculate SH-SY5Y  (S-H-S-Y-Five-Y) cells in flasks containing Nutrient Mixture Ham's F-12, supplemented with 10 percent FBS [1]. Incubate the cells in a humidified incubator set at 37 degrees Celsius with 5 percent carbon dioxide and 95 percent air [2]. 
2.1.1. WIDE: Talent inoculating the SH-SY5Y cell into flasks with culture medium.

    - Talent placing the flasks inside the humidified incubator.

  - Every 36 hours, use 0.05 percent trypsin solution to detach the cells for 1 minute [1]. Then centrifuge the cells at 100 g for 3 minutes before passaging [2].
2.1.2. Talent adding trypsin solution to the flask.

    - Talent placing the tube in a centrifuge.

  - For MPP+ (M-P-P-Positive) stimulation, seed 20,000 SH-SY5Y cells onto confocal dishes with glass bottoms [1].  Maintain them overnight in DMEM/F12 (D-M-E-M-F-Twelve) medium supplemented with 1% FBS [1].

    - Talent pipetting cells into confocal dishes. TXT: MPP+ : 1-methyl-4-phenylpyridinium iodide

    - Talent adding DMEM-F12 to the dishes.

  - The next day, replace the culture medium with fresh medium [1] and incubate the cells with or without 1-methyl-4-phenylpyridinium for 24 hours [2].

    - Talent aspirating the old medium and adding fresh medium.

    - Talent adding MPP+ solution, and placing the dishes back in the incubator.

  - For mitoTracker staining, dilute MitoTracker stock solution with prewarmed DMEM-F12 medium to obtain a 50 nanomolar working concentration [1]. Keep the staining solution protected from light throughout the procedure [2].

    - Talent pipetting and mixing the MitoTracker solution into a tube with DMEM-F12.

    - Talent covering the staining solution tube with aluminum foil.

  - Remove the culture medium from the confocal dishes [1]. Wash the cells twice with fresh DMEM/F12 [2].

    - Shot of the culture medium being aspirated from the confocal dishes.

    - Talent adding fresh medium to the dishes, swirly it and removing the medium.

  - Then pipette 1 milliliter of the MitoTracker working solution into the dish [1]. Incubate for 15 minutes at 37 degrees Celsius in the dark [2].

    - Talent adding MitoTracker solution to dishes.

    - Talent placing them in a dark incubator.

  - Now, remove the MitoTracker working solution [1] and wash the dishes twice with DMEM/F12 [2]. After the last wash, add 1 milliliter of DMEM/F12 to each dish [3]. Incubate in the cell incubator before imaging [4].

    - Talent aspirating the dye.

    - Shot of DMEM-F12 being added to the dish.

    - Talent adding fresh medium.

    - Talent placing dishes back into the incubator.

- Live Imaging of Mitochondrial Dynamics in SH-SY5Y Cells

Demonstrator: Click here to enter name of demonstrator(s)

  - To preequilibrate the confocal microscope for imaging, under the acquisition panel, adjust the light path parameters by setting the excitation and emission wavelengths [1]. Set the pinhole size to 1.2 airy units, pixel scan size to 1,024 by 1,024, pixel dwell time to 2.4 microseconds with averaging of 2, and zoom factor below 3 [2].
Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20790983

    - SCREEN: The excitation and emission parameters are being set.

    - SCREEN: Adjust the pinhole, scan size, dwell time, and zoom factor step by step.

  - Now use the halogen light to focus on the cells using a plan apochromatic 60X objective lens with a numerical aperture of 1.4, minimizing phototoxicity [1]. Adjust the laser power and high voltage just below the saturation level and capture the images [2].

    - SCREEN: Show cells coming into focus under halogen light using the specified objective.

    - SCREEN: Show laser power and HV adjustments, then capture of cell images.

  - Move the region of interest to focus on other cells without changing any settings and capture images [1].

    - SCREEN: Record transition between regions of interest while keeping parameters constant.

  - To enhance image quality prior to binary transformation and skeletonization, first open the image [1]. Select an area of a  single cell using the ROI (R-O-I)  tool [2].

    - SCREEN: The image is being opened.

    - SCREEN: ROI tool is being used to select the area of a single cell.

  - Now sequentially click on Process , Filters , Unsharp Mask function to enhance sharpness [1], then use Process > Enhance Contrast to reduce noise amplification [2].  Choose Process, Filters and the Median option to remove salt and pepper noise [3].

    - SCREEN: Apply Unsharp Mask filter to the selected region.

    - SCREEN: Apply Enhance Contrast option on the image.

    - SCREEN: Apply Median filter to remove noise.

  - To construct a simplified morphological model to calculate descriptive parameters, convert the image to binary by clicking on Process followed by  Binary  and choose the  Make Binary option [1]. Skeletonize the binary image by clicking Process, Binary and Skeletonize [2]. 
2.14.1. SCREEN: Apply the Make Binary command from the menu.
2.14.2. SCREEN: Use the Skeletonize function from the binary options.

  - Then group all skeleton pixels by selecting Analyze followed by Skeleton and Analyze Skeleton (2D/3D) (Skeleton-2-D-3D) function [1]. Simplify the analysis by using the MiNA (M-I-N-A) tool to calculate nine descriptive parameters in the skeletonized image [2].

    - SCREEN: The skeleton pixels are being grouped using Analyze Skeleton (2D/3D) function.

    - SCREEN: The MiNA tool is being used to calculate 9 descriptive parameters in the skeletonized image.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 136.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - The fluorescence intensity of mitochondrial staining increased progressively with MitoTracker Red CMXRos concentration from 25 nanomolar to 200 nanomolar [1], but at 200 nanomolar, substantial cytoplasmic background staining was observed [2].

    - LAB MEDIA: Figure 1A. Video editor: Highlight the increasing brightness of the red signal across the four panels showing 25, 50, 100, and 200 nanomolar.

    - LAB MEDIA: Figure 1A. Video editor: Highlight the cell in the 200 nanomolar panel

  - Mitochondrial morphology was preserved better in DMEM/F12 medium compared to PBS at 1 hour post-staining [1], although DMEM/F12 also showed higher background fluorescence [2].

    - LAB MEDIA: Figure 1B. Video editor: Highlight the panel labeled "DMEM/F12 1 h"

    - LAB MEDIA: Figure 1B. Video editor: Highlight the visibly brighter red background in the "DMEM/F12 1 h" panel compared to "PBS 1 h".

  - Dual-frame averaging significantly improved the signal-to-noise ratio in mitochondrial imaging compared to single-scan mode [1], and increasing pixel dwell time from 2.4 to 10.8 microseconds resulted in brighter images but caused photobleaching [2].

    - LAB MEDIA: Figure 1C. Video editor: Highlight the top left image "average2x Dwell time2.4 Before" panel and then the  top right image "average1x Dwell time2.4".

    - LAB MEDIA: Figure 1C. Video editor: Highlight the intensely bright signal in "average2x Dwell time10.8" and the faded signal in the "After" panel directly below it.

  - Increasing high voltage intensified background noise [1] while increased laser power led to photobleaching [2].

    - LAB MEDIA: Figure 1D. Video editor: Sequentially highlight the images of the top row from left to right

    - LAB MEDIA: Figure 1D. Video editor: Sequentially highlight the images of the bottom row from left to right

  - The MiNA tool produced consistent skeletonization outputs for both dim and bright images, indicating robust segmentation across different fluorescence intensities [1], with the bright image exhibiting 5.5-fold higher intensity than the dim image [2].

    - LAB MEDIA: Figure 1E. Video editor: please show top row first then bottom row.

    - LAB MEDIA: Figure 1E. Video editor: Highlight the “Bright original image skeletonized” then the “Dim original image skeletonized”.

  - MPP+ treatment at 500 micromolar disrupted mitochondrial morphology in SH-SY5Y cells compared to the untreated control [1], resulting in a significantly reduced mitochondrial footprint [2].

    - LAB MEDIA: Figure 2A. Video editor: Show the right side panel images (top and bottom) then show control images

    - LAB MEDIA: Figure 2B. Video editor: Highlight the shorter bar labeled "MPP+ (500 µM)"