# Title: Determination of Mitochondrial Morphology in Live Cells Using Confocal Microscopy

# Authors and Affiliations:

# Manna Lin1,2, Jiakang Wang1, Zihong Xian1, Chunyuan Zeng1, Jiangping Xu1

# 1NMPA Key Laboratory for Research and Evaluation of Drug Metabolism & Guangdong Provincial Key Laboratory of New Drug Screening, School of Pharmaceutical Sciences, Southern Medical University

# 2Central Laboratory, Southern Medical University

# Corresponding Authors:

# Jiangping Xu				jpx@smu.edu.cn

# Email Addresses for All Authors:

# Manna Lin				linmanna@i.smu.edu.cn

# Jiakang Wang				wjk0125@i.smu.edu.cn

# Zihong Xian				linus233@i.smu.edu.cn

# Chunyuan Zeng			3190080011@i.smu.edu.cn

# Jiangping Xu				jpx@smu.edu.cn

68167_creenshot Summary

- 68167_screenshot_3.1.1 (adjust the light path parameters by setting the excitation and emission wavelengths) 00:00-00:16

- 68167_screenshot_3.1.2 (Adjust the pinhole, scan size, dwell time, and zoom factor) 00:00-00:14

- 68167_screenshot_3.2.2 (Show laser power and HV adjustments, set the zoom factor and then capture the cell images) 00:00-00:39

- 68167_screenshot_3.3.1 (3.3.	Move the region of interest to focus on other cells without changing any settings and capture images) 00:00-00:36

- 68167_screenshot_3.4.1 (Open the images) 00:00-00:10

- 68167_screenshot_3.4.2 (ROI tool is being used to select the area of a single cell) 00:00-00:27

- 68167_screenshot_3.5.1 (Apply Unsharp Mask filter to the selected region) 00:00-00:13

- 68167_screenshot_3.5.2 (Apply Enhance Contrast option on the image) 00:00-00:10

- 68167_screenshot_3.5.3 (Apply Median filter to remove noise) 00:00-00:14

- 68167_screenshot_3.6.1 (Apply the Make Binary command from the menu) 00:00-00:10

- 68167_screenshot_3.6.2 (Use the Skeletonize function from the binary options) 00:00-00:10

- 68167_screenshot_3.7.1 (The skeleton pixels are being grouped using Analyze Skeleton (2D/3D) function) 00:00-00:10

- 68167_screenshot_3.7.2 (The MiNA tool is being used to calculate 9 descriptive parameters in the skeletonized image) 00:00-00:16