# Submission ID #: 68176

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=20793728

# Title: Spatula Montevideo Device for the Vitrification of Mammalian Embryos

# Authors and Affiliations:

# Geraldine Schlapp1*, María Noel Meikle1*, Lucía Goyeneche2, Pedro Dos Santos Neto3, Martina Crispo1

# 1Laboratory Animal Biotechnology Unit, Institut Pasteur de Montevideo

# 2Centro de Esterilidad Montevideo

# 3Fundación IRAUy, Instituto de Reproducción Animal de Uruguay

# *These authors contributed equally

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Geraldine Schlapp		gschlapp@pasteur.edu.uy

# Email Addresses for All Authors:

María Noel Meikle		manomeikle@pasteur.edu.uy

Lucía Goyeneche		luciagoye@gmail.com

Pedro Dos Santos Neto 	santosnetopc@hotmail.com

# Martina Crispo		crispo@pasteur.edu.uy

# Geraldine Schlapp		gschlapp@pasteur.edu.uy

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

☐ Correct

☐ Incorrect

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible.

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: MM/DD/YYYY

DO NOT use this draft script for filming. Please wait until your script is finalized to begin the filming process.

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  19

Number of Shots:  37 (1 Scope)

# Introduction

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Ethics Title Card

This research has been approved by the Institut Pasteur de Montevideo Animal Care and Use Committee and the Institutional Animal Care Committee Fundación IRAUy

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that you/your videographer will capture.

- Spatula Montevideo (MVD) Device Preparation

Demonstrator: Click here to enter name of demonstrator(s)

  - To begin, cut off the first 10 millimeters and the tip cone of a gel-loader tip [1].

    - WIDE: Talent using scissors or blade to cut off 10 millimeters and the tip cone of the gel-loader tip.

  - Using watchmaker's number 5 forceps, hold the end of the gel-loader tip approximately 1 centimeter from the tip [1] and gently place it into the Bunsen burner flame for 8 to 10 seconds to form a petal-like platform [2].

    - Talent holding the gel-loader tip with forceps 1 centimeter from the end.

    - Talent placing the tip into a Bunsen burner flame and rotating slightly to form a flat platform.

  - Now, remove the tip from the flame and continue holding it tightly with the forceps for 5 seconds [1].

    - Talent removing the tip from the flame and maintaining grip with forceps for 5 seconds.

  - Using a stereomicroscope, check that the petal-like platform of approximately 1 square millimeter has formed and that the distal edge is sealed [1].

    - SCOPE: Close-up view through stereomicroscope showing the flat, sealed platform at the tip.

  - Repeat the spatula fabrication steps to prepare the required number of spatulas, with each spatula capable of handling up to 40 mouse embryos [1].

    - Shot of multiple spatulas arranged on the work surface.

  - Sterilize the fabricated spatulas using ultraviolet rays [1-TXT] and store them in a sterile tube or box [2].

    - Talent placing the finished spatulas under a UV chamber. TXT: Alternatively, use ethylene oxide for sterilization

    - Talent transferring the sterilized spatulas to a sterile box.

  - On the day of vitrification, retrieve the spatulas, handling them from the end opposite the platform [1]. Insert an identification rod into each spatula [2] and place them on the stereomicroscope base [3]. Label the rod with a permanent marker or a liquid nitrogen-resistant sticker label [4].

    - Talent picking up sterilized spatulas by the opposite end of the platform.

    - Talent inserting identification rod into a spatual.

    - Talent placing spatulas on the microscope base.

    - Talent labeling rods using permanent markers or stickers.

- Embryo Dehydration and Vitrification Process

Demonstrator: Click here to enter name of demonstrator(s)

  - Pour liquid nitrogen into an insulated polystyrene container measuring 10 by 30 by 20 centimeters [1]. Place one 0.5 milliliter straw for each spatula into the container [2].

    - Talent pouring liquid nitrogen into the container.

    - Talent placing straws into the liquid nitrogen.

  - For each spatula, prepare drops of 100 microliters of M2 solution, 20 microliters of PV solution, and 20 microliters of V solution on a 100-millimeter plastic Petri dish [1].

    - Talent pipetting and placing the respective volumes of M2, PV, and V solutions onto the Petri dish.

  - Next, place 30 to 40 embryos into the M2 drop [1]. Then, incubate them in the PV solution drop for 30 seconds [2], then in the V solution drop for another 30 seconds at room temperature [3].

    - Talent transferring embryos into the M2 drop.

    - Talent moving embryos into PV solution.

    - Talent transferring embryos into V solution.

  - Using a pulled glass capillary attached to an aspirator tube assembly, pre-load the capillary with at least 1 microliter of the appropriate solution [1].

    - Talent preparing the glass capillary by drawing in 1 microliter of solution with the aspirator assembly.

  - Aspirate the embryos using minimal V solution, approximately 0.1 microliter [1], and quickly place them onto the spatula platform [2].

    - Talent aspirating embryos with the pre-loaded capillary using minimal V solution.

    - Talent transferring embryos quickly onto the spatula platform.

  - Immediately immerse the spatula platform into liquid nitrogen for 5 seconds while holding the spatula by its rod [1]. While keeping the spatula in nitrogen vapor, seal it with a 0.5 milliliter straw and long stainless-steel tweezers [2].

    - Talent immersing the spatula platform into the liquid nitrogen container.

    - Talent sealing the spatula in a straw using tweezers while maintaining it in nitrogen vapor.

- Embryo Warming Process

Demonstrator: Click here to enter name of demonstrator(s)

  - On a 100-millimeter plastic Petri dish, place the required sucrose drops for each spatula to be warmed [1] and add three 100 microliter drops of M2 medium for washing [2].

    - Shot of adding the drops onto a plate. TXT: 500 µL drop of 0.5 M sucrose; 50 µL drop of 0.5 M sucrose; 50 µL drop of 0.25 M sucrose

    - Shot of adding three 100 microliter M2 medium drops on the same Petri dish containing sucrose drops.

  - Retrieve the sealed spatulas from the dewar [1] and place them in an appropriate container filled with liquid nitrogen [2].

    - Talent opening the dewar, removing spatula.

    - Talent transferring the spatula into a container with liquid nitrogen.

  - Now, place the warming plate on the stereomicroscope [1]. One at a time, hold the base of the spatula with stainless-steel tweezers [2]. With a gloved hand, pull out the identification rod and then the straw [3]. Quickly dip the platform containing the embryos into the 500-microliter drop of 0.5 molar sucrose [4].

    - Talent positioning the warming plate on the microscope stage.

    - Talent grasping the spatula by its base using tweezers.

    - Talent pulling out the rod and straw.

    - Talent dipping the platform into the 0.5 molar sucrose drop.

  - Ensure all embryos fall into the sucrose drop; if necessary, gently move the spatula to aid their release [1]. Then, load the embryos into a pulled glass capillary [2] and place them into the 50 microliter drop of 0.5 molar sucrose solution and incubate for 2 minutes [3].

    - Talent adjusting the spatula to release embryos into the solution.

    - Talent collecting embryos with a glass capillary.

    - Talent transferring embryos to the smaller 0.5 molar sucrose.

  - Next, place the embryos into the 50-microliter drop of 0.25 molar sucrose solution and incubate for another 2 minutes [1].

    - Talent moving embryos to the 0.25 molar sucrose.

  - Finally, wash the embryos three times in separate drops of M2 medium to remove sucrose [1] and incubate them under conditions appropriate for the species for at least 1 hour before use [2].

    - Talent transferring embryos through three sequential M2 medium drops.

    - Talent placing embryos in an incubator.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 175.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - In both in vivo derived 8-cell and in vitro produced 2-cell mouse embryos, spatula MVD resulted in a significantly higher survival rate compared to the slow freezing method [1], and a significantly higher embryo development rate at 3.5 days post coitum [2].

    - LAB MEDIA: Table 1. Video editor: Highlight the row labeled "Spatula MVD" under the column "Survival rate at 2.5 dpc".

    - LAB MEDIA: Table 1. Video editor: Highlight the "Embryo development rate at 3.5 dpc" value for Spatula MVD row.

  - Despite both cryopreservation methods yielding hatching rates, these were significantly lower [1] than in the control fresh embryo group [2].

    - LAB MEDIA: Table 1. Video editor: Highlight the "Hatching rate at 5.5 dpc" for all three groups.

    - LAB MEDIA: Table 1. Video editor: Highlight the "Hatching rate at 5.5 dpc" for  “Fresh embryos” row.

  - No significant differences were observed in pregnancy and birth rates between vitrified and warmed and fresh 2-cell embryos transferred to recipient mice [1].

    - LAB MEDIA: Table 2. Video editor: Highlight the pregnancy rate and birth rate columns.

  - In sheep embryos, survival and hatching rates at both 3 hours and 24 hours post-warming were similar between Spatula MVD and a commercial device [1], but both were significantly lower than those of the fresh embryo control group in terms of blastocyst development by day 8 [2].

    - LAB MEDIA: Table 3. Video editor: Highlight the “survival rates” columns for both Spatula MVD and Commercial device rows.

    - LAB MEDIA: Table 3. Video editor: Highlight the "Development rate" and "Hatching rate" for the Control group row.

  - Across various genetically modified mouse lines, Spatula MVD vitrification resulted in an average recovery rate of 90.4%, survival rate of 96.8%, pregnancy rate of 80%, and birth rate of 31.5%, with variability likely due to genetic background differences [1].

    - LAB MEDIA: Table 5. Video editor: Highlight the average row at the bottom.