# Submission ID #: 68179

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20794643

# Title: Mitochondrial Preparation from Microglia for Glycan Analysis

# Authors and Affiliations:

# Meghana Madabhushi1, Tana V. Palomino2, Mallikarjun H. Patil3, David C. Muddiman2, Daniel J. Tyrrell3, Juhi Samal4

# 1School of Health Professions, University of Alabama at Birmingham, Birmingham

# 2Department of Chemistry, North Carolina State University

# 3Department of Pathology, Division of Molecular and Cellular Pathology, University of Alabama at Birmingham

# 4Department of Biomedical Engineering, University of Alabama at Birmingham

# Corresponding Authors:

Juhi Samal				jsamal@uab.edu

# Email Addresses for All Authors:

Meghana Madabhushi		mmadabhu@uab.edu

Tana V. Palomino			tvpalomi@ncsu.edu

Mallikarjun H. Patil			mpatil@uab.edu

David C. Muddiman			dcmuddim@ncsu.edu

Daniel J. Tyrrell			danieltyrrell@uabmc.edu

Juhi Samal				jsamal@uab.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes, all done

3. Filming location: Will the filming need to take place in multiple locations?   NO

Current Protocol Length

Number of Steps:  19

Number of Shots:  40

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

AUTHORS : Please note that only 1 author may present a statement. Please confirm the name of the author delivering statements 1.3 and 1.4

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Juhi Samal: Broadly, our research aims at understanding the mechanistic roles of sugars or glycans in neuroinflammation and how the cellular/sub-cellular glycosylation pathways can be therapeutically targeted in aging and brain disorders.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:4.2

What research gap are you addressing with your protocol?

  - Juhi Samal: Currently, there is a gap in knowledge about subcellular glycans, their role and modulation in different disease pathophysiologies including the acute and chronic brain diseases like stroke and Alzheimer’s.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

What advantage does your protocol offer compared to other techniques?

  - JuhiSamal/Dan Tyrrell: This protocol provides a platform for quantitative estimation and compositional information about mitochondrial glycans compared to the few previous studies on sub-cellular glycosylation that rely on lectins for detection.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:4.3

How will your findings advance research in your field?

  - Juhi Samal/Dan Tyrrell: This protocol and our research aim at advancing the knowledge about the role of glycans in neuro-immune interactions and how that can be leveraged to design therapies for CNS disorders.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

- Isolation of Mitochondria from Microglial Cells

Demonstrator(s): Dan Tyrrell,Juhi Samal

  - To begin, obtain BV-2 (B-V-Two) microglial cells derived from C57BL/6 (C-Fifty-Seven-B-L-Bar-Six) mice [1]. Maintain them in DMEM (D-M-E-M) low glucose medium supplemented with 10% FBS, 1% penicillin-streptomycin, and 1% non-essential amino acids [2]. Grow the cells in T-175 (T-One-Seventy-Five) flasks until they reach 70 to 80% confluency [3].

    - WIDE: Talent holding a dish of BV-2 cell culture.

    - Talent adding media to the BV-2 cell culture flasks.

    - Shot of the confluent cultures in T-175 flasks in the incubator.

  - Aspirate the media from the flask [1]. Resuspend the cell pellet in 1 milliliter of growth medium [2]. Using trypan blue, count the cells [3-TXT].

    - Talent removing media from the flask with an aspirator.

    - Talent resuspending the pellet in fresh media with a pipette.

    - Talent mixing cells with trypan blue and counting under a microscope or automated cell counter. TXT: Proceed with mitochondrial isolation if cell pellet contains 2 x 107 cells

  - Centrifuge the cells in a 2-milliliter microcentrifuge tube at 500 g for 5 minutes [1]. Carefully aspirate and discard the supernatant [2].

    - Talent placing tubes in the centrifuge and setting parameters.

    - Talent aspirating the supernatant with a pipette, leaving the pellet intact.

  - Add 800 microliters of mitochondrial isolation reagent A [1] and vortex at medium speed for 5 seconds [2]. Then incubate the tube on ice for exactly 2 minutes [3].

    - Talent pipetting reagent A into the tube.

    - Talent vortexing the tube.

    - Talent placing the tube on ice and starting the timer.

  - Add 10 microliters of mitochondrial isolation reagent B [1], and vortex at maximum speed for 5 seconds [2]. Incubate on ice for 5 minutes, vortexing at maximum speed every minute [3].

    - Talent adding reagent B.

    - Talent placing the tube on a vortex.

    - Talent intermittently vortexing the tube on ice every minute.

  - Now, add 800 microliters of mitochondrial isolation reagent C and invert the tube to mix [1], and centrifuge at 700 g for 10 minutes at 4 degrees Celsius [2].

    - Talent adding reagent C and inverting the tube gently.

    - Talent placing the tube in centrifuge and setting conditions.

  - Transfer the supernatant to a new 2-milliliter tube [1] and centrifuge at 3,000 g for 15 minutes at 4 degrees Celsius [2].

    - Talent transferring the supernatant to a fresh tube.

    - Talent placing it in the centrifuge.

  - Transfer the supernatant containing the cytosolic portion to a new tube [1]. The pellet contains the isolated mitochondria [2]. Add 500 microliters of mitochondrial isolation reagent C to the pellet [3] and centrifuge at 12,000 g for 5 minutes [4].

    - Talent pipetting the cytosolic supernatant into another tube.

    - Close-up of the mitochondrial pellet remaining in the tube.

    - Talent resuspending the pellet.

    - Talent places the tube in a centrifuge.

  - Use the pellet for protein quantification and processing, or store at minus 80 degrees Celsius until use [1].

    - Talent either placing the pellet into a freezer box or preparing it for analysis.

- Protein Extraction and Mass Spectrometric Identification of N-Glycans from Mitochondria

Demonstrator: Juhi Samal, Tana V. Palomino, David C. Muddiman

  - Resuspend the isolated mitochondria in 50 microliters of protein isolation buffer [1]. Leave the suspension on ice for 20 minutes [2].

    - Talent adding buffer to the mitochondrial pellet.

    - Talent placing tube on ice.

  - Aspirate and dispense three times and leave on ice for 20 minutes, vortexing before use [1]. If not fully solubilized, add another 50 microliters of buffer and pool in the same tube [2]. Centrifuge at 13,000 g for 10 minutes [3].

    - Talent performing repeated aspiration and dispensing.

    - Talent adding additional buffer and combining contents.

    - Talent placing tube in centrifuge and setting speed.

  - After recovering and freezing the supernatant, dry using a vacuum concentrator [1].

    - FILE: 68179_Screenshot_3.3.2	00:00-14

  - For the detection of released glycans, resuspend the dried N-linked glycans in 50 microliters of LCMS (L-C-M-S) grade water [1]. Pipette 5 microliters of resuspended mitochondrial glycans onto a sample spot on a Teflon microwell slide [2].

    - FILE: 68179_Screenshot_3.4.1 	00:02-00:12

    - FILE: 68179_Screenshot_3.4.2	00:01-00:12

  - Ionize and detect N-glycans in negative ionization mode using an electrospray solvent consisting of 60% acetonitrile and 1 millimolar acetic acid at a flow rate of 2 microliters per minute and a voltage of 3.2 kilovolts [1].

    - SCREEN: 68179_Screenshot_3.6	00:01-end . 
AUTHORS: Please confirm if the file and timestamp are correct. The filenames on the project page appears to be interchanged for the steps 3.5 and 3.6.

  - Couple IR-MALDESI (I-R-Mall-Desi) to a HRAM (H-Ram) mass spectrometer set at a resolving power of 240,000 full width at half maximum at mass-to-charge ratio 200 to analyze between 500 and 2,000 mass-to-charge ratio in negative ionization mode [1].

    - SCREEN: 68179_Screenshot_3.5	00:01-00:21

AUTHORS: Please confirm if the file and timestamp are correct

  - Manually identify the N-linked glycans by searching for monoisotopic masses [1]. Confirm isotopic distributions using mass-to-charge spacing to determine doubly and triply charged ions with a minimum ion flux threshold of 1,000 ions per second [2].

    - SCREEN: 68179_Screenshot_3.7	00:18-00:25 .

    - SCREEN: 68179_Screenshot_3.7	00:30-00:47

  - Convert the raw mass spectra from mass-to-charge ratios to neutral monoisotopic masses [1].

    - SCREEN: 68179_Screenshot_3.7		00:50-01:03
AUTHORS: Please confirm if the file and timestamp are correct -.

  - Then upload the monoisotopic masses to an online oligosaccharide structure prediction tool to determine potential glycan compositions [1]. Confirm annotations using an experimentally curated glycomic database [2].

    - SCREEN: 68179_Screenshot_3.9	00:03-00:27 .

    - SCREEN: 68179_Screenshot_3.9	01:15-01:34 .

  - Ensure each identification is within 2.5 parts per million mass measurement accuracy margin, contains the core N-linked glycan structure and excludes pentose, 3-deoxy-D-manno-octulosonic acid, or uronic acid monosaccharides [1].

    - SCREEN: 68179_Screenshot_3.10	00:03-00:40 .

# Results

- Results

  - Mitochondrial protein concentrations obtained from six independent preparations showed no significant variation, confirming high reproducibility [1].

    - LAB MEDIA: Figure 2B.

  - Western blot analysis showed COX IV (Cox-four) expression only in the mitochondrial fractions [1], and GAPDH (G-ap--D-H) only in cytoplasmic fractions, confirming the purity of mitochondrial isolations and the absence of non-mitochondrial contamination [2].

    - LAB MEDIA: Figure 3. Video editor: Highlight the bands in COX IV row

    - LAB MEDIA: Figure 3. Video editor: Highlight the bands in GAPDH row

  - Distinct sialylated, phosphorylated, and sulfated N-glycan structures were detected in mitochondrial extracts using IR-MALDESI [1].

    - LAB MEDIA: Figure 4. Video editor: Please highlight the six peaks with the multicolored schematic over it

  - Chi-squared values testing a goodness-of-fit confirm the detection of N-linked glycans with one and two chlorine adducts, confirming the detection of these glycan compositions using IR-MALDESI [1].

    - LAB MEDIA: Figure 5B. Video editor: Please sequentially highlight A to D