# Submission ID #: 68191

# Scriptwriter Name: Debopriya Sadhukhan

# Project Page Link: https://review.jove.com/account/file-uploader?src=20798303

# Title: A Real-Time Interactive System for Studying Confrontational Pursuit Behavior in Rodents

# Authors and Affiliations:

Jincheng Wang1, Songyan Lv2, Xue Liu3, Qiyue Deng1, Ruiqi Pang4, Yi Zhou1

1Department of Neurobiology, School of Basic Medicine, Army Medical University

2School of Electrical Engineering, Chongqing University

3Department of Biomedical Engineering and Imaging Medicine, Army Medical University

# 4Guangxi Key Laboratory of Special Biomedicine & Advanced Institute for Brain and Intelligence, School of Medicine, Guangxi University

# Corresponding Authors:

Jincheng Wang  	(jinchengwangtyy@126.com)

Ruiqi Pang      		(ruiqipang@126.com)

# Yi Zhou	     		(yzhou@tmmu.edu.cn)

# Email Addresses for All Authors:

Songyan Lv		(13781672351@163.com)

Xue Liu			(liuxue@tmmu.edu.cn)

Qiyue Deng		(qiyuedeng@tmmu.edu.cn)

Jincheng Wang  	(jinchengwangtyy@126.com)

Ruiqi Pang      		(ruiqipang@126.com)

# Yi Zhou	     		(yzhou@tmmu.edu.cn)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar? No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage? Yes

3. Filming location: Will the filming need to take place in multiple locations?   No

Current Protocol Length

Number of Steps:  15

Number of Shots:  25

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Jincheng Wang: Predatory pursuit behavior involves vital physiological processes, yet lacks suitable research methods. This research aims to propose a standardized method to explore the neural mechanisms of animal behaviors triggered by sensory stimuli, especially in predator-prey chasing.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 3.3.1.

What technologies are currently used to advance research in your field?

  - Jincheng Wang: Techniques like optogenetics, electrophysiology, and brain imaging are commonly used to advance research in this field. Optogenetics enables precise control of neural activity, and electrophysiology records neuronal signals.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

What are the current experimental challenges?

  - Jincheng Wang: The main challenges are the uncontrollability of live prey, such as crickets, which makes it difficult to observe or define the chase and to standardize experiments.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

What research gap are you addressing with your protocol?

  - Jincheng Wang: Predatory behavior can be divided into four stages: searching, chasing, attacking, and consuming. In recent years, the latter two stages have been widely studied, while the searching and chasing behaviors have rarely been involved.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: LAB MEDIA: Figure 4A, 4B, 4C.

What advantage does your protocol offer compared to other techniques?

  - Jincheng Wang: This protocol provides flexible and controllable artificial prey for repeated experiments and modeling, maximizes the simulation of natural hunting with real-time interaction and low latency, and offers scalable hardware and software that are cost-effective and easy to use.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 3.1.1., 3.1.2.

Videographer: Obtain headshots for all authors available at the filming location.

Ethics Title Card

This research has been approved by the Animal Care and Use Committee of the Army Medical University (No. AMUWEC20210251)

# Protocol

- Hardware Preparation for Real-Time Interactive Platform

Demonstrator: Jincheng Wang

  - To begin, mount a webcam on a crossbar above the entire platform to monitor in real-time the positions of the mouse and robotic bait in the arena below and transmit the images to the computer [1].

    - WIDE: Talent attaching a webcam to a crossbar and adjusting its position above the arena platform.

  - Design a large circular arena with an 800-millimeter diameter and 300-millimeter height consisting of a square acrylic panel at the bottom and an acrylic tube as the border [1]. Place four evenly spaced icons—square, triangle, circle, and cross—on the interior walls of the arena to serve as visual cues [2].

    - The circular arena.

    - The four icons evenly attached on the inner walls of the arena.

  - Use a round neodymium magnet with food pellets as a robotic bait [1]. Attach a blue sticker to the surface of the magnet for easy identification and location [2].

    - The round neodymium magnet with food pellets used as a robotic bait.

    - Talent attaching a blue sticker to the surface of the magnet.

  - Mount a two-dimensional slider with an effective travel of 1000 millimeters under the arena [1]. Install another neodymium magnet on the carrier of the slider to serve as the pulling magnet for remotely moving the robotic bait using magnetic force [2].

    - Talent positioning and fixing a two-dimensional slider under the arena structure.

    - Talent attaching a neodymium magnet to the slider’s carrier.

  - Drive the puller magnet using servo motors that are controlled by an STM32 board and a switching circuit [1]. Set the servo motor to speed-direction mode, where the frequency of the PWM (P-W-M) wave output encodes speed, and the high or low signal levels encode forward or reverse direction [2].

    - SCREEN: 68191_screenshot_1.mp4 00:00-00:20.

    - SCREEN: 68191_screenshot_1.mp4 00:40-00:49, 00:52-00:57, 01:13-01:35.

- Method for Habituation Trials

  - To move the robotic bait to the center of the arena, run the reset program [1]. Isolate the mouse at the edge of the arena using a baffle [2-TXT].

    - SCREEN: 68191_screenshot_2.mp4 00:00-end.

    - SCREEN: 68191_screenshot_3.mp4 00:00-00:05. TXT: Fast the mouse for 12 h before this step ensuring free access to water

  - After that, set the experiment name and the path of the file [1]. Then, set the moving speed of the robotic bait to 5 centimeters per second in the main program [2]. Click Run and verify in the pop-up video window that the mouse and robotic bait are stably recognized [3].

    - SCREEN: 68191_screenshot_3.mp4 00:06-00:24.

    - SCREEN: 68191_screenshot_3.mp4 00:25-00:35.

    - SCREEN: 68191_screenshot_3.mp4 00:39-00:49.

  - Remove the baffle and start the timer to observe the predatory behavior of the mouse for 20 minutes [1-TXT].

    - SCREEN: 68191_screenshot_3.mp4 00:56-01:15. TXT: Record when the mouse first takes a pellet from the bait; If the mouse does not take the pellet, stop the bait and place it nearby

  - Return the mouse to its cage and allow a 24-hour recovery period with free access to food and water [1-TXT].

    - Talent placing the mouse back into its cage with food and water. TXT: Repeat habituation until two trials show no difference in the 1st food retrieval time

  - After each habituation trial, clean the arena thoroughly using 75 percent alcohol and water [1].

    - Talent cleaning the arena surface first with alcohol and water.

- Method for Predation Task

  - Move the robotic bait to the center of the arena, by running the reset program as shown previously [1], and isolate the mouse with a baffle at the edge of the arena [2-TXT].

    - 3.1.1.

    - SCREEN: 68191_screenshot_4.mp4 00:00-00:03. TXT: Fast the mouse for 12 h before this step ensuring free access to water

  - After setting the experiment name, path of the file, and moving speed of the robotic bait [1], click Run on the software and observe the video window to ensure stable detection of both the mouse and the robotic bait [2].

    - SCREEN: 68191_screenshot_4.mp4 00:06-00:25.

    - SCREEN: 68191_screenshot_4.mp4 00:29-00:39.

  - Remove the baffle and start the timer [1].

    - SCREEN: 68191_screenshot_4.mp4 00:41-00:51.

  - If the mouse captures the robotic bait within 60 seconds [1], close the main program [2] and allow the mouse to consume all the food pellets before being returned to the cage [3].

    - SCREEN: The mouse captures the robotic bait.

    - SCREEN: Talent closing the main program.

    - SCREEN: The mouse consuming the food pellet.

Authors: Will you provide screen capture files for 4.4.1, 4.4.2, and 4.4.3, or do you want to add this information concisely as onscreen text in 4.3.1 (as it is done in 3.3.1)?

  - Return the mouse to the cage without any reward or punishment, if the mouse fails to capture the robotic bait within 60 seconds [1-TXT].

    - Talent placing the mouse into the cage. TXT: Repeat predation tasks after 4 and 24 h; Mice are considered skilled predators if over 80% take <15 s in two trials

# Results

- Representative Results

  - The Predation tasks were conducted at different speed difficulties and the results show that the time to first robotic bait capture significantly decreased across habituation trials, indicating rapid learning in mice [1].

    - LAB MEDIA: Figure 3A.

  - Mice had higher capture success at 15 centimeters per second [1] than at 30 centimeters per second, showing speed-dependent difficulty [2].

    - LAB MEDIA: Figure 3B. Video Editor: Highlight the grey curve.

    - LAB MEDIA: Figure 3B. Video Editor: Highlight the blue curve.

  - However, predation time stabilized below 15 seconds after repeated trials, regardless of bait speed [1]. Distinct search and pursuit phases were also observed in the mice’s movement patterns [2].

    - LAB MEDIA: Figure 3C, 3D. Video Editor: Highlight the dotted line at 15 in both graphs.

    - LAB MEDIA: Figure 3E, 3F.

  - Pursuit behavior was reliably induced across bait speeds, shown by reduced distance and increased speed during pursuit [1].

    - LAB MEDIA: Figure 3G, 3H.

  - The predation tasks were also conducted with different escape strategies, however, the bait escape strategy did not affect the predation success rates [1].

    - LAB MEDIA: Figure 4B.

  - Predation time decreased and stabilized below 15 seconds with both escape strategies [1].

    - LAB MEDIA: Figure 4D and 4E. Video Editor: Highlight the dotted line at 15 in both graphs.

  - Mice showed consistent pursuit behavior under both escape strategies [1].

    - LAB MEDIA: Figure 4F, 4G.