# Submission ID #: 68200

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=20801048

# Title: Multimodal Analysis of Microplastics in Drinking Water using a Silicon Nanomembrane Analysis Pipeline

# Authors and Affiliations:

# Teagan Horan1, Samantha Romanick2, Gregory Madejski3, Ahmet Gurcan2, James McGrath2, James Roussie1, Kathryn Neville1

# 1SiMPore Inc.
2Department of Biomedical Engineering, University of Rochester 
3URnano, University of Rochester

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Kathryn Neville					kneville@simpore.com

# Email Addresses for All Authors:

Teagan Horan						thoran@simpore.com

Samantha Romanick					sromanic@ur.rochester.edu

Gregory Madejski					g.madejski@rochester.edu

Ahmet Gurcan						agurcan@u.rochester.edu

James McGrath					james.mcgrath@rochester.edu

James Roussie						jroussie@simpore.com

# Kathryn Neville					kneville@simpore.com

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  25

Number of Shots:  55 (3 SC)

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

Answers to these questions will not appear in the video but may be featured in our journal's promotional materials.

- Enter the full name of the author who will deliver the statement.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Answers will be mildly edited for clarity.

- Limit the length of each statement to 50 words or fewer.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Quality Control Procedures and Solution Preparations

Demonstrator: Click here to enter name of demonstrator(s)

  - To begin, don 100 percent cotton laboratory coat and nitrile gloves [1].

    - WIDE: Talent putting on a 100 percent cotton laboratory coat and donning nitrile gloves.

  - Using 99 percent isopropyl alcohol, spray the nitrile gloves [1]. Rub the hands together thoroughly [2] and rinse with approximately 18 megaohm, 0.22 micrometer-filtered water [3-TXT].

    - Talent spraying nitrile gloves thoroughly with 99 percent isopropyl alcohol.

    - Talent rubbing gloved hands together to spread the isopropyl alcohol evenly.

    - Talent rinsing gloved hands under a stream of filtered water.  TXT: Repeat this process 3x; Use this filtered water throughout

  - Fold a delicate task of natural fiber and wipe it into quarters [1]. Spray the folded, delicate task wipe with 70 percent isopropyl alcohol [2]. Wipe the hood surface from back to front in long strokes, re-folding to an unused surface every two strokes [3-TXT].

    - Talent folding a delicate task wipe into quarters.

    - Talent spraying the folded wipe with 70 percent isopropyl alcohol.

    - Talent wiping the laminar flow hood surface from back to front using long, even strokes, and re-folding the wipe after every two strokes.  TXT: Repeat the wiping process if required

  - Now, roll a silicone mat across the surface of the hood to pick up any remaining particles [1]. Spray the silicone roller with 99 percent isopropyl alcohol and scrub using a gloved hand [2]. Rinse the roller with filtered water [3]. After repeating the cleaning process three times, allow the roller to air-dry inside the hood [4-TXT].

    - Talent rolling the mat across the hood surface to pick up debris.

    - Talent spraying the silicone roller with 99 percent isopropyl alcohol and scrubbing with a gloved hand.

    - Talent rinsing the silicone roller under filtered water.

    - Talent setting the roller aside in the hood to air-dry. TXT: Re-rinse the nitrile gloves as demonstrated earlier

  - Next, fill a 1-liter beaker with the filtered water under the hood [1]. Prime a 60-milliliter syringe and attached 0.22-micrometer cut-off syringe filter with at least 200 milliliters of the filtered water through the syringe and filter [2].

    - Talent filling a 1 liter beaker with filtered water under the hood.

    - Talent adding/drawing the filtered water to a syringe attached to a filter.

  - Then, rinse a glass screw-cap container three times with filtered water [1] and fill the container with syringe-filtered 18 megaohm, 0.22 micrometer-filtered water [2].

    - Talent rinsing a glass screw-cap container three times with filtered water.

    - Talent filling the rinsed container with syringe-filtered water.

  - Repeat the beaker filling, syringe priming, and container rinsing steps using the desired percentage concentration of isopropyl alcohol instead of water to generate ultrapure isopropyl alcohol [1].

    - Talent displaying final isopropyl alcohol obtained after processing.

- Particle Capture from Liquid Samples via Filtration

Demonstrator: Click here to enter name of demonstrator(s)

  - Don personal protective equipment and nitrile gloves [1]. Spray a silicone gasket with ultrapure 99 percent isopropyl alcohol [2] and scrub the gasket with gloved fingers [3]. Then, rinse the gasket with ultrapure water [4-TXT].

    - Talent putting on a PPE and nitrile gloves.

    - Talent spraying a silicone gasket thoroughly with ultrapure 99 percent isopropyl alcohol.

    - Talent scrubbing the silicone gasket with gloved fingers.

    - Talent rinsing the silicone gasket with ultrapure water. TXT: Repeat the IPA wash 3x for each gasket

  - Utilizing the primed syringe, uptake 30 milliliters of ultrapure water and 30 milliliters of air into the 60-milliliter syringe [1]. Screw on a syringe filter [2]. Shake the syringe vigorously [3] and dispense the liquid and air through the filter [4].

    - Talent drawing 30 milliliters of ultrapure water and 30 milliliters of air into the 60 milliliter syringe.

    - Talent screwing a syringe filter onto the syringe.

    - Talent shaking the syringe vigorously to mix.

    - Talent dispensing the contents through the syringe filter.

  - After rinsing 3 times, assemble the filtration apparatus according to the visual assembly graphic [1] [2].

    - Talent assembling the filtration apparatus carefully.

    - LAB MEDIA: Figure 1B Video Editor: Please use split screen to show both the shots of this step

  - Turn on the vacuum to the filtration apparatus to create a negative flow through the filter disk stack [1].

    - Talent turning on the vacuum and confirming negative flow through the stack.

  - To measure the background contamination, dispense 50 milliliters of ultrapure water slowly over the nanomembrane in the center of the top disk using the rinsed syringe [1].  Allow the ultrapure water to filter through [2-TXT]. Once the sample is dry, turn off the vacuum [3].

    - Talent dispensing 50 milliliters of ultrapure water over the nanomembrane using the rinsed syringe.

    - Shot of the ultrapure water filtering through the nanomembrane.  TXT: After filtration, keep the vacuum on for 1 min

    - Talent turning off the vacuum once the sample is fully dry.

  - Using clean tweezers, carefully remove the filter disks from the gaskets [1] and place them into a clean, labeled container such as a glass Petri dish or a darkened box [2].  Image the filter disks under microscopy for optical analysis and particle counting [3].

    - Talent removing filter disks carefully with tweezers.

    - Talent placing the filter disks into a clean and labeled container.

    - Talent placing the filter disks under a microscope.

  - For liquid samples, repeat the syringe rinsing process with an additional cleaned gasket and syringe-filter unit [1].  Next, uptake the desired amount of the new sample [2] and dispense the sample slowly over the nanomembrane in the center of the top disk [3].

    - Talent rinsing the syringe.

    - Talent drawing the desired amount of sample into the syringe.

    - Talent dispensing the sample slowly over the nanomembrane

  - Once sample filtration is complete, rinse the membrane three times with 1 milliliter of ultrapure water [4-TXT].

    - Talent adding the membrane with 1 milliliter of ultrapure water each time. TXT: Vacuum and dry the sample

- Fluorescent Dye Preparation, Staining and Data Acquisition

Demonstrator: Click here to enter name of demonstrator(s)

  - Rinse two glass screw cap containers three times with ultrapure water [1].  Prepare a 0.1 milligram per milliliter solution of Nile Red in ultrapure 99 percent isopropyl alcohol in a clean glass container [2]. Gently invert the container ten times to mix the solution [3].  Filter the Nile Red solution into the second glass screw cap container [4].

    - Talent adding ultrapure water to two glass screw cap containers.

    - Talent adding Nile Red to a clean glass container.

    - Talent gently inverting the glass container.

    - Talent adding the prepared Nile Red solution into the filtration unit placed in a second clean glass screw cap container.

  - Place the filter disk to be stained onto the support frit of the vacuum collection flask [1] and pipette 20 microliters of the 0.1 milligram per milliliter Nile Red solution onto the nanomembrane at the center of the filter disk [2].

    - Talent placing the filter disk carefully onto the support frit of the vacuum collection flask.

    - Talent pipetting and dispensing 20 microliters of Nile Red solution precisely onto the center of the nanomembrane.

  - Incubate the stain on the nanomembrane for 5 minutes [1] and then vacuum filter the stain [2].

    - Talent placing the sample aside.

    - Talent initiating vacuum filtration to remove the stained solution.

  - Rinse the filter disk three times with 1 milliliter of ultrapure 99 percent isopropyl alcohol to remove excess Nile Red stain [1].

    - Talent adding the filter disk with 1 milliliter of ultrapure 99 percent isopropyl alcohol each time.

  - Allow the filter disk to sit on the support frit with the vacuum on for 2 minutes to filter and dry any residual liquid [1]. If it still does not dry after 2 minutes, transfer it to a 70-degree Celsius oven for 2 to 5 minutes using a clean glass Petri dish [2].

    - Shot of the filter disk on the frit under vacuum.

    - Talent transferring the filter disk into a 70-degree Celsius.

  - Once completely dry, perform fluorescence microscopy on the filter disk as described previously [1].

    - Talent placing the sample under a fluorescence microscope.

  - For particle quantification, immobilize the filter disk on a microscope slide using a piece of silicone [1] and move it onto the microscope stage [2].

    - Talent placing the filter disk onto a microscope slide using silicone.

    - Talent transferring the sample to the microscope stage.

  - Image the nanomembrane using brightfield illumination so that the maximum detected counts are approximately 90% of the detector camera’s maximum range [1].

    - SCREEN: Capturing brightfield images of the nanomembrane.

  - Set the maximum pixel intensities around 25% of the detector camera’s maximum range [1].

    - SCREEN: showing maximum pixel intensity reaching around 25 percent of the camera’s range.

  - Finally, save the acquired image as a 16-bit composite TIFF file [1].

    - SCREEN: Show saving the fluorescence image on the software interface, selecting the 16-bit composite TIFF format, and confirming the file save.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 74.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Nile Red staining quantified stained particles, showing a substantially higher particle count at 20-micrometer cutoff compared to 88-micrometer cutoff [1].

    - LAB MEDIA: Figure 3E. Video editor: Emphasize the Dark red bars (20 micrometer).

  - Raman spectra confirmed the identification of a red-stained particle as polyethylene with a very high correlation coefficient [1].

    - LAB MEDIA: Figure 3C.

  - Scanning electron microscopy revealed detailed morphological features of stained particles on SiN (Sai-N) membranes [1].

    - LAB MEDIA: Figure 3D.

  - Energy-dispersive X-ray spectroscopy analysis showed that the main particle composition was primarily carbon and nitrogen, suggesting organic origin [1].

    - LAB MEDIA: Figure 3F.