# Submission ID #: 68208

# Scriptwriter Name: Debopriya Sadhukhan

# Project Page Link: https://review.jove.com/account/file-uploader?src=20803488

# Title: Enzymatic Modification and Flow Cytometry Assessment of Yeast Surface Displayed Proteins

# Authors and Affiliations:

Jose Ezagui*, Alexandra Tang*, Lawrence A. Stern

# 1Department of Chemical, Biological, and Materials Engineering, University of South Florida

* These authors contributed equally

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Lawrence A. Stern			(sternl@usf.edu)

# Email Addresses for All Authors:

Jose Ezagui				(ezagui@usf.edu)

# Alexandra Tang			(atang1@usf.edu)

# Lawrence A. Stern			(sternl@usf.edu)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  34

Number of Shots:  55

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

Answers to these questions will not appear in the video but may be featured in our journal's promotional materials.

- Enter the full name of the author who will deliver the statement.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Answers will be mildly edited for clarity.

- Limit the length of each statement to 50 words or fewer.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Cell Growth of Yeast Harboring Plasmid and Induction of Protein Expression

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, thaw the prepared one aliquot per plasmid on ice [1]. Add 0.5 to 1.5 micrograms of plasmid DNA containing the yeast display construct directly to the cells [2]. Then, add 0.5 milliliters of either the transformation solution or a sterile 50 percent polyethylene glycol and 0.1 molar lithium acetate solution [3]. Thoroughly combine the mixture of cells, plasmid DNA, and transformation solution by pipetting [4].

    - WIDE: Talent thawing the prepared plasmid aliquots on ice.

    - Talent adding plasmid DNA containing the yeast display construct to the cells.

    - Talent adding transformation solution or polyethylene glycol and LiOAc solution to the mixture.

    - Talent pipetting the mixture up and down to mix.

  - Incubate the transformation mixture statically for 30 to 60 minutes at 30 degrees Celsius [1] and vortex the mixture at 15-minute intervals [2]. Harvest the cells by centrifuging at 1,000 g [3].

    - Talent placing transformation mixture in the incubator.

    - Talent vortexing the mixture.

    - Talent centrifuging the transformation mixture.

  - Prepare a 14-milliliter culture tube with 4.5 milliliters of plasmid-containing yeast cell growth or SD-CAA (S-D C-A-A) media [1]. Resuspend the cells containing the desired plasmid in 500 microliters of SD-CAA [2] and inoculate the prepared 4.5 milliliters of media [3].

    - Talent pouring 4.5 milliliters of SD-CAA media into a 14-milliliter culture tube.

    - Talent resuspending cells in 500 microliters of SD-CAA.

    - Talent inoculating the SD-CAA media.

  - Distribute 50 microliters of the 5 milliliters of inoculated culture onto a SD-CAA plate carefully without piercing the agar [1]. Incubate statically at 30 degrees Celsius for 48 hours to determine transformation efficiency [2].

    - Talent pipetting the inoculated SD-CAA culture onto the plate without damaging agar.

    - Talent placing the plate into the incubator.

  - Now, incubate the 5 milliliters of SD-CAA cell culture in a shaking incubator at 30 degrees Celsius and 300 rpm for at least 18 hours [1]. Monitor optical density at 600 nanometers after 16 hours and repeat again after 20 hours [2]. Once the sample reaches an optical density not exceeding 6, centrifuge the culture for 3 minutes at 2,500 g [3] and discard the supernatant without disturbing the yeast pellet [4].

    - Talent placing culture in a shaking incubator.

    - Talent monitoring optical density at 600 nanometers at 16 hours. Videographer: If possible, try to capture both the talent (monitoring the optical density) and the computer screen (the optical density being calculated) together in the frame. Make sure the computer screen is clearly visible.

    - Talent centrifuging culture.

    - Talent discarding supernatant.

  - Resuspend the yeast pellet in the induction of protein expression or SRG-CAA media to a final optical density at 600 nanometers less than 1 [1-TXT].

    - Talent resuspending yeast pellet in SRG-CAA. TXT: OD600nm <1 corresponds to <1 × 107 yeast/mL

  - Incubate the yeast culture in a shaking incubator at 30 degrees Celsius and 300 rpm for at least 8 hours but no longer than 24 hours [1].

    - Talent placing yeast culture in a shaking incubator.

  - Then, measure the optical density at 600 nanometers to determine the cell density [1].

    - Talent measuring optical density using a spectrophotometer.

- Dephosphorylation of Substrates Expressed on the Yeast Cell Surface

Demonstrator: Click here to enter name of demonstrator(s)

  - Prepare the working buffer for the samples by diluting the 2X (two-ex) working buffer solution in a 1:2 (one to two) ratio with deionized water in a 1.7-milliliter vial [1].

    - Talent diluting 2X buffer solution with deionized water in a 1.7-milliliter vial.

  - Add the appropriate volume of yeast culture required to recover two million yeast cells into the 1.7-milliliter vial for each sample [1-TXT].

    - Talent adding yeast culture to the 1.7-milliliter vial. TXT: Calculate the volume of yeast culture based on the measured optical density

  - Centrifuge the vial for 1 minute at 4,500 g [1], and using a micropipette, carefully remove and discard the supernatant as biohazardous waste [2].

    - Talent centrifuging the vial.

    - Talent discarding the supernatant.

  - Resuspend the pelleted cells in 1 milliliter of PBSA (P-B-S-A) before repeating the centrifugation and supernatant removal. Keep it aside [1-TXT].

    - Talent resuspending the pelleted cells in 1 milliliter of PBSA. TXT: PBSA: PBS with 1 g/L bovine serum albumin

  - Prepare the recombinant human SHP-2 solution at a final concentration of 1,000 nanomoles in a 20-microliter total reaction volume [1-TXT].

    - A shot of the recombinant human SHP-2 solution with a final concentration of 1,000 nanomoles in a 20 microliter total reaction volume. TXT: SHP-2: Src homology region 2 domain-containing phosphatase-2 Authors: Is this shot and the voiceover narration okay or do you want to show the calculation part here?

  - Next, add 7.7 milligrams of DTT (D-T-T) into 10 milliliters of deionized water in a 15-milliliter conical tube to create a 5-millimolar DTT solution [1].

    - Talent preparing 5 millimolar DTT solution.

  - Now, take the pelleted cells and resuspend them in the working buffer so that the final reaction volume is 20 microliters per sample [1].

    - Talent resuspending cells in working buffer.

  - Add 2 microliters of the 5 millimolar DTT solution to each sample for a final DTT concentration of 0.5 millimolar [1].

    - Talent adding DTT to samples.

  - Add the prepared volume of SHP-2 to each sample to achieve a final volume of 20 microliters and gently mix using a micropipette [1].

    - Talent adding SHP-2 to sample and mixing.

  - Wrap the sample vial lids with parafilm to prevent leakage or cross-contamination [1].

    - Talent wrapping vials with parafilm.

  - Incubate the samples at 37 degrees Celsius for 2 hours on a rotor at a constant speed [1].

    - Talent placing vials on rotor.

  - After removing the samples from the rotor, stop the reaction by adding 1 milliliter of PBSA to each sample before centrifuging them again for 1 minute [1]. Then, discard the supernatant [2].

    - Talent adding PBSA to stop reaction.

    - Talent discarding the supernatant after centrifugation.

- Cell Labeling and Flow Cytometry Analysis of Dephosphorylated Substrates

Demonstrator: Click here to enter name of demonstrator(s)

  - Resuspend the pelleted samples in a 20-microliter mix of their corresponding primary reagents and incubate for 20 minutes at room temperature [1].

    - Talent adding the 20-microliter mix of the corresponding primary reagent to the pellet.

  - After 20 minutes, centrifuge samples at 4,500 g for 1 minute [1] and discard the supernatant as biohazardous waste [2].

    - Talent centrifuging the sample.

    - Talent discarding supernatant.

  - Wash the cells once by resuspending them in 1 milliliter of PBSA before centrifuging the cells again [1].

    - Talent washing the cells.

  - Now, resuspend the samples in a 20-microliter mix of their corresponding secondary reagents [1] and incubate for 15 minutes in the dark [2].

    - Talent adding secondary reagents.

    - Talent incubating in the dark.

  - After centrifuging the samples and discarding the supernatant, wash the cells once more with PBSA before centrifuging them again [1].

    - Talent washing the cells with PBSA.

  - Next, resuspend the washed samples in 300 to 500 microliters of PBSA [1] and transfer them to 5-milliliter polystyrene tubes for flow cytometry analysis [2].

    - Talent resuspending the washed sample in PBSA

    - Talent transferring the sample into 5-milliliter polystyrene tube.

  - After preparing the cytometer, click on File, followed by the New Experiment button, name the experiment, and click Save to ensure the data acquired is saved in the desired file path [1].

    - SCREEN: To be provided by authors: Click File > New Experiment, name the experiment, and click Save.

Authors: Since filming a computer screen may not produce high-quality images, please record the screen for the SCREEN shots directly from your computer following our guidelines and upload them along with a summary to your project page: https://review.jove.com/account/file-uploader?src=20803488

  - Select the dot-plot icon in the upper toolbar to create two or more dot-plots for each sample. For one of the dot-plots, select the X-axis name to display the FSC-A (F-S-C A) channel and the Y-axis name to display the SSC-A (S-S-C A) channel [1].

    - SCREEN: To be provided by authors: Selecting the dot-plot icon, creating dot-plots, and setting axes.

  - For another plot, select the X-axis name to display the channel in which the secondary reagent targeting the primary anti-epitope tag antibody fluoresces and Y-axis name to display the channel in which the streptavidin secondary reagent fluoresces [1].

    - SCREEN: To be provided by authors: The X-axis and Y-axis name being selected for the second dot-plot.

  - Place each sample tube in the holder of the cytometer [1] and click Run to begin loading the sample and acquiring data [2]. Adjust events, time, and flow rate as necessary [2].

    - Talent placing the sample tube in the holder of the cytometer.

    - SCREEN: To be provided by authors: Run being clicked to begin loading the sample and the data acquisition starts.

    - SCREEN: To be provided by authors: Adjusting events, time, and flow rate.

  - Define a gate surrounding the healthy yeast cells in the SSC-A versus FSC-A plot [1].

    - SCREEN: To be provided by authors: Drawing a gate surrounding the healthy yeast cells on SSC-A vs FSC-A plot.

  - Then, record the fluorescence of all control samples [1]. Define a gating strategy for the created plot before analyzing the treated samples [2].

    - SCREEN: To be provided by authors: Recording control sample fluorescence.

    - LAB MEDIA: Figure 1.

  - Record the fluorescence of dephosphorylated samples using the cytometer and the gating strategy [1]. Analyze data using flow cytometry software [2].

    - SCREEN: Recording the fluorescence of dephosphorylated samples.

    - SCREEN: Analyzing data with flow cytometry software.

  - After analyzing the data, evaluate dephosphorylation by measuring and comparing the Y-axis median of cells expressing protein on their surface and the baseline phosphorylation provided by non-displaying cells between samples and controls [1]. Finally, calculate the percent median phosphorylation difference using the provided formula [2].

    - SCREEN: Evaluation of dephosphorylation.

    - LAB MEDIA: Figure 1A, 1B.

AND,

TEXT on PLAIN BACKGROUND:

% Median phosphorylation difference=YmedianFig1B, Green-YmedianFig1B, GreyYmedianFig1A, Green-YmedianFig1A, Grey

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 130.

- Please note that the video cannot include voiceover without an accompanying visual.

- Representative Results

  - The effect of varying SHP-2 phosphatase concentrations and incubation times on the median phosphorylation difference in yeast surface-displayed substrates is illustrated in this figure [1].

    - LAB MEDIA: Figure 3.

  - Percent median phosphorylation difference decreased over time across all SHP-2 concentrations [1], with the highest dephosphorylation observed at 250 nanomolar SHP-2 concentration at 1 hour [2]

    - LAB MEDIA: Figure 3. Video Editor: Highlight all bar graphs.

    - LAB MEDIA: Figure 3. Video Editor: Highlight the first blue bar at the left (1 hour).

  - After 2 hours of incubation, 1,000 nanomolar SHP-2 resulted in approximately 48.8 percent median phosphorylation difference [1], significantly lower than the 750-nanomolar condition at the same time point [2].

    - LAB MEDIA: Figure 3. Video Editor: Highlight the red bar in 2 hour.

    - LAB MEDIA: Figure 3. Video Editor: Highlight the yellow bar in 2 hour.

  - No significant difference in median phosphorylation difference was observed when incubation was extended from 2 hours to 3 hours across 500 nanomolar, 750 nanomolar, and 1,000 nanomolar SHP-2 concentrations [1].

    - LAB MEDIA: Figure 3. Video Editor: Highlight the brown, yellow, and red bars in 3 hour.

  - At 4 hours of incubation, a significant decrease in median phosphorylation difference was seen, especially at a 1,000 nanomolar SHP-2 concentration [1].

    - LAB MEDIA: Figure 3. Video Editor: Highlight the red bar in 4 hour.