# Submission ID #: 68219

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=20806843

# Title: Rapid Detection of Fecal Antigen of Helicobacter pylori Infection Based on Double Antibody Sandwich Detection Technology

# Authors and Affiliations:

# Xiuxian Chen#, Caiping Gong#, Xiaoxiao Wang, Ziyan Li, Xiaozhen Jiang, Jinxin Lai, Yanfei Luo

# Laboratory Medicine, Guangdong Provincial People’s Hospital (Guangdong Academy of Medical Sciences), Southern Medical University

# #These authors contributed equally

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Yanfei Luo					13544596975@163.com

# Email Addresses for All Authors:

Xiuxian Chen					157292285@qq.com

Caiping Gong					caipinggong@163.com

Xiaoxiao Wang				916092097@qq.com

Ziyan Li					liziyan19970610@163.com

Xiaozhen Jiang					jiangxiaozhen@gdph.org.cn

Jinxin Lai                                                                laijinxin@gdph.org.cn

Yanfei Luo					13544596975@163.com

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  8

Number of Shots:  14

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

Answers to these questions will not appear in the video but may be featured in our journal's promotional materials.

- Enter the full name of the author who will deliver the statement.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Answers will be mildly edited for clarity.

- Limit the length of each statement to 50 words or fewer.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Ethics Title Card

This research has been approved by the Ethics Committee of Guangdong Provincial People's Hospital

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Procedure for fecal H. pylori infection antigen detection

Demonstrator: Click here to enter name of demonstrator(s)

  - To begin, obtain the fecal sample collection container and retrieve the sampling rod [1].

    - WIDE: Talent unscrewing the lid of a stool collection container and retrieving  the sampling rod.

  - Insert the sampling rod into five different areas of the stool, ensuring that the threaded end is fully submerged in each position [1]. After sampling is complete, insert the sampling rod back into the reagent tube, ensuring the total collected sample volume is approximately 5 to 50 milligrams [2].

    - Talent holding the rod and inserting it into the stool.

    - Talent carefully returning the sampling rod into the reagent tube and sealing it.

  - Shake the reagent tube side to side for approximately 10 seconds to thoroughly mix the stool sample in the diluent [1-TXT].

    - Talent holding and shaking the reagent tube horizontally for 10 seconds, ensuring visible mixing. TXT: Diluent: EDTA tetrasodium hydrate: 0.018 g/mL; NaCl: 0.01 g/mL

  - Test the sample within 6 hours if kept at room temperature after sampling [1]. If immediate testing is not possible, store the sample at 2 to 8 degrees Celsius for up to 72 hours [2-TXT].

    - Talent placing the tube in a room temperature on the bench.

    - Talent placing other tubes in a refrigerator. TXT: Store at −25 to −15 °C for 6 months

  - Before testing, return both refrigerated and frozen samples to room temperature [1-TXT].

    - Talent placing samples from refrigerator and freezer onto a bench. TXT: Samples may be frozen and thawed up to three times

  - Open the white cover on the reagent tube and hold the tube upright [1]. Press the cap down completely to release the sample onto the test card [2]. Allow the sample to flow across the detection area labeled T and the quality control area labeled C, both of which are coated with mouse anti-Helicobacter pylori antibody [3].

    - Talent flipping open the small white cap while keeping the tube in vertical position.

    - Talent pressing the cap down to release the sample.

    - Close-up of the test card as liquid flows past areas marked T and C with visible reaction.

  - Wait for 10 to 20 minutes to allow for chromogenic reaction formation in the detection area if the antigen is present [1].

    - Talent setting a Timer.

  - Observe the presence or absence of colored lines in the test and control areas [1]. Compare the result with the color card to determine the concentration of Helicobacter pylori antigen [2-TXT].

    - Talent examining the test card.

    - Shot of the test card being held next to a printed color interpretation card, with finger pointing to matching color intensity. TXT: Confirm the results after performing DNA extraction and qPCR

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 60.

- Please note that the video cannot include voiceover without an accompanying visual.

- Representative Results

  - Among the fecal Helicobacter pylori antigen results of 261 subjects, 52 were positive [1] and 209 were negative [2].

    - LAB MEDIA: Table 3 Video editor: Highlight 52

    - LAB MEDIA: Table 3 Video editor: Highlight 209

  - Among the results of qPCR with the feces of 261 subjects, 83 were positive [1] and 178 were negative [2].

    - LAB MEDIA: Table 2 Video editor: Highlight 83

    - LAB MEDIA: Table 2 Video editor: Highlight 178

  - The positive rate in Shitan village was 19.92% [1], which was slightly lower than the national positive rate of 42.8% [2].

    - LAB MEDIA: Table 3 Video editor: Highlight 19.92%

    - LAB MEDIA: Table 3 Video editor: Highlight 42.8%

# .