# Submission ID #: 68257

# Scriptwriter Name: Debopriya Sadhukhan

# Project Page Link: https://review.jove.com/account/file-uploader?src=20818433

# Title: Utilizing Whole-Cell Biosensors to Measure Ionic Mercury in Water Samples

# Authors and Affiliations:

Dahlin Zevallos-Aliaga1, Frank Britto-Bisso1, Nicolás A. Vaccari1, Maarten Dequanter2, Stijn De Graeve3, Tom Peeters3, Daniel G. Guerra1

1Laboratorio de Moléculas Individuales, Laboratorios de Investigación y Desarrollo, Facultad de Ciencias e Ingeniería, Universidad Peruana Cayetano Heredia

2Kenniscentrum AI, Erasmushogeschool Brussel

# 3Open BioLab Brussels, Erasmushogeschool Brussel

# Corresponding Authors:

# Daniel G. Guerra		(daniel.guerra@upch.pe)

# Email Addresses for All Authors:

Dahlin Zevallos-Aliaga		(dahlin.zevallos.a@gmail.com)

Frank Britto-Bisso		(frank.britto@upch.pe)

Nicolás A. Vaccari		(nicolas.arias.vaccari@gmail.com)

Maarten Dequanter		(maarten.dequanter@ehb.be)

Stijn De Graeve		(stijn.degraeve@gmail.com)

# Tom Peeters			(tom.peeters@ehb.be)

# Daniel G. Guerra		(daniel.guerra@upch.pe)

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

√ Correct

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: 09/23/2025

Authors: Filming a computer screen sometimes produces low-quality images. Please record the screen for the SCREEN shots directly from your computer following our guidelines and upload them along with a summary to your project page: https://review.jove.com/account/file-uploader?src=20818433

.

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

Current Protocol Length

Number of Steps:  30

Number of Shots:  41

# Introduction

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Daniel Guerra: We detail the operation and analysis of whole-cell biosensors for detecting ionic mercury in water. We emphasize reproducibility and accessibility to promote the use and further development of this technology.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B roll: figure 1

What are the current experimental challenges?

  - Daniel Guerra: Whole-cell biosensors offer an alternative to traditional analytical chemistry due to the exquisite sensitivity of living organisms. However, they are limited by their fragility and a lack of standardized protocols.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

What significant findings have you established in your field?

  - Daniel Guerra: A linear regression of protein production versus growth rate provides the biosynthesis flux for a specific protein. We call this the “expression fraction”, a biologically meaningful metric for biosensor output.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

# Protocol

- Titration Experiment Using Mer-RFP

Demonstrator: Dahlin Zevallos-Aliaga

  - To begin, measure the optical density of the overnight bacterial culture at 600 nanometers using a spectrophotometer [1].

    - WIDE: Talent placing the cuvette containing the overnight bacterial culture inside a spectrophotometer.

  - Centrifuge the required volume of pre-inoculum at 3500 g for 5 minutes [1]. Discard the supernatant [2] and using a pipette, resuspend the bacterial pellet in 10 milliliters of fresh M9 medium [3].

    - Talent placing a centrifuge tube containing pre-inoculum into the centrifuge.

    - Talent discarding the supernatant containing the old M9 medium.

    - Talent pipetting fresh M9 medium into the tube and gently resuspending the pellet.

  - Using a multichannel pipette, add 195 microliters of the resuspended culture to each well of a 96-well microplate [1].

    - Talent pipetting the culture into the wells of the microplate.

  - Add 5 microliters of ionic mercury solution ranging from 20 nanomolar to 20 micromolar to each well to achieve final concentrations between 1 nanomolar and 1 micromolar [1].

    - Talent pipetting mercury solutions into the wells already containing culture.

  - Place the microplate into a multimode microplate reader with temperature control [1] and set the parameters as shown on screen [2].

    - Talent placing the microplate inside the microplate reader.

    - TEXT on PLAIN BACKGROUND:

Temperature: 37 °C

Shaking: Constant shaking at 60 rpm

Time interval: Read every 15 min for 16 h

Optical density measurement: Read at 600 nm

Fluorescence measurement:

Excitation at 570 nm, Emission at 615 nm

  - After 16 hours, collect the data from the microplate reader and save the file [1].

    - SCREEN: To be provided by authors: The data being collected from the microplate reader and the file being saved.

Authors: Filming a computer screen sometimes produces low-quality images. Please record the screen for the SCREEN shots directly from your computer following our guidelines and upload them along with a summary to your project page: https://review.jove.com/account/file-uploader?src=20818433

- Data Analysis for Mer-RFP Results

Demonstrator: Frank Britto-Bisso

  - Calculate the average optical density at 600 nanometers for each time point across all replicates within each mercury concentration [1].

    - SCREEN: To be provided by authors: Spreadsheet software or script interface calculating and displaying the averaged OD₆₀₀ values per condition.

  - Plot the averaged optical density at 600 nanometers against time for the culture without mercury [1] and identify the time interval with a positive growth rate [2].

    - SCREEN: To be provided by authors: A graph being generated with OD vs. time.

    - SCREEN: To be provided by authors: Showing the time interval with a positive growth rate.

  - For each culture, calculate the specific growth rate at each time point by dividing the change in optical density from the previous time point by the current optical density value [1-TXT].

    - SCREEN: To be provided by authors: Calculation of the specific growth rate being shown in the analysis software.

TXT: Specific growth rate=OD6002-OD6001t2-t1×1OD6001

  - Similarly, calculate the specific fluorescence production rate for each culture by dividing the change in fluorescence intensity from the previous time point by the current optical density value [1-TXT].

    - SCREEN: To be provided by authors: Calculation of the specific fluorescence production rate being shown in the analysis software.

TXT: Fluorescence production rate=Fluorescence2-Fluorescence1t2-t1×1OD6001

  - Plot the specific growth rate against the specific fluorescence production rate for each culture [1].

    - SCREEN: To be provided by authors: A graph of fluorescence rate on the x-axis and growth rate on the y-axis for multiple mercury concentrations being plotted.

  - Take the average slope across replicates for each mercury concentration [1] and plot the average slope values against mercury concentration [2]

    - SCREEN: To be provided by authors: The average slope across replicates for each mercury concentration being calculated.

    - SCREEN: To be provided by authors: A graph with mercury concentration on the x-axis and averaged slope values on the y-axis being plotted.

- Titration Experiment Using Mer-Blue Biosensor

Demonstrator: Dahlin Zevallos-Aliaga

  - Centrifuge the overnight dense culture at 3,500 g for 10 minutes [1].

    - Talent placing culture tubes into a centrifuge.

  - Discard the supernatant [1] and resuspend the bacterial pellet in fresh M9 medium, adjusting the volume until the optical density at 600 nanometers reaches 1 [2].

    - Talent pouring off or pipetting out the supernatant medium.

    - Talent resuspending the bacterial pellet in fresh M9 medium.

  - Next, add 9.5 milliliters of M9 medium and 10 microliters of 100 milligram per milliliter ampicillin stock solution to sterilized glass culture tubes [1].

    - Talent pipetting M9 medium and ampicillin stock solution into a clean glass culture tube.

  - Inoculate this supplemented M9 medium with 500 microliters of the biosensor culture [1].

    - Talent pipetting the biosensor culture and the prepared supplemented M9 medium culture to a glass tube.

  - Add 10 microliters of ionic mercury solution to each tube to achieve a range of final concentrations [1-TXT].

    - Talent adding mercury solutions into the corresponding tube. TXT: Final mercury concentrations: 0, 1, 2, 5, 10, 25, 50, 100, 125, and 250 nM

  - Incubate the tubes at 37 degrees Celsius for 16 hours with vigorous shaking at 220 rpm [1].

    - Talent placing the tubes into an orbital shaker inside an incubator.

- Data Acquisition and Analysis for Mer-Blue Results

Demonstrator: Dahlin Zevallos-Aliaga

  - Transfer approximately 1.3 milliliters of each culture into 1.5-milliliter microtubes [1].

    - Talent pipetting culture into a 1.5-milliliter microtube.

  - Centrifuge the microtubes at top speed for 3 minutes to form tight pellets [1].

    - Talent loading microtubes into a centrifuge.

  - After discarding the supernatant, photograph the bottom of each microtube, focusing on the pellet [1].

    - SCREEN: To be provided by authors: An image of the bottom of the microtube, focusing on the pellet.

  - To determine the color intensity values of each pellet image across the red, green, and blue or RGB (R-G-B) channels, load the image on ImageJ (Image-J) [1] and navigate to Image, Type, RGB Stack to create a three-slice stack [2]. Use the selection tool to draw a region of interest around the pellet area [3] and navigate to Analyze, followed by Measure to obtain mean intensity values for the selected area in each channel [4].

    - SCREEN: To be provided by authors: Talent loading the image on ImageJ.

    - SCREEN: To be provided by authors: Navigating to Image > Type > RGB Stack and a three-slice stack being created.

    - SCREEN: To be provided by authors: Selection of ROI around pellet.

    - SCREEN: To be provided by authors: Selection of Analyze > Measure and display of calculated mean intensity values.

  - Compute the biosensor response for each sample by calculating the Euclidean distance in RGB space from a white reference pellet image of non-transformed E. coli [1-TXT].

    - SCREEN: Calculation of the Euclidean distance in RGB space from a white reference pellet image of non-transformed E. coli.

TXT: E=2Rsample-Rref2+Gsample-Gref2+Bsample-Bref2

  - Plot these calculated Euclidean distances against the mercury concentrations [1] and fit a Hill function to the curve [2].

    - SCREEN: To be provided by authors: Plotting Euclidean distances against the mercury concentrations.

    - SCREEN: To be provided by authors: Fitting a Hill function to the curve.

- Procedure for Measuring Environmental Water Samples

Demonstrator: Dahlin Zevallos-Aliaga

  - Centrifuge the water samples at 3,500 g for 10 minutes to sediment sand and organic debris and to isolate the aqueous fraction [1].

    - Talent centrifuging water samples.

  - Sterilize the clarified sample by passing it through a 0.22-micrometer syringe filter [1].

    - Talent filtering sample by passing it through a 0.22-micrometer syringe filter.

  - Mix 5 milliliters of this sterile-filtered environmental sample with 4.5 milliliters of double-strength M9 medium [1].

    - Talent mixing 5 milliliters of the sterile-filtered sample with 4.5 milliliters of double-strength M9 medium. TXT: 1:2 dilution of the sample

  - Inoculate the diluted sample-medium mixture with 0.5 milliliters of the prepared overnight culture [1].

    - Talent pipetting bacterial culture into the diluted sample-medium mixture.

  - If using Mer-RFP (mer-are-eff-pee) biosensor, transfer 200 microliters of the mixture into a microplate well [1] and initiate measurements using a microplate reader with parameters described previously [2].

    - Talent transferring the mixture into a microplate well.

    - Talent loading the microplate well into a microplate reader.

  - If using the Mer-Blue biosensor, incubate the remaining 10 milliliters of the mixture at 37 degrees Celsius for 16 hours with vigorous shaking at 220 rpm [1].

    - Talent placing the mixture in the orbital shaker and starting the run.

# Results

- Results

  - The Mer-RFP biosensor produced a highly linear inverse expression response to mercury bromide concentrations, with an R-squared value of 0.99 for the linear fit [1].

    - LAB MEDIA: Figure 7A. Video Editor: Highlight the dashed line and open circle data points (along with the vertical lines going through the circles) in the main plot (not the inset).

  - The inset in the Mer-RFP plot highlighted improved resolution at high mercury bromide concentrations, confirming the linearity of response even at sub-25 nanomolar levels [1].

    - LAB MEDIA: Figure 7A. Video Editor: Highlight the inset plot.

  - Similarly, the Mer-Blue biosensor exhibited a linear inverse Euclidean distance response to mercury bromide concentrations, with a less tight correlation than Mer-RFP, reflected by an R-squared value of 0.773 [1].

    - LAB MEDIA: Figure 7B. Video Editor: Highlight the dashed line and open circle data points (along with the vertical lines going through the circles) in the main plot (not the inset).

  - The inset in the Mer-Blue plot demonstrated variability in the response at low mercury concentrations, suggesting higher sensitivity but reduced linear predictability [1].

    - LAB MEDIA: Figure 7B. Video Editor: Highlight the inset plot.

  - A vertical red line marked the World Health Organization's recommended limit for mercury in drinking water on both linearized plots, indicating the point of regulatory relevance for sensor sensitivity [1].

    - LAB MEDIA: Figure 7. Video Editor: Highlight the red lines.