# Submission ID #: 68284

# Scriptwriter Name: Debopriya Sadhukhan

# Project Page Link: https://review.jove.com/account/file-uploader?src=20826668

Title: In Vivo Calcium Imaging of Neuronal Ensembles in Networks of Primary Sensory Neurons in Intact Trigeminal Ganglia

# Authors and Affiliations:

John Shannonhouse1, Hyeonwi Son1, Yan Zhang1, Eungyung Kim1, Deoksoo Han1, Ruben Gomez1, Joon Tae Park2, Yu Shin Kim1,3

1Department of Oral & Maxillofacial Surgery, School of Dentistry, University of Texas Health Science Center at San Antonio

2Division of Life Sciences, College of Life Sciences and Bioengineering, Incheon National University

# 3Programs in Integrated Biomedical Sciences, Translational Sciences, Biomedical Engineering, Radiological Sciences, University of Texas Health Science Center at San Antonio

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Yu Shin Kim		(kimy1@uthscsa.edu)

# Email Addresses for All Authors:

John Shannonhouse	(shannonhouse@uthscsa.edu)

Hyeonwi Son		(sonh@uthscsa.edu)

Yan Zhang		(zhangy12@uthscsa.edu)

Eungyung Kim		(kime8@uthscsa.edu)

Deoksoo Han		(hand2@uthscsa.edu)

Ruben Gomez		(gomezr0@uthscsa.edu)

# Joon Tae Park		(joontae.park@inu.ac.kr)

# Yu Shin Kim		(kimy1@uthscsa.edu)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  17

Number of Shots:  49

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

# Videographer: Please ensure that all testimonial shots are captured in a wide-angle format, while also maintaining sufficient headspace, given that the final videos will be rendered in a 1:1 aspect ratio.

Answers to these questions will not appear in the video but may be featured in our journal's promotional materials.

- Enter the full name of the author who will deliver the statement. Add your title (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) as this will included in the promotional materials.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Answers will be mildly edited for clarity.

- Limit the length of each statement to 50 words or fewer.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name, Enter author title: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name, Enter author title: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Ethics Title Card

This research has been approved by the Institutional Animal Care and Use Committee at the University of Texas Health Science Center at San Antonio

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Surgical Procedure for the Right-Side Trigeminal Ganglion Imaging

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, place the anesthetized mouse on a heating pad to maintain the body temperature at 37 degrees Celsius [1-TXT], then position the head in a stereotactic mask with a tilt of approximately 15 degrees to the left [2]. Apply ophthalmic ointment to the eyes to prevent dryness and irritation [4].

    - WIDE: Talent placing the anesthetized mouse on the heating pad. TXT: Anesthesia: 2.25 µL/g ketamine/xylazine i.p. per g of body weight (90 mg/kg ketamine, 13.5 mg/kg xylazine)

    - Talent adjusting the stereotactic mask with the mouse’s head tilted 15 degrees to the left.

    - Talent applying ophthalmic ointment to the mouse’s eyes using a gloved finger or applicator.

  - After shaving the right side of the mouse’s head [1], make a rectangular incision of 9 millimeters by 5 millimeters between the right ear and the right eye [2-TXT]. Stop any bleeding using a hemostatic swab or a laboratory wipe [3]. Cut the tissue on the skull surface just ventral to the eye [4].

    - A shot of the shaved right side of the mouse’s head.

    - Talent making a 9 millimeter by 5 millimeter incision between the right ear and the right eye. TXT: Pinch the hindpaw to confirm surgical anesthetic plane before incision

    - Talent dabbing the incision with a hemostatic swab to stop the bleeding.

    - Talent cutting tissue on the skull surface just ventral to the eye.

  - Using a dental drill and a taper fissure bur, drill a hole approximately 9 millimeters by 5 millimeters in the dorsal skull centered on the incision site [1-TXT]. Tilt the head until the trigeminal ganglion is clearly visible [2]. If there is bleeding on the trigeminal ganglion, aspirate the blood or remove it using a hemostatic swab or laboratory wipe [4]. Ensure the trigeminal ganglion is clearly visible without removing any cortical tissue [5].

    - Talent drilling a 9 millimeter by 5 millimeter hole on the skull using the dental drill with taper fissure bur. TXT: Apply the bur as lightly as possible to the skull surface

    - Talent adjusting the tilt of the stereotactic frame to visualize the trigeminal ganglion.

    - Talent aspirating blood on the trigeminal ganglion with a hemostatic swab or laboratory wipe.

    - A shot of the clearly visible trigeminal ganglion.

  - Move the animal and heating pad to the microscope stage [1-TXT]. After confirming the mouse receives continuous isoflurane anesthesia, position the stereotaxic frame so that the objective of the microscope is 9 millimeters directly above the cranial opening [2]. Insert the rectal thermometer [4] and connect the power cord to the thermometer and heating pad [5].

    - Talent placing the mouse and heating pad onto the microscope stage. TXT: Position the mouse’s nose in the stereotaxic cone; Connect 1 – 1.5% isoflurane/O2 lines for continuous delivery

    - Talent positioning the stereotaxic frame to align the microscope objective 9 millimeters above the cranial window.

    - Talent inserting the rectal thermometer gently.

    - Talent plugging in the thermometer and heating pad.

- Trigeminal Ganglion (TG) Imaging

Demonstrator: Click here to enter name of demonstrator(s)

  - Use a 5x (five-ex) objective to locate the surface of the trigeminal ganglion with the microscope [1-TXT]. Adjust the objective and the nose cone to flatten the ganglion surface and maximize the surface area in the focal plane [2]. Now, load the given microscope high-speed scanning protocol [3].

    - SCOPE: The surface of the trigeminal ganglion being located with the microscope. TXT: Objective lens: 5x/0.25 M27

    - Talent adjusting both objective and stereotaxic nose cone to flatten the imaging surface.

    - TEXT on PLAIN BACKGROUND:

Microscope high-speed scanning protocol:

- Voxel size 4.160 µm x 4.160 µm x 14 µm

- 512 x 512 pixels

- 10 optical slices Z-stack

- 1.02 airy units (AU)/33 µm

- 15% 488 nm laser power/75 mW

- Pixel time: 1.52 µs

- Line time: 0.91 ms

- Frame time: 465 ms

- LSM scan speed: 8

- Bidirectional scanning

- GaAsP-PMT detector gain: 550 V

- Digital gain: 1

  - Scan the trigeminal ganglion in short bursts of 6 to 8 cycles [1]. Apply orthogonal projections of the scans to create a movie and check the image clarity and consistency between frames [2-TXT].

    - SCREEN: To be provided by authors: Scanning the trigeminal ganglion in short bursts of 6 to 8 cycles.

    - SCREEN: To be provided by authors: Orthogonal projections of the scans being applied to create a movie, and the image clarity and consistency between frames being checked. TXT: Adjust the frame position and section thickness if needed until the movie is clear and consistent

Authors: Filming a computer screen sometimes produces low-quality images. So, please record the screen for the SCREEN shots directly from your computer and upload them along with a summary to your project page: https://review.jove.com/account/file-uploader?src=20826668

  - Load the microscope high-resolution scanning protocol [1] and create a high-resolution image of the trigeminal ganglion [2].

    - TEXT on PLAIN BACKGROUND:

Microscope high-speed scanning protocol to create a high-resolution image of TG:

- Voxel size: 0.520 µm x 0.520 µm x 14 µm

- 4096 x 4096 pixels

- 6 optical slice Z-stack

- 1.02 airy unit (AU)/33 µm

- 20% 488 nm laser power/100 mW

- Pixel time: 0.52 µs

- Line time: 4.95 ms

- Frame time: 20.26 s

- LSM scan speed: 6

- Bidirectional scanning

- GaAsP-PMT detector gain: 550 V

- Digital gain: 1

    - SCREEN: To be provided by authors: A high-resolution image of the trigeminal ganglion captured by the microscope.

  - Again, load the high-speed scanning protocol used to create the orthogonal projection movie [1] and record spontaneous activity for 80 cycles [2]. Create the movie [3] and verify that the images are clear and consistent enough for analysis [4].

    - TEXT on PLAIN BACKGROUND:

Microscope high-speed scanning protocol to create an orthogonal projection movie:

- Voxel size 4.160 µm x 4.160 µm x 14 µm

- 512 x 512 pixels

- 10 optical slices Z-stack

- 1.02 airy units (AU)/33 µm

- 15% 488 nm laser power/75 mW

- Pixel time: 1.52 µs

- Line time: 0.91 ms

- Frame time: 465 ms

- LSM scan speed: 8

- Bidirectional scanning

- GaAsP-PMT detector gain: 550 V

- Digital gain: 1

    - SCREEN: To be provided by authors: Spontaneous activity being recorded for 80 cycles.

    - SCREEN: To be provided by authors: The movie being created.

    - SCREEN: To be provided by authors: Verifying that the images are clear and consistent enough for analysis

  - To apply stimulation, set the microscope to scan for 15 to 20 cycles [1]. After completing cycles 1 to 5, generate a baseline [2]. Apply stimulation during scans 6 to 10 and wait at least 5 minutes after each stimulus to prevent neuronal desensitization [3].

    - SCREEN: To be provided by authors: Setting the scan range to 15–20 cycles on the microscope interface.

    - SCREEN: To be provided by authors: A baseline is generated after completing cycles 1 to 5.

    - SCREEN: To be provided by authors: The stimulus being applied during cycle 6.

  - For von Frey stimulation targeting the V2 region of the trigeminal ganglion, hold the filament and apply it repeatedly to the ipsilateral area below the eye and above the mouth, from immediately after scan 5 until immediately after scan 10 [1]. For V3 region stimulation, apply the filament repeatedly to the ipsilateral area just below the ear during the same scanning window [2].

    - Talent holding the filament and applying it to the ipsilateral area below the eye and above the mouth.

    - Talent holding the filament and applying it to the ipsilateral area just below the ear.

  - For cold and heat stimuli, cool or heat a beaker of water to just below or above the desired temperature [1]. Begin scanning, and immediately after scan 5 [2], use a plastic transfer pipette to apply the thermal stimulus to the ipsilateral area below the eye and above the mouth for the V2 region [3], or just below the ear for the V3 region [4].

    - Talent heating or cooling the beaker and adjusting the water temperature in the beaker using a thermometer.

    - Talent starting the scan. Videographer: Record the screen for this shot.

    - Talent using a plastic transfer pipette to apply the thermal stimulus to the ipsilateral area below the eye and above the mouth.

    - Talent using a plastic transfer pipette to apply the thermal stimulus to the ipsilateral area below the ear.

  - At the end of the experiment, inject 50 millimolar potassium chloride subcutaneously into the V2 or V3 regions starting on cycle 6 to activate and identify all responsive neurons [1].

    - Talent injecting potassium chloride subcutaneously into either V2 or V3 area.

- Calcium Imaging Analysis

Demonstrator: Click here to enter name of demonstrator(s)

  - Open the orthogonal projection file by dragging and dropping it into the analysis software [1]. Select the image type by clicking on Image, then Type, and choosing RGB Color [2]. To open the ROI (R-O-I) Manager, click on Analyze, then Tools, and select ROI Manager [3].

    - SCREEN: To be provided by authors: Drag and drop the orthogonal projection file into the software.

    - SCREEN: To be provided by authors: Click on Image, select Type, and choose RGB Color from the dropdown menu.

    - SCREEN: To be provided by authors: Click on Analyze, go to Tools, and open the ROI Manager window.

  - Select active neurons by drawing an ROI using the Ellipse tool in the toolbar [1]. Add each selected region to the ROI file by clicking the Add button in the ROI Manager window [2].

    - SCREEN: To be provided by authors: Using the Ellipse tool to draw around an active neuron.

    - SCREEN: To be provided by authors: Adding the selected region to the ROI file by clicking the Add button in the ROI Manager.

  - Now, go to Analyze, select Measurement Settings, and check the option for Mean Gray Value [1]. In the ROI Manager window, click More and then choose Multi-Measure to measure the intensity [2]. When a new window labeled “Results” opens, save the CSV file by selecting File, then Save As [3]. Open the CSV file in a spreadsheet software and save it as a spreadsheet file [4].

    - SCREEN: To be provided by authors: Click on Analyze, select Measurement Settings, and check Mean Gray Value.

    - SCREEN: To be provided by authors: In the ROI Manager, open the More menu and select Multi-Measure to measure the intensity.

    - SCREEN: To be provided by authors: Display of the “Results” window with the generated CSV file, and clicking on File, then Save As to save the CSV file.

    - SCREEN: To be provided by authors: Opening the saved CSV file in a spreadsheet software and saving it as a spreadsheet file.

  - Calculate the calcium transient intensity using the given equation [1]. For the analysis, randomly sample approximately the same number of neurons from each ganglion to ensure that one ganglion does not dominate the analysis [2].

    - TEXT on PLAIN BACKGROUND:

ΔF/F0 = (Ft – F0)/F0

Ft: The pixel intensity in the ROI at the time point of interest

F0: The baseline intensity

The baseline intensity: The mean intensity of the 2 – 4 frames preceding the Ca2+ transient (for spontaneous activity)

Or,

The baseline intensity: The mean intensity of the first 1 – 5 frames for stimulus-induced Ca2+ transients

For analysis, randomly select equal numbers of neurons from each ganglion to avoid sampling bias

    - SCREEN: To be provided by authors: Randomly sampling approximately the same number of neurons from the ganglion.

  - Measure neuron diameter by using the Line tool in the toolbar to draw lines along the longest and shortest diameters of each neuron [1], then calculate the average of those measurements [2].

    - SCREEN: To be provided by authors: Using the Line tool to draw and measure the longest and shortest diameters of a neuron.

    - SCREEN: To be provided by authors: Calculating the average of the measurements.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 169.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Confocal imaging of the trigeminal ganglion enabled simultaneous visualization of over 3,000 neurons, capturing both spontaneous and stimulus-evoked calcium transients across V2 and V3 regions [1].

    - LAB MEDIA: Figure 4A.

  - In the absence of stimulation, a subset of these neurons exhibited spontaneous calcium transients with distinct activity profiles across six individually tracked cells [1].

    - LAB MEDIA: Figure 4B, 4C. Video Editor: Highlight the yellow arrowheads in B.

  - Application of noxious heat to the maxillary region resulted in visible activation of multiple neurons as indicated by bright fluorescence [1], with synchronized increases in calcium transient intensity [2].

    - LAB MEDIA: Figure 4E, 4F. Video Editor: Highlight the yellow arrowheads in E.

    - LAB MEDIA: Figure 4E, 4F. Video Editor: Emphasize 4F.

  - Noxious heat applied to the mandibular region similarly activated distinct neurons [1], with variable patterns of calcium responses across individual cells [2].

    - LAB MEDIA: Figure 4H, 4I. Video Editor: Highlight the yellow arrowheads in H.

    - LAB MEDIA: Figure 4H, 4I. Video Editor: Emphasize 4I.

  - A significantly higher number of neurons responded to 2-gram von Frey stimulation [1] compared to 0.4 grams in the V2 region [2].

    - LAB MEDIA: Figure 5A. Video Editor: Highlight the 2 gm bar.

    - LAB MEDIA: Figure 5A. Video Editor: Highlight the 0.4 gm bar.

  - The calcium transient intensity in individual neurons increased more strongly with 2 gram stimulation than with 0.4 gram, with a higher peak and broader response spread [1].

    - LAB MEDIA: Figure 5B. Video Editor: Highlight the bottom graph (2 gm).

  - Mean calcium response intensity during the first stimulus frame was also significantly greater following 2-gram stimulation compared to 0.4-gram [1].

    - LAB MEDIA: Figure 5C. Video Editor: Highlight the 2.0 g plot (top one).