# Submission ID #: 68305

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20833073

# Title: Bidirectional Electrical and Optoelectronic Interfaces in Healthy and Ischemic Ex Vivo Rat Hearts

# Authors and Affiliations:

# Pengju Li1*, Jing Zhang2*, Chuanwang Yang2*, Zhe Cheng3, Junyi Yin1, Bozhi Tian2,3,4

# 1Pritzker School of Molecular Engineering, The University of Chicago

# 2The James Franck Institute, The University of Chicago

# 3Department of Chemistry, The University of Chicago

# 4The Institute for Biophysical Dynamics, The University of Chicago

# *These authors contributed equally to this work

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Pengju Li			(pengju@uchicago.edu)

Bozhi Tian			(btian@uchicago.edu)

# Email Addresses for All Authors:

Pengju Li			(pengju@uchicago.edu)

Jing Zhang			(jingzhang1209@uchicago.edu)

Chuanwang Yang		(chuanwangyang@uchicago.edu)

Zhe Cheng			(zhecheng@uchicago.edu)

Junyi Yin			(junyiyin@uchicago.edu)

Bozhi Tian			(btian@uchicago.edu)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  21

Number of Shots:  44

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

# Videographer: Please ensure that all testimonial shots are captured in a wide-angle format, while also maintaining sufficient headspace, given that the final videos will be rendered in a 1:1 aspect ratio.

Answers to these questions will not appear in the video but may be featured in our journal's promotional materials.

- Enter the full name of the author who will deliver the statement. Add your title (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) as this will included in the promotional materials.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Answers will be mildly edited for clarity.

- Limit the length of each statement to 50 words or fewer.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name, Enter author title: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name, Enter author title: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Ethics Title Card

This research has been approved by the Institutional Animal Care and Use Committee (IACUC) at the University of Chicago

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Heart Extraction and Preparation for Langendorff Perfusion

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, confirm general anesthesia by pinching one of the paws of the anesthetized rat and proceed only if no response is observed [1].

    - WIDE: Talent pinching the rat’s paw and pausing to observe for any response.

  - Using surgical needles, secure the upper and lower arms of the rat to the surgical board [1]. Then make a 5-centimeter incision just below the chest to open the ribcage [2]. Using scissors, carefully cut through the diaphragm to expose the heart and lungs [3].

    - Talent placing and securing the arms of the rat to the board with surgical needles.

    - Talent making a long incision below the chest using a scalpel.

    - Talent cutting through the diaphragm to expose thoracic organs.

  - Now cut through the ribs on both sides to fully open the ribcage [1]. Secure the opened ribcage at the sternum using a hemostat [2]. Use a second hemostat to hold the vena cava from below the heart [3].

    - Talent cutting through the ribs on both sides with scissors.

    - Talent pinning back the ribcage at the sternum using a hemostat.

    - Talent placing a second hemostat under the heart to hold the vena cava.

  - Cut under the hemostat with bent blunt scissors as close to the bottom of the rib cage as possible, to remove the heart [1]. Transfer the heart immediately into a Petri dish filled with ice-cold HBSS (H-B-S-S) [2].

    - Talent removing the heart with bent blunt scissors.

    - Talent placing the heart into the HBSS-filled Petri dish.

  - Fill a cannula and a separate Petri dish completely with ice-cold HBSS [1-TXT]. Transfer the heart to the Petri dish prefilled with the buffer for sectioning [2].

    - Talent carefully filling a cannula and Petri dish with cold HBSS, checking for air bubbles. TXT: Ensure that no bubbles are present in the Langendorff perfusion system

    - Talent transferring the heart to the HBSS-filled Petri dish.

  - Use tweezers and scissors to remove the lungs and other connective tissues attached to the heart [1].

    - Talent using tweezers and scissors to remove lungs and connective tissues.

  - Then press on the heart gently and trace the blood path to locate the aorta [1]. If the aortic arch is preserved, cut under the first ascending artery [2]. Cannulate the aorta carefully [3].

    - Shot of the heart being pressed and blood flow being seen.

    - Talent making an incision below the first ascending artery.

    - Talent inserting the cannula into the aorta and securing it.

- Langendorff Perfusion Setup and Initial Monitoring

Demonstrator: Click here to enter name of demonstrator(s)

  - Prime the Langendorff apparatus with pre-oxygenated working solution [1]. Open the buffer flow [2] and attach the cannula to the perfusion apparatus carefully, ensuring that no air bubbles enter the system [3]. Observe the heart begin to contract once perfusion starts [4].

    - Talent filling the Langendorff system with pre-oxygenated buffer.

    - Shot of the buffer flow being opened.

    - Talent connecting the cannula to the apparatus while buffer flows.

    - Shot of the heart starting to contract.

  - Now cut off the atria using small scissors [1]. Before inserting the balloon into the left ventricle, deflate it completely [2]. Then use the connected syringe to fill the balloon with water [3].

    - Talent removing the atria from the heart.

    - Talent deflating the balloon.

    - Talent inserting the balloon into the left ventricle and filling it with water.

  - Next, connect BP-100 (B-P-One-Hundred) pressure probes to the perfusion line and the water-filled balloons to monitor perfusion pressure and left ventricular pressure, respectively [1].

    - Talent attaching BP-100 probes and balloon to monitor perfusion and LVP.

  - Monitor the pressure of the HEPES (He-Pees) Tyrode’s buffer and adjust it to stay within the optimal range of 80 to 100 millimeters of mercury [1]. Modify the volume of water in the balloon using the syringe to set the baseline left ventricular pressure to approximately 20 millimeters of mercury [2].

    - Talent observing the buffer pressure gauge and adjusting the regulator.

    - Talent injecting or withdrawing water from the balloon to calibrate the LVP baseline.

  - Connect the electrocardiogram electrodes by grounding the cannula [1] and placing the electrode wires at the sides, top, or apex of the heart based on user preference [2].

    - Talent grounding the cannula.

    - Talent positioning the ECG electrodes on different areas of the heart.

  - Amplify all signal outputs including perfusion pressure, left ventricular pressure, and ECG using the IA-400D (I-A-Four-Hundred-D) amplifier [1]. Interface the amplifier with a computer and digitize the data using Clampex software [2].
Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20833073

    - Talent turning on the IA-400D amplifier and adjusting the signal dials.

    - SCREEN: Show the Clampex software interface on the computer, demonstrating the amplifier being connected and data being recorded across all channels.

- Myocardial Infarction Induction and Reperfusion Monitoring

Demonstrator: Click here to enter name of demonstrator(s)

  - Fill the heated chamber with HEPES Tyrode’s buffer pre-warmed to 37 degrees Celsius [1]. Submerge the heart into the chamber and turn the stopcock to halt buffer flow, inducing global ischemia [2-TXT].

    - Talent pouring 37 degrees Celsius buffer into the heated chamber.

    - Talent placing the heart into the chamber and adjusting the stopcock to stop flow. TXT: Adjust the ischemia duration based on experimental requirements

  - After 30 minutes of ischemia, turn the stopcock to restore buffer flow and initiate reperfusion [1]. Allow the heart to perfuse for 45 minutes before terminating the experiment for infarction staining [2]. Verify the success of ischemia by observing a reduction in heart rate and irregular ECG signals [3].

    - Talent turning the stopcock to restart the buffer flow.

    - Shot of the heart as it continues perfusion during reperfusion period.

    - SCREEN: Show ECG signal with reduced heart rate and irregular rhythm during ischemia phase.

  - To establish bidirectional optoelectrical interfaces between devices and heart tissue place a silicon optoelectronic membrane onto the desired stimulation site on the heart [1]. Allow it to self-attach to the epicardium using capillary force [2].

    - Talent aligning and placing the silicon membrane on the heart.

    - Close-up of the membrane attached to the epicardium.

  - Connect the electrodes to the RHD (R-H-D) recording system or a compatible electrophysiological platform [1]. Then position the flexible multielectrode arrays on the ventricular surfaces of the isolated heart [2].

    - Talent connecting the electrode leads to the RHD interface.

    - Talent placing multielectrode arrays on the left and right ventricular surfaces.

  - Now program the 635-nanometer laser source with the desired frequency and duty cycle, using transistor-transistor logic signals [1-TXT]. Focus the laser beam to a 1-millimeter spot and align it over the silicon membrane [2].

    - SCREEN: Show software interface setting 635 nm wavelength, 4 Hz frequency, 1 ms pulse duration, and 0.4% duty cycle. TXT: Set frequency to 4 Hz and duty cycle to 0.4% with  1 ms pulse duration

    - Talent adjusting laser focus to target the membrane with a 1 mm spot.

  - Start the recording and stimulation protocol [1]. Gradually increase the laser intensity until continuous override pacing of the heart is observed [2].

    - Talent initiating the stimulation protocol from the computer interface.

    - SCREEN: Laser intensity is being increased and override pacing of the heart is being seen.

  - To establish bidirectional electrical interfaces between devices and heart tissue, connect the stimulation electrodes in a two-electrode configuration, placing a working electrode on the left ventricular wall [1]  and a counter electrode on the right ventricular wall [2].

    - Talent placing the working on the left ventricular wall.

    - Shot of the counter electrode being placed on the right ventricular walls, respectively.

  - Using a potentiostat, deliver square current waveforms such as 1 milliampere with 1 millisecond pulse duration until successful pacing of the heart is achieved [1].

    - SCREEN: Show the potentiostat interface delivering square waveforms with 1 mA, 1 ms pulse duration, and capture of resulting heart pacing signals.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 205.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results 
AUTHORS: Please note that since the results section is limited to 200 words, only relevant results were scripted. If you would like to change any result, kindly replace the existing content as required but limited to 200 words

  - A nanoporous carbon-based platform for effective biointerfaces toward electrical modulation or sensing of cardiac systems  was established [1].

    - LAB MEDIA: Figure 10A. Video editor: Show the image of the flexible electrode device being positioned on the heart.

  - Upon 4 hertz stimulation at 1 milliampere, both gold and nanoporous carbon-coated gold electrodes achieved effective overdrive pacing [1], with higher electrocardiogram amplitudes observed in the nanoporous carbon group [2].

    - LAB MEDIA: Figure 10B. Video editor: Highlight the red trace (Au) and the blue trace (Au-C)

    - LAB MEDIA: Figure 10B. Video editor: Highlight the Au-C waveline

  - Both electrodes demonstrated an exponential decrease in threshold current with increasing pulse duration [1].

    - LAB MEDIA: Figure 10C. Video editor: Highlight the two curves labeled Au and Au-C

  - At a stimulation current of 4 milliamperes per square centimeter, the threshold voltage required for effective pacing was 1.32 volts for gold electrodes [1] and 0.90 volts for nanoporous carbon-coated electrodes, indicating a 30.3 percent reduction in voltage [2].

    - LAB MEDIA: Figure 10D. Video editor: Highlight the red curve between 1.0 and 1.5

    - LAB MEDIA: Figure 10D. Video editor: Highlight the blue curve between 0.5 and 1.0

  - A 16-channel nanoporous carbon-grafted gold electrode significantly enhanced epicardial electrocardiogram signal detection [1], improving the signal-to-noise ratio by 8-fold compared to standard gold electrodes [2].

    - LAB MEDIA: Figure 10E. Video editor: Highlight the  Au-C blue trace

    - LAB MEDIA: Figure 10F. Video editor: Emphasize the boxplot labeled “Au-C”

  - Successful induction of ischemia-reperfusion infarction was validated post-experimentally by TTC staining [1], where infarcted hearts displayed distinct white regions representing myocardial damage [2].

    - LAB MEDIA: Figure 7

    - LAB MEDIA: Figure 7B. Video editor: Highlight the white areas

  - During real-time monitoring, ischemic hearts exhibited significantly reduced heart rate [1].

    - LAB MEDIA: Figure 7A. Video editor: Highlight the LVP and ECG waveforms under the “30 min ischemia and 50 min reperfusion” column

  - Multielectrode array mapping of ischemic hearts revealed decreased electrical conduction velocity across the epicardium, indicated by increased signal delay [1].

    - LAB MEDIA: Figure 7A. Video editor: Highlight the bottom right conduction map showing extended red zones