# Submission ID #: 68335

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=20842223

# Title: Non-Aversive Animal Restraint Enabling Recording of Optomotor Reflex in Ground Squirrels

# Authors and Affiliations:

# Kiyoharu J. Miyagishima1,*, Francisco Nadal-Nicolás1,*, John Ball1, Thomas Münch2, Boris Benkner2, Wei Li1

# 1Retinal Neurophysiology Section, National Eye Institute, National Institutes of Health

# 2Striatech GmbH

*These authors contributed equally

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Kiyoharu J. Miyagishima	kiyoharu.miyagishima@nih.gov

# Francisco M. Nadal-Nicolás	francisco.nadal-nicolas@nih.gov

# Email Addresses for All Authors:

Kiyoharu J. Miyagishima	kiyoharu.miyagishima@nih.gov

Francisco M. Nadal-Nicolás	francisco.nadal-nicolas@nih.gov

John M. Ball			john.ball2@nih.gov

Thomas Münch		t.muench@stria.tech

Boris Benkner			b.benkner@stria.tech

# Wei Li				liwei2@nei.nih.gov

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  22

Number of Shots:  40 (28 SC)

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

Answers to these questions will not appear in the video but may be featured in our journal's promotional materials.

- Enter the full name of the author who will deliver the statement.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Answers will be mildly edited for clarity.

- Limit the length of each statement to 50 words or fewer.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Ethics Title Card

This research has been approved by the Animal and Care and Use Committee at the National Eye Institute at the National Institutes of Health

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Setting up the Optomotor Reflex (OMR) Arena

Demonstrator: Click here to enter name of demonstrator(s)

  - To begin, wipe the platform and the square tube enclosure assembly using a cleaner and disinfectant to eliminate unwanted olfactory cues [1-TXT].

    - WIDE: Talent spraying and wiping down the platform and square tube enclosure with disinfectant. TXT: Disinfect before and between each animal

  - Tear a piece of paper towel approximately 50 by 50 millimeters [1] and fold it to cover the top surface of the pedestal [2]. Place the 3D-printed platform onto the 14-inch high pedestal with the folded paper towel in place [2].

    - Talent tearing the paper towel.

    - Talent folding the paper towel to cover the pedestal top.

    - Talent placing the 3D-printed platform onto the pedestal with the paper towel underneath.

  - Wearing leather work gloves [1], gently guide the animal into the square tube enclosure assembly [1].

    - Talent wearing leather gloves.

    - Talent gently directing the animal into the enclosure.

  - Transfer the animal to the arena by positioning the enclosure assembly onto the platform [1].

    - Talent lowering the enclosure assembly with the animal onto the platform.

  - Now, carefully detach the removable top enclosure, leaving the animal inside the acrylic extruded clear square tube on the platform [1]. Close the door to the optomotor reflex system [2].

    - Talent lifting off the top enclosure from the tube assembly, animal remaining inside.

    - Talent closing the door to the OMR system.

- Setting up the OMR Software Parameters and Data Acquisition

Demonstrator: Click here to enter name of demonstrator(s)

  - Perform preliminary visual acuity tests on squirrels using the standard 100 percent contrast setting [1]. Then, limit the spatial frequency in the software to a maximum of 2 cycles per degree to avoid aliasing effects [2].

    - SCREEN: selecting the 100 percent contrast setting on the software.

    - SCREEN: set the spatial frequency cap to 2 cycles per degree in the software.

Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible (download the guidelines from the link given in the email): : https://review.jove.com/account/file-uploader?src=20842223

  - At 2 cycles per degree, each stripe averages 5.3 pixels wide. Set the rotation speed to 12 degrees per second and a frame rate of 60 frames per second [1]. Ensure the software shifts the pattern by 0.2 degrees per frame or approximately 4.2 pixels, and hard code the frequency cap to prevent visual aliasing [2].

    - SCREEN:  Show rotation speed, frame rate, and pixel shift settings being input in the software interface.

    - SCREEN:  Show software code line or interface where the frequency cap is hard-coded.

  - Download Supplementary Coding File 3 and open the OptoDrum software [1].

    - SCREEN: Talent navigating to download Supplementary Coding File 3 and launching the OptoDrum software.

  - Under the Settings tab, click on Import Settings and load Supplementary Coding File 3 [1].

    - SCREEN: Click on Settings, then on Import Settings, and select Supplementary Coding File 3 from file explorer.

  - In the Settings tab, set the Background threshold offset to 49 [1], minimum animal size to 100 pixels [2], and maximum tail width to 1 percent of size [3].

    - SCREEN: clicking Settings,  inputting 49 for background threshold offset.

    - SCREEN: setting 100 for animal size.

    - SCREEN: setting 1 for tail width in .

  - Under Camera Settings, ensure that Invert Video and Manual Camera Control are unchecked and IR Light is off [1].

    - SCREEN: cursor hovering over Camera Settings panel with Invert Video and Manual Camera Control options unchecked and IR Light Off selected.

  - Widen the region of interest to accommodate the squirrel if it leans outside the tube opening. Set Position to X 359, Y 237 and Size to X 570, Y 455 [1]. Ensure the region of interest does not cover the stimulus screen to avoid false positives [2].

    - SCREEN: Setting Position to X: 359, Y: 237 and Size to X: 570, Y: 455 .

  - Next, select Session Configuration from the top panel [1].  Under the Staircase section, set the estimated spatial acuity values. Enter 1.8 cycles per degree for expected acuity, 0.5 cycles per degree for optimal stimulus resolution, and 0.100 cycles per degree for measurement resolution [2].

    - SCREEN: Cursor clicking on Session Configuration from the top menu panel.

    - SCREEN: Show input fields in Staircase configuration being filled with respective cycle values for expected, optimal, and measurement resolutions.

  - Then, set the number of required confirmations in the staircase settings. Enter 3 confirmations for failed trials and 2 for successful trials [1].

    - SCREEN:: Highlight input of confirmation values under staircase configuration section.

  - In the Staircase tab, set antialiasing width to 3 pixels and leave the Sinusoidal option unchecked [1].

    - SCREEN:: Cursor entering “3 px” in antialiasing width and showing Sinusoidal unchecked.

  - For testing criteria, lock the contrast at 12.78 percent and the rotation speed at 12 degrees per second [1]. Once two of the three parameters are locked, check the box next to Auto Set the Parameters once it becomes active [2].

    - SCREEN: Show checkboxes or input fields being set for contrast and rotation speed lock.

    - SCREEN: Cursor clicking the Auto Set the Parameters checkbox as it becomes clickable.

  - Then, set the rotation direction based on the expected location of visual impairment. Use clockwise stimulation to assess the left eye, [1] and use both clockwise and counterclockwise stimulation for bilateral assessment [2].

    - SCREEN: Show drop-down or toggle option selecting CW.

    - SCREEN: Selecting both CW and CCW directions.

  - Now, click on Start Trial to begin stimulus presentation [1]. As the stimulus plays, click on the Analysis Tab to monitor angular velocities, track quality, and score in real time [2]. At the end of each trial, the software will automatically indicate whether to advance, repeat, or reduce the cycle per degree based on performance [3].

    - SCREEN: Show user clicking Start Trial.

    - SCREEN: switching to Analysis Tab, and live parameters updating during stimulus presentation.

    - SCREEN: Software automatically displaying advance/repeat or reduce cycle prompt.

  - If the software incorrectly switches the red nose and green tail markers during tracking, press Ctrl (control) to activate manual override and correct the head-tail orientation [1].

    - SCREEN: Cursor hovering over misidentified markers and pressing Ctrl to switch them correctly.

  - If the animal falls from the platform, pause the trial with the Pause Evaluation option or the Space Bar [1]. Use the handling tunnel with the lid to safely return the animal to the platform [2] and click on Resume Evaluation to continue the trial [2].

    - SCREEN: Show pressing pause evalution.

    - Talent handling tunnel with the lid to safely return the animal to the platform.

    - SCREEN: Show resuming the trial by clicking Resume Evaluation.

  - After all trials are complete, click on the Summary Tab to view results [1]. Successful trials will appear in green and unsuccessful ones in red [2]. The green-circled trial indicates the visual acuity threshold [3].

    - SCREEN: Display Summary Tab results.

    - SCREEN: green and red markers appearing.

    - SCREEN: cursor hovering over the circled green trial as the threshold. Talent returning the animal to the cage.

  - Finally, return the animal to its home cage carefully [1].

    - Talent placing the animal in its home cage.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 145.

- Please note that the video cannot include voiceover without an accompanying visual.

- Representative Results

  - Animals placed on the standard round flat platform for the OMR test invariably fell off and were unable to complete the automated visual threshold assessment within the allotted 10 minutes [1].

    - LAB MEDIA: Figure 3A.

  - In contrast, animals placed on the non-aversive platform with the handling tunnel completed OMR measurements successfully in all cases without prior acclimation or reward conditioning [1].

    - LAB MEDIA: Figure 3B.

  - The modified tunnel allowed the animal to reorient and view stimuli from any direction, enhancing natural behavior during testing [1]. The tracking software successfully monitored head movement as the animal responded to directional stimuli [2].

    - LAB MEDIA: Figure 4A. Video editor: Show the squirrel inside the transparent tunnel with freedom of movement.

    - LAB MEDIA: Figure 4B, C.

  - Overlaying frames taken two seconds apart showed reflexive head tracking in response to visual stimuli [1].

    - LAB MEDIA: Figure 4D. Video editor: Focus on the overlay showing the head's position change.

  - The software’s real-time analysis differentiated visually-evoked from random head movements, correlating with the stimulus presentation windows [1].

    - LAB MEDIA: Figure 4E. Video editor: Focus on the yellow circles in the second row.

  - Using the staircase method, the software quickly determined visual thresholds, with most stimuli requiring less than 30 seconds of presentation [1].

    - LAB MEDIA: Figure 5A. Video editor: Highlight the duration column .