# Submission ID #: 68405

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20863573

# Title: Reproducible Manufacturing of SPOT as a High-Throughput Scaffold-Based Culture Platform

# Authors and Affiliations:

# Ruonan Cao1*, Nancy T. Li2*, Chantelle B. Shing1, Zoe Kutulakos3, Cassidy M. Tan2, Alison P. McGuigan1,2

# 1Institute of Biomedical Engineering, University of Toronto

# 2Department of Chemical Engineering and Applied Chemistry, University of Toronto

# 3Department of Engineering Science, University of Toronto

# *These authors contributed equally to this work

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Alison P. McGuigan	(alison.mcguigan@utoronto.ca)

# Email Addresses for All Authors:

Ruonan Cao		(ruonan.cao@mail.utoronto.ca)

Nancy T. Li		(n2li@oicr.on.ca)

Chantelle Shing            (chantelle.shing@mail.utoronto.ca)

Zoe Kutulakos		(zoe.kutulakos@mail.utoronto.ca)

Cassidy M. Tan	(cassidy.tan@mail.utoronto.ca)

Alison P. McGuigan	(alison.mcguigan@utoronto.ca)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  16

Number of Shots:  44

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

# Videographer:

- Please ensure that all testimonial shots are captured in a wide-angle format, while also maintaining sufficient headspace, given that the final videos will be rendered in a 1:1 aspect ratio.

- Also, kindly note that testimonial statements will be presented live by the authors, offering their spontaneous perspectives.

- Note: Testimonial statements will not appear in the video but may be featured in our promotional materials.

- Provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author delivering the testimonial. This will appear in our journal’s promotional materials.

- During the shoot, the author should speak naturally in their own words, using complete sentences and a conversational tone—no script will be provided.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

Ethics Title Card
This research has been approved by the Ethics Board at the University of Toronto

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Fabrication and Assembly of 96- and 384-SPOT Platforms for Organoid Cultures

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, take a PMMA (P-M-M-A)-patterned scaffold for either 96- or 384-SPOT (Spot) [1-TXT].  Trim the excess paper around the blue region of the scaffold, leaving a 5-millimeter white margin around the perimeter [2]. Ensure the resulting sheet measures approximately 760 millimeters by 1300 millimeters [3].

    - WIDE: Talent holding a PMMA patterned scaffold for SPOT.
TXT: PMMA: Polymethyl Methacrylate; 
SPOT: Scaffold-supported Platform for Organoid-based Tissues

    - Shot of excess paper being cut off from a blue-centered scaffold while leaving a white margin.

    - Shot of the final sheet.

  - To prepare a 96-SPOT scaffold for assembly, lay a piece of polyethylene film over a rigid acrylic support [1]. Place this film-covered support onto the work surface [2] and lay the scaffold on top of the polyethylene film [3].

    - Talent spreading polyethylene film over a large acrylic board.

    - Shot of the film covered support being placed on the work surface.

    - Talent positioning the scaffold centrally on top of the polyethylene film.

  - Align the edge of a ruler between the first two rows of the scaffold to avoid tracing into the wells [1]. Place the tracing wheel at the bottom of the scaffold [2] and roll it upward to the top, guided by the ruler [3-TXT].

    - Talent carefully positioning a metal ruler between scaffold rows.

    - Shot of the tracing wheel being placed at the bottom of the scaffold.

    - Talent rolling a tracing wheel along the scaffold’s inter-row space using the ruler as a guide. TXT: Repeat for all 7 inter-row and inter-column spaces

  - For a 384-SPOT scaffold, do not perform perforation [1].

    - Shot of the unperforated 384 SPOT scaffold.

  - Next, lay the scaffold with the rough side facing up on a PDMS (P-D-M-S) slab, ensuring rows run horizontally [1-TXT]. Use the priming line to determine which side is rough [2].

    - Talent orienting the scaffold correctly and placing it onto the polydimethylsiloxane slab. TXT: PDMS: Polydimethylsiloxane

    - Talent pointing to the priming line.

  - Then smoothen the scaffold onto the slab to remove wrinkles or bubbles [1]. Remove the protective layer from the non-engraved side of the double-sided tape [2]. Slightly buckle the tape in the middle [3] and align the middle two columns of the tape with the scaffold [4].

    - Talent smoothing the scaffold flat.

    - Talent peeling off the tape’s protective layer.

    - Shot of the tape being buckled in the middle.

    - Talent aligning the tape to the centre of the scaffold.

  - Now, press the middle of the tape onto the scaffold to secure alignment [1]. Smooth the tape outward from the centre to affix it evenly [2].

    - Talent pressing down on the centre of the tape to make first contact.

    - Talent pressing along the tape from the centre outwards to secure it.

  - Using tweezers, gently lift the scaffold from the PDMS  slab [1].  Store the slab for future use [2].

    - Talent using tweezers to lift the scaffold.

    - Talent placing the slab into storage.

  - To attach the scaffold to the second well tape, flip the scaffold so the smooth, non-taped side faces up on the workbench [1]. Remove the middle protective layer from the engraved side of the second tape to expose two central columns [2]. If using a non-engraved design, remove the full protective layer from one side [3].

    - Talent rotating the scaffold carefully to expose the smooth side.

    - Talent peeling back the centre section of the engraved tape.

    - Talent removing the full layer from a non-engraved tape.

  - Slightly buckle the middle of the second tape and align it to the middle columns of the scaffold [1]. Then press the tape’s centre to fix it in place [2]. If engraved tape is used, remove the remaining protective layers adjacent to the exposed centre [3]. Smoothen the tape starting from the middle and moving outward [4].

    - Talent gently bending the tape and aligning it over the scaffold.

    - Talent pressing down the tape’s centre section.

    - Talent peeling off adjacent protective layers.

    - Talent smoothing out the tape with a firm gloved hand.

  - To attach the scaffold to the bottomless plate, remove the protective tape layer from the rough side of the scaffold [1]. If using engraved tape, only remove the middle protective layer [2].

    - Talent removing full tape layer from rough side of scaffold.

    - Talent removing just the middle section for engraved version.

  - Align the scaffold under the bottomless plate with a lid [1]. Once aligned, press down its middle onto the plate [1]. If using engraved tape, remove adjacent layers and smooth the scaffold onto the plate outward from the centre [3].

    - Talent aligning scaffold to the underside of the bottomless plate.

    - Talent pressing the scaffold onto the plate underside.

    - Talent peeling additional tape layers and smoothing scaffold.

  - To attach the scaffold to the polycarbonate film, use tweezers to carefully loosen the protective layer from one side of the polycarbonate film [1]. Then slowly peel off the protective layer, without causing any indentations in the film [2]. Repeat the process for the second side [3]. Then set the film aside on the workbench [4].

    - Shot of the protective layer being loosened from one side of the polycarbonate film, with tweezers.

    - Talent peeling off the protective film layer.

    - Talent peeling off second side.

    - Talent laying the film aside on the workbench.

  - Peel the protective tape layer from the plate bottom and press the polycarbonate film onto the scaffold from the center outwards [1]. Then firmly press the polycarbonate film onto the scaffold to ensure each well has a defined border [2]. Using a precision knife and ruler, carefully cut off any excess material from the bottom of the plate [3].

    - Talent removing tape and pressing the polycarbonate film into position.

    - Talent using hands or a roller to seal the film over the plate.

    - Talent trimming edges neatly using a knife along the ruler guide.

  - After full assembly, place the 96-SPOT plate into a clear resealable plastic bag [1] and take it outside the biosafety cabinet [2].

    - Talent placing the plate in a resealable bag.

    - Talent moving it outside the biosafety cabinet.

  - Place a rigid acrylic support underneath the plate [1] and clamp both at opposite corners [2-TXT]. Store the plate in a clean, dry space until further use [3].

    - Talent positioning the acrylic support .

    - Talent clamping the corners. TXT: Keep clamped for at least 30 min on each corner before use

    - Talent placing the assembled plate on a clean shelf or storage drawer.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 129.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - No media leakage or exchange was observed in the assembled plates between when fluorescein and PBS were filled in alternate in the 384-SPOT plate during a 30-day test period, confirming the efficacy of the PMMA barrier in maintaining well-to-well isolation [1].

    - LAB MEDIA: Figure 7A and B. Video Editor: Please show A first and then B

  - GFP-expressing pancreatic tumor organoids seeded into 96-SPOT plates remained viable and expanded progressively from day 0 through day 12 of culture [1].

    - LAB MEDIA: Figure 7C. Video editor: Highlight the top row images corresponding to “OT2” from day 0 to Day 12

  - On day 12, SPOT-grown organoids displayed strong cytokeratin 19 [1] and zonula occludens-1 expression, along with the presence of internal lumen structures [2].

    - LAB MEDIA: Figure 7D. Video editor: Please highlight the top row corresponding to “CK19”

    - LAB MEDIA: Figure 7D. Video editor: Please highlight the bottom row corresponding to “ZO-1”. Also emphasise the area pointed at by the white arrows in the left most image in the row

  - Suboptimal and optimal tissue seeding outcomes in 384-SPOT plates were visually distinguishable by edge definition and cell distribution uniformity [1].

    - LAB MEDIA: Figure 8A. Video editor: Highlight the image labelled “Not optimal”

  - Consistently uniform seeding was achieved across the entire 96-SPOT and 384-SPOT  plates using the automated liquid handler [1].

    - LAB MEDIA: Figure 8B and C.