# Submission ID #: 68413

# Scriptwriter Name: Debopriya Sadhukhan

# Project Page Link: https://review.jove.com/account/file-uploader?src=20866013

# Title: Rapid Identification of Neisseria gonorrhoeae, Chlamydia trachomatis, and Ureaplasma urealyticum by RNA Amplification Lateral Flow Assay

# Authors and Affiliations:

Ruiqi Deng, Zhiyi Tan, Delan Wang, Xiaoqun Luo, Zhigang Wu, Huajin Chen, Huoqiang Chen, Changlin Zhu

# The First People's Hospital of Foshan

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Changlin Zhu		(changlin_zhu@126.com)

# Email Addresses for All Authors:

Ruiqi Deng  		(1650782598@qq.com)

Zhiyi Tan		(tzyi@fsyyy.com)

Delan Wang		(wdlan@qq.com)

Xiaoqun Luo		(lxqun@fsyyy.com)

Zhigang Wu		(michaelwu1979@sohu.com)

Huajin Chen		(chjin@fsyyy.com)

Huoqiang Chen	(chqiang@fsyyy.com)

# Changlin Zhu		(changlin_zhu@126.com)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  13

Number of Shots:  30

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

# Videographer: Please capture all testimonial shots in a wide-angle format with sufficient headspace, as the final videos will be rendered in a 1:1 aspect ratio. Testimonial statements will be presented live by the authors, sharing their spontaneous perspectives.

- Testimonial statements will not appear in the video but may be featured in the journal’s promotional materials.

- Provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author delivering the testimonial.

- Please answer the testimonial question live during the shoot, speaking naturally and in your own words in complete sentences.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

Ethics Title Card

This research has been approved by the Institutional Review Board of the First People's Hospital of Foshan, Guangdong Province, China

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Cell Recovery and Lysis for RNA Extraction

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, vortex the specimen collection tube at 2,600 rpm for 10 seconds to dislodge the cells from the swab head into the solution [1]. Using a calibrated pipette set to 1,000 microliters, transfer 1 milliliter of the solution to a 1.5-milliliter microcentrifuge tube [2]. Centrifuge the tube at 12,000 g for 2 minutes at 25 degrees Celsius [3].

    - WIDE: Talent vortexing the collection tube on a vortex mixer.

    - Talent transferring 1 milliliter of solution to a 1.5-milliliter microcentrifuge tube using a pipette.

    - Talent placing the tube in a centrifuge and starting the run.

  - Aspirate 950 microliters of the supernatant without disturbing the pellet [1]. Using a 200-microliter calibrated pipette set to 50 microliters, resuspend the pellet in 25 microliters of residual solution by pipetting up and down 10 times [2].

    - Talent aspirating 950 microliters of supernatant without disturbing the pellet.

    - Talent resuspending the pellet by pipetting up and down.

  - Pre-equilibrate the cell lysis buffer and negative control materials at 25 degrees Celsius for 15 minutes [1]. Centrifuge the quality control materials at 1,000 g for 10 seconds at 25 degrees Celsius to ensure the powders settle at the bottom [2]. Add 30 microliters of lysis buffer to the quality control materials [3] and 20 microliters of the buffer to the specimens [4]. Incubate all tubes for 10 minutes at 25 degrees Celsius [5].

    - Talent placing lysis buffer and negative control tubes at 25 degrees Celsius.

    - Talent centrifuging the quality control materials.

    - Talent pipetting lysis buffer into quality control material tubes.

    - Talent pipetting lysis buffer into specimen tubes.

    - Talent placing tubes in an incubator. Authors: Since this is 25 °C, will you use an incubator for this shot?

- RNA Isothermal Amplification

Demonstrator: Click here to enter name of demonstrator(s)

  - Thaw the amplification buffer and equilibrate it at 25 degrees Celsius plus or minus 1 degree for 15 minutes [1].

    - Talent thawing the amplification buffer.

  - Label amplification tubes according to the number of specimens [1].

    - A shot of the labelled amplification tubes.

  - Using a calibrated 20 microliter pipette, pipette 17 microliters of amplification buffer into each amplification tube [1] and add 2 microliters of specimen or control lysate directly into the buffer droplet [2-TXT].

    - Talent pipetting 17 microliters of amplification buffer into the amplification tube.

    - Talent adding 2 microliters of specimen or control lysate into the buffer-filled tube. TXT: Include both positive and negative control in each experimental run

  - Now, for thermal activation, incubate the tubes in a preheated thermal cycler at 95 degrees Celsius for 2 minutes for denaturation [1]. Continue the incubation at 42 degrees Celsius for 2 minutes to allow primer annealing [2].

    - Talent placing tubes in a thermal cycler and starting the 95 degrees Celsius step.

    - Talent changing the temperature settings from 95 degrees Celsius to 42 degrees Celsius on the thermal cycler screen. Videographer: Record the screen for this shot.

  - Add 1 microliter of amplification enzyme to each tube [1] and mix by flicking the tubes five times [2]. Then, perform a brief centrifugation at 500 g for 5 seconds [3]. Immediately, transfer the tubes to a second preheated thermal cycler at 42 degrees Celsius and incubate for 45 minutes [3].

    - Talent adding amplification enzyme to the tube using a pipette.

    - Talent flicking the tube.

    - Talent placing the tube in a centrifuge.

    - Talent transferring tubes to a second thermal cycler.

- Lateral Flow Assay and Result Analysis

Demonstrator: Click here to enter name of demonstrator(s)

  - Transfer the detection solution to an incubator set at 42 degrees Celsius and incubate for 10 minutes [1]. Then, vortex it at 2,600 rpm for 15 seconds [2] until the color appears uniform [3].

    - Talent placing the detection solution in an incubator set to 42 degrees Celsius.

    - Talent vortexing the detection solution.

    - A shot of the uniform color detection solution.

  - Using a calibrated 20 to 200-microliter pipette, add 30 microliters of detection solution to each amplification tube [1-TXT].

    - Talent pipetting 30 microliters of detection solution into amplification tube. TXT: Keep the detection solution at 25 °C ± 2 °C for ≤30 min prior to use

  - Mix the solution by pipetting up and down 5 times [1] and place the tubes in a preheated incubator at 53 degrees Celsius for 10 minutes [2].

    - Talent mixing the contents by pipetting up and down.

    - Talent placing the tubes in an incubator.

  - Now, remove the detection cards from their foil pouches [1] and, using a 20 to 200-microliter pipette, transfer the entire mixture to the specimen port of the detection card [2]. Immediately place the card into a 42 degrees Celsius incubator for 15 minutes [3].

    - Talent opening foil pouches and laying out detection cards.

    - Talent pipetting the sample mixture into the specimen port of the detection card.

    - Talent placing the detection card into the 42 degrees Celsius incubator.

  - Read the test results by visually inspecting the bands on the detection cards within 10 to 20 minutes [1-TXT].

    - A shot of the bands on the detection cards. TXT: Maintain the detection cards in a preheated incubator at 53 °C during visual interpretation

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 080.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - This table presents the comparison between RNA amplification lateral flow assay or RGT (R-G-T) and PCR fluorescence probing for Neisseria gonorrhoeae detection [1].

    - LAB MEDIA: Table 1.

  - RGT showed excellent agreement with PCR for Neisseria gonorrhoeae, with a 99.03% total match [1] and 3 discrepant samples [2]. Authors: How do you want to pronounce RGT throughout the video? “R-G-T”?

    - LAB MEDIA: Table 1.

    - LAB MEDIA: Table 1. Video editor: Highlight the value "1" in the 2nd column and the value "2" in the 3rd column.

  - Similarly, for Chlamydia trachomatis, RGT achieved a 99.38% agreement with PCR [1], with one inconsistent result [2].

    - LAB MEDIA: Table 2.

    - LAB MEDIA: Table 2. Video editor: Highlight the value "1" in the 3rd column.

  - RGT also showed high consistency with PCR and gene sequencing for Ureaplasma urealyticum, with over 98% match rates [1] and few mismatches [2].

    - LAB MEDIA: Table 3, Table 6.

    - LAB MEDIA: Table 1. Video editor: Highlight the value "1" in the 3rd column and the value "2" in the 2nd column in Table 3, and Highlight the value "1" in the 2nd column and the value "2" in the 3rd column in Table 6.

  - Similar strong consistency was observed for Neisseria gonorrhoeae and Chlamydia trachomatis with gene sequencing, both showing agreement above 98% [1].

    - LAB MEDIA: Table 4 and Table 5. Video editor: Highlight the value "1" in the 2nd and 3rd columns in Table 4 and highlight the value "2" in the 3rd column in Table 5.