# Submission ID #: 68420

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20868148

# Title: Live Imaging and Characterization of Microglia Dynamics and Interactions with Synapses in Diseased Murine Retina

# Authors and Affiliations:

# Camille Fang, Subramanian Dharmarajan, Colin Germer, Jeanette Hyer, Yvonne Ou

# University of California, San Francisco

# Corresponding Authors:

Yvonne Ou					Yvonne.Ou@ucsf.edu

# Email Addresses for All Authors:

Camille Fang					camille.fang2@ucsf.edu

Subramanian Dharmarajan			subramanian.dharmarajan@ucsf.edu

Colin Germer					colin.germer@ucsf.edu

Jeanette Hyer					jeanette.hyer@ucsf.edu

Yvonne Ou					Yvonne.Ou@ucsf.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Yes

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Nikon Eclipse Ti2-E Inverted Microscope

Videographer: Please record scope shots using a SCOPE KIT,if needed

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20868148

3. Filming location: Will the filming need to take place in multiple locations?   Yes

Within the same building. Dissection takes place on 3rd floor, imaging and analysis take place on 4th floor.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Yes

Current Protocol Length

Number of Steps: 19

Number of Shots: 46

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

INTRODUCTION:

AUTHORS: Please note that all statements are restricted to a 20-word limit. Also, please note that the questions will not appear in the video.

What is the scope of your research? What questions are you trying to answer?

  - Camille Fang: The scope of our research is to study the underlying mechanisms of glaucoma, and microglia in synapse remodeling during development.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. What are the current experimental challenges?

What are the current experimental challenges?

  - Yvonne Ou: The current experimental challenges involve determining whether microglia actively disassemble retinal ganglion cell synapses or passively clear debris.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

CONCLUSION:

What significant findings have you established in your field?

  - Yvonne Ou: Our significant findings show increased microglial number, complexity, motility, and synaptic colocalization following transient intraocular pressure elevation in mice.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

What advantage does your protocol offer compared to other techniques?

  - Camille Fang: Our protocol offers ex vivo imaging, avoiding cataract and corneal opacity issues, enabling easier setup, faster experiments, and higher throughput.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

How will your findings advance research in your field?

  - Yvonne Ou: Our findings advance research by enabling visualization of microglia–neuron interactions, cellular communication, and dynamics using fluorescent transgenic lines and timelapse imaging.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

# Videographer: Please capture all testimonial shots in a wide-angle format with sufficient headspace, as the final videos will be rendered in a 1:1 aspect ratio. Testimonial statements will be presented live by the authors, sharing their spontaneous perspectives.

- Testimonial statements will not appear in the video but may be featured in the journal’s promotional materials.

- Provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author delivering the testimonial.

- Please answer the testimonial question live during the shoot, speaking naturally and in your own words in complete sentences.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Camille Fang, Assistant Specialist: (authors will present their testimonial statements live)

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Camille Fang, Assistant Specialist: (authors will present their testimonial statements live)

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

Ethics Title Card

This research has been approved by the Institutional Animal Care and Use Committee (IACUC) at the University of California, San Francisco

# Protocol

- Surface Rendering and Tracking Analysis of Microglia and Synaptic Puncta in Mouse Retina Using Time-Lapse Imaging

Demonstrator: Camille Fang

  - To begin, dry a filter paper containing the mouse retina with a laboratory wipe [1].  Invert the retina onto a Matek Petri dish [2]. Weigh down the retina using either metal beads or a ring [3]. Then add three to five drops of artificial cerebrospinal fluid [4].

    - WIDE: Talent drying a filter paper with the mouse retina using a laboratory wipe.

    - Talent inverting the retina onto a Matek Petri dish.

    - Talent placing metal beads or ring to secure the retina.

    - Talent pipetting ACSF drops onto the retina.

  - Collect images along the z-axis at 10 to 20 micrometers total depth using a step size of 0.3 micrometer [1]. Maintain the time interval between frames at 20 to 30 seconds to allow for reliable cell tracking [2].
Authors: Please create videos of the shots labeled as SCOPE/SCREEN and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20868148

    - SCOPE/SCREEN: Set the depth to 10-20 µm and step size to 0.3 µm then image the retina.

    - SCREEN: Set the time-lapse acquisition setup with frame interval to 20–30 seconds.

  - To perform surface rendering of the microglia, convert the timelapse file into IMS format using the file converter software [1]. Set the voxel sizes x X, Y and Z [2-TXT].

    - SCREEN: Open the file converter software.

    - SCREEN: Show conversion dialog entering voxel size values. TXT: X: 0.1272423 µ, Y: 0.1272423 µ, Z: 0.3 µ

  - In the analysis software Arena, click on the Observe folder to open the converted file and ensure the image is in 3D view [1]. To detect individual microglia, click the blue surface icon in the Object Toolbar [2].

    - SCREEN: Show navigation to Observe folder and switching to 3D view.

    - SCREEN: The blue surface icon is being clicked on the Object toolbar.

  - Select Track Surfaces (over Time) (Track-Surfaces-Over-Time), Classify Surfaces, and Object-Object Statistics (Object-Object-Statistics) under Algorithm settings [1]. Then click the blue play button to proceed [2].

    - SCREEN: Track Surfaces (over time), Classify Surfaces and Object-Object Statistics is being selected under Algorithm.

    - SCREEN: The blue Play button is being clicked.

  - Choose the channel for surface rendering [1]. Optionally, enable Smooth to smooth the surface creation and use  a ratio of 1:1-1.25 (One-to-One-one-point-Two-five) [2]. Under thresholding, choose Machine Learning Segmentation for detecting cells [3].

    - SCREEN: The channel for surface rendering is being chosen.

    - SCREEN: Smooth is being enabled and a ratio of 1:1-1.25 is being selected.

    - SCREEN: Machine Learning Segmentation is being chosen under Thresholding.

  - Under Training Data, use the Background and Foreground paintbrush tools [1]. Draw paintbrush strokes by selecting the desired paintbrush and using the Shift plus Left click [2]. Ensure Interpolate Display is enabled, then select Train and Predict [3].

    - SCREEN: The 2 paintbrush tools are being seen under Training Data.

    - SCREEN: Paintbrush strokes are being drawn with the desired paintbrush.

    - SCREEN: Ensure Interpolate Display is being enabled and select Train and Predict.

  - Use the yellow pointer in the middle to navigate across the z-stack [1]. Draw multiple strokes across x, y, z planes and across a few time frames [2]. Use three to five short strokes per entry, iteratively adjusting until accurate surface is made [3].

    - SCREEN: The yellow pointer is being used to navigate across the z-stack.

    - SCREEN: Multiple strokes are being drawn across the x,y,z planes.

    - SCREEN: 3 to 5 short strokes are being drawn in an entry.

  - Use the yellow rectangle to toggle between the training display and actual surface created as a final check [1]. Also check across time lapse that the surface matches the cell morphology [2]. Once an accurate surface is achieved, deselect Split Objects [3].

    - SCREEN: The yellow rectangle is being used to toggle between the training display and actual surface.

    - SCREEN: The time lapse is being seen.

    - SCREEN: Show the split objects checkbox being unchecked.

  - Adjust the voxel histogram threshold to remove small unconnected objects not part of the primary surface [1]. Then edit the surface manually to remove extraneous objects or cut edges using the scissor tool [2].

    - SCREEN: Show histogram and threshold slider movement.

    - SCREEN: Show use of scissor tool to trim unwanted parts.

  - If desired, set a threshold of gaps allowed for object and select the tracking algorithm for the moving cell [1]. Filter track objects not associated with the main surface [2]. Using a histogram, define a threshold to remove small tracks lasting less than five frames [3].

    - SCREEN: Show setting gaps parameter and selecting tracking algorithm.

    - SCREEN: Shot of objects not associated with main surface being filtered out.

    - SCREEN: Small tracks < 5 frames are being removed using a histogram.

  - To detect whole individual microglia, click on the blue surface icon in the Object Toolbar [1]. Then select Track Surfaces (over Time) (track-surfaces-over-time), Classify Surfaces, and Object-Object Statistics and press play [2].

    - SCREEN: The blue surface icon is being clicked on the Object toolbar.

    - SCREEN: Track Surfaces (over Time), Classify Surfaces, and Object Object Statistics are being clicked then Play is being pressed.

  - Select the source channel for the synaptic marker [1].  Turn off slicer and other channels to visualize only PSD95 (P-S-D-Ninety-Five) [2]. Use the control button and the pointer selection tool to estimate the xy (X-Y) diameter of the puncta [3].

    - SCREEN: The source channel for the synaptic marker is being selected.

    - SCREEN: The slicer and other channels are being turned off and only PSD95 is being seen.

    - SCREEN: The control button and pointer selection tool is being used to estimate the xy diameter of the puncta.

  - Pick a few bright puncta that persist across frames [1]. Turn off background subtraction [2]. If needed, apply background subtraction under Image Processing before processing the timelapse [3].

    - SCREEN: Show selecting puncta in the image.

    - SCREEN: Background subtraction is being turned off.

    - SCREEN: The background subtraction tool is being used from Image Processing.

  - Now, add a filter based on spot quality. Adjust the histogram to include accurate PSD95 puncta across all time frames [1]. Remove noise spots via edit. Toggle between the cube or circle cursor to delete spots lasting only one or two frames [2].

    - SCREEN: Show quality histogram slider and resulting spots.

    - SCREEN: Show cursor toggle and deleting spurious spots.

  - If desired, set a threshold of gaps allowed and choose the tracking algorithm for synaptic spots [1]. Filter spot tracks not associated with real puncta using a histogram threshold to exclude small object tracks [2].

    - SCREEN: Show gaps parameter and tracking algorithm choice.

    - SCREEN: Show histogram filtering of spot tracks.

  - Define classifications using the Shortest Distance to Surface classification [1]. Set engulfed as any puncta < 0 μm (puncta-less-than-Zero-micrometer), contacted as between 0 to 0.5 µm from the surface,  or uncontacted  as 0.5+ (Zero-point-five-plus) μm [2].

    - SCREEN: The Shortest Distance to Surface classification is being used to define classifications.

    - SCREEN: Engulfed  is being set as any puncta < 0 µm within the surface, contacted as between 0 to 0.5 µm from the surface, or uncontacted as 0.5+ µm from the surface.

  - Assign labels to events using the classifications defined above [1].

    - SCREEN: Show label assignment interface overlay on spots.

  - Once the surfaces and spots appropriately represent microglia and puncta, export all statistics under the statistics tab [1]. Choose Detailed statistics to include displacement length, speed, and contact events classifications [2].

    - SCREEN: Click on the statistics tab and export all statistics.

    - SCREEN: Shot of the detailed statistics dialog with details of displacement length, speed and contact events classifications.

Top of Form

# Results

- Results

  - Microglia exhibited increased process displacement length after laser-induced intraocular pressure elevation compared to the control [1]. Microglia speed was significantly higher in the laser-treated eyes compared to controls [2].

    - LAB MEDIA: Figure 3A. Video editor: Highlight the bar labelled “laser”

    - LAB MEDIA: Figure 3B. Video editor: Highlight the bar labelled “laser”

  - The number of contact events between microglia and PSD95 puncta increased following laser treatment [1].

    - LAB MEDIA: Figure 3C. Video editor: Highlight the bar labelled “laser”

  - Representative images showed increased microglia-synapse interactions in laser-treated retinas compared to controls [1].

    - LAB MEDIA: Figure 2 	Video Editor: Please highlight the images in the “Laser” column and then “Control”