# Submission ID #: 68422

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20868758

# Title: Comparison of Agreement and Accuracy Using Binocular Wavefront Optometer with Autorefractor and Phoropter

# Authors and Affiliations:

# Suqi Xian1*, Yifan Tang1*, Peng Ji2, Hongsheng Bi2, Qingbao Wang1, Xiaofan Wang1, Li Li1

# 1Shandong University of Traditional Chinese Medicine

# 2Affiliated Eye Hospital of Shandong University of Traditional Chinese Medicine, Shandong Clinical Medicine Research Center

# *These authors contributed equally to this work

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Peng Ji			(ji6605@126.com)

# Email Addresses for All Authors:

Suqi Xian		(7860504846@163.com)

Yifan Tang		(793701712@qq.com)

Peng Ji			(ji6605@126.com)

Hongsheng Bi		(hongshengbi1@163.com)

Qingbao Wang		(1259396392@qq.com)

Xiaofan Wang		(wxff28@163.com)

Li Li			(2022111387@sdutcm.edu.cn)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  08

Number of Shots: 19

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

# Videographer:

- Please ensure that all testimonial shots are captured in a wide-angle format, while also maintaining sufficient headspace, given that the final videos will be rendered in a 1:1 aspect ratio.

- Also, kindly note that testimonial statements will be presented live by the authors, offering their spontaneous perspectives.

- Note: Testimonial statements will not appear in the video but may be featured in our promotional materials.

- Provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author delivering the testimonial. This will appear in our journal’s promotional materials.

- During the shoot, the author should speak naturally in their own words, using complete sentences and a conversational tone—no script will be provided.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

Ethics Title Card

This research has been approved by the Medical Ethics Committee of the Affiliated Eye Hospital of Shandong University of Traditional Chinese Medicine

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Binocular Refraction Using a Wavefront Optometer Interface

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, obtain a binocular wavefront optometer [1]. Click the Start Test button to automatically calibrate the detection distance and measure objective refraction in 0.05 diopter increments [2].
Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20868758

    - Talent holding a binocular wavefront optometer.

    - SCREEN: The Start Test button is being clicked and the automated calibration process, with the detection distance and refraction values are being seen.

  - Click on Electronic Software to simulate occluding the right eye [1]. Instruct the participant to use the left eye to view, without identifying, the 20/20 (Twenty-twenty) line of optotypes [2].

    - SCREEN: The Electronic Software interface is being clicked.

    - Talent pointing to the 20/20 line while instructing the participant to view it with the left eye only.

  - To perform the red-green duo-chrome test, select Green Clear if the green background appears clearer to simulate adding a positive sphere lens [1], or click Red Clear if the red background appears clearer to simulate adding a negative sphere lens [2-TXT].

    - SCREEN: The Green Clear button is being pressed when green background is clearer.

    - SCREEN: Red Clear is being pressed when red background is clearer. TXT: Do not adjust the lens once participants report equal clarity on both backgrounds

  - Next, perform the Jackson cross-cylinder test by using the electronic software to simulate two honeycomb pictures [1]. Click to simulate adjusting the axis in 1-degree increments until the participant observes equal clarity in both pictures [2].

    - SCREEN: Show the Jackson cross-cylinder interface displaying two honeycomb patterns.

    - SCREEN: The axis is being adjusted in 1-degree steps until the images appear equally clear.

  - Now click to simulate adding a 0.10 diopter negative cylinder lens if the first picture appears clearer [1] or a 0.05 diopter positive cylinder lens if the second picture appears clearer [2]. Adjust until both pictures appear equally clear to determine the cylinder [3-TXT].

    - SCREEN: Show selection of 0.10 diopter negative cylinder lens after clarity in the first picture.

    - SCREEN: Show selection of 0.05 diopter positive cylinder lens after clarity in the second picture.

    - SCREEN: Show stepwise adjustments being made until clarity in both images is equal. TXT: Repeat test for the right eye

  - Once done, ask participants to observe two separate lines of optotypes [1]. Click Upper Sharper if the top line appears clearer [2] or Lower Sharper if the bottom line appears clearer [3]. Continue this process until equal clarity is reported to complete the binocular balance test [4].

    - Talent presenting two lines of optotypes to the participant.

    - SCREEN: Upper Sharper is being selected according to participant feedback.

    - SCREEN: Lower Sharper being selected according to participant feedback

    - SCREEN: Show the adjustment sequence continuing until equal clarity is achieved.

  - Now, simulate adding a positive lens to fog both eyes [1]. Gradually increase the negative sphere lens until the participant reports no further improvement in visual acuity [2].

    - SCREEN: Show positive lens fog being applied to both eyes.

    - SCREEN: Show incremental increase of the negative sphere lens until the participant confirms no further improvement.

  - Lastly, perform the duo-chrome test for both eyes [1]. If red and green clarity is not equal, select the most negative sphere lens where red no longer changes to green [2].

    - SCREEN: Display the red-green duo-chrome test interface for both eyes.

    - SCREEN: Highlight the selection of the most negative sphere lens at the point where red clarity cannot be changed to green.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 156.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - At 1 month postoperatively, 98.4% of eyes achieved 20/20 or better best corrected visual acuity using both the binocular wavefront optometer and the phoropter [1].

    - LAB MEDIA: Figure 1. Video editor: Highlight both the green and gray bars.

  - A significantly higher proportion of eyes reached 20/16 or better with the binocular wavefront optometer compared to the phoropter [1].

    - LAB MEDIA: Figure 1. Video editor: Highlight the green bars labeled 20/16

  - There were no significant differences between the binocular wavefront optometer and the autorefractor in objective measurements of sphere, J0 (J-Zero), J45 (J-Forty-Five), and spherical equivalent [1].

    - LAB MEDIA: Table 1. Video editor: Highlight the “Binocular wavefront optometer “and “ Autorefractor” columns

  - For subjective refraction, the sphere measurement differed significantly between the binocular wavefront optometer and phoropter [1], while J0, J45, and spherical equivalent did not show significant differences [2].

    - LAB MEDIA: Table 2. Video editor: Highlight the first row ("Sphere") under both columns

    - LAB MEDIA: Table 2. Video editor: Highlight the J0, J45, and SE rows

  - Bland-Altman plots showed good agreement between the binocular wavefront optometer and autorefractor for objective sphere [1], J0 [2], J45 [3], and spherical equivalent [4].

    - LAB MEDIA: Figure 2A. Video editor: Show the plot and mark dots between the Upper and lower LOA

    - LAB MEDIA: Figure 2B. Video editor: Show the plot and mark dots between the Upper and lower LOA

    - LAB MEDIA: Figure 2C. Video editor: Show the plot and mark dots between the Upper and lower LOA

    - LAB MEDIA: Figure 2D. Video editor: Show the plot and mark dots between the Upper and lower LOA

  - Bland-Altman plots also showed good agreement for subjective measurements between the binocular wavefront optometer and phoropter for sphere [1], J0 [2], J45 [3], and spherical equivalent [4].

    - LAB MEDIA: Figure 3A. Video editor: Show the plot and mark dots between the Upper and lower LOA

    - LAB MEDIA: Figure 3B. V Video editor: Show the plot and mark dots between the Upper and lower LOA

    - LAB MEDIA: Figure 3C. Video editor: Show the plot and mark dots between the Upper and lower LOA

    - LAB MEDIA: Figure 3D. Video editor: Show the plot and mark dots between the Upper and lower LOA