# Submission ID #: 68447

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20876383

# Title: A Magnetic Resonance Imaging-Based Computational Protocol for Analysis of Plaque Morphology and Hemodynamics in Patients with Carotid Artery Stenosis

# Authors and Affiliations:

# Drew J. Braet1,2, Ismael Z. Assi2,3, Vivek Dandu2, Meng Lu4, Siddhant Ranjane2, Hsu-Lei Lee4, Jacob Richardson5, Yibin Xie4, C. Alberto Figueroa1,2

# 1Department of Surgery, University of Michigan

# 2Department of Biomedical Engineering, University of Michigan

# 3School of Medicine, University of Cincinnati

# 4Department of Biomedical Sciences, Cedars Sinai Medical Center

# 5Department of Radiology, University of Michigan

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Drew J. Braet					djbraet@med.umich.edu

# Email Addresses for All Authors:

Drew J. Braet					djbraet@med.umich.edu

Ismael Z. Assi					ismael@umich.edu

Vivek Dandu					vdandu@umich.edu

Meng Lu					meng.lu@csmc.edu

Siddhant Ranjane				sranjane@umich.edu

Hsu-Lei Lee					hsu-lei.lee@cshs.org

Jacob Richardson				ricjacob@med.umich.edu

Yibin Xie					yibin.xie@cshs.org

C. Alberto Figueroa				figueroc@med.umich.edu

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

☐ Correct

☐ Incorrect

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20876383

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: MM/DD/YYYY

DO NOT use this draft script for filming. Please wait until your script is finalized to begin the filming process.

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  19

Number of Shots:  35

# Introduction

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Ethics Title Card

This research has been approved by the Institutional Review Board at the University of Michigan

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that you/your videographer will capture.

- Geometric Modeling for Computational Fluid Dynamics in CRIMSON

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, launch the CRIMSON (crimson) software on a computer system [1].  Import de-identified DICOM  (die-com) image data for patient-specific anatomy into CRIMSON by using the import button in the data manager [2].
Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20876383

    - WIDE: Talent launching the CRIMSON software on the computer. 
AUTHORS: Please note that JoVE requires the opening shot to be a wide, non-screen capture. This shot was added specifically to meet that requirement

    - SCREEN: The import button on data manager is being clicked and DICOM images are being imported.

  - Using the Geometry Modeling window, select Vessel Path Editing and create a vessel tree containing the common carotid artery, external carotid artery, and internal carotid artery [1]. Using the Vessel Path Editing window, place centerline points along each vessel of interest [2].

    - SCREEN: The Geometry Modeling window is being seen,  Vessel Path Editing is being navigated to and the vessel tree is being created.

    - SCREEN:  The Vessel Path editing window is being seen.

  - Begin the common carotid artery centerline at the level of C5 where the PC-MRI flow waveform was obtained [1]. Place the internal carotid artery centerline so it ends one to two centimeters distal to the stenosis, matching the PC-MRI waveform location [2]. Then place the external carotid artery centerline endpoint proximal to the first-order branches, matching the PC-MRI waveform acquisition location [3].

    - SCREEN:  The CCA centerline point is being placed at the C-5 level.

    - SCREEN:  The endpoint of the ICA centerline is being placed just distal to the stenosis.

    - SCREEN:  The ECA endpoint is being placed near the first-order branches.

  - Now, use the Vessel Re-slice (Vessel-Re-Slice) window to visualize the centerline and cross-sectional views perpendicular to the centerline, after adding at least two points along each vessel [1-TXT].

    - SCREEN:  The Vessel Re-slice window is being opened. The centerline and cross-sectional views are being seen. TXT: Vessel centerlines may also be imported in CRIMSON in the VTK file format

  - Using the same window, add vessel contours to specify the boundaries of the vessel wall [1].  The left side of the Vessel Re-Slice window displays the original image while the right side displays the image gradient for defining contours [2].

    - SCREEN:  Vessel contours are being added along the vessel walls.

    - SCREEN:  The left and right side of the Vessel Re-slice window with original image and gradient image are being pointed to.

  - Place contours frequently enough to capture vessel curvature and changing geometry without overfitting [1]. After defining all contours, use the Loft button in the Vessel Contour Modeling window to generate a combined three-dimensional solid model via lofting [2].

    - SCREEN:  Contours are being added at curved regions.

    - SCREEN: Show the Loft button being clicked and the 3D model appearing.

  - Then use the Vessel Blending window to select the fillet algorithm for blending the vessel model into a single solid geometry [1-TXT].

    - SCREEN: The Vessel Blending window is being opened, fillet mode is being chosen. TXT: Fillet size: 0.3 - 1 mm

- Mesh Configuration and Boundary Condition Setup for Computational Fluid Dynamics in CRIMSON

Demonstrator: Click here to enter name of demonstrator(s)

  - Open the Meshing and Solver Setup window and click the meshing button to view meshing options to configure mesh parameters [1]. In the global options window, set the global element size to an absolute value between 0.5 millimeter and 0.75 millimeter [2].

    - SCREEN: The Meshing and Solver Setup window is being opened, the meshing button is being clicked and the meshing options are being seen.

    - SCREEN: The Global Options window is being seen then the global element size is being set to 0.5 – 0.75 mm.

  - Then set boundary layer type to geometric growth, the total number of layers to 3,  the first layer thickness to 0.2 millimeter, and total layer thickness of 1 millimeter [1]. Then apply curvature refinement to add mesh elements at high-curvature regions such as the stenosis [2].

    - SCREEN: The boundary layer is being set to geometric growth, the total number of layers to 3,  the first layer thickness to 0.2 millimeter, and total layer thickness of 1 millimeter.

    - SCREEN: Curvature refinement is being enabled around the stenotic area.

  - Right-click on the mesh and click on the Mesh Information button to review mesh metrics including element count, aspect ratios, and distribution [1].

    - SCREEN: Mesh Information is being clicked and mesh metrics are being seen.

  - To specify boundary conditions, click on the Meshing and Solver Setup window, select the Solver Setup icon, then add a boundary condition set using the BC icon [1]. View the boundary conditions currently available in CRIMSON [2].

    - SCREEN:  The Meshing and Solver window is being clicked, the Solver Setup icon is being selected, then the BC icon is clicked and boundary condition is set.

    - SCREEN:   Boundary condition options are being seen. 
AND
TEXT ON PLAIN BACKGROUND:
Inlet: Pressure, Prescribed Velocity (Flow Waveform), custom lumped parameter circuit (any arbitrary combination of resistors, capacitors, inductors, pressure nodes, and custom circuit elements defined via a Python script)

Wall: No slip (refers to a rigid or non-deformable wall), Deformable

Outlet: Pressure, RCR, Prescribed Velocity (Flow Waveform), custom lumped-parameter circuit

Video Editor: Please play both shots side by side

  - Click the BC icon again, select No Slip to implement rigid, non-deformable walls and apply this to all walls using the Apply to all walls option [1]. Then select Prescribed Velocity, import the previously defined inflow waveform, and map a parabolic velocity profile to the CCA (C-C-A) inlet [2-TXT]. Similarly, import the ECA (E-C-A) pulsatile outflow waveform, mapping a parabolic velocity profile to the ECA outlet [3].

    - SCREEN:   BC icon is being clicked and the No Slip option is being chosen. Then Apply to All Walls option is being selected.

    - SCREEN:   The Prescribed Velocity button is being clicked, the previously defined inflow waveform is being selected, then parabolic velocity profile is being mapped. TXT: In CRIMSON, the convention is for inlet flows to be negative and outlet flows to be positive.

    - SCREEN:   The imported ECA pulsatile outflow waveform with mapped parabolic velocity profile is being seen.

  - Now click the BC icon, choose RCR and populate a three-element Windkessel model consisting of proximal resistance, distal resistance, capacitor [1]. Map the RCR to the ICA outlet based on patient-specific calculations [2].

    - SCREEN:  The BC option is being clicked and RCR is chosen then the three element Windkessel model is being populated.

    - SCREEN:  The RCR is being mapped to the ICA outlet. 
AND
TEXT ON PLAIN BACKGROUND:
Total arterial resistance : RT= Pmean/QT
where the mean blood pressure Pmean = 1/3 Psystolic + 2/3 Pdiastolic
QT is total cardiac flow entering the model 

Total arterial compliance : CT = (QT,max-QT,min)/(Psystolic-Pdiastolic)*Δt
where QT,max and QT,min : maximum and minimum values of CCA inflow
Δt : time lapse between these values
Video Editor: Please play both shots side by side

- Solver Configuration and Execution for Hemodynamic Modeling

Demonstrator: Click here to enter name of demonstrator(s)

  - To prepare solver parameters, navigate to the Meshing and Solver window, click on the Solver Setup icon then choose Solver Parameters [1].  Set the time step size to 0.1 millisecond for four cardiac cycles, requires  residual to 10⁻⁴ , and blood density to 1060 kilogram per cubic meter [2].

    - SCREEN:  The Meshing and Solver window is being opened, the Solver Setup icon is being clicked and Solver Parameters  option is being chosen.

    - SCREEN:  The time step is being to 0.1 millisecond, cycles to 4 and density to 1060 kg·m⁻³.

  - Use Solver Setup to generate all simulation input files including the flow data, inlet flow at each time step, information on the mesh and boundary conditions, information for the face on which each boundary condition is applied, the first time step number of the simulation, 3-element Windkessel data, files containing information on pressure and velocity at every point in the mesh and the instructions for the flowsolver  [1].

    - SCREEN:  The simulation files are being seen and exported via Solver Setup interface.

  - Add the Carreau-Yasuda model into the solver.inp  (Solver-dot-I-N-P) and add to the simulation files to allow for blood to be modeled as a Non-Newtonian fluid [1].

    - SCREEN:  The Carreau-Yasuda model is being added into the solver.inp and it is being added into the simulation files.

  - Now, click Run Simulation in the Study pane of the Solver Setup window to run the CRIMSON Navier-Stokes flowsolver [1].  Specify the number of processors in the command window [2].  Alternatively, if performing simulations on a HPC cluster, transfer all solver files to the cluster and run using 72 to 108 cores [3].

    - SCREEN: Run Simulation is being navigated to and clicked.

    - SCREEN: The number of processors is being specified in the command window.

    - SCREEN: Solver files are being transferred to a HPC cluster and run using 72 to 108 cores.

  - When the solver starts running, the ouput file histor.dat (His-tor-dot-Dat)  will be printed in the command line and saved in a new directory, “n-procs-case” (N-Procks-Case) [1]. Use the linux prompt  “tail -f histor.dat” (tail-minus-F-His-tor-Dat) to observe the file in real time [2].

    - SCREEN: The output file is being seen in the command line then the directory “n-procs-case” is being opened to show output file.

    - SCREEN: The Linux prompt tail -f histor.dat is being entered to open the output file.

  - The first column of the file corresponds to time step, the second column is the elapsed time, the third column is the non-linear residual, and the fourth column is the log residual value [1].

    - SCREEN: The file is being seen with the first 4 columns.

# Results

Please review this section to make sure that it accurately reflects your findings.

- You/Your videographer does not have to record this section. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 199.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - A high-quality mesh with low aspect ratio elements was generated to accurately represent the carotid artery bifurcation geometry [1].

    - LAB MEDIA: Figure 1A. Video editor: Emphasise the “Mesh” panel

  - A representative velocity profile across the carotid bifurcation and ICA stenosis  was simulated [1], showing a maximum flow velocity of approximately 275 centimeters per second at peak systole across the stenosis [2].

    - LAB MEDIA: Figure 2.

    - LAB MEDIA: Figure 2. Video editor: Highlight the peak of the velocity curve on the left graph.

  - Pressure mapping showed negligible pressure gradient across the stenosis in one case, with proximal and distal pressures nearly overlapping throughout the cardiac cycle [1]. In a contrasting case, pressure proximal to the stenosis was significantly higher than distal pressure, revealing a prominent pressure drop [2].

    - LAB MEDIA: Figure 3A. Video editor: Highlight both red and blue pressure curves on the lower graph.

    - LAB MEDIA: Figure 3B. Video editor: Highlight the red and blue curves on the lower graph

  - Wall shear stress was low across the bifurcation in the non-stenotic model, especially in the outer walls of the internal and external carotid arteries [1]. In the stenotic model, high wall shear stress was concentrated at the internal carotid artery stenosis [2].

    - LAB MEDIA: Figure 4A. Video editor: Highlight the blue-colored regions labeled “Low WSS”.

    - LAB MEDIA: Figure 4B. Video editor: Highlight the red-colored region labeled “High WSS”.

  - Oscillatory shear index mapping showed lesion-associated OSI (O-S-I) values before surgery were lower compared to post-operative values [1].

    - LAB MEDIA: Figure 5A and B. Video editor: Highlight red patches both anterior and posterior pre-operative views.

  - qMatch imaging identified intraplaque hemorrhage through hyperintense signal on T1-weighted imaging [1] and lowered values on the T1 map [2].

    - LAB MEDIA: Figure 6B. Video editor: Highlight the bright region within the dashed yellow outline

    - LAB MEDIA: Figure 6E. Video editor: Highlight the dark-colored region within the same outline in the T1 map.

  - Calcified plaque was identified by consistently hypointense signal on dark blood, T1-weighted, and T2-weighted sequences [1].

    - LAB MEDIA: Figure 7A-C. Video editor: Highlight the dark region within the dashed orange circle in A-C