# Submission ID #: 68463

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20881263

# Title: BRET-Based G protein Biosensors for Measuring G Protein-Coupled Receptor Activity in Live Cells

# Authors and Affiliations:

# Adeline Cœugnet1, Hannes Schihada2, Estelle Rascol1, Isabel Alves1, Marie-Lise Jobin1

# 1University of Bordeaux, CNRS, Bordeaux INP, CBMN, UMR

# 2Department of Pharmaceutical Chemistry, Philipps-University Marburg

# Corresponding Authors:

Marie-Lise Jobin	(marie-lise.jobin@u-bordeaux.fr)

# Email Addresses for All Authors:

Adeline Cœugnet	(adeline.coeugnet@u-bordeaux.fr)

Hannes Schihada	(schihada@staff.uni-marburg.de)

Estelle Rascol		(estelle.rascol@u-bordeaux.fr)

Isabel Alves		(i.alves@cbmn.u-bordeaux.fr)

Marie-Lise Jobin	(marie-lise.jobin@u-bordeaux.fr)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes, all done

3. Filming location: Will the filming need to take place in multiple locations?   No

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. Yes

Current Protocol Length

Number of Steps:  19

Number of Shots:  43

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

AUTHORS: Please note that as per the new template, all statements are now restricted to 20 words. All statements have been edited for brevity

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Marie-Lise Jobin: We are interested in understanding key questions in GPCR signaling that would allow us to identify new GPCR targets and ligand biased signaling.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

What technologies are currently used to advance research in your field?

  - Marie-Lise Jobin: Biomolecular and biochemical methods, cryo-EM, NMR, and molecular dynamic simulations, are used to understand the regulation of GPCR by ligands with different efficacy or bias.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

CONCLUSION:

What advantage does your protocol offer compared to other techniques?

  - Adeline Coeugnet: G-CASE BRET sensors are tricistronic constructions that allow us to measure precisely specific G-protein activation in real time and in live cells.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

How will your findings advance research in your field?

  - Adeline Coeugnet: Discovery of biased ligand with high throughput methods could open pharmacological studies for specific drug screening with improved efficacy.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

# Videographer: Please ensure that all testimonial shots are captured in a wide-angle format, while also maintaining sufficient headspace, given that the final videos will be rendered in a 1:1 aspect ratio.

- Testimonial statements will not appear in the video but may be featured in the journal’s promotional materials.

- Provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author delivering the testimonial.

- Please answer the testimonial question live during the shoot, speaking naturally and in your own words in complete sentences.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Cœugnet Adeline, PhD student: (authors will present their testimonial statements live)

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Cœugnet Adeline, PhD student: (authors will present their testimonial statements live)

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

# Protocol

- Seeding Well Plate with HEK293 Cells

Demonstrator: Adeline Cœugnet

  - To begin, pour approximately 6 milliliters of sterile-filtered 0.01% Poly-L-lysine solution into a multichannel reservoir [1]. Use a multichannel pipette to dispense 60 microliters of this solution into each well of a 96-well white microplate [2]. Incubate the microplate in the dark for 20 minutes [3].

    - WIDE: Talent pouring Poly-L-lysine solution into a multichannel reservoir.

    - Talent using a multichannel pipette to fill each well of a 96-well plate with the solution.

    - Talent placing the 96-well plate inside a dark drawer or cabinet.

  - After incubation, aspirate the Poly-L-lysine solution from each well using a multichannel pipette [1] and transfer it to a 15-milliliter tube for storage at 4 degrees Celsius [2]. Wash the plate three times with DPBS (D-P-B-S) solution using a multichannel pipette [3].

    - Talent aspirating the PLL from the wells.

    - Talent transferring it into a labeled 15-milliliter tube.

    - Talent washing the wells three times using DPBS and a multichannel pipette.

  - For cell preparation and plating, discard the medium in the flask containing the HEK293 (H-E-K-Two-Ninety-Three) cells [1]. Then rinse the cells with 2 milliliters of DPBS solution [2].

    - Talent removing the old medium.

    - Talent adding 2 mL DPBS to the cells then discarding supernatant.

  - Now pipette 0.5 milliliter of trypsin to the flask [1]. Incubate the suspension for 3 to 5 minutes at 37 degrees Celsius to detach the cells [2].

    - Talent adding trypsin to the flask.

    - Talent placing the flask in an incubator.

  - Neutralize the trypsin with 4.5 milliliters of DMEM (D-M-E-M) [1]. Pipette the suspension up and down repeatedly to fully detach and resuspend the cells [2].

    - Talent adding DMEM to the flask.

    - Talent pipetting the medium to resuspend the cells.

  - Transfer the cell suspension to a 15-milliliter tube [1]. Then centrifuge at 1000 g for 5 minutes [2]. Resuspend the cell pellet in 2 milliliters of DMEM, after discarding the supernatant [3].

    - Talent transferring the suspension to a centrifuge tube.

    - Talent placing the tube in the centrifuge.

    - Talent removing supernatant and gently resuspending the pellet with DMEM.

  - Now, count the cells using a Malassez counting chamber [1]. Prepare 10 milliliters of the cell suspension at a concentration of 300,000 cells per milliliter [2].

    - Talent counting cells using a Malassez counting chamber.

    - Talent preparing cell suspension in a tube.

  - Pour this suspension into a multichannel reservoir [1]. Then use a multichannel pipette to seed each well of the 96-well plate with 100 microliters of the solution [2-TXT]. Incubate the microplate at 37 degrees Celsius with 5% carbon dioxide for approximately 24 hours [3].

    - Shot of the suspension being poured into a multichannel reservoir.

    - Talent seeding the microplate with a multichannel pipette. TXT: Final density: 30,000 cells/well

    - Talent placing the seeded plate in a humidified incubator.

- Plasmid transfection and Data Acquisition

  - For transfection, transfer 10 micrograms of plasmid DNA and 20 microliters of Lipofectamine into separate tubes, each containing 500 microliters of Opti-MEM (Opti-Mem) medium [1].

    - Talent pipetting DNA and Lipofectamine into separate tubes of Opti-MEM and placing them on the bench for incubation.

  - After a 5-minute incubation at room temperature, combine the solutions into a single tube [1].  Mix gently to obtain a 1-milliliter transfection mixture and incubate [2-TXT].

    - Talent mixing the DNA and Lipofectamine solutions into one tube.

    - Talent gently pipetting to mix. TXT: Incubation: RT, 20 min

  - Using a multichannel pipette, add 10 microliters of the transfection mixture dropwise into each well of the 96-well plate [1]. Gently rock the plate back and forth to ensure uniform distribution [2]. Then incubate the plate in a humidified incubator at 37 degrees Celsius with 5% carbon dioxide for 24 hours [3].

    - Talent pipetting the transfection mixture dropwise into the wells.

    - Talent gently rocking the microplate in a crosswise motion.

    - Talent placing the plate in the incubator and closing the door.

  - The next day, prepare a ligand serial dilution of 10 microliters in the appropriate solubilization solvent, centered around the dissociation constant of the ligand [1]. Store the serial dilution at minus 20 degrees Celsius [2].

    - Talent preparing serial dilution of ligand in small tubes.

    - Talent labeling and placing tubes into a minus 20 degrees Celsius freezer.

  - For each concentration and the vehicle control, perform a 1 in 100 dilution by adding 1.3 microliters of the stock to  128.7 microliters of HBSS (H-B-S-S) [1]. Then prepare 980 microliters of Furimazine (Fury-mah-zeen) at 1 in 100 dilution by adding 9.8 microliters of stock to 970.2 microliters of HBSS [2].

    - Talent pipetting precise volumes of ligand dilutions and HBSS into new tubes.

    - Talent pipetting Furimazine stock and HBSS into a microcentrifuge tube and mixing.

  - To perform plate reading, aspirate the medium from the first 4 columns of the 96-well plate [1]. Rinse each well with 100 microliters of HBSS [2], then add 80 microliters of HBSS to each well [3].

    - Talent removing the medium from the designated columns using a multichannel pipette.

    - Talent rinsing each well with100 µL HBSS using a multichannel pipette.

    - Talent adding 80 microliters of HBSS to each well.

  - Insert the 96-well plate into the plate reader to begin recording the cpVenus173 (C-P-Venus-One-Seventy-Three) emission spectrum [1]. Set the monochromator to 535/30 (Five-thirty-five-by-thirty) nanometers and measure luminescence emission between 500 and 600 nanometers with 2-nanometer resolution [2].

    - Talent loading the microplate into the plate reader.

    - SCREEN: 68463_3.7.2.mp4.		00:26-00:35

  - Record the Nluc (N-luke) emission intensity by setting the monochromator to 450/40 (Four-fifty-by-forty) nanometers and scanning between 400 and 600 nanometers with 5-nanometer resolution [1].

    - SCREEN: 68463_3.8.1.mp4		00:05-00:21, 00:53-01:06

  - Remove the plate from the reader [1]. Then add 10 microliters of the prepared Furimazine solution to each well using a multichannel pipette [2-TXT].

    - Shot of the plate being removed from the instrument.

    - Talent pipetting Furimazine solution into the wells with a multichannel pipette. TXT: Record the G protein luminescence spectra again

  - To record G protein basal BRET (brett) signal, measure both Nluc and cpVenus173 emissions using the 450/40-nanometer and 535/30-nanometer monochromators, before adding GPCR ligands [1-TXT].

    - SCREEN: 68463_3.10.1.mp4	00:18-00:41
TXT: Measure 3 cycles of 60 s, 0.30 s interval

  - Then remove the plate and add 10 microliters of the prepared GPCR ligand dilutions to the wells of one column using a multichannel pipette [1]. Reinsert the plate into the reader [2] to record ligand-induced BRET by measuring Nluc and cpVenus173 emissions with the same monochromator settings [3-TXT].

    - Talent adding ligand dilutions to the appropriate wells using a multichannel pipette.

    - Talent loading the plate back into the reader.

    - SCREEN: 68463_3.11.3.mp4	00:19- 00:39
TXT: Measure 16 cycles of 60 s, 0.30 s interval

  - For data analysis, plot the emission intensity of each well against the wavelength to visualize the control spectra [1]. Then calculate the BRET ratio for each well using the three basal readings [2]. Calculate the BRET ratio for each well for all ligand-induced readings across the 16 measurement cycles [3].

    - SCREEN: 68463_3.12.1.mp4	00:18-00:39, 00:55-00:56

    - SCREEN: 68463_3.12.2-3.12.3.mp4. 	00:14-00:34

    - SCREEN: 68463_3.12.2-3.12.3.mp4.	02:30-02:49

# Results

- Results

  - A concentration-dependent decrease in Δ (delta) BRET values was observed in HEK 293T cells expressing β (beta) 2-adrenergic receptors upon isoproterenol stimulation, reaching a plateau around 5 minutes [1]. No significant ΔBRET change was observed in HEK 293T cells transfected with pcDNA3.1 (P-C-D-N-A-Three-Point-One) vector upon isoproterenol stimulation [2].

    - LAB MEDIA: Figure 3A. Video editor: Highlight the curves between 0 to 5 min.

    - LAB MEDIA: Figure 3B.

  - Sigmoidal dose-response curves showed an EC50 (E-C-fifty) of approximately 9.4 nanomolar for isoproterenol in β2-adrenergic receptor-expressing cells [1]. ΔBRET values measured at 15 minutes post-stimulation with 10 micromolar isoproterenol were significantly lower in β2-adrenergic receptor-expressing cells compared to pcDNA control cells [2].

    - LAB MEDIA: Figure 3C. Video editor: Emphasize the orange curve

    - LAB MEDIA: Figure 3D. Video editor: Highlight the orange dots

  - A concentration-dependent decrease in ΔBRET was observed in HEK CB1 (H-E-K-C-B-One) cells stimulated with WIN-55,212-2, (Win-Fifty-Five-Two-One-Two-Two) stabilizing around 5 minutes [1]. HEK wild-type cells did not show significant ΔBRET changes upon WIN-55,212-2 stimulation, confirming specificity of CB1 receptor activation [2].

    - LAB MEDIA: Figure 4A. Video editor: Highlight the blue curves in the HEK CB1 panel, between 0 to 5 min

    - LAB MEDIA: Figure 4B.

  - WIN-55,212-2 induced a sigmoidal dose-response in HEK CB1 cells, with an EC50 of approximately 112 nanomolar [1]. ΔBRET values at 15 minutes post-stimulation with 10 micromolar WIN-55,212-2 were significantly lower in HEK CB1 cells compared to HEK wild-type cells [2].

    - LAB MEDIA: Figure 4C. Video editor: Emphasize the blue curve

    - LAB MEDIA: Figure 4D. Video editor: Highlight the blue dots clustered