# Submission ID #: 68466

# Scriptwriter Name: Debopriya Sadhukhan

# Project Page Link: https://review.jove.com/account/file-uploader?src=20882178

# Title: Ookluc: A Plasmodium berghei line for Identifying Transmission-blocking Compounds

# Authors and Affiliations:

Janaína T. Novais, Juliana Calit, Letícia G. Morosini, Vitor A. da Silva, Rodolfo F. Marques, Xiomara A. Gaitán, Daniel Y. Bargieri

# Department of Parasitology, Institute of Biomedical Sciences, University of São Paulo

# Corresponding Authors:

# Daniel Y. Bargieri				danielbargieri@usp.br

# Email Addresses for All Authors:

Janaína T. Novais				janaina.novais@usp.br

Juliana Calit					julianaacalit@gmail.com

Letícia G. Morosini				leticiamorosini@usp.br

Vitor A. da Silva				vitor.antunes@usp.br

Rodolfo F. Marques				rodolfoferreira@usp.br

# Xiomara A. Gaitán				alexandra.gaitan@usp.br

# Daniel Y. Bargieri				danielbargieri@usp.br

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

√ Correct

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  NO

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  YES

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: 07/07/2025

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

Current Protocol Length

Number of Steps:  23

Number of Shots:  36

# Introduction

REQUIRED:

  - Daniel Y. Bargieri: Our research aims to identify and characterize transmission-blocking compounds and essential genes in Plasmodium sexual stages, using a high-throughput system to support novel strategies for interrupting malaria transmission.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 5.4.1.

What research gap are you addressing with your protocol?

  - Daniel Y. Bargieri: This protocol addresses the lack of standardized, high-throughput methods for identifying Transmission-blocking compounds by using a transgenic P. berghei line with luminescence-based, automated detection of post-fertilization parasite development.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 3.3.2.

What advantage does your protocol offer compared to other techniques?

  - Daniel Y. Bargieri: This protocol enables the screening of Plasmodium sexual stages, detects early transmission-blocking compounds and supports precise IC₅₀ determination, offering advantages over conventional methods.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: LAB MEDIA: Figure 5B.

Ethics Title Card

This research has been approved by the Ethics Committee on Animal Use of the Institute of Biological Sciences, University of São Paulo

# Protocol

- Conversion Assay – Screening in 96-Well Plates

Demonstrator: Janaína T. Novais

  - To begin, prepare the compound samples by diluting the compound stock to 1 millimolar using ookinete medium [1]. Prepare the working samples by diluting this 1 millimolar stock in ookinete medium at a ratio of 1 to 100 to achieve a final concentration of 10 micromolar [2]. For one assay, prepare a final volume of 200 microliters of working sample in duplicate [3].

    - WIDE: Talent pipetting the compound stock solution into a tube and adding ookinete medium to prepare a 1 millimolar solution.

    - Talent performing a 1 to 100 dilution of the 1 millimolar stock in ookinete medium to create the 10 micromolar working solution.

    - Talent pipetting out 200 microliters of the 10 micromolar working solution and dispensing it into two tubes labeled for duplicate assays.

  - If the compound is dissolved in a solvent other than water, prepare a control sample by diluting the solvent in the ookinete medium in the same proportion used for the test sample [1].

    - Talent preparing a solvent control in a labelled tube by diluting the solvent in ookinete medium.

  - Using two 96-well plates, place 80 microliters of each sample in designated wells for positive control, negative control, solvent control, and test samples in duplicate, following the given layout [1-TXT].

    - Talent pipetting 80 microliters of each sample into wells of two 96-well plates in a specified layout. TXT: Positive control: 80 µL ookinete medium; Negative control: 80 µL ookinete medium; Solvent control: 80 µL ookinete medium + 1% DMSO; Samples: 80 µL of 10 µM compound in ookinete medium

  - Add 4 microliters of parasitized mouse blood to each well at a 1 to 20 ratio, except the negative control wells [1]. Homogenize gently by pipetting up and down [2].

    - Talent adding 4 microliters of parasitized blood into the wells of the 96-well plate.

    - Talent gently mixing the contents in each well using a pipette.

  - For the negative control, add non-infected mouse blood to each well at a 1 to 20 ratio and homogenize gently by pipetting [1].

    - Talent adding non-infected mouse blood to the negative control wells and pipetting gently to mix.

  - Place the plates in an incubator set to 21 degrees Celsius and incubate for either 6 hours or 24 hours [1].

    - Talent placing the 96-well plates into a temperature-controlled incubator.

- Luminescence Assay and Data Analysis

  - After incubation, homogenize each sample by pipetting up and down to ensure proper blood-medium mixing [1]. Prepare the lysis buffer and luciferase substrate mixture at a 1 to 50 ratio immediately before use [2].

    - Talent pipetting each well after incubation to homogenize contents.

    - A shot of the prepared lysis buffer and luciferase substrate mixture.

  - Mix this lysis buffer-substrate mixture with each sample at a 1 to 1 ratio, ensuring gentle mixing without introducing bubbles [1]. Incubate the plate at 37 degrees Celsius for 3 to 5 minutes [2].

    - Talent pipetting equal volumes of the sample and substrate mixture in a plate and mixing gently.

    - Talent placing the mixed plate into a 37 degrees Celsius incubator.

  - Now, transfer the samples to a 96-well white flat-bottom plate [1] and measure the luminescence using a plate reader [2-TXT].

    - Talent transferring mixed samples into a white 96-well flat-bottom plate.

    - Talent placing the plate in plate reader to measure luminescence. TXT: Parameter configuration:; Emission filter: lens; Measurement interval time: 1 s per well

  - After the luminescence assay, record the raw luminescence data displayed by the plate reader [1].

    - A shot of the luminescence results displayed in the software window after the measurement completes.

  - Using a spreadsheet, calculate the mean of each measurement using the given formula. Replace XX (ex-ex) with the address of the first measurement cell and YY with the address of the second measurement cell. Repeat the formula for all samples [1].

    - SCREEN: 68466_screenshot_1.mp4. 00:04-00:27. TXT: =AVERAGE(XX:YY)

  - Convert the data into percentage inhibition using the given formula, where A is the sample relative light unit value and B is the control relative light unit value [1]. Select compounds that show more than 95 percent inhibition for the inhibitory concentration 50% determination [2].

    - TEXT on PLAIN BACKGROUND:

% Inhibition =1-(A/B)×100

A: Sample relative light unit value

B: Control relative light unit value

    - SCREEN: 68466_screenshot_2.mp4 00:04-end.

- Conversion Assay — Determining IC50

  - After infecting mice with Ookluc and collecting parasitized blood [1], prepare compound samples using ookinete medium as a diluent at the initial concentration that showed 100 percent inhibition of conversion [2].

    - A shot of the collected parasitized blood.

    - Talent preparing the compound solution using ookinete medium.

  - Pipette the samples in triplicate into a 96-well plate, following the specified layout [1,2].

    - Talent pipetting designated volumes into the wells of the 96-well plate following the layout instructions.

AND,

    - TEXT on PLAIN BACKGROUND:

Positive control (C+): 80 µL ookinete medium

Negative control (C-): 80 µL ookinete medium

Sample first dilution (Cpd D1): 160 µL compound in ookinete medium at 100% inhibitory concentration

D2 - D12 wells: 80 µL ookinete medium

Video Editor: Show the text of 4.2.2 as an inset during 4.2.1.

  - Using a pipette, perform two-fold serial dilutions by transferring 80 microliters from well D1 into D2, mixing thoroughly, then transferring 80 microliters from D2 to D3, and continuing this process through to D12 [1]. Discard the final 80 microliters removed from D12 to maintain 80 microliters per well [2].

    - Talent pipetting 80 microliters from well D1 into well D2, mixing by pipetting up and down, and again transferring 80 microliters from D2 to D3.

    - Talent discarding the final 80 microliters removed from D12.

  - Now, add parasitized mouse blood to each well at a 1 to 20 ratio and homogenize gently by pipetting [1].

    - Talent pipetting parasitized blood into each well and gently mixing.

  - In the negative control wells, add non-infected mouse blood at a 1 to 20 ratio and homogenize gently [1].

    - Talent pipetting non-infected mouse blood into negative control wells and gently mixing.

  - Place the plate in an incubator set to 21 degrees Celsius and incubate for either 6 or 24 hours before performing the luminescence assay [1].

    - Talent placing the plate into a 21 degrees Celsius incubator.

- Data Analysis — IC50 Determination

  - After calculating percentage inhibition, open the analysis software and create an XY table for plotting [1]. Set the Y-axis to Enter 3 replicate values in side-by-side subcolumns [2].

    - SCREEN: 68466_screenshot_3.mp4 00:00-00:06.

    - SCREEN: 68466_screenshot_3.mp4 00:07-end.

  - Paste the data into the table with X representing compound concentration and Y representing percentage inhibition [1].

    - SCREEN: 68466_screenshot_4.mp4 00:00-00:06.

  - Now, click on Analyze, select Nonlinear regression-curve fit, then choose Dose-response curves Inhibition followed by [inhibitor] vs. normalized response -- variable slope (Inhibitor versus normalized response variable slope), and click OK [1].

    - SCREEN: 68466_screenshot_5.mp4 00:00-end.

  - View the dose-response curve on the left panel and apply customizations such as color or point format changes [1].

    - SCREEN: 68466_screenshot_6.mp4 00:00-00:15.

  - Locate the Nonlin fit (Nonlinear fit) table to find the calculated IC50 (I-C-fifty) and 95 percent confidence interval [1].

    - SCREEN: 68466_screenshot_7.mp4 00:00-00:12.

# Results

- Results

  - Atovaquone demonstrated a clear concentration-dependent inhibition of target activity [1], with greater than 95% inhibition observed at concentrations from 0.125 to 1 micromolar [2], and complete loss of activity below 0.007 micromolar [3], suggesting a sharp threshold effect in its inhibitory response [4].

    - LAB MEDIA: Figure 5A.

    - LAB MEDIA: Figure 5A. Video Editor: Highlight the entire rows from D1 to D4.

    - LAB MEDIA: Figure 5A. Video Editor: Highlight the entire rows from D9 to D12.

    - LAB MEDIA: Figure 5A.

  - The dose-response curve fitted to the Atovaquone data yielded an IC₅₀ value of 0.013 micromolar [1], indicating high potency in inhibiting the targeted activity [2].

    - LAB MEDIA: Figure 5B. Video editor: Highlight the curve and the text “IC₅₀ 0.013 μM”.

    - LAB MEDIA: Figure 5B.

# Pronunciation Guides:

#   Ookinete
Pronunciation link: https://www.merriam-webster.com/medical/ookinete
IPA: /ˌoʊ.əˈkiː.niːt/
Phonetic spelling: oh-uh-KEE-neet

#   Parasitized
Pronunciation link: https://www.merriam-webster.com/dictionary/parasitize
IPA: /ˈpɛr.ə.səˌtaɪzd/
Phonetic spelling: PER-uh-suh-TYZD

#   Luciferase
Pronunciation link: https://www.merriam-webster.com/dictionary/luciferase
IPA: /ˌluː.səˈfɛr.eɪs/
Phonetic spelling: loo-suh-FER-ays

#   Atovaquone
Pronunciation link: https://www.merriam-webster.com/medical/atovaquone
IPA: /əˈtoʊ.vəˌkwoʊn/
Phonetic spelling: uh-TOH-vuh-kwohn

#   Micromolar
No confirmed link found
IPA: /ˌmaɪ.kroʊˈmoʊ.lɚ/
Phonetic spelling: MY-kroh-MOH-lur

#   Homogenize
Pronunciation link: https://www.merriam-webster.com/dictionary/homogenize
IPA: /həˈmɑː.dʒəˌnaɪz/
Phonetic spelling: huh-MAH-juh-nyz

#   Luminescence
Pronunciation link: https://www.merriam-webster.com/dictionary/luminescence
IPA: /ˌluː.məˈnɛs.əns/
Phonetic spelling: loo-muh-NESS-uhns

#   Solvent
Pronunciation link: https://www.merriam-webster.com/dictionary/solvent
IPA: /ˈsɑːl.vənt/
Phonetic spelling: SAHL-vənt