# Submission ID #: 68469

# Scriptwriter Name: Pallavi Sharma

# Project Page Link: https://review.jove.com/account/file-uploader?src=20883093

Title: Comet Assay to Quantify DNA Damage in FLT3 Mutant-expressing 32D Cells after Exposure to Type I and Type II FLT3 Inhibitors

# Authors and Affiliations:

Jiani Ge1,2,*, Yunfan Sun3,*, Jingsheng Hua4,*, Yuanhong Huang5, Yi Wang2, Dandan Tan1, Taoyun Wang1, Jinli Li6,#, Yanfeng Deng7,#, Song-Bai Liu1,2,#

* These authors contributed equally.

1Department of Chemistry and Life Sciences, Suzhou University of Science and Technology

2 Jiangsu Province Engineering Research Center of Molecular Target Therapy and Companion Diagnostics in Oncology, Suzhou Vocational Health College

3 Department of Hematology, The Second Affiliated Hospital of Suzhou University

4The Department of Hematology-Oncology, Taizhou Hospital of Zhejiang Province

5National Clinical Research Center for Hematologic Diseases, Jiangsu Institute of Hematology, The First Affiliated Hospital of Soochow University

6Department of Medical Ultrasound, Suzhou TCM Hospital Affiliated to Nanjing University of Chinese Medicine

7Department of Medical Ultrasound, Suzhou TCM Hospital Affiliated to Nanjing University of Chinese Medicine

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Jinli Li 								ljl2049@163.com

Yanfeng Deng,							477434238@qq.com

Song-Bai Liu							liusongbai@126.com

# Email Addresses for All Authors:

Jiani Ge							gggejian@163.com

Yunfan Sun							1341880620@qq.com

Jingsheng Hua4,*,						huajingsheng@sohu.com

Yuanhong Huang5,						hyhd1hyx@163.com

Yi Wang2,							244194597@qq.com

Dandan Tang1,							tangdandan0314@163.com

Taoyun Wang1,						wangtaoyun2008@126.com

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  06

Number of Shots:  20

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

Answers to these questions will not appear in the video but may be featured in our journal's promotional materials.

- Enter the full name of the author who will deliver the statement.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Answers will be mildly edited for clarity.

- Limit the length of each statement to 50 words or fewer.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Comet Assay Procedure

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, prepare a 10 to 1 mixture of low-melting-point agarose and cell suspension in 1.5-milliliter tubes using a pipette and mix gently [1]. Dispense 55 microliter aliquots of the agarose-cell mixture onto comet slides using a pipette held at a 45-degree angle, [2-TXT]. Then, place the slides coated with the mixture at 4 degrees Celsius for 30 minutes in a dark environment [3].

    - WIDE: Talent pipetting a 10 to 1 mixture of low-melting-point agarose and cell suspension into a 1.5 milliliter tube and mixing gently.

    - Talent carefully dispensing 55 microliters of the mixture onto the comet slide at a 45-degree angle. TXT: Maintain a 2 mm distance from the slide surface

    - Talent transferring the coated slides into a light-protected box at 4 degrees Celsius.

  - Submerge the solidified slides in precooled lysis solution [1] and incubate for at least 1 hour at 4 degrees Celsius, protecting the slides from light [2].

    - Talent placing the solidified comet assay slides into a container filled with precooled lysis solution.

    - Talent covering the container and placing it in a 4 degrees Celsius storage area protected from light.

  - After lysis, remove the slides from the lysis solution [1]. Using a pipette gun, carefully suck up as much residual liquid as possible from around the paddle [2]. Then, place the slides in alkaline electrophoresis buffer [3] and allow them to pre-equilibrate for 1 hour at 4 degrees Celsius in the dark [4].

    - Talent lifting a slide from the lysis solution.

    - Talent using a pipette gun to remove the liquid surrounding the slide paddle.

    - Talent placing the slide into a container filled with alkaline electrophoresis buffer.

    - Talent places the covered container in the refrigerator.

  - Now, place the slides into the electrophoresis chamber [1]. To fully immerse the slides, add enough precooled alkaline electrophoresis solution [2]. Run electrophoresis at 24 volts, with a constant current for 30 minutes using a buffer pre-equilibrated to reduce DNA damage [3].

    - Talent positions the comet assay slides into the electrophoresis chamber.

    - Talent pouring alkaline electrophoresis buffer into the chamber until the slides are completely submerged.

    - Talent setting the electrophoresis unit to 24 volts and 300 milliamperes and starting the run.

  - After electrophoresis, use a pipette gun to aspirate the alkaline electrophoresis buffer from around the slide [1]. Submerge the slides in double-distilled water for 5 minutes, [2-TXT], then submerge the slides in 70 percent ethanol for 5 minutes [3]. Place the slides in an incubator set at 37 degrees Celsius for 15 minutes to dry [4].

    - Talent using a pipette gun to remove the electrophoresis solution from the slide container.

    - Talent placing the slides into a container with double-distilled water. TXT: Repeat 1x

    - Talent transferring the slides into 70 percent ethanol for 5 minutes.

    - Talent placing the slides into a 37 degrees Celsius incubator to dry.

  - Next, apply a 100-microliter aliquot of YeaRed (Yea-Red) nucleic acid stain to each well of the slide [1]. Incubate the slides for 30 minutes at ambient temperature in a light-protected environment [2]. Rinse the slides gently with water to remove excess stain [3] and dry them in a 37 degrees Celsius incubator [4].

    - Talent pipetting 100 microliters of YeaRed nucleic acid stain into each well of the comet slide.

    - Talent covers the slides.

    - Talent gently rinsing the slides with water.

    - Talent placing the slide in a 37 degrees Celsius incubator to dry.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 88.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - The comet assay was systematically employed to quantify differential DNA damage profiles induced by gilteritinib and AC220 (A-C-Two-Two-Zero) in FLT3- (F-T-L-Three) mutant cell lines [1].

    - LAB MEDIA: Figure 1 and Figure 2.

  - Quantitative analysis of Tail DNA percentage confirmed that both compounds significantly increased DNA damage after 2, 4, and 6 hours [1], with AC220 producing higher damage levels than gilteritinib at each time point [2].

    - LAB MEDIA: Figure 3. Video editor: Highlight the bars for both treatments at 2, 4, and 6 hours, showing increasing Tail DNA percentages.

    - LAB MEDIA: Figure 3. Video editor: Emphasize that the black bars are consistently taller than the white bars at each time point.

  - Olive Moment Tail measurements mirrored the Tail DNA trend, with statistically significant increases for both treatments from 2 to 6 hours [1], and higher OTM values observed in the AC220 group throughout [2].

    - LAB MEDIA: Figure 4. Video editor: Highlight the bars for 2, 4, and 6 hours for both treatments, showing rising OTM values.

    - LAB MEDIA: Figure 4. Video editor: Emphasize that the black bars (AC220) are consistently higher than the white bars (gilteritinib), especially at 6 hours.