# Submission ID #: 68470

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=20883398

# Title: Upper-Extremity Approach for Secondary Access in Transfemoral Transcatheter Aortic Valve Implantation

# Authors and Affiliations:

# Geert A.A. Versteeg1, Maxim J.P. Rooijakkers1, Niels A. Stens1,2, Marleen H. van Wely1, Robert Jan van Geuns1, Leen A.F.M. van Garsse3, Guillaume S.C. Geuzebroek3, Michel W.A. Verkroost3, Dick H.J. Thijssen2,4, Robin H. Heijmen3, Lokien X. van Nunen1, Niels van Royen1

# 1Department of Cardiology, Radboud University Medical Center

# 2Department of Medical BioSciences, Radboud University Medical Center

# 3Department of Cardiothoracic Surgery, Radboud University Medical Center

# 4Research Institute for Sport and Exercise Sciences, Liverpool John Moores University

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Geert A.A. Versteeg				Geert.versteeg@radboudumc.nl

# Email Addresses for All Authors:

# Maxim J.P. Rooijakkers			max.rooijakkers@radboudumc.nl

# Niels A. Stens					niels.stens@radboudumc.nl

# Marleen H. van Wely				marleen.vanwely@radboudumc.nl

# Robert Jan van Geuns				robertjan.vangeuns@radboudumc.nl

# Leen A.F.M. van Garsse			leen.vangarsse@radboudumc.nl

# Guillaume S.C. Geuzebroek			guillaume.geuzebroek@radboudumc.nl

# Michel W.A. Verkroost			michel.verkroost@radboudumc.nl

# Dick H.J. Thijssen				dick.thijssen@radboudumc.nl

# Robin H. Heijmen				robin.heijmen@radboudumc.nl

# Lokien X. van Nunen				lokien.vannunen@radboudumc.nl

# Niels van Royen				niels.vanroyen@radboudumc.nl

# Geert A.A. Versteeg				Geert.versteeg@radboudumc.nl

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  24

Number of Shots:  43 (SC 8, Scope 3)

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

# Videographer: Please capture all testimonial shots in a wide-angle format with sufficient headspace, as the final videos will be rendered in a 1:1 aspect ratio. Testimonial statements will be presented live by the authors, sharing their spontaneous perspectives.

- Testimonial statements will not appear in the video but may be featured in the journal’s promotional materials.

- Provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author delivering the testimonial.

- Please answer the testimonial question live during the shoot, speaking naturally and in your own words in complete sentences.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

Ethics Title Card

This research has been approved by the Medical Research Ethics Committee Oost-Nederland and the review board of each participating site

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Patient and the Access Site Preparation

Demonstrator: Click here to enter name of demonstrator(s)

  - To begin, instruct the patient to lie in a supine position on the catheterization table [1]. Fully extend the patient’s left arm at a 90-degree angle relative to the thorax, maintaining the arm in the same vertical plane [2].

    - WIDE: Talent guiding the patient to lie on the catheterization table in a supine position.

    - Talent positioning the patient’s left arm at a 90-degree angle, aligned with the thorax.

  - Then, support the patient’s extended arm using an armrest [1]. Instruct the patient to overextend and supinate the arm to present the medio-ventral side of the upper arm to the operator [2].

    - Talent placing an armrest under the patient’s extended arm.

    - Talent demonstrating and the patient supinating and overextending the arm to expose the medio-ventral upper arm.

  - Disinfect the entire upper arm using either chlorhexidine or povidone-iodine to prepare the access site [1] and wrap a tourniquet around the upper arm as proximally as possible to enhance vein visibility [2].

    - Talent swabbing the patient’s upper arm with disinfectant in a circular motion.

    - Talent tying a tourniquet high on the upper arm and tightening it to make the veins more visible.

  - Place a sterile cover that exposes only the disinfected upper arm to create a sterile field [1]. Now, prepare for ultrasound-guided puncture by using a vascular probe, covering it with a sterile probe cover, and applying ultrasound gel [2].

    - Talent laying down a sterile drape and adjusting it to reveal only the disinfected area of the arm.

    - Talent fitting a sterile cover over the ultrasound probe and applying ultrasound gel to the patient’s upper arm.

- Access Site Puncture for Upper-Extremity Temporary Pacing Lead Placement

Demonstrator: Click here to enter name of demonstrator(s)

  - Use ultrasound to locate a suitable vein for puncture, typically found 5 to 10 centimeters proximal to the elbow crease [1]. Identify the basilic vein on the medio-ventral side or the cephalic vein on the lateral side as common choices [2-TXT].

    - Talent scanning the upper arm with ultrasound to locate veins.

    - Talent pointing to the ultrasound view showing vein options with labels indicating basilic, cephalic, and brachial veins. TXT:  Alternatively, locate the brachial vein if necessary

  - To evaluate the vein’s suitability, check for proximity to critical structures that could lead to complications [1]. If the vein lies close to an artery, trace the vein proximally or distally to locate a safer puncture site [2].

    - SCOPE: Ultrasound view showing a vein adjacent to an artery.

    - SCOPE: Ultrasound showing vein being followed proximally to find a safer position.

  - Choose a vein based on depth, giving preference to superficial veins and select a vein with a larger diameter for easier puncture [1]. Ensure that the vein’s location allows arm flexion without interfering with the pacing lead, avoiding sites too close to the elbow crease [2].

    - SCOPE: Ultrasound scan and pointing to a shallow vein.

    - Talent checking arm flexion with ultrasound probe at various puncture locations.

  - After selecting a suitable vein, use the ultrasound probe to compress it and confirm it is a vein by ensuring it collapses under pressure [1]. Infiltrate the subcutaneous tissue at the desired access site with 1 to 2 milliliters of 1 percent lidocaine solution [2].

    - Talent compressing the vessel, showing vein collapse.

    - Talent injecting lidocaine at the selected puncture site using a syringe.

  - Using direct ultrasound guidance, puncture the vein with a hollow needle from the 6 French sheath kit and confirm backflow [1].

    - Talent puncturing the vein under ultrasound guidance with the hollow needle and confirming backflow into the syringe.

  - Immediately insert a guidewire through the hollow needle and advance it [1]. Then, remove the tourniquet and withdraw the hollow needle over the wire [1].

    - Talent feeding the guidewire through the needle and advancing it further.

    - Talent removing the tourniquet and then withdrawing the needle while leaving the guidewire in place.

  - Next, flush the sheath and side port thoroughly to ensure no air remains in the system [1]. Introduce the 6 French sheath over the guidewire and then remove the guidewire and dilator, creating a 6 French lumen [1].

    - Talent flushing both the sheath and the side port with saline using a syringe.

    - Talent advancing the sheath over the wire, then removing the wire and dilator to establish the lumen.

  - Introduce a 5 French flow-directed pacing catheter with the balloon deflated through the sheath and advance the pacing lead further [1].

    - Talent inserting the pacing catheter into the sheath with the balloon tip deflated and beginning to advance the lead.

- Imaging Guidance Set-Up and Lead Advancement

Demonstrator: Click here to enter name of demonstrator(s)

  - Use fluoroscopy in an anterior-posterior 0-degree view to guide the pacing lead toward the right ventricle [1]. Continue advancing the pacing lead so it naturally follows the vascular path without resistance [2].

    - SCREEN: Show fluoroscopy monitor with pacing lead advancing toward the right ventricle under anterior-posterior view.

    - SCREEN: Fluoroscopy view showing the pacing lead smoothly progressing through the vasculature.

Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible (download the guidelines from the link given in the email):  https://review.jove.com/account/file-uploader?src=20883398

Please let me know if your hospital system does not allow you to install the recording software

  - Once the lead tip reaches the subclavian vein, inflate the balloon to help steer it into the right ventricle [1]. If the pacing lead veers into the contralateral subclavian vein or jugular vein, withdraw it slightly [2] and rotate the angulated tip before re-advancing [3].

    - Talent inflating the balloon on the pacing catheter while observing fluoroscopic guidance.

    - Talent withdrawing the lead.

    - Talent adjusting and rotating the tip before readvancing.

  - To pass through the tricuspid valve, rotate the pacing lead and guide the balloon tip through the valve while inflated [1].

    - SCREEN: Fluoroscopy showing the lead rotating and entering through the tricuspid valve with the balloon tip leading.

  - After the lead contacts the right ventricular apex, deflate the balloon [1].

    - SCREEN: Fluoroscopy view showing lead tip at the apex and balloon deflating.

- Connecting, Testing and Fixing the Pacing Lead

Demonstrator: Click here to enter name of demonstrator(s)

  - When the pacing lead is properly positioned in the right ventricle, connect the electrode plugs to their corresponding ports on the adapter [1].

    - Talent connecting the pacing lead’s electrode plugs to the appropriate adapter ports.

  - Perform a capture threshold test by pacing at 20 beats per minute above the intrinsic heart rate at maximum pacemaker output [1]. Gradually reduce the output amperage until malcapture is observed, indicated by irregular heartbeat or a drop in heart rate below the pacemaker setting [2]. Ensure that the pacemaker output setting does not exceed twice the measured threshold value [3].

    - SCREEN: Pacemaker interface showing setting adjusted to 20 beats per minute above intrinsic heart rate and output at maximum.

    - SCREEN: Graph or monitor trace showing irregular heart activity as the output is reduced, indicating malcapture.

    - SCREEN: show the pacemaker setting adjusted to not exceed twice the identified threshold.

  - If the threshold exceeds 3 milliamperes, reposition the pacing lead to achieve a lower threshold [1].

    - SCREEN: Fluoroscopy view showing pacing lead being slightly adjusted or repositioned within the right ventricle.

  - Now, fixate the temporary pacing lead using a large transparent film dressing that covers the access site and approximately 10 centimeters of the external portion of the pacing lead [1]. Then, roll up the lead to reduce movement-related dislocation [2].

    - Talent applying a transparent film dressing over the access site and external pacing lead.

    - Talent rolling and securing the pacing lead to minimize displacement.

  - Ensure proper fixation of the pacing lead to support extended pacing or as a backup, allowing the patient to move while keeping the lead in place [1].

    - Talent checking lead stability by gently manipulating the arm and verifying the lead remains secured.

  - If the pacing lead needs to be removed, confirm the balloon is deflated and gently retrieve the lead using slight traction [1].

    - Talent deflating the balloon and pulling the pacing lead out slowly.

  - Keep the 6 French sheath in place until the activated clotting time returns to normal levels [1]. Once normalized, manually remove the sheath [2].

    - Talent monitoring ACT levels with the sheath still in place.

    - Talent manually withdrawing the sheath after ACT is confirmed normal.

  - Finally, apply manual pressure on the access site for 2 minutes [1]. Afterward, place a sterile bordered gauze or island dressing [2] and use a compression bandage if necessary [3].

    - Talent compressing the access site with gloved fingers while monitoring time.

    - Talent placing sterile dressing.

    - Talent applying a light compression bandage.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 65.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - In the trial, 238 patients were randomized between the upper-extremity and the lower-extremity cohort [1]. Clinically relevant bleeding events were significantly lower in the upper-extremity group [2] compared to the lower-extremity group [3].

    - LAB MEDIA: Figure 5

    - LAB MEDIA: Figure 5. Video editor: Highlight the two "upper extremity" bars.

    - LAB MEDIA: Figure 5. Video editor: Highlight the two bars for "lower extremity".

  - When the upper-extremity approach was used, time to mobilization was significantly shorter in patients requiring extended temporary pacing lead placement at around 530 minutes [1] versus 1415 minutes for the lower-extremity group [2].

    - LAB MEDIA: Figure 6. Video editor: Highlight the triangle in the BLUE bar in the "Pacing lead maintained" section corresponding to “upper extremity”

    - LAB MEDIA: Figure 6. Video editor: Highlight the triangle in the RED bar in the "Pacing lead maintained" section corresponding to “lower extremity”