# Submission ID #: 68483

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20887363

# Title: Split Hybridization Probe Utilizing a DNA Fluorescent Light-up Aptamer as a Signal Reporter for Sequence-Specific Nucleic Acid Analysis

# Authors and Affiliations:

# AnnaMarie Knowles, Justine Monsalve, Yulia Gerasimova

# Chemistry Department, University of Central Florida

# Corresponding Authors:

Yulia Gerasimova		(yulia.gerasimova@ucf.edu)

# Email Addresses for All Authors:

AnnaMarie Knowles		(annamarie.knowles@ucf.edu)

Justine Monsalve		(justine.monsalve@ucf.edu)

Yulia Gerasimova		(yulia.gerasimova@ucf.edu)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage? Yes, all done

3. Filming location: Will the filming need to take place in multiple locations?  No

Current Protocol Length

Number of Steps:  15

Number of Shots:  32

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

AUTHORS: Please note that only 5 introductory statements may be presented

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Yulia Gerasimova: We are developing new types of fluorescent hybridization probes for sequence-specific nucleic acid analysis.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:2.9.1

What are the most recent developments in your field of research?

  - Justine Monsalve: Most recently, hybridization analysis tools have expanded with assays that take advantage of CRISPR-Cas systems.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Sug

What technologies are currently used to advance research in your field?

  - Justine Monsalve: Currently, such state-of-the art hybridization probes as TaqMan and Molecular Beacon probes are most used to analyze nucleic acid targets.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:3.6.3

What are the current experimental challenges?

  - Justine Monsalve: Accurate detection of single-nucleotide substitutions in nucleic acid targets is still practically challenging.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:4.3

What research gap are you addressing with your protocol?

  - Yulia Gerasimova: Our protocol ensures the required level of selectivity, while providing a label-free fluorescent signal readout.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:4.4

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

# Videographer:

- Please ensure that all testimonial shots are captured in a wide-angle format, while also maintaining sufficient headspace, given that the final videos will be rendered in a 1:1 aspect ratio.

- Also, kindly note that testimonial statements will be presented live by the authors, offering their spontaneous perspectives.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Yulia Gerasimova, Associate Professor: (authors will present their testimonial statements live).

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

# Protocol

- Construction and In Silico Validation of SLAS Strands

Demonstrator: Yulia Gerasimova

  - To begin, design the sequences of two unmodified DNA oligonucleotide strands constituting SLAS [1-TXT]. Use a fragment containing nucleotides 4, 6 to 39 of DAP-10-42 (D-A-P-Ten-Forty-Two) [2].

    - WIDE: Talent launching program for DNA strand design.  TXT: SLAS: Split Light-up Aptamer Sensor

    - SCREEN: 68483_2.1-2.2.mp4.	00:00-00:06

  - Convert stem 1 consisting of nucleotides 1 to 8 and 36 to 42 into stem 1 prime by removing a bulging thymine at position 5, shortening the stem to 4 base pairs and adding a terminal cytosine-guanine base pair [1]. Include nucleotides 9 to 29 in one SLAS strand and nucleotides 30 to 35 in the other [2].

    - SCREEN: 68483_2.1-2.2.mp4.	00:07-00:25
Video Editor: Please highlight blue stem labelled stem 1

    - SCREEN: 68483_2.1-2.2.mp4.	00:26-00:33

  - Extend the 3-prime terminal sequence of the fragment with nucleotides 9 to 29 by adding d(GGTCAT) (D-G-G-T-C-A-T) [1]. Then extend the 5-prime terminal sequence of the 30 to 35-fragment with d(ATGACC) (D-A-T-G-A-C-C) to form a 6-base pair stem 2 [2].

    - SCREEN: 68483_2.3-2.4.mp4	00:00-00:09

    - SCREEN: 68483_2.3-2.4.mp4.	00:10-00:19

  - Now extend stem 1 prime on both strands with DNA sequences complementary to the nucleic acid target through d(TT) (D-T-T) linkers [1]. This yields the sequences of strands SLAS-U (See-lus-U) and SLAS-S (See-lus-S) constituting the probe [2].

    - SCREEN: 68483_2.3-2.4.mp4.	00:20-00:26

    - SCREEN: 68483_2.3-2.4.mp4. 	00:27-00:32

  - Make SLAS-S complementary to a 7 to 10 nucleotide region that includes the single-nucleotide substitution site [1]. Then ensure that the target-binding arm of SLAS-U is complementary to a 15 to 25 nucleotide fragment adjacent to the SLAS-S region [2].

    - SCREEN: 68483_2.5_FINAL.mp4.		00:00-00:03

    - SCREEN: 68483_2.5_FINAL.mp4.		00:04-00:06

  - Assess the melting temperatures of the target-binding duplexes using the UNAFold (U-Na-Fold) web server [1]. Click on the DINAMelt (Die-Na-Melt) tab, go to Applications, and select Two State Melting Hybridization [2].

    - SCREEN: 68483_2.6-2.7.mp4.	00:01
Video Editor: Please freeze frame here

    - SCREEN: 68483_2.6-2.7.mp4.	00:02-00:06

  - Enter the interacting sequences in 5-prime to 3-prime order in the left and right boxes, [1]. Then adjust the assay temperature to 22 degrees Celsius and input the monovalent and divalent cation concentrations to 20 millimolar and 25 millimolar ions, respectively [2-TXT]. Press Submit and review the Gibbs energy change, enthalpy, entropy, and melting temperature values for the corresponding duplexes [3].

    - SCREEN: 68483_2.6-2.7.mp4. 	00:07-00:29

    - SCREEN:68483_2.6-2.7.mp4. 	00:47-00:56
TXT: Indicate concentration of interacting sequences

    - SCREEN: 68483_2.6-2.7.mp4. 	00:57-01:04

  - Confirm that the melting temperatures for perfectly matched targets and the target-binding arms of SLAS-S and SLAS-U are above the assay temperature, 22 degrees Celsius [1]. Ensure that the duplex between SLAS-S and a mismatched target yields melting temperatures below the assay temperature to maintain specificity [2-TXT]. If necessary, adjust the lengths of target-binding arms to meet these conditions [3].

    - SCREEN: 68483_2.8_FINAL.mp4.	00:00-00:09

    - SCREEN: 68483_2.8_FINAL.mp4. 	00:10-00:13
TXT: This prevents AO fluorogen from signaling the presence of the targeted nucleic acid analyte if it contains an SNS in the SLAS-binding fragment

    - Talent modifying sequence lengths in the design interface to optimize melting temperatures.

  - Obtain the finalized SLAS-U and SLAS-S oligonucleotide strands from a commercial DNA supplier or synthesize them in-house using an automated DNA synthesizer [1].

    - Shot of labelled vials containing synthesized SLAS-U and SLAS DNA oligonucleotide strands.

- SLAS Assay Setup and Fluorescence Measurement

Demonstrator: Justine Monsalve

  - Prepare stock solutions of auramine O, SLAS-S, SLAS-U and assay buffer [1].

    - Talent labeling the stock tubes of auramine O, SLAS-S, SLAS-U, and assay buffer. AND
TEXT ON PLAIN BACKGROUND:
Stock Solutions:
Auramine O: 0.1 mM in DMSO, 10x
SLAS-S: 10 µM in nuclease-free water, 10x 
SLAS-U: 10 µM in nuclease-free water, 10x
4x assay buffer: 80 mM Tris-HCl, pH 7.4, 100 mM MgCl₂, 80 mM KCl
Video Editor: Please play both shots side by side

  - Prepare the master mix containing all assay components but the target [1]. Add nuclease-free water to the final five by sixths volume of the master mix [2].

    - Talent preparing master mix. TXT: Multiple the sample volume  by the number of samples plus one, for master mix volume

    - Shot of nuclease free water being added to the master mix.

  - Then vortex and spin the master mix [1]. Dispense 50 microliters into each sample tube [2].

    - Talent placing the vortexed prepared mix in a centrifuge.

    - Talent pipetting 50 microliters of master mix into individual tubes.

  - Next, label one sample as a no-target blank and one as a positive control [1]. Add 10 microliters of target-containing sample to a tube containing the master mix to make a 60-microliter sample [2-TXT].

    - Talent labelling a no-target blank tube and a positive control tube.

    - Talent adding target sample to reaction tubes. TXT: Final volume: 60 µL with 10 - 1000 nM target

  - For the blank, add 10 microliters of nuclease-free water [1]. Then pipette 10 microliters of synthetic DNA oligonucleotide containing the target sequence into the positive control tube [2]. Pipette 10 microliters of the 0.6 to 3-micromolar control to achieve a final concentration of 0.1 to 0.5 micromolar [3].

    - Shot of 10 µL nuclease-free water being pipetted into the blank.

    - Talent adding 10 µL synthetic DNA oligonucleotide containing the target sequence into the positive control tube

    - Talent adding 10 microliters of the 0.6 to 3-micromolar control to the positive control tube.

  - Mix all samples and centrifuge briefly using a microcentrifuge [1]. Then incubate the tubes at 22 degrees Celsius for 10 to 60 minutes [2]. Measure fluorescence at 540 nanometers upon excitation at 475 nanometers using a fluorescence spectrophotometer [3].

    - Talent spinning down tubes in a microcentrifuge.

    - Talent placing the tubes in a 22-degree incubator.

    - Talent placing the tubes into a cuvette and running the fluorescence read on the spectrophotometer.

# Results

- Results

  - SLAS was tailored to target a specific fragment of the NANOGP8 (Nano-G-P-Eight) gene [1]. Target M was fully complementary to the SLAS-S strand [2], while target MM (M-M) had a cytosine at nucleotide position 1423, introducing a mismatch with SLAS-S [3].

    - LAB MEDIA: Table 1. Video editor: Highlight the row labeled "DAP-10-42"

    - LAB MEDIA: Table 1. Video editor: Highlight the row for “M”

    - LAB MEDIA: Table 1. Video editor: Highlight the row for “MM” sequence

  - Upon addition of the fully complementary target M, fluorescence increased steadily and plateaued after 45 to 50 minutes [1]. However, a clear signal was detectable within 10 minutes with a signal-to-blank ratio of 10 [2].

    - LAB MEDIA: Figure 3. Video editor: Highlight the sharp rise in fluorescence curve following the arrow marked “target M added”.

    - LAB MEDIA: Figure 3. Video editor: Please highlight the curve between 0 to 10

  - SLAS showed high fluorescence signal for fully matched targets, but not for mismatched targets or blanks [1].

    - LAB MEDIA: Figure 4A. Video editor: Highlight the “M” bars across all three color groups

  - Fluorescence output increased linearly with target concentration up to 500 nanomolar, enabling quantification and determination of detection limits [1].

    - LAB MEDIA: Figure 5. Video editor: Highlight the increasing line till 500 nM

  - PCR-amplified samples showed varying levels of signal, with only sample 2 exceeding the fluorescence threshold value of 2 [1]. Based on the calibration curve, the concentration of sample 2 was estimated at 124 plus or minus 13 nanomolar [2].

    - LAB MEDIA: Figure 6A. Video editor: Highlight the green “Sample 2” trace

    - LAB MEDIA: Figure 6B. Video editor: Emphasize the tall bar labeled “2”

  - Fluorescence detection of SLAS signal was consistent across both a benchtop spectrophotometer and a portable fluorometer [1]. A signal-to-blank ratio above 20 was also visually observed using UV light [2].

    - LAB MEDIA: Figure 7A and 7B. Video editor: Highlight green and blue bars labeled “M” on both plots

    - LAB MEDIA: Figure 7C. Video editor: Zoom in on the glowing PCR tube labeled “M”