# Submission ID #: 68498

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20891938

# Title: A Multimodal Imaging Framework to Advance Phenotyping of Living Label-Free Breast Cancer Cells

# Authors and Affiliations:

# Leonardo Bianchi1,2,3, Arianna Bresci2, Koseki J. Kobayashi-Kirschvink2,4, Gabriela Paroni5, Paola Saccomandi3, Peter T. C. So1,2,6, Jeon Woong Kang2*

# 1Department of Mechanical Engineering, Massachusetts Institute of Technology

# 2Laser Biomedical Research Center, G. R. Harrison Spectroscopy Laboratory, Massachusetts Institute of Technology

# 3Department of Mechanical Engineering, Politecnico di Milano, Milan, Italy

# 4Klarman Cell Observatory, Broad Institute of MIT and Harvard

# 5Department of Molecular Biochemistry and Pharmacology, Istituto di Ricerche Farmacologiche Mario Negri IRCCS

# 6Department of Biological Engineering, Massachusetts Institute of Technology

# Corresponding Authors:

Leonardo Bianchi			(lbianchi@mit.edu)

# Email Addresses for All Authors:

Leonardo Bianchi			(lbianchi@mit.edu)

Arianna Bresci				(abresci@mit.edu)

Koseki J. Kobayashi-Kirschvink	(kjkk@mit.edu)

Gabriela Paroni			(gabriela.paroni@marionegri.it)

Paola Saccomandi			(paola.saccomandi@polimi.it)

Peter T. C. So				(ptso@mit.edu)

Jeon Woong Kang			(jwkang76@mit.edu)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20891938

3. Filming location: Will the filming need to take place in multiple locations?   No

Current Protocol Length

Number of Steps:  29

Number of Shots:  59

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

AUTHORS: Please note that the statements are limited to 30 words. They have been edited for brevity

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Leonardo Bianchi: We present multimodal imaging using confocal Raman micro spectroscopy and tomographic phase microscopy for rapid and unbiased morpho chemical phenotyping of live breast cancer cells in their native environment.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

What advantage does your protocol offer compared to other techniques?

  - Leonardo Bianchi: Combining Raman spectroscopy and tomographic phase microscopy enables label-free, physiological-condition imaging, offering detailed biochemical and morphological cell data while avoiding perturbations from fluorescence labeling or chemical fixation.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:6.4

How will your findings advance research in your field?

  - Leonardo Bianchi: Our multimodal approach enables detailed morpho-chemical profiling of cancer cells. Its versatility, reproducibility, and non-invasiveness support broad biomedical applications, from basic cell biology to diagnostic research.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:6.3

What research questions will your laboratory focus on in the future?

    - Jeon Woong Kang: We aim to create an atlas of optical biomarkers for non-invasive embryonic quality control, detecting cellular senescence, and drug screening in organoid models to advance regenerative medicine and disease research.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

- Raman Imaging of MDA-MB-231 Cells

Demonstrator: Leonardo Bianchi

  - To begin, place the MDA-MB-231 (M-D-A-M-B-Two-Three-One) human breast cancer cells sample into the onstage incubator [1-TXT].

    - WIDE: Talent placing the biological sample into the onstage incubator. TXT: Incubation: 37 °C, Humidity > 95%, 5% CO2

    - Talent pipetting water for the water immersion objective.

  - Switch on the automated water-immersion feeder to supply water to the objective lens [1]. Regularly check the water levels to avoid evaporation and ensure consistent imaging conditions throughout the measurements [2].

    - Talent pressing the power button on the water-immersion feeder.

    - Talent checking and refilling the water reservoir.

  - Now, turn on the pump laser and adjust its output to attain a laser power of 75 milliwatts at the sample plane [1]. Open the Micro-manager (Micro-manager) microscope control software [2].
Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20891938

    - Talent turning on the pump laser and adjusting power output dial.

    - SCREEN: The Micro-manager software is being launched on a desktop.

  - In the Configuration settings, select BF (B-F) and click Live on the left side of the software window [1]. Choose the desired single cell, then click Stop to end the bright-field visualization [2].

    - SCREEN: Cursor navigating to Configuration, selecting BF, then clicking Live.

    - SCREEN: A cell is being selected in the live view then stop Stop is being clicked.

  - Open the CCD camera control software [1]. In the Experiment Setting, set the Exposure Time to 1.5 seconds [2]. Click Run on the Experiment toolbar [3] and turn on the laser beam [4].

    - SCREEN: Launching CCD camera control software.

    - SCREEN: Setting exposure time to 1.5 seconds under Experiment Setting.

    - SCREEN: Clicking Run.

    - Talent manually turning the laser on.

    - SCREEN: Visualization of the intensity signal changing when the laser is turned on. TXT: Laser ON

  - Next, adjust the Z position to maximize the signal counts in the fingerprint region from 600 to 1800 inverse centimeters [1]. Then turn off the laser [2], click Stop on the Experiment toolbar, and exit the software [3].

    - Talent manually adjusting Z-axis to optimize signal peaks.

2.6.1b Close up on the microscope controller used to adjust the Z-axis.

2.6.1c SCREEN: Visualization of the intensity signal changing when Z position is adjusted to maximize the signal counts in the fingerprint region.

    - Talent manually turning the laser off.

    - SCREEN: Visualization of the intensity signal changing when the laser is turned off. Click Stop, and closing software. TXT: Laser OFF

  - Start the data acquisition process using the MATLAB script, which automatically manages Raman channels in multi-dimensional measurements and saves the hyperspectral Raman data [1].

    - SCREEN: Opening the MATLAB script.

  - Set the field of view to 50 by 50-micrometer square, with a resolution of 40 by 40 pixels, each pixel covering 1.25 by 1.25-micrometer square [1]. Set the exposure time for each Raman spectrum to 1.5 seconds and run the MATLAB script [2].

    - SCREEN: Configuring the field of view and resolution in the acquisition software.

    - SCREEN: Inputting exposure time for Raman acquisition and run the MATLAB script.

- Raman Spectroscopy Data Analysis

  - For the post-processing of Raman hyperspectral maps, launch the RamApp (Rahm-App)  web based tool [1]. Import the hyperspectral data by clicking on New in the My Analyses tab, and upload the .mat (dot-mat) file containing the spatial and spectral data variables along with the x-axis variable [2].

    - SCREEN: The RamApp is being launched.

    - SCREEN: Navigating to the My Analyses tab, Clicking New, uploading the .mat file, and confirming the data load.

  - To truncate the spectrum, in the Crop and rotate menu, choose Spectral crop [1].  Define the inferior and superior borders of the Raman shift region as 600 and 1800 inverse centimeters respectively [2].

    - SCREEN: Selecting Spectral crop from the Crop and rotate menu.

    - SCREEN: Inputting 600 and 1800 as spectral range borders.

  - To correct for cosmic rays, go to Denoising, click Despike, select Z-score as Method, and set Threshold to 8 [1]. Check the options Use first difference and Correct spikes [2]. Then click Run to apply the correction [3].

    - SCREEN: Opening Denoising, selecting Despike, and setting parameters.

    - SCREEN: Checking Use first difference and Correct spikes.

    - SCREEN: Clicking Run to apply spike correction.

  - To remove noise from the maps corresponding to each wavenumber, click Smooth Map  within the Denoising options, choose the Median filter, set the size of the square to 3 pixels, then click Run [1].

    - SCREEN: Selecting Smooth Map, choosing Median filter, setting side to 3 pixels, and clicking Run.

  - To smooth the spectrum of each pixel, click on Smooth spectrum under Denoising, choose the Savitzky-Golay (sævɪtski ˈɡoʊleɪ) filter [1].  Set filter window length to 7 and polynomial order to 2, then click Run [2].

    - SCREEN: Denoising menu is being opened, Smooth spectrum is being clicked and The Savitzky-Golay filter is being chosen.

    - SCREEN: The filter window is being set to 7 and polynomial order to 2, then Run is being clicked.

  - To subtract the average background signal, open Optical substrate removal and click Identify substrate [1]. Set k-means as the Method with 2 clusters, then click on advanced options [2]. Choose Morphological cleaning to remove small blobs from the foreground then click Run [3].

    - SCREEN: Opening Optical substrate removal panel, then clicking on Identify substrate.

    - SCREEN: k-means is being set as the Method; clusters are being set to 2 then advanced options is being selected.

    - SCREEN: Morphological cleaning is being chosen and Run is being pressed.

  - To remove the average background signal, click on Remove substrate from the Optical substrate removal panel, then choose Global average (mean of the central 95% of values)  (mean-of-the-central-95-percent-of-values) method and click Run [1].

    - SCREEN: Selecting Remove substrate, applying Global average, and clicking Run.

  - To correct for baseline fluorescence, open the Baseline panel, click on Correct baseline, select Adaptive Smoothness PLS (P-L-S) then set lambda to 5,000,000, and click Run [1]. For the normalization of each Raman hyperspectral map, go to Miscellaneous, select Normalize, choose Frobenius method, and click Run [2].

    - SCREEN: Baseline panel is being opened, Correct Baseline is being clicked, the asPLS is being selected, Lambda is being set to 5,000,000 and Run is being clicked.

    - SCREEN: Normalizing using Frobenius method under Miscellaneous panel.

  - To generate a false-color image showing subcellular distribution, on Images panel, click the Open menu symbol under Intensity Image, then click Edit image [1]. On the editing panel, select Single band and define the spectral range [2]. Now choose Double color on the Color map then define the color, intensity threshold, and opacity, before clicking Confirm [3].

    - SCREEN: The open menu is being clicked Under Intensity image then Edit image option is being chosen.

    - SCREEN: Single band is being clicked on the editing panel and the spectral range is being defined.

    - SCREEN: Double color is being chosen on the color map, the color intensity threshold and opacity and being defined then Confirm is being pressed.

  - For the download of a single-point spectrum, choose a pixel of interest, then on the Spectral legend panel under Cursor, click Download spectrum. Repeat as needed for other regions [1].

    - SCREEN: Selecting pixel, downloading spectrum via Spectral legend panel.

  - Finally, to export foreground and substrate spectra, navigate to Spectral legend under Substrate identification then click Download spectrum for both Foreground and  Substrate sections [1].

    - SCREEN: Spectral legend is being navigated to then download spectrum is being selected.

- Tomographic Phase Microscopy (TPM) Measurement Protocol

  - Place a drop of distilled water onto the objective lens of the microscope [1]. Position the sample on the microscope's translation stage [2]. Then adjust the sample position to align it with the objective lens [3].

    - Talent pipetting distilled water onto the microscope objective.

    - Talent placing the sample onto the translation stage.

    - Talent fine-tuning the position to align the sample with the objective.

  - Turn on the microscope and launch the imaging software [1]. Click the microscope icon on the toolbar [2]. After initialization, click Configuration, select LiveCell in the Job panel, and PBS as the Medium [3].

    - SCREEN:  The imaging software is being launched.

    - SCREEN: Clicking the microscope icon in the toolbar.

    - SCREEN: Waiting for initialization, navigating to Configuration, selecting LiveCell, and setting PBS as medium.

  - Next, access the Calibration tab in the control panel of the imaging software [1]. Set the axial positions of the objective and condenser lenses by selecting Focus and Surface, respectively [2].

    - SCREEN: Opening Calibration tab.

    - SCREEN: Selecting Focus and Surface to set axial positions of the objective and condenser lenses.

  - Now click Scanning mode to manually adjust the lenses and ensure the illumination patterns are centered and nearly static . Click Normal mode [1], then adjust the translation stage to bring the cell into the field of view and focus on the sample [2].

    - SCREEN: Switching to Scanning mode and fine-tuning lens positions. Then, returning to Normal mode,

    - SCREEN: Translating the stage, and focusing on the sample.

  - Adjust the translation stage to locate a region without cells [1]. Choose Calibrate to capture multiple 2D holograms at varying illumination angles [2].

    - Talent moving the stage to an acellular region.

4.5.1b Close-up on the stage controller.

    - SCREEN: Visualization of the frame moving to a region without cells. Clicking Calibrate and displaying multi-angle hologram capture.

  - Adjust the translation stage to center the cell within the field of view . Then navigate to the Acquisition tab and select 3D Snapshot to capture the tomogram of the cell [1].

4.6.2  SCREEN: Repositioning stage to center the cell and selecting 3D Snapshot under Acquisition tab.

- Tomographic Phase Microscopy Data Analysis

5.1 To visualize the holographic tomograms, select the data on the Data Navigation panel, right-click and click Open [1]. On the Data Manager panel, click on RI (R-I) Tomogram [2].

    - SCREEN: Opening data via Data Navigation panel.

    - SCREEN: Clicking on RI Tomogram in the Data Manager.

  - In the Volume Visualization panel, select RI and draw four rectangular color boxes within the RI canvas [1]. Set the minimum and maximum values of the RI range for each color box then associate an opacity and color with each box [2]. Click Save to store the defined RI Ranges and color boxes [3].

    - SCREEN: RI is being selected from the volume visualization panel then color boxes are being drawn within the canvas.

    - SCREEN: Assigning RI range, opacity, and color for each box.

    - SCREEN: Saving RI settings in the visualization panel.

    - SUGGESTED EDIT: WIDE: Talent moving the cursor to observe the volume visualization of the cell.

  - To attain quantitative descriptors of cell morphology, utilize the Analysis interface [1]. Click Analysis in the tool bar. On the Analysis panel, select Manual under the Segmentation panel then set 1.3450 as the RI Threshold, and click Apply [2]. Click Save to save the calculated morphological indexes [3].

    - SCREEN: Navigating to Analysis interface.

    - SCREEN: Configuring segmentation parameters and applying threshold.

    - SCREEN: Saving computed morphological results.

# Results

- Results

  - Raman spectral mapping revealed the spatial distribution of cytoplasm [1], nucleus [2], phenylalanine [3], and lipids within individual MDA-MB-231 cells [4].

    - LAB MEDIA: Figure 2A. Video editor: Highlight the green-labeled image under “CYTOPLASM” showing bright green color in the cytoplasmic region.

    - LAB MEDIA: Figure 2A. Video editor: Highlight the blue-labeled image under “NUCLEUS” showing bright blue signal localized in the nuclear region.

    - LAB MEDIA: Figure 2A. Video editor: Highlight the red-labeled image under “PHENYLALANINE” showing red fluorescence in specific intracellular zones.

    - LAB MEDIA: Figure 2A. Video editor: Highlight the brown-labeled image under “LIPIDS” showing golden-brown intensity in the lipid-rich areas.

  - Distinct Raman spectral peaks corresponding to cytoplasm [1], nucleus [2], phenylalanine [3], and lipids were confirmed in the fingerprint region between 600 and 1800 inverse centimeters [4].

    - LAB MEDIA: Figure 2B. Video editor: Highlight the green vertical band at 715–725 on the x-axis representing cytoplasm peak.

    - LAB MEDIA:  Figure 2B. Video editor: Highlight the blue vertical band at 780–790 on the x-axis representing nuclear peak.

    - LAB MEDIA: Figure 2B. Video editor: Highlight the narrow brown vertical band at 1004 on the x-axis indicating phenylalanine signal.

    - LAB MEDIA: Figure 2B. Video editor: Highlight the orange vertical band at 1440–1450 on the x-axis indicating lipid peak.

  - Refractive index heat maps of single cells revealed the internal distribution of subcellular components in the axial XY plane [1], sagittal YZ plane [2], and coronal XZ planes [3].

    - LAB MEDIA: Figure 4. Video editor: Show the leftmost XY PLANE heatmap.

    - LAB MEDIA: Figure 4. Video editor: Highlight the YZ PLANE middle panel

    - LAB MEDIA: Figure 4. Video editor: Highlight the XZ PLANE rightmost panel

  - A 3D tomographic reconstruction identified regions of volumetric refractive index corresponding to internal substructures [1]. Quantitative morphological measurements of a single MDA-MB-231 cell showed different descriptors of cell morphology, with a total volume of 4024.189 cubic micrometers and surface area of 2383.707 square micrometers [2], with a mean refractive index of 1.356 [3].

    - LAB MEDIA: Figure 5A.

    - LAB MEDIA: Figure 5B. Video editor: Highlight the values for “VOLUME” and “SURFACE AREA” on the right panel.

    - LAB MEDIA: Figure 5B. Video editor: Highlight the “MEAN RI” value in the list on the right.