# Submission ID #: 68510

# Scriptwriter Name: Pallavi Sharma

# Project Page Link: https://review.jove.com/account/file-uploader?src=20895598

Title: A Structured Approach to Extubation in Mechanically Ventilated Rats

# Authors and Affiliations:

Xiang Qi1, Zhize Gao2, Jingyi Li2, Fenqin Xue3, Yongxing Sun1,4, Baoguo Wang1,4, Zhonghua Shi2,4*

1Department of Neurosurgery, Department of Anesthesiology, Sanbo Brain Hospital, Capital Medical University

2Department of Neurosurgery, Department of Intensive Care Medicine, Sanbo Brain Hospital, Capital Medical University

3Laboratory of in vivo electrophysiology, Core Facility Center of Capital Medical University

4Laboratory for Clinical Medicine, Capital Medical University

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Zhonghua Shi: 		(z.shi@mail.ccmu.cn)

# Email Addresses for All Authors:

(DocxiangQ@163.com)

(gaozhize2023@163.com)

(lijingyiz@163.com)

(xuefenqin@ccmu.edu.cn)

(sunyx@ccmu.edu.cn)

(wangbg@ccmu.edu.cn)

(z.shi@mail.ccmu.cn)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  10

Number of Shots:  23

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

# Videographer: Please capture all testimonial shots in a wide-angle format with sufficient headspace, as the final videos will be rendered in a 1:1 aspect ratio. Testimonial statements will be presented live by the authors, sharing their spontaneous perspectives.

- Testimonial statements will not appear in the video but may be featured in the journal’s promotional materials.

- Provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author delivering the testimonial.

- Please answer the testimonial question live during the shoot, speaking naturally and in your own words in complete sentences.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

Ethics Title Card

This research has been approved by the Animal Experiments and Experimental Animal Welfare Committee of Capital Medical University

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Video Laryngoscopy-Assisted Oral Intubation

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, prepare the intubation device and position the anesthetized rat for intubation [1-TXT].

    - WIDE: Talent at the working bench with the intubation device and rat positioned appropriately for the procedure. TXT: Anaesthesia: Propofol (2 mg/100 g)

  - Using forceps, gently pull the rat’s tongue toward the right oral corner [1]. Insert the intubation device at the base of the tongue and advance it toward the epiglottis [2]. Then, lift the device tip to expose the glottis [3] and insert the endotracheal tube into the trachea during inhalation [4]. Once the tube is in place, connect the rat to the ventilator [5].

    - Talent pulling the tongue to the side with forceps.

    - Talent inserting the intubation device and guiding it toward the epiglottis.

    - Close-up of the device tip lifting to reveal the glottis.

    - Talent inserting the endotracheal tube during the rat’s inhalation.

    - Talent connecting the endotracheal tube to a mechanical ventilator.

  - Then, connect the oxygen concentrator to the ventilator [1] and adjust the oxygen concentration [2].

    - Talent attaching the tubing from the oxygen concentrator to the ventilator inlet.

    - Talent adjusting the oxygen concentration.

  - Now, set the ventilator parameters based on the rat’s weight and experimental requirements [1]. Infuse propofol continuously using a syringe pump to maintain anaesthesia [2].

    - Show settings being entered on the ventilator, including respiratory rate and tidal volume.

    - Talent connecting the syringe pump to deliver propofol intravenously.

  - Monitor the rat’s blood gas levels throughout the procedure to ensure respiratory stability [1].

    - Display a blood gas monitoring system showing partial pressure of oxygen and carbon dioxide levels.

- APEC Extubation Procedure

Demonstrator: Click here to enter name of demonstrator(s)

  - For weaning, reduce the propofol infusion rate by 50 percent using the syringe pump settings [1]. To assess the rat’s readiness for weaning, check if the respiratory rate is between 60 and 70 breaths per minute [2], confirm chest displacement of at least 1 millimeter [3], and verify arterial blood gas values and pH [4-TXT]. If all parameters are met, disconnect the ventilator [5].

    - Talent reducing the infusion rate of propofol by 50 percent using the syringe pump controls.

    - Talent observing and counting respiratory rate.

    - Close-up of a steel needle placed on the xiphoid process to measure chest displacement.

    - Display of blood gas analysis results showing PaCO₂ and pH values. TXT: PaCO₂: 35-45 mmHg; pH: 7.35-7.45

    - Talent disconnecting the rat from the ventilator.

  - To prepare the rat for extubation, use a custom-made face mask to ensure adequate oxygenation [1]. Then, observe the rat’s skin color to assess oxygenation [2].

    - Talent placing a custom face mask on the rat.

    - Close-up of the rat's skin color to assess oxygenation status.

  - Using a self-made suction device, perform suctioning at a rate of approximately 2 milliliters per second for 3 to 4 seconds per session to clear airway secretions [1-TXT].

    - Talent performing airway suctioning with controlled speed and duration. TXT: Maintain sedation during extubation

  - Next, using a two-handed technique, stabilize the rat’s head with the left index finger and thumb, then gently remove the endotracheal tube with the right index finger and thumb [1]. Discontinue the propofol infusion once the tube is removed [2].

    - Talent stabilizing the rat’s head and carefully removing the endotracheal tube using both hands.

    - Talent turning off the syringe pump delivering propofol.

  - Monitor the rat’s vital signs post-extubation [1] and continue providing oxygenation as needed using the custom face mask [2-TXT].

    - Talent checking the respiratory rate and heart rate.

    - Talent positioning the oxygen mask over the rat’s face for continued oxygen delivery. TXT: Prepare for re-intubation if respiratory distress occurs

.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 66.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - In the structured protocol applied to 20 rats, all extubations were successful, with full recovery achieved in approximately 48.5 minutes post-extubation [1].

    - LAB MEDIA: Table 2. Video editor: Highlight the row under “Caring post-extubation” that reads “Return of the righting reflex after extubation, min: 48.5 ± 10.4.”

  - During the “Approaching Weaning” step, average oxygen partial pressure was 87.6  millimeters of mercury [1], carbon dioxide partial pressure was 43.2 millimeters of mercury [2], and pH was 7.421 [3].

    - LAB MEDIA: Table 2. Video editor: Highlight the “PaO₂, mmHg” value in the “Approaching Weaning” section.

    - LAB MEDIA: Table 2. Video editor: Highlight the “PaCO₂, mmHg” value in the “Approaching Weaning” section.

    - LAB MEDIA: Table 2. Video editor: Highlight the “pH” value in the “Approaching Weaning” section.

  - No complications were reported during either the extubation phase [1] or the post-extubation care period [2].

    - LAB MEDIA: Table 2. Video editor: Highlight the entry “None” next to “Extubation related complications” under “Executing Extubation.”

    - LAB MEDIA: Table 2. Video editor: Highlight the entry “None” next to “Post-extubation complications” under “Caring post-extubation.”