# Submission ID #: 68515

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20897123

# Title: A Multimodal Wide-Field Fourier-Transform Raman Microscope

# Authors and Affiliations:

# M. Riva1, B. Ardini1, A. Di Benedetto1, G. Valentini1,2, G. Cerullo1,2 , C. Manzoni2*

# 1Dipartimento di Fisica, Politecnico di Milano

# 2Istituto di Fotonica e Nanotecnologie, IFN-CNR

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

C. Manzoni 		(cristianangelo.manzoni@cnr.it)

# Email Addresses for All Authors:

M. Riva 		(martina.riva@polimi.it)

B. Ardini		(benedetto.ardini@polimi.it)

A. Di Benedetto 	(alessia.dibenedetto@polimi.it)

G. Valentini		(gianluca.valentini@polimi.it)

G. Cerullo		(giulio.cerullo@polimi.it)

C. Manzoni 		(cristianangelo.manzoni@cnr.it)

AUTHORS: Please provide first names for all authors.

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  17

Number of Shots:  27

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

# Videographer:

- Please ensure that all testimonial shots are captured in a wide-angle format, while also maintaining sufficient headspace, given that the final videos will be rendered in a 1:1 aspect ratio.

- Also, kindly note that testimonial statements will be presented live by the authors, offering their spontaneous perspectives.

- Note: Testimonial statements will not appear in the video but may be featured in our promotional materials.

- Provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author delivering the testimonial. This will appear in our journal’s promotional materials.

- During the shoot, the author should speak naturally in their own words, using complete sentences and a conversational tone—no script will be provided.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Preparation and Hyperspectral Raman Imaging of Pigmented Samples Using Multimode Fiber Excitation

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, use a scraper to deposit 20 milligrams of each pigment powder on a precision balance, obtaining a one-to-one-to-one weight proportion [1]. Mix the powders with a mortar to remove clumps [2].

    - WIDE: Talent placing pigment powders on the precision balance.

    - Talent grinding powders to break up clumps.

  - Pour the resulting mixture onto a microscope slide [1].Then use the scraper tip to gently press it to obtain an almost uniform thickness of the layer [2].

    - Talent pouring mixture onto the slide.

    - Talent using scraper tip to press mixture into uniform layer.

  - Apply nail polish on the edges of a microscope coverslip [1]. Place it on the mixture with the nail polish facing down and apply enough pressure to seal it [2-TXT].

    - Talent applying nail polish to coverslip edges.

    - Talent placing coverslip with nail-polish-side down and pressing to seal. TXT: Let it dry to harden the polish

  - Next, choose the excitation wavelength and focus the excitation laser at the input of the large-core multimode fiber [1]. Switch on the camera [2].
Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20897123

    - SCREEN: Talent selecting excitation wavelength and focusing laser into fiber.

    - SCREEN: Talent switching the camera on.

  - Attach a middle section of the fiber to the vibrating membrane of a voice coil which will remove speckle [1]. Mechanically scramble the fiber by tightly bending it to merge all its spatial modes [2].

    - Talent attaching fiber section to voice-coil membrane.

    - Talent tightly bending fiber to scramble modes.

  - Use a narrow bandpass filter at 532 nanometers with 2.0 nanometer bandwidth to clean the laser line and reject any pump sidebands arising from nonlinear broadening due to propagation in the fiber [1]. Use a dichroic mirror to reflect the laser light toward the sample and transmit the redshifted back-scattered radiation collected by the objective [2].

    - SCREEN: The narrow bandpass filter at 532 nm is being selected.

    - SCREEN: The dichroic mirror is being activated to direct excitation and collect back-scattered signal.

  - Use a long-pass filter at 532 nanometers to reject residual illumination light [1].

    - SCREEN: The long-pass filter is being set to 532 nm.

  - During Raman scattering measurement, use a short-pass filter at six-hundred nanometers to suppress background fluorescence [1].

    - SCREEN: The short pass filter is being set 600 nm.

  - Measure the power on the sample plane with a power meter [1]. Attenuate the pump beam to obtain an intensity at the sample which does not lead to damage [2].

    - Talent measuring sample-plane power with power meter.

    - Talent attenuating pump beam to safe intensity.

  - Now put the sample on the microscope stage and adjust the focus [1].

    - Talent placing slide on stage and focusing the microscope.

  - Switch on the driver of the motor that performs the wedge translation [1-TXT]. Then set the camera acquisition parameters, exposure time, and hardware binning to optimize the signal intensity [2].

    - Talent powering on the motor driver.  TXT: Control the hardware components simultaneously

    - SCREEN: The acquisition parameters, exposure time, and hardware binning are being adjusted.

  - Now choose scan parameters, total scan length, and sampling step [1]. Open the shutter to shine the laser on the sample [2-TXT].

    - SCREEN: The scan parameters including scan length and sampling step are being adjusted.

    - Talent opening shutter to expose sample. TXT: Wait until the sample has reached a stationary condition

  - Start the acquisition of a monochrome image for each wedge position representing the temporal delay between replicas from each point of the two-dimensional sensor [1]. Once the measurement is finished, switch off the laser before data analysis [2].

    - SCREEN: Image acquisition is being initiated for each wedge position.

    - Talent switching off the laser.

  - Next,  generate the spectral hypercube from the acquired dataset by loading the motor positions correction file specific to the stepper motor [1] and the frequency calibration file corresponding to the interferometer [2].

    - SCREEN: Load the motor correction file.

    - SCREEN: Load the: Load the frequency calibration files.

  - Choose the frequency range for the spectra to be computed by Fourier transforming the interferograms of all pixels [1].

    - SCREEN: The frequency range for the spectra is being chosen.

  - Among the available apodization functions for windowing the measured interferogram, select the function offering a good trade-off between spectral broadening and artifact reductio, such as the Happ-Genzel window [1]. Then generate the spectral hypercube and save it in complex values [2].

    - SCREEN: The Happ-Genzel Hamming apodization function is being selected.

    - SCREEN: The hypercube is being generated and the data  is being saved as complex values.

  - Analyze the spectral hypercube by obtaining the average spectrum in selected areas and generating a false-colour RGB image [1].

    - SCREEN: The average spectrum  is being computed and a false-colour RGB image is being generated.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 86.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Three pigments were clearly distinguished within the field of view based on their Raman spectral signatures [1], with characteristic peaks for rutile at 454 and 616 per centimeter [2], anatase at 396, 514, and 641 per centimeter [3], and cadmium yellow at 301 and 605 per centimeter [4].

    - LAB MEDIA: Figure 4A. Video editor: Highlight the color-coded regions labeled 1, 2, and 3.

    - LAB MEDIA: Figure 4B. Video editor: Highlight the two peaks at 454 and 616 in the top cyan-colored graph labeled “Rutile (1)”.

    - LAB MEDIA: Figure 4B. Video editor: Highlight the three peaks at 396, 514, and 641 in the middle yellow-colored graph labeled “Anatase (2)”.

    - LAB MEDIA: Figure 4B. Video editor: Highlight the two peaks at 301 and 605 in the bottom magenta-colored graph labeled “Cadmium Yellow (3)”.

  - In the photoluminescence map, cadmium yellow was the only pigment visibly distributed across the field of view [1], with strong emission dominating the entire image [2], while rutile and anatase contributed only faint and localized signals [3].

    - LAB MEDIA: Figure 5A.

    - LAB MEDIA: Figure 5B. Video editor: Highlight the dominant magenta-colored spectrum rising across the full wavelength range labeled “Cd Yellow (3)”.

    - LAB MEDIA: Figure 5B. Video editor: Highlight the much smaller cyan and yellow peaks labeled “Rutile (1)” and “Anatase (2)” in the lower portion of the graph.