# Submission ID #: 68516

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20897428

# Title: Microarray Integrated Spatial Transcriptomics (MIST) as a Scalable, Cost-Effective Solution for High-Throughput Spatial Profiling

# Authors and Affiliations:

# Juwayria1, Kaustar Yadav2, Shubham Mittal1, Sunil Kumar3, Deepali Jain2, Prabhat Singh Malik4, Ishaan Gupta1

# 1Department of Biochemical Engineering and Biotechnology, Indian Institute of Technology, New Delhi

# 2Department of Pathology, All India Institute of Medical Sciences, New Delhi

# 3Department of Surgical Oncology, All India Institute of Medical Sciences, New Delhi

# 4Department of Medical Oncology, All India Institute of Medical Sciences, New Delhi

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Ishaan Gupta			(ishaan@dbeb.iitd.ac.in)

# Email Addresses for All Authors:

Juwayria			(bez208514@iitd.ac.in)

Kaustar Yadav			(Kaustaryadav@gmail.com)

Shubham Mittal		(shubhammittal0503@gmail.com)

Sunil Kumar			(dr_sunilk@hotmail.com)

Deepali Jain			(deepalijain76@gmail.com)

Prabhat Singh Malik		(drprabhatsm@gmail.com)

Ishaan Gupta			(ishaan@dbeb.iitd.ac.in)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  12

Number of Shots:  29

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

# Videographer:

- Please ensure that all testimonial shots are captured in a wide-angle format, while also maintaining sufficient headspace, given that the final videos will be rendered in a 1:1 aspect ratio.

- Also, kindly note that testimonial statements will be presented live by the authors, offering their spontaneous perspectives.

- Note: Testimonial statements will not appear in the video but may be featured in our promotional materials.

- Provide the full name and position (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) of the author delivering the testimonial. This will appear in our journal’s promotional materials.

- During the shoot, the author should speak naturally in their own words, using complete sentences and a conversational tone—no script will be provided.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name, Enter author title: (authors will present their testimonial statements live)

Ethics Title Card
This research has been approved by the Institute Ethics Committee at the All India Institute of Medical Sciences

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) with purple font are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Title

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, select a 1-centimeter thick polymethyl methacrylate sheet for laser cutting [1-TXT].

    - WIDE: Talent selecting a 1 centimeter thick acrylic PMMA sheet from a stack. TXT: Do not use temperature sensitive polycarbonate sheets; If available, use 1.5 – 2 cm thick acrylic sheets

    - Talent examining thicker 1.5 to 2 centimeter acrylic sheets on the bench.

  - Launch the RDWorks (R-D-Works) software and upload the provided .DXF (Dot-D-X-F) file to begin creating the microarray design [1]. If the .DXF file is not available, manually input the coordinates of each 2 millimeter core into RDWorks [2].
Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20897428

    - SCREEN: Launch RDWorks software and upload .DXF file.

    - SCREEN: Manual input of 2 millimeter core coordinates is being done.

  - Set the laser cutter to operate at 100-watt laser power, corresponding to 50 percent of the 200-watt carbon dioxide laser's capacity [1]. Adjust the cutting speed to 40 millimeters per second for precise and efficient material removal [2]. Use a laser with a spot diameter of 0.1 millimeter to minimize edge distortion and achieve high precision [3].

    - SCREEN: Show the laser power being set to 100 watts in the control panel.

    - SCREEN: Set the cutting speed to 40 millimeters per second.

    - Shot of the laser lens specification showing the 0.1 millimeter spot diameter.

  - Secure the acrylic sheet onto the laser cutting platform [1]. Then set the origin coordinates to zero-zero for accurate alignment [2]. Start the laser cutting process using the configured parameters to fabricate the stencil [3].

    - Talent placing the PMMA sheet on the laser cutter.

    - Talent setting origin to (0,0) using the control panel.

    - Talent initiating laser cutting and monitoring the stencil fabrication.

  - Next, design the FFPE (F-F-P-E) block holder in SolidWorks (Solid-Works) and export the computer-aided design file as an STL (S-T-L) file using the software’s built-in export feature [1-TXT].

    - SCREEN: Show the already designed FFPE block holder in SolidWorks and export as an STL file. TXT: Use provided design file for direct use

  - Use a fused deposition modeling 3D printer such as Creality for the printing process [1]. Load the STL file into the slicing software and generate the G-code required for printing [2]. Ensure the infill setting is at 100 percent to produce a solid and durable structure [3].

    - Talent powering on the FDM 3D printer.

    - SCREEN: Show the STL file being loaded into slicing software and G-code being generated.

    - SCREEN: Show the infill parameter being adjusted to 100 percent in the software settings.

  - Select acrylonitrile butadiene styrene filament as the material for 3D printing the FFPE block holder [1]. Then start the 3D printing process using the configured parameters and monitor the print for proper adhesion and layer deposition [2]. Once printing is complete, allow the FFPE block holder to cool before carefully removing it from the print bed [3].

    - Talent loading ABS filament into the printer and checking the spool label.

    - Shot of 3D printing in progress.

    - Talent removing the cooled FFPE block holder gently from the print bed.

  - To make the tissue microarray block, first prepare a blank paraffin block with dimensions larger than the spatial slide’s capture area [1-TXT]. Place the customized stencil on top of the paraffin block and align it accurately for core placement [2]. The, use a 2-millimeter drill bit to create cylindrical cavities through the paraffin either manually or with an automated pen drill [3].

    - Talent measuring and positioning a blank paraffin block on the workbench. TXT: For capture area of 6.5 x 6.5 mm, prepare block of 1.5 - 2 cm

    - Talent aligning the laser-cut stencil onto the paraffin block.

    - Talent drilling cylindrical holes through the stencil into the block using a hand drill and then an automated 2 millimeter pen drill.

  - Next, use a 2-millimeter coring tool to extract cylindrical tissue cores from the marked regions of interest on the FFPE blocks [1]. Insert the extracted tissue cores into the corresponding cylindrical cavities in the microarray block, making sure they fit snugly [2].

    - Talent identifying and extracting tissue cores from annotated regions using a 2-millimeter coring tool.

    - Talent positioning the core over the microarray block and inserting it into a cavity.

  - Hold the punch perpendicular to the block surface, apply downward pressure to pierce the paraffin [1], then gently retract the tool with the core embedded [2]. After retraction, manually release the tissue core into the cavity [3].

    - Shot of the punch being held vertically then pressed down.

    - Talent retracting  the punch with the embedded tissue.

    - Shot of  the core being released into the cavity.

  - Incubate the completed microarray block on a hot plate set to 37 degrees Celsius for 1 hour to enhance adhesion between the paraffin and tissue cores [1]. After incubation, cool the block at 4 degrees Celsius for 15 to 20 minutes to solidify the paraffin [2].

    - Talent placing the microarray block onto a digital hot plate with a display showing 37 degrees Celsius.

    - Talent transferring the incubated block to a refrigerated unit at 4 degrees Celsius.

  - Trim the surface of the block using a microtome for a smooth and even finish 13]. Then, place the trimmed block at 4 degrees Celsius for 5 minutes [2] to stabilize it before moving to long-term storage at the same temperature [3].

    - Talent trimming the surface of the block with a microtome.

    - Shot of the block being placed at 4 °C.

    - Talent placing the trimmed block in cold storage labeled for long-term use at 4 degrees Celsius.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 159.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Calcified tissue cores often fractured during extraction, compromising structural integrity and leading to unusable sections [1]. When initial core insertions were uneven, reinsertion of new cores was sometimes required to maintain sampling consistency across the tissue microarray [2].

    - LAB MEDIA: Figure 2. Video editor: Highlight the top left circle

  - Tissue cores that were not uniformly cylindrical produced partial or missing sections during microtomy, resulting in incomplete sampling [1]. Air bubbles trapped during formalin-fixed paraffin-embedded processing caused hollow regions within the block, leading to failed core extractions [2].

    - LAB MEDIA: Figure 2. Video editor: Highlight the bottom right circle

    - LAB MEDIA: Figure 2. Video editor: Highlight the bottom left circle

    - LAB MEDIA: Figure 2. Video editor: Highlight the top right circle

  - Visium Spatial Transcriptomics enabled analysis at near single-cell resolution, with each 50 micrometer spot capturing between 1 and 10 cells [1].

    - LAB MEDIA: Figure 3. Video editor: Highlight the image labelled “Traditional ST”

  - Despite the reduced number of spots in MIST (mist), SpaCET (Spa-Set) deconvolution achieved accurate cell type annotations [1].

    - LAB MEDIA: Figure 3. Video editor: Highlight the image labelled “ inhouse developed Microarray integrated ST” and “Automated gene-based annotation of ST data”.

  - Manual pathologist annotation marked tumor regions in green on hematoxylin and eosin -stained sections, establishing a reference for comparison [1]. Automated gene-based spatial transcriptomics annotations of tumor cells showed high concordance with manual annotations, validating the analytical approach [2].

    - LAB MEDIA: Figure 3. Video editor: Show the image labelled “Manual annotation of tumor regions by Pathologist”

    - LAB MEDIA: Figure 3. Video editor: Highlight the image labelled“Automated gene-based annotation of ST data”.