# Submission ID #: 68527

# Scriptwriter Name: Kathyayani Sridharan

# Project Page Link: https://review.jove.com/account/file-uploader?src=20900783

# Title: Non-Invasive and Cost-Effective Fecal Occult Blood Detection for Colon Cancer Prognosis in Murine Models

# Authors and Affiliations:

Jennifer Ana Iden, Tamar Liron, Yankel Gabet

# Faculty of Medical and Health Sciences, Tel Aviv University

# Corresponding Authors:

# Jennifer Ana Iden 		jenniferiden@mail.tau.ac.il; jenniden@gmail.com

# Email Addresses for All Authors:

Tamar Liron			tamarco6@mail.tau.ac.il

Yankel Gabet			yankel@tauex.tau.ac.il

Jennifer Ana Iden 		jenniferiden@mail.tau.ac.il; jenniden@gmail.com

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar? No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes, but the software is not the focus. I think simply recording the screen as the user uses the computer is sufficient. The software is specific to this spectrophotometer and, in my opinion, should not be included. (Authors: Software workflows are best captured via screen recording; however, as per your suggestion, we have asked the videographer to film the monitor as a backup. Please notify the production team after filming regarding your preference.)

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

Authors: Please create screen capture videos for shots labelled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20900783

Videographer: Please record the computer screen for the shots labeled as SCREEN as back-up

3. Filming location: Will the filming need to take place in multiple locations? Yes, on the 6th floor and basement (floor 0) of the same building.

4. Testimonials (optional): Would you be open to filming two short testimonial statements live during your JoVE shoot? These will not appear in your JoVE video but may be used in JoVE’s promotional materials. No response

Current Protocol Length

Number of Steps: 11

Number of Shots: 25

# Interviews

Videographer: Obtain headshots for all authors available at the filming location.

Authors: Please note that the questions will not appear on screen. Please answer in stand-alone full sentence with sufficient context

Note: The statements have been slightly edited.

Authors: Please provide the names of the authors who participated in the interviews during filming, along with their respective statements.

INTRODUCTION:

REQUIRED: Summarize your research focus and the main questions it aims to answer.

  - Enter author name.: Our research focuses on the development of a minimally invasive technique for detecting fecal occult blood and monitoring colon cancer progression, or other gastrointestinal diseases.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Describe the research contexts or systems in which this protocol can be applied.

  - Enter author name: This technique can be applied to various murine models of colon cancer or other gastrointestinal diseases that present fecal occult blood.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

CONCLUSION:

What does this protocol allow researchers to study or measure?

  - Enter author name: This protocol allows researchers to measure fecal occult blood in mice with colon cancer or other intestinal diseases.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Describe the most important consideration or challenge when performing this protocol.

  - Enter author name: Because the luminol reaction is rapid, it's important to use a multichannel pipettor for entire rows or columns and read the spectrophotometer immediately.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Obtain headshots for all authors available at the filming location.

# Ethics Title Card

This research has been approved by the Institutional Animal Care and Use Committee (IACUC) at Tel Aviv University

# Protocol

Videographer: Please always record an audio slate while filming each shot mentioned in the shotlist.

- Mouse Fecal Collection and Luminol Assay Preparation

Demonstrator: Click here to enter name of demonstrator(s)

Authors: Please provide the names and affiliations of the authors who demonstrated the protocol during filming.

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, record the weights of each 2-milliliter tube prior to collecting the feces [1]. In a biosafety hood, collect feces in the pre-weighed tubes by placing the tubes near the mouse rectum [2-TXT], allowing the fecal matter to fall into the tubes [3].

    - WIDE: Talent weighing an empty 2-milliliter tube.

    - Talent positioning the pre-weighed tube toward the rectum.  TXT: Mice: Colon cancer-bearing models and naïve WT (Authors: Since the section pertaining to mice models of colon cancer progression is removed, we have added this on-screen text to provide context for the viewers. Please suggest which model of mice will be used during the demonstration– AOM/DSS, Apc, or WT? We will modify the on-screen text accordingly)

    - Talent collecting the fallen fecal matter in the tube.

  - Weigh each tube containing the feces [1]. Subtract the weight of the empty tube from the weight of the tube containing the feces to determine the fecal weight [2].

    - Talent weighing a 2-milliliter tube containing the feces.

    - Talent calculating the fecal weight by subtracting the empty-tube weight.

  - Add 2 milliliters of 0.03 molar sodium hydroxide to the feces [1] and vortex thoroughly for 5 minutes [2]. Centrifuge the tube at 500 g for 5 minutes at room temperature [3].

    - Talent adding 2 milliliters of 0.03 molar sodium hydroxide to the feces.

    - Talent placing the tube on the vortex mixer.

    - Talent placing the tube in the centrifuge.

  - Without disturbing the fecal matter at the bottom of the tube, transfer and dilute the supernatant in a new 1-milliliter tube to obtain a final concentration of 1 milligram of feces per milliliter [1].

    - Talent transferring and diluting the supernatant in a new 1-milliliter tube without disturbing the fecal matter.

Authors: Please create screen capture videos for shots labelled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20900783

Videographer: Please record the computer screen for the shots labeled as SCREEN as back-up

- Generation of Standard Curve for Hemoglobin

Demonstrator: Click here to enter name of demonstrator(s)

  - After measuring the hemoglobin concentration of the collected blood with a hemoglobinometer, dilute it in a luminol working solution containing 0.01 molar luminol and 0.03 molar sodium hydroxide to obtain a final hemoglobin concentration of 10,000 nanograms per milliliter [1]. Add 100 microliters of this solution, equivalent to 1,000 nanograms of hemoglobin, to the first well of a black, flat-bottom 96-well plate [2]. Add 50 microliters of the plain luminol working solution to each remaining well [3].

    - Talent diluting the blood in the luminol working solution.

    - Talent adding 100 microliters of the hemoglobin solution to the first well.

    - Talent adding 50 microliters of the luminol working solution to the remaining wells.

  - Perform half-serial dilutions of simple hemoglobin to prepare seven concentrations and a zero concentration [1-TXT]. Leave the eighth well without the hemoglobin solution and retain only 50 microliters of the luminol working solution to create a negative hemoglobin control [2].

    - Talent performing the 1-to-2 serial dilution across the wells. TXT: Hb concentration: 500, 250, 125, 62.5, 31.25, 15.625, 7.81, and 0 ng

    - Talent leaving the eighth well with only 50 microliters of the luminol working solution.

  - Add 5 micrograms of feces from a naïve wild-type mouse to every well and mix thoroughly [1]. Include a blank well containing only 50 microliters of the luminol working solution and no feces to detect contamination in the luminol or hydrogen peroxide solutions [2].

    - Talent adding feces to the standard-curve wells and mixing the contents.

    - Talent preparing a blank well containing only the luminol working solution.

  - Immediately before reading the plate, use a multichannel pipettor to add 50 microliters of 0.03 percent hydrogen peroxide to every well, including the blank, and mix by pipetting up and down 2 to 3 times [1]. Read the plate within 1 minute after adding the hydrogen peroxide [2]. Determine the chemiluminescence signal as a ratio to the blank to eliminate the background signal [3]. Calculate the standard-curve equation by linear regression using nanograms of hemoglobin per microgram of feces on the x-axis and the chemiluminescence output from the luminometer on the y-axis [4].

    - Talent adding hydrogen peroxide to the wells with a multichannel pipettor and mixing by pipetting up and down.

    - Talent placing the 96-well plate in the microplate reader.

    - SCREEN: Show the calculations of the chemiluminescence signal relative to the blank.

    - SCREEN: Show calculation of the standard-curve equation by linear regression.

- Experimental Sample Analysis

Demonstrator: Click here to enter name of demonstrator(s)

  - In a 96-well plate, combine 5 micrograms of feces from the 1-milligram-per-milliliter fecal solution in 0.03 molar sodium hydroxide with 50 microliters of the luminol working solution [1]. Prepare the samples in duplicate or triplicate and include a blank containing 50 microliters of the luminol working solution in each read [2].

    - Talent combining the fecal sample with the luminol working solution in a 96-well plate.

    - Talent preparing replicate sample wells and a blank well.

  - Immediately before reading the plate, use a multichannel pipettor to add 50 microliters of 0.03 percent hydrogen peroxide to each well and mix by pipetting up and down 2 to 3 times while avoiding bubble formation and ensuring to read the plate within 1 minute [1].

    - Talent adding hydrogen peroxide to each well and mixing without forming bubbles.

  - Read the plate at 425 nanometers using a luminometer or a spectrophotometer with a luminescence setting [1]. Calculate the hemoglobin concentration in nanograms per microgram of feces for each experimental sample using the standard-curve linear equation [2].

    - Talent placing the plate in the luminometer or spectrophotometer. (Authors: Please specify if we need to use the term luminometer or spectrophotometer here?)

    - SCREEN: Show the calculation of the hemoglobin concentration of each experimental sample.

# Results

- Results

  - Wildtype and cannabinoid receptor 2 knockout mice, treated with azoxymethane, or AOM (A-O-M), and dextran sodium sulfate, or DSS (D-S-S), showed that the cannabinoid receptor 2 knockout mice had significantly higher fecal occult blood measurements [1] than wildtype mice [2].

    - LAB MEDIA: Figure 2. Video editor: Please emphasize the line corresponding to X-axis label CB2 -/-.

    - LAB MEDIA: Figure 2. Video editor: Please emphasize the line corresponding to X-axis label WT.

  - In mice treated with AOM and DSS, fecal occult blood measurements significantly correlated with the disease activity index determined during colonoscopy based on parameters such as colonic wall transparency, fecal consistency, blood vessel organization, granulation, and fibrin deposition [1].

    - LAB MEDIA: Figure 3. Video editor: Show the upward trend formed by the data points and the fitted line across the graph.

  - Osteogenic peptide-treated ApcMin/+ mice showed significantly lower fecal occult blood measurements [1] than vehicle-treated mice [2].

    - LAB MEDIA: Figure 4. Video editor: Please highlight the line corresponding to X-axis label OGP.

    - LAB MEDIA: Figure 4. Video editor: Please highlight the line corresponding to X-axis label VEH.

  - Fecal occult blood measurements showed a significant linear correlation with adenoma burden in ApcMin/+ mice [1].

    - LAB MEDIA: Figure 5. Video editor: Show the upward trend formed by the data points and the fitted line across the graph.

  - Fecal occult blood measurements obtained with the luminol-based protocol correlated with guaiac-based fecal occult blood test scores [1].

    - LAB MEDIA: Figure 6. Video editor: Show the upward trend formed by the data points and the fitted line across the graph.