# Submission ID #: 68529

# Scriptwriter Name: Debopriya Sadhukhan

# Project Page Link: https://review.jove.com/account/file-uploader?src=20901393

# Title: Label-free, High-Resolution, and 3D Imaging and Analysis of Intestinal Organoids Using Low-Coherence Holotomography with Machine Learning

# Authors and Affiliations:

Jimin Cho1, Mahn Jae Lee2, Juyeon Park3,4, Jaehyeok Lee5, Sumin Lee5, Chaeuk Chung2, Bon-Kyoung Koo6, YongKeun Park3–5

1Graduate School of Stem Cell and Regenerative Biology, Korea Advanced Institute of Science and Technology (KAIST)

2Division of Pulmonary and Allergy Medicine, Department of Internal Medicine, Chungnam National University Hospital

3Department of Physics, KAIST

4KAIST Institute for Health Science and Technology, KAIST

5Tomocube Inc.

# 6Center for Genome Engineering, Institute for Basic Science

# Corresponding Authors:

Bong-Kyoung Koo		(koobk@ibs.re.kr)

# YongKeun Park		(yk.park@kaist.ac.kr)

# Email Addresses for All Authors:

Jimin Cho			(a01077271401@kaist.ac.kr)

Mahn Jae Lee			(mjlee18aug@gmail.com)

Juyeon Park			(jooyunpark95@kaist.ac.kr)

Jaehyeok Lee			(jhlee@tomocube.com)

Sumin Lee			(slee@tomocube.com)

# Chaeuk Chung			(cuchung@cnu.ac.kr)

Bong-Kyoung Koo		(koobk@ibs.re.kr)

# YongKeun Park		(yk.park@kaist.ac.kr)

Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

√ Correct

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar? NO

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  YES

We will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

Please upload all screen captured video files to your project page as soon as possible.

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here:

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

Current Protocol Length

Number of Steps:  35

Number of Shots:  55

Introduction

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Jimin Cho: We aim to establish a real-time, label-free imaging method for monitoring biophysical changes in live organoids during development and in response to drugs.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 4.6.1.

How will your findings advance research in your field?

  - Jimin Cho: This protocol facilitates streamlined, scalable imaging and non-invasive drug testing in live organoids, supported by AI-driven segmentation and quantitative feature extraction for biomedical research.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 3.12.1, 3.13.1.

What research questions will your laboratory focus on in the future?

  - Jimin Cho: We plan to further integrate label-free 3D imaging and AI analysis for high-resolution, non-invasive organoid studies in disease modeling and precision medicine.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

Protocol

- Passaging Small Intestinal Organoids

Demonstrator: Jimin Cho

  - To begin, aspirate the spent medium from each well of a 48-well plate containing the extracellular matrix [1]. Add 200 microliters of cell recovery solution to each well [2] and incubate at 4 degrees Celsius for 30 minutes [3].

    - WIDE: Talent aspirating the medium from each well using a pipette.

    - Talent dispensing cell recovery solution into each well.

    - Talent placing the plate on ice.

  - Using a pipette, gently collect the organoid suspension and transfer it into a microcentrifuge tube [1]. Centrifuge the tube at 150 g for 3 minutes [2], then carefully remove the supernatant [3].

    - Talent collecting organoids by gentle pipetting and transferring them into a microcentrifuge tube.

    - Talent placing the tube in the centrifuge.

    - Talent removing the supernatant.

  - To dissociate the pellet mechanically, resuspend it in 200 microliters of culture medium and pipette the suspension up and down 20 to 30 times using a P200 (P-two-hundred)  [1] pipette before centrifuging it for 3 minutes [2].

    - Talent adding culture medium to the pellet in the microcentrifuge tube, resuspending the pellet, and mixing the suspension by pipetting up and down.

    - Talent placing the tube in the centrifuge.

  - After centrifugation and removal of the supernatant, add medium and fresh extracellular matrix or ECM (E-C-M) in a 1 to 4 ratio to the pellet and gently pipette to mix thoroughly [1]. Dispense 15 microliters of the mixture per dome into each well of a 48-well plate [2].

    - Talent adding ECM and medium to the pellet and pipetting to mix thoroughly.

    - Talent dispensing the mixture per dome into the wells of a 48-well plate.

  - Place the plate upside down in a 37 degrees Celsius, 5 percent carbon dioxide incubator for 1 hour to allow polymerization of the ECM [1].

    - Talent inverting the plate and placing it inside the incubator.

  - After polymerization, add 200 microliters of fresh culture medium to each well [1] and fill the empty outer wells with PBS [2-TXT].

    - Talent pipetting culture medium into the wells.

    - Talent filling the empty outer wells with PBS. TXT: Replace the culture medium every 2 – 3 d and passage the organoids weekly

- Low-Coherence Holotomography Imaging

Demonstrators: Jimin Cho and Jaehyeok Lee

  - To prepare the sample for imaging, dispense 15 microliters of organoid-ECM dome onto a number 1.5 coverslip-bottom imaging dish and incubate it at room temperature for 1 minute [1].

    - WIDE: Talent dispensing organoid-ECM mixture onto a coverslip-bottom dish.

  - Place the plate upside down in a 37 degrees Celsius, 5 percent carbon dioxide incubator for 1 hour [1]. Then, gently add enough culture medium to fully submerge the organoids [2].

    - Talent inverting the dish and placing it in the incubator.

    - Talent pipetting culture medium over the ECM domes to submerge them.

  - At 5 days post-passage, wash the sample 2 to 3 times with PBS immediately before imaging [1].

    - Talent washing the sample with PBS.

  - Next, for imaging, turn on the environmental controller. The chamber controller unit will automatically set the temperature to 37 degrees Celsius and carbon dioxide to 5 percent [1].

    - Talent pressing the power button on the environmental controller and the chamber controller unit automatically sets the temperature and carbon dioxide percentage.

  - Press the door button to open the door [1]. Add water to form a thin layer inside the chamber well [2].

    - Talent pressing the door button to open the door.

    - Talent pipetting water to create a thin layer inside the chamber well.

  - Place the imaging dish in the vessel holder, insert it into the imaging chamber [1], and secure it using a pin to prevent movement [2-TXT].

    - Talent placing the dish in the holder and inserting it into the imaging chamber.

    - Talent securing the dish to the holder with a pin. TXT: Ensure the dish is firmly attached to the vessel holder without tilting

  - Close the door to prevent external light interference [1].

    - Talent gently closing the door using door button.

  - Now, launch the TomoStudio X (Tomo-Studio-ex) software and log in [1]. Click Start to open the main window, and then click Add Project in the top-left corner and assign the experiment. Confirm that the correct medium type is selected for appropriate refractive index usage [2].

    - SCREEN: To be provided by authors: The TomoStudio X being launched and the talent logging in.

    - SCREEN: To be provided by authors: The main window loading after clicking Start. Clicking Add Project, typing the experiment name, and checking the medium type.

Authors: Filming a computer screen sometimes produces low-quality images. So, please record the screen for the SCREEN shots directly from your computer and upload them along with a summary to your project page: https://review.jove.com/account/file-uploader?src=20901393

  - Click on the desired well in the panel and then click Create at the top to register the well as a specimen [1].

    - SCREEN: To be provided by authors: Clicking on a well in the panel and clicking Create to register it.

  - Then, click ROI Setup (R-O-I Setup) in the top-right corner to define the region of interest in the dish [1]. Once set, click Run Experiment in the bottom-right corner to open the image acquisition window [2].

    - SCREEN: To be provided by authors: Defining ROI in the Preview panel.

    - SCREEN: To be provided by authors: Clicking Run Experiment and the image acquisition window opens.

  - Click Load Vessel in the top-right corner to display a brightfield image [1]. Adjust the Z-position using the +Z (plus Z) and -Z (minus Z) buttons to bring the image into focus [2].

    - SCREEN: To be provided by authors: Brightfield image appearing after clicking Load Vessel.

    - SCREEN: To be provided by authors: Adjusting focus using Z-position buttons.

  - In the Single Imaging tab, adjust the ROI size. Capture organoids in a 160-micrometer by 160-micrometer field of view and acquire stacks up to 140 micrometers deep [1-TXT].

    - SCREEN: To be provided by authors: ROI size adjusted in the Single Imaging tab. Field of view and Z-depth being configured. TXT: For larger organoids, check the Tile Imaging box to stitch multiple tomograms

  - Navigate to the Time Lapse Imaging tab to set up long-term imaging and set the desired duration and interval time [1].

    - SCREEN: To be provided by authors: Selecting Time Lapse Imaging tab. Inputting duration and interval settings.

  - Click the Scan icon to capture the current ROI location [1] and center the ECM dome using brightfield imaging [2]. Click the BF button to adjust the intensity and exposure values for brightfield imaging [3].

    - SCREEN: To be provided by authors: Clicking Scan to lock the current ROI.

    - SCREEN: To be provided by authors: Centering the ECM dome using brightfield imaging.

    - SCREEN: To be provided by authors: Adjusting brightfield settings via the BF panel.

  - Move the ROI box in the Preview panel to select the ROI. Once the desired ROI is selected [1], click Add Point at the bottom. The imaging point list will be created [2].

    - SCREEN: To be provided by authors: User moving the ROI box and selecting the ROI.

    - SCREEN: To be provided by authors: Clicking Add Point to register. Imaging point list being displayed.

  - Now, click Acquire to begin imaging and to acquire the raw image data [1].

    - SCREEN: To be provided by authors: Clicking Acquire and raw image capture in progress.

  - Launch HTX processing server by clicking the desktop icon [1]. Drag and drop raw image files to the HTX processing server. Click Process to generate a TCF file from the raw image file [2].

    - SCREEN: To be provided by authors: Clicking HTX processing server icon on the desktop.

    - SCREEN: To be provided by authors: Drag and drop raw image file to server and clicking Process to generate the TCF file.

  - Launch TomoAnalysis Viewer by clicking the desktop icon [1]. Load the processed TCF (T-C-F) files by dragging and dropping them into the Viewer window [2].

    - SCREEN: To be provided by authors: Clicking the TomoAnalysis Viewer icon on the desktop.

    - SCREEN: To be provided by authors: Drag and drop TCF files from Windows Explorer into the Viewer interface.

  - Double-click a file thumbnail to open the RI (R-eye) tomogram [1]. Examine the 2D view by navigating through the XY-Z planes using zoom, pan, and scroll controls [2].

    - SCREEN: To be provided by authors: Double-click a file thumbnail to open the RI tomogram.

    - SCREEN: To be provided by authors: Examining the 2D view by navigating through the XY-Z planes using zoom, pan, and scroll controls.

  - Click the MIP Rendering View icon on the left to switch to 3D rendering mode. Navigate the 3D view by rotating, zooming, and panning the image [1].

    - SCREEN: To be provided by authors: Clicking the MIP Rendering View icon. Interact with the 3D rendering using rotation, zoom, and pan controls.

- Image Analysis

Demonstrator: Jimin Cho

  - For the machine learning-based image segmentation, export the TCF (T-C-F) image file to HDF5 (H-D-F-five) format to ensure the data is in a multi-dimensional format compatible with ilastik [1].

    - SCREEN: To be provided by authors: Exporting the TCF image file to HDF5 format.

  - Open ilastik and navigate to New Project [1]. Select Pixel Classification under the Segmentation Workflows section and save the project in a designated folder [2].

    - SCREEN: To be provided by authors: Launching ilastik and navigating to New Project to create a new project.

    - SCREEN: To be provided by authors: Selecting Pixel Classification under the Segmentation Workflows section and saving the project file.

  - To load the HDF5 file, navigate to the Input Data tab, click Add New File, select the appropriate H5 dataset, and verify the correct image channel assignments [1].

    - SCREEN: To be provided by authors: Loading the HDF5 file and showing the image channel assignments.

  - Now, navigate to the Feature Selection tab to choose features like Color, Intensity, Edge, and Texture to optimize segmentation [1].

    - SCREEN: To be provided by authors: Navigating to the Feature Selection tab and choosing features.

  - In the Training tab, label the organoid and non-organoid regions using different color brush strokes [1-TXT].

    - SCREEN: To be provided by authors: Applying different color brush strokes on organoid and non-organoid regions. TXT: Carefully annotate regions around boundaries

  - Click Live Update to preview segmentation results and make adjustments if necessary [1].

    - SCREEN: To be provided by authors: Live Update being clicked for a dynamic preview of the segmentation and adjustments being made.

  - Once done, go to the Prediction Export tab, select Simple Segmentation as the source to export labeled predictions, and click Export All. Set the export format to .h5 (H-five) or .tiff (T-I-F-F) based on the analysis requirements [1].

    - SCREEN: To be provided by authors: In the Prediction Export tab, choosing Simple Segmentation and clicking Export All. Saving export as .h5 or .tiff format.

  - For the quantitative analysis, open the supplementary coding file 2. Designate the appropriate folder paths for the mask file and the corresponding TCF file within the script [1]. Run the code to initiate quantitative analysis [2].

    - SCREEN: To be provided by authors: Opening the supplementary coding file 2. Specifying the appropriate folder paths for the mask file and TCF file.

    - SCREEN: To be provided by authors: Executing the code.

  - The code will calculate the organoid volume, protein density, and total protein content for each dataset [1].

    - SCREEN: To be provided by authors: Results file showing organoid volume, protein density, and total protein content.

Results

- Results

  - This figure illustrates the high-resolution three-dimensional refractive index reconstructions used to visualize the overall morphology of small intestinal organoids [1]. The rendered reconstructions revealed distinct structural differences between [2] vehicle-treated [3] and cisplatin-treated organoids [4] across all three optical section depths [5].

    - LAB MEDIA: Figure 3A, 3B.

    - LAB MEDIA: Figure 3A, 3B.

    - LAB MEDIA: Figure 3A, 3B. Video Editor: Highlight A.

    - LAB MEDIA: Figure 3A, 3B. Video Editor: Highlight B.

    - LAB MEDIA: Figure 3A, 3B. Video Editor: Highlight the six small images in the bottom row.

  - Cisplatin-treated organoids showed significantly higher volume [1], lower protein density [2], and higher total protein contents [3] compared to vehicle-treated organoids at 10 minutes post-treatment [4], indicating early structural swelling and altered protein composition [5].

    - LAB MEDIA: Figure 3C, 3D, 3E. Video Editor: Highlight the blue bar in C when the VO says “Higher volume”.

    - LAB MEDIA: Figure 3C, 3D, 3E. Video Editor: Highlight the blue bar in D.

    - LAB MEDIA: Figure 3C, 3D, 3E. Video Editor: Highlight the blue bar in E.

    - LAB MEDIA: Figure 3C, 3D, 3E. Video Editor: Highlight the pink bars in all three graphs.

    - LAB MEDIA: Figure 3C, 3D, 3E.

  - Time-lapse imaging over 24 hours showed that vehicle-treated organoids maintained structural integrity [1], while cisplatin-treated organoids experienced progressive structural degradation [2], including crypt collapse and increased cell dissociation, suggesting time-dependent cytotoxic damage [3].

    - LAB MEDIA: Figure 4A.

    - LAB MEDIA: Figure 4B.

    - LAB MEDIA: Figure 4B. Video Editor: Emphasize the two images in the bottom row (24 h).

  - Quantitative tracking confirmed that [1] vehicle-treated organoids increased in volume and protein contents over time [2], while cisplatin-treated organoids showed a time-dependent decline in both parameters [3], indicating that cisplatin suppressed growth and induced cellular degradation [4].

    - LAB MEDIA: Figure 4C, 4E.

    - LAB MEDIA: Figure 4C, 4E. Video Editor: Highlight the pink plots.

    - LAB MEDIA: Figure 4C, 4E. Video Editor: Highlight the blue plots.

    - LAB MEDIA: Figure 4C, 4E.

  - Protein density remained stable in vehicle-treated organoids [1], but progressively decreased in cisplatin-treated organoids over the 24-hour period [2], suggesting a breakdown in cellular structure and increased extracellular space due to exfoliation [3].

    - LAB MEDIA: Figure 4D. Video Editor: Highlight the pink plot.

    - LAB MEDIA: Figure 4D. Video Editor: Highlight the blue plot.

    - LAB MEDIA: Figure 4D.