- 65834_screenshot_1.mp4

  - 2.5.1 Show the software interface as the New Patient File is created. 00:00-00:17

- 65834_screenshot_2.mp4

  - 2.6.3 Show the New Examination command being selected in the software interface. 00:00-00:06

- 65834_screenshot_3.mp4

    - 2.7.1 Press Examination Data tab and choose Heidelberg Retina Tomograph-Cornea from the dropdown. 00:00-00:03

    - 2.7.2 Show Field Lens dropdown list with FOV 400 selected and OK clicked. 00:04-00:09

    - 2.7.3 Display of acquisition window with both live and control images visible. 00:10/00:16-00:18

- 65834_screenshot_4.mp4

  - 2.8.1 Select 1x from CCD Zoom Factor dropdown. 00:00-00:03

  - 2.8.2 Check Automatic Brightness and Auto boxes. 00:04-00:10

  - 2.8.3 Display Section as the selected scan type. 00:11-00:15

- 65834_screenshot_5.mp4

  - 2.9.1 The focal plane is being adjusted to show a bright reflection which after turning dark, in the live image panel. 00:00-00:09

  - 2.9.2 Click Reset in Focus Position [μm] and show the value return to zero. 00:10-00:13

    - 2.9.3 Check the Automatic Brightness box, turn off Auto Reset checkbox. 00:14-00:17

- 65834_screenshot_6.mp4

    - 2.13.1 The eyelash root from temporal to nasal side is being seen. 00:00-00:12

    - 2.13.2 The focus plane is being adjusted to observe entire follicles and roots. 00:13-00:19

- 2.13.3 Live feed showing depth variation in eyelash follicles. 00:13-00:19

- 65834_screenshot_7.mp4

    - 2.14.2 Show selection of Sort by acquisition time (fast) and ordered image display. 00:00-00:06