# Submission ID #: 68554

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20909018

# Title: The Application of Point-of-Care Ultrasonography (POCUS) in the Management of Acute Respiratory Distress Syndrome (ARDS) in the Intensive Care Unit

# Authors and Affiliations:

# Pengpeng Chen1, Gonglin Fan2, Hongjie Shen1, Qianyun Xiao3, Jie Yang1, Liuqing Jiang4, Bo Zhang1 , Huiqing Ge4, Zhongheng Zhang1,2,6,7

# 1Department of Emergency Medicine, Sir Run Run Shaw Hospital, Zhejiang University School of Medicine

# 2Department of Ultrasound, Sir Run Run Shaw Hospital, Zhejiang University School of Medicine

# 3Department of Nursing, Sir Run Run Shaw Hospital, Zhejiang University School of Medicine

# 4Department of Respiratory Therapy, Sir Run Run Shaw Hospital, Zhejiang University School of Medicine

# 5Provincial Key Laboratory of Precise Diagnosis and Treatment of Abdominal Infection, Sir Run Run Shaw Hospital, Zhejiang University School of Medicine

# 6School of Medicine, Shaoxing University

# 7Longquan Industrial Innovation Research Institute

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Huiqing Ge			(gehq@zju.edu.cn)

Zhongheng Zhang		(zh_zhang1984@zju.edu.cn)

# Email Addresses for All Authors:

Pengpeng Chen		(3317054@zju.edu.cn)

Gonglin Fan			(fan199317@163.com)

Hongjie Shen			(985379749@qq.com)

Qianyun Xiao			(1178954212@qq.com)

Jie Yang			(22218206@zju.edu.cn)

Liuqing Jiang			(3411056@zju.edu.cn

Bo Zhang			(3414285@zju.edu.cn)

Huiqing Ge			(gehq@zju.edu.cn)

Zhongheng Zhang		(zh_zhang1984@zju.edu.cn)

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

☐ Correct

☐ Incorrect

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible.

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: MM/DD/YYYY

DO NOT use this draft script for filming. Please wait until your script is finalized to begin the filming process.

When you are ready to submit your video files, please contact our China Location Producer, Yuan Yue.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  14

Number of Shots:  32

# Introduction

Answers to these questions will become interview statements that you will deliver on camera.

- Answer up to 2 introduction and up to 3 conclusion questions. No more than 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- Speak naturally and avoid reading the lines.

- Answer in full sentences, the questions will not be displayed in the video.

- Limit the length of each statement to 20 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

INTRODUCTION:

What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

CONCLUSION:

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

What questions will future research focus on?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 20 or fewer words.

Ethics Title Card
This research has been approved by the Ethics Committee at Sir Run Run Shaw Hospital, Zhejiang University School of Medicine

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that you/your videographer will capture.

- Ultrasound Assessment of Pleural Artifacts and Lung Consolidations in the Intercostal View

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, perform a longitudinal scan in the intercostal space and locate the pleural line approximately 0.5 centimeters below the rib line, visible as a hyperechoic horizontal line [1]. Identify A-lines as horizontal hyperechoic artifacts of the pleural line, indicative a high gas-volume ratio beneath the pleura [2]. 
Authors: Please create scope videos of the shots labeled as SCOPE and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20909018

    - WIDE: Talent performing a longitudinal ultrasound scan between the ribs to locate the pleural line.

    - SCREEN/SCOPE: Ultrasound image showing A-lines as hyperechoic horizontal lines.

  - Using M-mode, check for the presence of the seashore sign"indicating normal lung sliding, or the stratosphere sign indicating absent lung sliding suggestive of pneumothorax [1]. Then identify B-lines as vertical hyperechoic artifacts originating from the pleural line that extend to the bottom of the screen and erase the A-lines [2].

    - SCREEN/SCOPE: M-mode screen showing a "seashore sign" pattern followed by the "stratosphere sign".

    - SCREEN/SCOPE: B-lines emerging from the pleural line and extending to the bottom of the screen are seen.

  - Now check for the shred sign, represented by subpleural hypoechoic areas with irregular boundaries, indicating small consolidations [1]. Look for a tissue-like pattern in areas of large consolidation, characterized by liver-like echogenicity [2].

    - SCREEN/SCOPE: Ultrasound image showing irregular hypoechoic subpleural areas indicating the shred sign.

    - SCREEN/SCOPE: Ultrasound showing large consolidation area with liver-like echotexture.

- Focused Ultrasound Evaluation of Right Heart Function, Diaphragm, and Abdominopelvic Vascular Anatomy

Demonstrator: Click here to enter name of demonstrator(s)

  - Use a right ventricular-focused apical four-chamber view [1]. At end-diastole, trace the right ventricular endocardial border to measure the end-diastolic area [2].

    - Talent positioning the ultrasound probe for a right ventricular-focused apical four-chamber view.

    - SCREEN/SCOPE: The right ventricular endocardial border is being traced at end-disatole.

  - Measure the right ventricular free wall thickness at end-diastole [1-TXT]. Now, use the M-mode to measure tricuspid annular plane systolic excursion [2-TXT]. Measure the inferior vena cava diameter and collapsibility during a sniff [3-TXT].

    - SCREEN/SCOPE: Measurement of right ventricular free wall thickness at end-diastole is being done. TXT: Thickness < 5 mm : Normal, > 5 mm : Hypertrophy

    - SCREEN/SCOPE: M-mode is being used to measure tricuspid annular plane systolic excursion.  TXT: Normal values are ≥ 15 mm; <15 mm : Abnormal

    - SCREEN/SCOPE: Inferior vena cava diameter is being measured during a sniff, showing collapsibility percentage. TXT: Normal diameter < 2.1 cm or > 50% collapsibility; > 2.1 cm or < 50% collapsibility: Abnormal

  - Next, identify the diaphragm as a three-layered structure with a hypoechoic muscle layer between hyperechoic pleural and peritoneal lines [1]. Record B-mode clips or still images during end-inspiration and end-expiration [2]. Then measure the diaphragm thickness from the middle of the pleural line to the middle of the peritoneal line [3].

    - SCREEN/SCOPE: Ultrasound image showing the three distinct diaphragm layers.

    - SCREEN/SCOPE: Real-time B-mode clip capturing diaphragm movement during full respiration cycle.

    - SCREEN/SCOPE: Measurement line extending from the middle of the pleural line to the middle of the peritoneal line.

  - Now, place the probe sagittally below the right costal margin, between the midclavicular and anterior axillary lines to scan the right diaphragm [1]. Then, place the probe sagittally below the left costal margin, between the anterior and mid-axillary lines to scan the left diaphragm [2].

    - Talent placing the probe sagittally below the right costal margin.
AND
SCREEN/SCOPE: The right diaphragm is being seen
Video Editor: Please play both shots side by side

    - Talent repositioning the probe sagittally below the left costal margin.
AND
SCREEN/SCOPE: The left diaphragm is being seen.
Video Editor: Please play both shots side by side

  - For femoral vein assessment, place the patient in a supine position with hips externally rotated into the frog-leg position to optimize exposure [1]. For popliteal vein evaluation, maintain the knee in slight flexion between 15 and 30 degrees to avoid venous compression [2]. In obese patients, use lateral decubitus or prone positioning to improve acoustic access and tissue displacement when standard views are inadequate [3].

    - Talent positioning the patient in the frog-leg posture.

    - Talent slightly flexing the patient’s knee for popliteal vein scanning.

    - Talent adjusting the patient into lateral decubitus position for better ultrasound access.

  - Start scanning the femoral zone at the inguinal crease to identify the common femoral vein [1]. Move the probe distally to visualize the junction of the femoral vein and the deep femoral vein [2]. Compress the vein every centimeter along its course to assess venous compressibility [3].

    - SCREEN/SCOPE: Talent placing the probe at the inguinal crease to scan the common femoral vein.

    - SCREEN/SCOPE: The junction of the femoral and deep femoral veins is being seen.

    - Talent compressing the vein incrementally every 1 centimeter while scanning.

  - Scan the popliteal zone from the popliteal vein to the confluence of the anterior tibial, posterior tibial, and peroneal veins [1]. Compress the vein every 1 centimeter to confirm full compressibility [2].

    - SCREEN/SCOPE: The popliteal zone is being scanned to identify the popliteal and calf veins.

    - Talent applying compression at 1-centimeter intervals along the scanned region.

  - Identify the liver as the cephalad structure located on the left side of the screen [1]. Locate the aorta or inferior vena cava and adjust the imaging depth to visualize their posterior boundaries or the vertebral body [2]. Sweep the probe laterally from left to right while keeping it perpendicular to the skin [3].

    - SCREEN: Ultrasound image with the liver appearing cephalad on the left side of the screen.

    - SCREEN: Aorta or inferior vena cava in view with adjusted depth showing posterior wall or vertebral body.

    - Talent sweeping the probe laterally across the abdomen while maintaining vertical probe orientation.

  - Identify the stomach, liver, pancreas, superior mesenteric artery, aorta, and inferior vena cava [1]. Use the supine position to assess gastric fullness, noting that it cannot exclude the presence of contents [2].

    - SCREEN: Ultrasound image identifying anatomical structures including stomach, liver, pancreas, superior mesenteric artery, aorta, and inferior vena cava.

    - Talent scanning the patient in supine position to assess gastric antrum.

  - Place the patient in the right lateral decubitus position to allow gravitational flow of gastric contents into the antrum for more accurate volume measurement [1-TXT].

    - Talent repositioning the patient into right lateral decubitus position. TXT: Repeat scan and adjust imaging depth if necessary

  - Measure the cross-sectional area of the gastric antrum at the level of the aorta, to avoid underestimation of volume [1]. Ensure the aorta is correctly identified during measurement [2].

    - SCREEN: Measurement of gastric antrum cross-sectional area at the level of the aorta.

    - SCREEN: The aorta is being seen.
AUTHORS: please hover over the aorta here

# Results

Please review this section to make sure that it accurately reflects your findings.

- You/Your videographer does not have to record this section. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 170

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - Representative ultrasound images showed normal pulmonary findings, including visible pleural lines , A-lines, and the seashore sign [1]. The presence of fewer than three B-lines per intercostal space was observed [2], but the concurrent appearance of a shred sign indicated focal pulmonary consolidation [3].

    - LAB MEDIA: Figure 1A-C Video editor: Please highlight A, B and C sequentially.

    - LAB MEDIA: Figure 1D. Video editor: Highlight the vertical line labeled “B-line” in the ultrasound image.

    - LAB MEDIA: Figure 1D. Video editor: Highlight the label “Shred sign” in the upper region of the image.

  - A stratosphere sign was observed, characterized by static horizontal lines and absence of the seashore sign, indicating pneumothorax [1]. Ultrasound imaging showed pleural effusion with accompanying pulmonary consolidation as evidenced by air bronchogram signs [2]. Varying degrees of pleural effusion accumulation were observed in two cases [3].

    - LAB MEDIA: Figure 2. Video editor: Please highlight A

    - LAB MEDIA: Figure 2. Video editor: Please highlight B

    - LAB MEDIA: Figure 2. Video editor: Please highlight C and D

  - Echocardiography revealed clear visualization of cardiac chambers including both atria and ventricles [1].

    - LAB MEDIA: Figure 3. Video editor: Please sequentially highlight the images from A to E

  - Diaphragm motion patterns were evaluated [1]. Ultrasound assessment of the lower extremity veins showed compressibility testing at the common femoral vein and the popliteal vein [2].

    - LAB MEDIA: Figure 4

    - LAB MEDIA: Figure 5 	Video Editor: Please sequentially highlight A and B

  - Ultrasound of the stomach showed an empty stomach with a bulls-eye appearance and minimal clear basal secretions [1]. Repositioning the patient in right lateral decubitus allowed the gastric contents to gravitate toward the antrum [2].

    - LAB MEDIA: Figure 6 A

    - LAB MEDIA: Figure 6 B